## Control card
Control results
Test Run ID | Date | Sample(s) tested | Lyssavirus positive control result | Lyssavirus negative control result | B-actin positive control result | B-actin negative control result | Test run valid?
1 | 2019-05-07 | Bat378, 380, 384 | Ct 23.59, Tm 78.96 | No Ct | Ct 30.81, Tm 85.24 | No Ct | Yes
Lyssavirus Tm validity range = 76.8 - 80.2
Lyssavirus Ct validity range = <35

## Test results
Test results
Sample ID | Lyssavirus result | B-Actin result | overall result | Action
Example 1 | Positive | Positive | lyssavirus RNA detected | Report result
Example 2 | Negative | Positive | lyssavirus RNA not detected | Report result
Example 3 | Negative | Negative | Invalid | Repeat extraction including heterologous external control
Example 4 | Positive | Negative | lyssavirus RNA detected | Confirm positive result using second method such as RT-PCR followed by sequencing
Bat384 | Positive Ct 21.4, Tm 78.08 | Positive Ct 24.72, Tm 86.7 | lyssavirus RNA detected | Report result
Bat378 | Negative no Ct | Positive Ct 21.38, Tm 87.15 | lyssavirus RNA not detected | Report result
Lyssavirus Tm validity range = 76.8 - 80.2
Lyssavirus Ct validity range = <35