# Submission ID #: 59734

# Scriptwriter Name: Qingyun Ping

# Project Page Link: http://www.jove.com/files_upload.php?src=18218918

# Title: Quantification of Three DNA Lesions by Mass Spectrometry and Assessment of their Levels in Tissues of Mice Exposed to Ambient Fine Particulate Matter

# Authors and Affiliations: Tiago Franco de Oliveira1,2*, Antonio Anax Falcão de Oliveira1*, Miriam Lemos3, Mariana Veras3, Paulo Hilário Nascimento Saldiva3,4, Marisa Helena Gennari de Medeiros5, Paolo Di Mascio5, Ana Paula de Melo Loureiro1

1Departamento de Análises Clínicas e Toxicológicas, Faculdade de Ciências Farmacêuticas, Universidade de São Paulo, São Paulo, Brazil

2Departamento de Farmacociências, Universidade Federal de Ciências da Saúde de Porto Alegre, Rio Grande do Sul, Brazil

3Laboratório de Poluição Atmosférica Experimental – LIM05, Hospital das Clínicas, Faculdade de Medicina, Universidade de São Paulo, São Paulo, Brazil

4Instituto de Estudos Avançados, Universidade de São Paulo, São Paulo, Brazil

5Departamento de Bioquímica, Instituto de Química, Universidade de São Paulo, São Paulo, Brazil

*Contributed equally to this work

# Corresponding Author:

# Ana Paula de Melo Loureiro

# apmlou@usp.br

# Email addresses for Co-authors:

# oliveira@ufcspa.edu.br

# anax.antonio@gmail.com

# mirlemos@usp.br

# verasine@usp.br

# pepino@usp.br

# mhgdmede@iq.usp.br

# pdmascio@iq.usp.br

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) N

2. Does your protocol include software usage? (Y/N) Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

Steps 2.2, 2.6, 2.7, 3.6, 4.4, 4.5

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

The single most difficult aspect is to set the chromatographic conditions to obtain sharp peaks of the analytes. When transferring the conditions to other equipment and columns, the chromatography must be tested with the standards and adjustments of the HPLC gradient may be necessary to overcome elution problems.

Steps 4.5, 4.6, 4.9

5. Will the filming need to take place in multiple locations? (Y/N) Y

If yes, how far apart are the locations? Approximately 250 m

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Antonio Anax Falcão de Oliveira: The methods presented here allow quantification of DNA lesions induced by oxidative stress, contributing to the understanding of pathophysiological mechanisms that may be targets for prevention and treatment of diseases [1].

    - INTERVIEW

  - Antonio Anax Falcão de Oliveira: Selectivity and sensitivity are the main advantages. Selectivity is an essential advantage when analyzing complex biological samples. HPLC coupled to tandem mass spectrometry evolved as the gold standard for this type of quantification in biological matrices [1].

    - INTERVIEW

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Ana Paula de Melo Loureiro: Oxidative stress is a common event to different pathophysiological processes. Increased levels of etheno adducts have been detected in tissues or urine of patients with inflammatory diseases. The DNA lesions also provide information on endogenous events triggered by exposure to pollutants. If the DNA lesions are increased, the exposure may be at a level that increases the risk of cancer development [1].

    - INTERVIEW

  - Ana Paula de Melo Loureiro: The lesions can be quantified in DNA from any cellular system, and alternatively in urine, culture medium, plasma, saliva, with adaptations in sample preparation [1].

    - INTERVIEW

# Section - Protocol

# Procedures involving animal subjects have been approved by the Ethics Committee of the Faculty of Medicine, University of São Paulo.

- DNA Extraction

  - To begin, use a culture plate placed on ice as a base to cut a piece of tissue with a scalpel [1]. Weigh 1 gram of the tissue in each 50-milliliter capped tube for immediate use [2]. Keep the remaining tissue on dry ice before storing at -80 degrees Celsius [3].

    - CU: Talent cuts a piece of tissue.

    - MED: Talent transfers tissue to a scale, weighs 1 gram and transfers to a tube. Shot with view of the scale screen.

    - MED: Shot of the remaining tissue.

  - To each tube, add 10 milliliters of the commercial cell lysis solution containing 0.5 millimolar deferoxamine and keep on ice [1-TXT]. Set the tissue homogenizer to a low speed around 60-90 rpm [2]. Homogenize the tissues on ice for few minutes [3] until the solution is without tissue fragments [4].

    - MED: Talent adds solution into each tube on ice. TEXT: 10 mL commercial cell lysis solution

    - CU: Talent sets up speed for a homogenizer.

    - MED: Talent homogenizes the tissues.

    - CU: Close up of the homogenized tissue in the tube.

  - Then, add 150 microliters of proteinase K solution to each homogenized sample [1-TXT]. Shake the tubes by inversion and keep them at room temperature overnight [2].

    - MED: Talent adds 150 microliters of solution to each tube. TEXT: 150 µL proteinase K solution (15 mg/mL)

    - MED: Talent shakes tubes and places them at a rack.

  - In the morning, add 40 microliters of ribonuclease A solution [1-TXT], shake by inversion, and keep the tubes at room temperature for 2 hours [2].

    - MED: Talent adds 40 microliters of solution to each tube. TEXT: 40 µL ribonuclease A solution (20 mg/mL)

    - MED: Talent shakes tubes and places them at a rack.

  - Then, add 5 milliliters of the commercial protein precipitation solution, vortex vigorously [1-TXT], and centrifuge at 2,000 times g, 4 degrees Celsius, for 10 minutes [2].

    - CU: Talent adds 5 milliliters of solution to one tube, and vortexes. Close up of the solution in the tube. TEXT: 5 mL commercial protein precipitation solution

    - WIDE: Talent places tubes into centrifuge.

  - Transfer the supernatants to 50 milliliter capped tubes containing 10 milliliters of cold isopropanol [1-TXT]. Invert the tubes gently several times until observation of precipitated DNA [2].

    - CU: Talent transfers supernatants to tubes containing solvent. TEXT: 10 mL isopropanol

    - CU: Talent inverts the tubes several times, and shows the observed precipitated DNA.

  - Use a Pasteur pipette closed at the end to collect the precipitated DNA [1], and transfer the collected DNA to tubes containing 4 milliliters of 10 millimolar Tris buffer, and 1 millimolar deferoxamine at pH 7 to dissolve [2-TXT].

    - CU: Talent collects the DNA. Close up of the precipitated DNA.

    - CU: Talent transfers DNA to another tube. TEXT: 4 mL of 10 mM Tris buffer, 1 mM deferoxamine

  - After the DNA is completely dissolved in the tubes, add 4 milliliters of a chloroform solution containing 4% of isoamyl alcohol to each tube [1-TXT]. Invert the tubes 10 times for homogenization [2], centrifuge at 2,000 times g, 4 degrees Celsius, for 10 minutes [3], and transfer the upper phases to new tubes [4].

    - CU: Talent shows the tube with dissolved DNA, and adds another solution. TEXT: 4 mL chloroform solution with 4% of isoamyl alcohol

    - MED: Talent inverts tubes.

    - WIDE: Talent places tubes into a centrifuge.

    - CU: Talent transfers the upper phase to a new tube. Author comment: We made additional filming of the tubes after the three extraction steps to show the color difference between them, emphasizing the relevance of sample cleaning

  - Repeat the wash of the upper phase with the chloroform solution two more times [1]. Then, add 8 milliliters of absolute ethanol and 0.4 milliliters of a 5-molar sodium chloride solution to precipitate the DNA [2-TXT].

    - CU: Talent adds solution into the centrifuged tubes.

    - MED: Talent adds two solutions into the tubes. TEXT: 8 mL absolute ethanol; 0.4 mL NaCl solution (5 M)

  - Collect again the precipitated DNA and transfer it to 3 milliliters of 70% ethanol [1-TXT]. Repeat the wash with 70% ethanol one more time [2]. Discard the ethanol solution with caution [3] and invert the tubes containing the precipitated DNA on absorbent paper to remove the excess of the solution [4].

    - CU: Talent collects DNA and transfers to another tube. TEXT: 3 mL 70% ethanol Videographer: Take multiple shots, as this will be used later. Video editor: Show the text when the talent transfers DNA

    - Use 2.10.1.

    - CU: Talent discards ethanol solution.

    - MED: Talent inverts one tube on paper to obtain DNA.

- Quantification by HPLC-UV, and Solid Phase Extraction for Analyses

  - After preparing DNA hydrolysis samples with [15N5]1,N6-dAdo (pronounce as 15-n-5 isotopic standard of 1-n-6-etheno-deoxyadenosine) and [15N5]1,N2-dGuo (pronounce as 15-n-5 isotopic standard of 1-n-2-etheno-deoxyguanosine) according to the manuscript, transfer 10 microliters of each sample into tubes for quantification of the 2’-deoxynucleosides (pronounce as normal deoxynucleosides) by HPLC-UV (pronounce as H-P-L-C-U-V) [1]. Subject the residual volume to solid phase extraction [2].

    - MED: Talent transfers solution into tubes.

    - CU: Close up of the residual volume.

  - To perform HPLC, first elute a C18 (pronounce as C-eighteen) column attached to a C18 security guard cartridge with a gradient of 0.1% formic acid and methanol [1-TXT].

    - MED: Talent operates on the computer, with HPLC and formic acid and methanol solution bottles in view. TEXT: C18 column: 250 mm x 4.6 mm i.d.; C18 security guard cartridge: 4.0 x 3.0 mm i.d.

  - Set up the gradient program to run from 0 to 25 minutes with 0 to 18% methanol; from 25 to 27 minutes with 18 to 0% methanol; from 27 to 37 minutes with 0% methanol, at a flow rate of 1 milliliter per minute and 30 degrees Celsius [1].

    - SCREEN: Talent sets up the gradient program, flow rate, and temperature.

  - After that, inject a volume between 2 and 6 microliters of each sample reserved for 2’-deoxynucleosides quantification [1]. Set the DAD detector at 260 nanometers for integration of the dGuo (pronounce as deoxyguanosine) and dAdo (pronounce as deoxyadenosine) peaks [2].

    - MED: Talent injects sample.

    - SCREEN: Talent sets up DAD detector.

  - To perform solid phase extraction for analyses of 1,N6-dAdo (pronounce as 1-n-6-etheno-deoxyadenosine) and 1,N2-dGuo (pronounce as 1-n-2-etheno-deoxyguanosine), first load the cartridges with a series of solutions at the volume of 1 milliliter [1-TXT].

    - MED: Talent prepares cartridges and solutions. TEXT: column specification: SPE-C18, 30 mg/mL, 33 μm, 1 mL

  - Add 100% methanol, deionized water, hydrolyzed DNA sample, deionized water, 10% methanol, 15% methanol, and lastly 100% methanol for collection. Then, proceed according to the manuscript [1].

    - CU: Talent loads one solution into cartridge. Close up of the solution entering completely, and then talent immediately adds another solution.

- Quantification by HPLC-ESI-MS/MS

  - After preparing DNA hydrolysis samples with [15N5]8-oxodGuo (pronounce as fifteen-n-5 isotopic standard of 8-oxo-deoxyguanosine), transfer 80 microliters of each sample into vials for analysis in the HPLC-ESI-MS/MS system [1]. Reserve the remaining 20 microliters for quantification of dGuo (pronounce as deoxyguanosine) on HPLC-UV as previously [2].

    - MED: Talent transfers solution into vials.

    - MED: Talent shows the remaining solution.

  - For analysis of 8-oxodGuo (pronounce as 8-oxo-deoxyguanosine) on HPLC-ESI-MS/MS, elute the C18 column A coupled to a C18 security guard cartridge with a gradient of solvent A and B at a flow rate of 150 microliters per minute and 25 degrees Celsius [1-TXT].

    - MED: Talent adjusts column and cartridge. TEXT: Column A: 50 x 2.0 mm i.d., 2.5 µm; security guard cartridge: 4.0 x 3.0 mm i.d.; Solvent A: 0.1% formic acid; Solvent B: methanol containing 0.1% formic acid

  - Run the binary pump with 0 – 15% of solvent B during the first 25 minutes; 15 – 80% of solvent B from 25 to 28 minutes; 80% of solvent B from 28 to 31 minutes; 80 – 0 % of solvent B from 31 to 33 minutes; 0% of solvent B from 33 to 46 minutes [1].

    - SCREEN: Talent adjusts settings on the computer. Author comment: This shot was not filmed because there was a problem in the equipment that precluded method opening

  - Direct the first 16 minutes of column A [1] eluent to waste [2-LM], and condition the column B by the isocratic pump with a solution of 15% methanol in water containing 0.1% formic acid [3-TXT] at a flow rate of 150 microliters per minute [4-LM].

    - MED: Talent connects column A to the system.

    - Figure 2 – Video editor: emphasize Figure 2A, and the red lines. Put TEXT: 0-16 min on Figure 2A

    - MED: Talent adjusts column B and isocratic pump. TEXT: column B: 150 x 2.0 mm i.d., 3.0 µm

    - Figure 2 – Video editor: emphasize Figure 2A, and the yellow lines. Put TEXT: 0-16 min on Figure 2A

  - After 16 minutes, check the chromatogram to ensure the 8-oxodGuo standard elutes from column A [1]. During the 16 to 32 minutes interval, switch the valve to the position allowing connection between the column A and the column B [2-LM].

    - CU: Talent shows the chromatogram indicating standard has eluted from column A.

    - [Added shot] CU: Talent switches the valve to the position allowing connection between the column A and the column B.

    - Figure 2 – Video editor: emphasize Figure 2B, and the red lines. Put TEXT: 16-32 min on Figure 2B

  - Close the valve at 32 minutes [1] to use the gradient of the binary pump to elute 8-oxodGuo from the second column to get a sharp chromatographic peak [2-LM].

    - CU: Talent closes the valve. Author comment: This shot was not filmed because there was a problem in the equipment that precluded method running

    - Figure 2 – Video editor: emphasize Figure 2A, and the yellow lines. Put TEXT: 32-46 min on Figure 2A

    - [Added shot] CU: Talent shows the chromatogram indicating standard has eluted from the two columns connected.

  - For analysis of 1,N6-dAdo and 1,N2-dGuo, elute a C18 column coupled to a C18 security guard cartridge with a gradient of solvent A and B at a flow rate of 130 microliters per minute and 25 degrees Celsius [1-TXT].

    - MED: Talent adjusts column and cartridge. TEXT: C18 column: 150 x 2.0 mm i.d., 3.0 µm; C18 security guard cartridge: 4.0 x 3.0 mm i.d.; Solvent A: 5 mM ammonium acetate, pH 6.6; Solvent B: acetonitrile

  - Run the binary pump with 0% of solvent B for the first 10 minutes; 0 – 20% of solvent B from 10 to 39 minutes; 20 – 75% of solvent B from 39 to 41 minutes; 75% of solvent B from 41 to 46 minutes; 75 – 0% of solvent B from 46 to 47 minutes; and 0% of solvent B from 47 to 60 minutes [1].

    - SCREEN: Talent adjusts settings on the computer. Author comment: This shot was not filmed because there was a problem in the equipment that precluded method opening

  - Use the switching valve to direct the first 35 minutes of eluent to waste and the 35 – 42 minutes fraction to the ESI source [1]. Be sure that the adduct standards elute from the column in the set interval [2].

    - SCREEN: Talent adjusts settings on the computer. Author comment:: This shot was not filmed because there was a problem in the equipment that precluded method opening

    - CU: Close up of the elute from the column.

- Quantification of the DNA Lesions

# Author comment: An Excel file (Calculation Example) contains the 6 figures that were uploaded for items 5.1.1, 5.2.1, 5.3.1, 5.4. I've added to this file the items to which the information in each column matches.

  - Integrate the peaks of 8-oxodGuo (pronounce as 8-oxo-deoxyguanosine), [15N5]8-oxodGuo (pronounce as fifteen-n-5 isotopic standard of 8-oxo-deoxyguanosine), 1,N6-dAdo (1-n-6-etheno-deoxyadenosine), [15N5]1,N6-dAdo (pronounce as 15-n-5 isotopic standard of 1-n-6-etheno-deoxyadenosine), 1,N2-dGuo (1-n-2-etheno-deoxyguanosine), and [15N5]1,N2-dGuo (pronounce as 15-n-5 isotopic standard of 1-n-2-etheno-deoxyguanosine) from the HPLC-ESI-MS/MS analyses. Calculate the area ratios for the calibration curves and the samples [1].

    - SCREEN: Talent does calculation of area ratios.

  - Establish the calibration curves, and calculate the amounts of lesions in each injected sample [1].

    - SCREEN: Talent shows the established calibration curves, and calculate the amounts of lesions.

  - Integrate the peaks of dGuo and dAdo from the HPLC-UV analyses. Use the areas to establish the calibration curves, and calculate the amounts of dGuo and dAdo in nanomoles in each injected sample [1].

    - SCREEN: Talent does peak integration, establish calibration curves, and calculate amounts of dGuo and dAdo.

  - Calculate the molar fractions for 8-oxodGuo/dGuo, 1,N6-dAdo/dAdo, 1,N2-dGuo/dGuo, which give the number of lesions per one million normal dGuo or dAdo [2].

    - Author comment: This is the same as item 5.3.1

    - SCREEN: Talent does calculation for number of lesions per 10^6 dGuo and dAdo.

# Section – Results

- Results: HPLC-UV and HPLC-ESI-MS/MS Analyses

  - A representative chromatogram of the purified DNA obtained by HPLC-UV shows the presence of the four 2’-deoxynucleosides, free from the RNA ribonucleosides, demonstrating the DNA purity [1].

    - Figure 3 – Video editor: emphasize the four peaks.

  - Representative chromatograms from HPLC-ESI-MS/MS 8-oxodGuo [1], 1,N6-dAdo [2] and 1,N2-dGuo in mice tissue DNA samples [3].

    - Figure 4– Video editor: show the first two images only.

    - Figure 5

    - Figure 6

  - The chromatogram obtained with UV detection shows the four 2’-deoxynucleosides eluting from the first column until about 10 minutes [1], with a good separation from 8-oxodGuo, eliminating undesired interferences [2].

    - Figure 4– Video editor: show the third image only. Emphasize the first part of peaks before 15 min.

    - Figure 4– Video editor: show the third image only. Emphasize the second part of peaks after 30 min.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Antonio Anax Falcão de Oliveira: An important thing to remember for exact quantifications is to have always the same quantities of the internal standards in the injected volumes of calibration curves and samples [1] [2].

    - Use 3.1.1.

    - INTERVIEW

  - Ana Paula de Melo Loureiro: The methods presented here may be adapted for the quantification of other modified deoxynucleosides. Expanding the panel of modified deoxynucleosides allows a better understanding of the underlying pathophysiological mechanisms [1].

    - INTERVIEW

  - Ana Paula de Melo Loureiro: We can investigate the role of oxidative damage in different situations, such as exposure to xenobiotics, diabetes and cell malignant transformation, therefore aiding the development of preventive and treatment strategies [1].

    - INTERVIEW