Dear Author(s),

This document is divided into a number of sections in which you can add your comments to the video, voiceover, and online text/PDF.   Please be aware that our policy is to do a single complimentary revision, so it is critical that all participants in this project offer their comments collectively.   In addition, please make sure that your comments are easily interpreted and transparent.

Have fun!

Protocol Name: Split Point Analysis and Uncertainty Quantification of Thermal-Optical Organic/Elemental Carbon Measurements

Date: 19-AUG-2019

Authors and Affiliations

Please fill in any missing author information not included in the video.

| Order | Author | Affiliation | Email |
| --- | --- | --- | --- |

Video Comments

Please fill in any comments you wish to make using the table below using the example as a guide.  If you need more space to write, please do so below the table.  DO NOT ADD CORRECTIONS TO THE NARRATION HERE.  PLEASE DO THIS IN THE AUDIO COMMENTS SECTION.

|  | Time code | Comment | Requested Change |
| --- | --- | --- | --- |
| 1. | 0:01 | Video title does not match manuscript title, which was shortened during review. | Please advise. |
| 2. | 4:06 | Video repeats selection of “start analysis” button and confirmation of one analysis by pressing “yes” button. | Please do not show the second iteration of this procedure during ~4:06-4:08. |
| 3. | 4:58 | Secondary software is shown in the screen capture. | Please skip the screen capture shown during 4:58-5:02 and advise if we can provide a second take of the screen capture. |
| 4. | 5:34 | Red box includes section (4) and the logos in the bottom right of the screen. | Please reduce the size of the red box so that it only highlights section (4). |
| 5. | 5:37 | Subtitle reads “5Computation…” | Please remove “5”. |
| 6. | 9:10 | Video does not highlight “sample A” data as listed in shotlist steps 6.9.1 and 6.9.2. | Revisions to the video are not requested (i.e., do not highlight sample A data). We have instead requested revisions to the audio voiceover. |

Audio Comments

This section is used to specify the changes that need to be made to the narration.   Please follow the example below as a guide to list your changes. If there is a pronunciation change, please provide a phonetic pronunciation key.

|  | Time code | Comment | Step(s) in Shotlist | Rewritten Text or Corrected Pronunciation (highlight in bold) |
| --- | --- | --- | --- | --- |
| 1. | 5:09 | Original script text: “In section two of the graphical user interface, update the default uncertainty characteristics of the sucrose solution and pipette as necessary and confirm the desired number of Monte Carlo draws [1].” The text “sucrose solution and pipette” should be continuous. | 4.3 | Rewritten script text: “In section two of the graphical user interface, update the default uncertainty characteristics of the sucrose solution and pipette, as necessary, and confirm the desired number of Monte Carlo draws [1].” Commas added for clarity. |
| 2. | 5:26 | Original script text: “Save the current result as the default calibration and use the buttons in section three to export the results [1].” | 4.5 | Rewritten script text: “Use the buttons in section three to save the current result as the default calibration and export the results, as desired [1].” |
| 3. | 9:10 | Original script text: “In this example, the computed uncertainties in the carbon mass [1] are 60-280% larger than those reported by the instrument [2].” | 6.9 | Rewritten script text: “In these examples, computed uncertainty in the carbon masses are generally larger than those reported by the instrument, up to 280% in the most extreme case.” |

Online Text/PDF Protocol

Please use this table to address changes that need to be made to the online text/PDF document. Both the online text and PDF are generated from the HTML template of your article. Since the PDF is generated from the HTML by our conversion software, it may contain formatting errors. For major structural changes or more than 10 spelling or grammatical mistakes, we will require re-upload of the entire document.

|  | Protocol Step | Comment | Requested Change (highlight in bold) |
| --- | --- | --- | --- |
| 1. | 2.1.3 | Step says “Uncheck the Cycle checkbox and allow the current analysis to finish.” | Please correct to “During the final analysis, uncheck Cycle checkbox and allow the analysis to finish.” |
| 2. | 2.3.1.1 | Step says “… polytetrafluoroethylene (PTFE) …”. | Please correct to “… polyoxymethylene (POM) …” |
| 3. | 2.3.1.2 and others | Steps include erroneous acronym “PTFE” | Please correct to “POM”. Steps: 2.3.1.2 (2 locations), 2.3.2.2, 2.5.1, 2.5.2, 2.5.3 (3 locations), |
| 4. | 3.1.1 and others | Text refers to other protocol steps as “sections”, which might be confusing since there are also references to software “sections”. | Please correct so protocol steps are referred to as “steps”. Steps: 3.1.1, 3.1.2, 3.2, 3.3 (3 locations), 3.4 (2 locations), 4.2, 4.7 (2 locations) |
| 5. | 3.1.3.1 | In two location, the step says “click the …” | For consistency with other steps, please replace with “click the … button” |
| 6. | 5.1 | Step begins with “Set the desired sample flow rate.” | Please correct with “Set the desired sample flow rate (optional).” Keeping “optional” bolded as in step 2.3. |
| 7. | 5.1 |  | Please add the following note: "NOTE: The instrument's software must be restarted following changes to the valve control file." |
| 8. | 5.2.1.1 |  | Please delete “Click the Start Analysis button, confirm that only one analysis/cycle is desired (if requested), and allow the thermal analysis to execute.” |
| 9. | 5.2.1 |  | Please merge steps 5.2.1 and 5.2.1.1 (see deletion above) and place the existing NOTE under the new step 5.2.1. |

Additional revisions to online text/pdf (not protocol).

|  | Location | Comment |
| --- | --- | --- |
| 1. | Introduction, Page 2, Line 3 | Please add the chemical formula for methane – i.e., change the existing text from “…methane-helium mixture…” to “…methane (CH4)-helium mixture…”. |
| 2. | Introduction, Page 2, Line 3 | Subject to table item #1, please change the existing text "(termed the methane [CH4]-loop)" to "(termed the CH4-loop)". |
| 3. | Discussion, Page 8, Last paragraph, Line 2 | Please delete “regression of the data,” so that the line reads “Cumulative calibration uncertainty resulting from bias error in the NDIR detector …”. |
| 4. | Discussion, Page 8, Last paragraph, 2nd last line | Please change from “…is assessed…” to “…be assessed…” |
| 5. | Discussion, Page 8, Last paragraph, Last line | Please replace “and due to regression of the nominal calibration data are” with “is” so that the sentence reads “In contrast, uncertainty due to the concentration of sucrose in the external standard is negligibly small.”. |
| 6. | Discussion, Page 9, Line 1 | Please replace “The negligible size of the latter contribution is a consequence …” with “Furthermore, there appears to be negligible contribution from regression uncertainty, a likely consequence …”. |
| 7. | Discussion, Page 10, Table 4 Caption, Line 6 | Please change “highlights” to “highlighting”. |
| 8. | Discussion, Page 10, Bottom | Please include an Equation number “(1)” alongside the set of equations to enable referencing. |
| 9. | References, Number 27 | This paper has now been published. Please change “… Carbon. Accepted (2019).” to “… Carbon. 149, 760-771 (2019).” |
| 10. | Throughout | Dashes have rendered inconsistently, often en-dashes (–) appear instead of em-dashes (—). |