## Sheet1
Considered Uncertainties | Full (6-point) Calibration
NDIR bias | ± 2.61%
+ Sucrose solution | ± 2.61%
+ Pipette | ± 2.78%
Nominal Result [μgC] | 18.49