TITLE:

Visualization of flow field around a vibrating pipeline within an equilibrium scour hole

AUTHORS AND AFFILIATIONS:

Dawei Guan1, 2, Yee-Meng Chiew2, Maoxing Wei3, Shih-Chun Hsieh4

1Key Laboratory of Coastal Disaster and Defense (Hohai University), Ministry of Education, Nanjing, China

2School of Civil and Environmental Engineering, Nanyang Technological University, Singapore

3Ocean College, Zhejiang University, Zhoushan, China

4AXESEA Engineering Technology Co. LTD, Nanjing, China

Corresponding Author:

Yee-Meng Chiew

cymchiew@ntu.edu.sg

Tel: (65)-6790-5256

Email Addresses of Co-authors:

Dawei Guan (david.guan@hhu.edu.cn)

Maoxing Wei (mxwei@zju.edu.cn)

Shih-Chun Hsieh (iraqhsc@gmail.com)

KEYWORDS:

Sediment transport, local scour, flow measurements, pipeline-fluid-seabed interaction, particle image velocimetry, multiple-time-interval, forced vibration, wavelet transform.

SUMMARY:

The goal of the protocol is to enable visualization of the detailed flow fields, near boundary shear and normal stresses within an equilibrium scour hole induced by a vibrating pipeline.

ABSTRACT:

An experimental method is presented in this paper to facilitate visualization of the detailed flow fields, near boundary shear and normal stresses within an equilibrium scour hole induced by a vibrating pipeline. This method involves the implementation of a pipeline vibration system in a recirculation flume, a time-resolved particle image velocimetry (PIV) system for pipeline displacement tracking and flow fields measurements. The displacement time-series of the vibrating pipeline are obtained by using the cross-correlation algorithms. Steps for processing raw particle laden images obtained by using the time-resolved PIV are described. The detailed instantaneous flow fields around the vibrating pipeline at different vibrating phases are calculated using a multiple-time-interval cross-correlation algorithm to avoid displacement bias error in the flow regions with a large velocity gradient. By applying the wavelet transform technique, the captured images that have the same vibrating phase are accurately catalogued before the phase-averaged velocity fields are obtained. The key advantages of the flow measurement technique described in this paper are that it has a very high temporal and spatial resolution, and can simultaneously obtain the pipeline dynamics, flow fields, and near boundary flow stresses. By using this technique, more in-depth studies of the 2-dimensional flow field in a complex environment, such as that around a vibrating pipeline, can be conducted to better understand the associated sophisticated scour mechanism.

INTRODUCTION:

Subsea pipelines are widely used in the offshore environments for the purpose of fluid or hydro-carbon products conveyance. When a pipeline is placed on an erodible seabed, a scour hole around the pipeline is likely to formed because of the waves, currents or dynamic motions of the pipeline itself (forced-vibration or vortex-induced-vibration) 1,2. To improve the understanding of the scour mechanism around a subsea pipeline, measurements of the turbulent flow fields and estimations of the bed shear and normal stresses within the pipeline-fluid-seabed interaction region are essential in addition to measurements of the scour hole dimension 1-7. In an environment where the bed shear and normal stresses are extremely difficult to be determined because the flow field is unsteady and bottom boundary is rough, measured instantaneous near boundary stresses (at approximately 2 mm above the boundary) could be used as their surrogate 8,9. In the past few decades, scour around a vibrating pipeline has been studied and published without quantitatively presenting the values of the sophisticated flow fields around the pipeline within the scour hole 3-5,10-18. Therefore, the goal of this method paper is to provide a novel experimental protocol for visualizing the detailed flow fields, near boundary shear and normal stresses within an equilibrium scour hole induced by a forced vibrating pipeline. It should be noted that the pipeline-fluid-seabed interaction process in this study is in a quiescent water environment rather than those with unidirectional currents and waves.

This experimental method consists of two important components, namely, (1) simulation of pipeline (forced) vibrations; and (2) measurements of the flow fields around the pipeline. In the first component, the vibrating pipeline was simulated in an experimental flume by using a vibrating system, which has a servo motor, two connecting springs and pipeline supporting frames. Different vibration frequencies and amplitudes can be simulated by adjusting the motor speed and location of connecting springs. In the second component, the time-resolved particle image velocimetry (PIV) and wavelet transform techniques were adopted to obtain high temporal and spatial resolution flow field data at different pipeline vibration phases. The time-resolved PIV system consists of a continuous wave laser, a high speed camera, seeding particles and cross-correlation algorithms. Although PIV techniques have been widely used in obtaining steady turbulent flow fields 19-25, applications in complex unsteady flow field conditions, such as cases of pipeline-fluids-seabed interaction, are relatively limited 8,9,26,27. The reason probably is because traditional single-time-interval cross-correlation algorithm of PIV techniques are unable to accurately capture the flow features in unsteady flow fields where a relatively high velocity gradient is present 9,20. The method described in this paper can solve this problem by using the multiple-time-interval cross-correlation algorithm 9,28.

PROTOCOL:

- Laboratory Safety Check

  - Review the safety rules for the use of laser and flume system.

  - Ensure that safety training requirements of the laboratory have been met. Note: In this experiment, a set of 5W air-cooling continuous wave laser with a wavelength of 532 nm and a glass-sided recirculating flume (Figure 1) with dimensions of 11 m length, 0.6 m width, and 0.6 m depth are used. The basic safety recommendations for these two apparatuses are as follows:

    - Check the potential reflection surfaces in the laser line-of-sight prior to testing; wear safety goggles when operating the laser device.

    - Avoid having eyes at the level of the laser beam during the experiments, and be careful of reflected laser lights when handling the optical elements or reflective tools.

    - Be cautions at all times for water hose falling off or water overflowing from the flume equipment.

- Flume and Seabed Model Setup

  - Prepare the erodible seabed model (8.4 m long and 0.1 m thick) located in the middle of the flume; compact and level the seabed using a sand leveler. Note: The sediment material used in this study was a uniformly distributed medium sand with a median grain size d50 = 0.45 mm, relative submerged particle density Δ=1.65 and geometric standard deviation σg = 1.30;

  - Slowly fill the flume with a water hose and make sure that a flat seabed surface is intact during the filling process; stop filling when the water depth reaches 0.4 m above the seabed.

  - Clear the flume top platform and glass for setting up the pipeline model and PIV system.

- Pipeline Model and Vibration System Setup

  - Use a pipeline model in the form of an acrylic cylinder with a diameter of 35 mm and a length of 0.56 m.

  - Mount the pipeline model on an aluminum supporting frame, which, in turn, is connected by two springs to a moveable pole on another fixed frame that is locked on the top rails of the flume, as illustrated in Figure 2. Fix the supporting frame inside the fixed frame by using four bearings to ensure that the supporting frame could freely vibrate only along the vertical direction (Figure 2).

  - Use a connecting rod to tie the moveable pole to a servo motor mounted on the top of the fixed frame. Note: In this study, the weight of the assembled vibrating system, including the pipeline model and the aluminum frames, is 1.445 kg; which has an equivalent mass ratio (m*) of 2.682, a natural frequency (fN) of 0.82 Hz, and damping ratio (ζ) of 0.124.

  - Adjust the moveable pole and the supporting frame to obtain a certain gap ratio between the pipeline and seabed. Note: In this study G/D =1, where G is the gap distance between the bottom of the pipeline and initial seabed surface, D is the pipeline diameter.

  - Turn on the servo motor to induce a forced vibration for the pipeline; adjust the supporting frames and four bearings to ensure that the pipeline vibration is along the vertical direction. Turn off the servo motor when adjustments of the supporting frames complete.

  - Compact and level the seabed again before running the experiment if the seabed model is disturbed in 3.5.

- PIV Setup

  - Place the laser device on the top of the flume and install the laser sheet forming optics.

  - Turn on the laser device and adjust the laser sheet forming optics so that an illuminated flat sheet inside the field-of-interest is formed. Note: In this study, the illuminated green laser sheet is 1.5 mm thick, parallel to the flume glass walls and is cast downward into the water along the centerline of the flume. The field-of-interest of this study refers to the interaction region of the pipeline-fluid-seabed, and is confined to the right half side of the pipeline. The shadow of the pipeline will be seen on the left half side of the pipeline.

  - Set up the high-speed camera and adjust the field-of-view of the camera to cover a desired observation region. Note: For this study, a Phantom Miro 120 high-speed camera with a 3-gigabyte-memory storage and a maximum resolution of 2.3 Mpx (1920×1200) is used. The detailed operation procedures are as follows:

    - Screw the high-speed camera onto a height-adjustable tripod; adjust the camera to the level of the observation region with its axis perpendicular to the illuminated laser sheet; level the camera using the built-in bubble level on the tripod.

    - Mount the appropriate focus lens on the high-speed camera. This study uses a 60 mm prime lens at its maximum aperture of f/2.8.

    - Connect the camera to the computer by using an ethernet cable and open the camera control software (Phantom PCC 2.6); turn on the camera and connect it to the computer in the camera control software interface.

    - Adjust the field-of-view of the camera to cover the pipeline-fluid-seabed interaction region and to avoid strong reflections from the seabed; tune the focus ring on the lens to ensure that the laser sheet is clear on the focal plane.

- Experimental Setup Optimization and Calibration

  - Add PIV seeding particles to the test section of the flume. The seeding particles used in this study were aluminum powders with a diameter of 10 m and a specific density of 2.7.

  - Enhance the light intensity of the laser sheet if necessary.

  - Verify the focus of the camera by observing the illuminated seeding particles on the laser sheet through a live camera view on the computer; fine-tune the focus ring, if necessary, to ensure that the seeding particles are sharp and in focus.

  - Place a calibration ruler inside the field-of-view on the plane of the laser sheet, and capture one calibration image. Note: The adopted resolution of the image in this study was 1600 × 1200 pixels.

  - Select a proper sampling rate for data collection. Note: The chosen sampling rate should ensure that the seeding particle displacement within a pair of images is less than 50% of the maximum interrogation window length. In this study, the maximum interrogation window size is 32×32 pixels and the adopted sampling rate is 200 frames per second.

  - Turn off the laser and the camera and turn on the background lights when steps 5.1-5.6 are completed.

- Running the Experiment and Data Collection

  - Place a transparent acrylic plate (20 mm thick) below the laser source and on the water surface to suppress water surface fluctuations and ensure a tranquil optical access for the laser light.

  - Set the initialization condition (f0 = 0.3Hz) for the servo motor and movable pole of the vibrating system. Turn on the servo motor to induce forced vibrations on the pipeline model.

  - Keep the vibration system running for (t =)1440 min to induce a quasi-equilibrium scour hole beneath the vibrating pipeline.

  - Turn on the laser and adjust the output power to the optimized intensity. Turn on the camera and camera control software, and apply the calibrated settings to the camera. Turn off the background lights in the laboratory room.

  - Start to record the seeding particle-laden flow field image with the sampling rate selected in 5.6 by clicking the ‘Capture Bottom’ in camera software control software. Note: For every single recording in this study, the camera storage allows 1000 images to be captured.

  - Once the data collection is completed, review the recorded image quality and check if the seeding particle density per interrogation window (32×32 pixels) is greater than 8. Save the recorded file if satisfied, otherwise seeding density should be increased by slowly injecting seeding solutions in the observation region, and repeat steps 6.3-6.5.

  - Repeat steps 6.3-6.5 to collect more data sets. Note: For this study, more than 20000 images were taken to ensure that sufficient raw data are obtained for calculating flow velocities, vorticities, turbulence and near boundary stresses.

  - Turn off the laser device, camera and server motor when all the data collections are completed; turn on the background lights in the laboratory room.

- Data Processing

  - The data processing program used in this study for pipeline displacement tracking and flow fields calculation is PISIOU (developed by AXESEA Engineering Technology Limited Co.).

  - Open PISIOU software; click the “File folder” button on the toolbar and load the calibration image taken in step 5.4.

  - Click the “Scale setup” button on the toolbar; measure a known distance on the calibration image to calculate the scale of the image. Note: The calculated image scale was 0.1694 mm/pixel.

  - Click the “Origin” button on the toolbar; set the origin of the real word coordinates on each image.

  - Extract the displacement time-series of the vibrating pipeline from the recorded images.

    - Click the “File folder” button on the toolbar and load the raw images taken in step 6.

    - Open the “Parameter panel”, input the numbers of files and sample rate.

    - Apply the “Low pass filter” in the “Image filter” menu. Note: This operation will allow the edge of pipeline (target to be tracked) to be readily recognized on the processed images (see Figure 3a).

    - In the toolbar, click the “PTV module”. Then click “Tracing point” button, select the center point of the pipeline.

    - Go to “PTV tools”, adjust “Gamma”, “Light Gate” and “Median Filter” to single out the pipeline outline in the image. Click the “Object tracking” button on the toolbar; select the target region (i.e. the pipeline) on the processed image and track the displacement of the vibrating pipeline from the consecutive processed images; record the displacement time-series, η(t), of the vibrating pipeline for later flow field data processes (see Figure 4).

    - The result, i.e., the pipeline displacement time-series data will be autosaved as “PTVTracer.txt” in the default folder.

  - Determine instantaneous velocity fields from the recorded images.

    - Go to “PTV tools”, click “Default” button to resume the raw image for subsequent PIV analysis. Deactivate PTV module by clicking “PTV module”. Open the “Parameter panel” on the toolbar; specify the velocity vector calculation parameter. Note: In this study a multi-pass iteration process is adopted as the interrogation windows start from 32 × 32 pixels, then pass with 16 × 16 pixels, and ended with 8 × 8 pixels; all passes use a 50% overlap between adjacent sub-windows.

    - Apply the “Laplacian filter function” in the “Image filter” menu to the raw images to highlight the seeding particles and filter out undesirable scattering light (see Figure 3c).

    - Click the “Boundary” button on the toolbar, set the geometric mask on the images to exclude the seabed region for further calculation. Click “Boundary Save” button to save the boundary data.

    - Click the “Run” button on the toolbar to calculate the instantaneous velocity fields for different vibrating phases using the cross-correlation method. Note: In this study, a multi-time interval algorithm is adopted to reduce the bias error due to high velocity gradient in the flow field (see Figure 5). The adopted multiple-time intervals for cross-correlation calculations are t, 3t, 9t and 21t (t = 5 ms). The satisfactory correlation criteria is great than 70%.

    - The result will be autosaved in the default folder.

  - Determine the phase-averaged velocity fields from the calculated instantaneous velocity fields with the algorithm as described in Newland 1994 29,30  and Hsieh 2008 28.

    - Apply the wavelet transform function to the displacement time-series, η(t), of the vibrating pipeline to obtain the instantaneous phase for each instantaneous velocity field. Note: The wavelet transform function is defined as:

(1)

where  is wavelet coefficient; and are the scale and translation parameters, respectively; the function  is the Morlet function and is calculated as ; the superscript “*” denotes the complex conjugate. The instantaneous phases, , of the vibrating pipeline that correspond to the different pipeline displacements can be calculated from:

(2)

    - Average the instantaneous velocity fields with the same phase to obtain the phase-averaged velocity fields.

    - Determine the flow vorticity, , in the calculated phase-averaged velocity fields from:

(3)

where  and are phase-averaged velocities along x and y directions.

    - Load the calculated phase-averaged velocity and vorticity data in Tecplot software for visualization.

  - Determine the near boundary shear and normal stresses from the calculated instantaneous velocity fields with the algorithm as described in Hsieh et al. 2016 9.

    - Extract the near boundary velocity data (0-5 mm above the seabed) from the calculated phase-averaged velocity flow fields.

    - Compute the near boundary shear stresses,  and normal stresses, , along the scour profile (approximately 2 mm above the scour hole boundary) for different phases within one vibrating cycle. Note: The calculation equations are as follows:

,                                                      (4)

where,  = dynamic viscosity of the fluid (herein taken as 1×10-3 Pa∙s);  = near boundary velocity parallel to the bed;  = near boundary velocity perpendicular to the bed;  = normal distance from the bed.

    - Load the calculated near boundary shear and normal stresses data in Tecplot software for visualization.

REPRESENTATIVE RESULTS:

An example of the comparison between the raw image and the processed image for pipeline displacements tracking and instantaneous velocity calculation is shown in Figure 3. As shown in Figure 3b, the seeding particles and noises in the raw image are filtered out and the shining pipeline edge is retained for obtaining the displacement time series. As shown in Figures 3c, light scatters/reflections around the seeding particles, pipeline edge and seabed surface are filtered out by the Laplacian filter. An example of the displacement time-series of the vibrating pipeline is shown in Figure 4. It can be seen that the vibration of the pipeline is almost sinusoidal, and the vibrating frequency and amplitude are 0.3 Hz and ~50 mm, respectively.

Figure 6 shows an example of the image of the quasi-equilibrium scour profile and vibrating pipeline at t = 1440 min, in which the origin of the coordinate (x-O-y) of this study is set at the intersection point of the original seabed surface and the pipeline vertical centerline. As shown in Figure 6, in addition to the seeding particles, very few suspended sediment particles can be observed in the flow; therefore the raw image quality was not compromised. This also indicates that a quasi-equilibrium stage was reached for the pipeline scour process.

Examples of the visualized phase-averaged velocity field and vorticity dynamics are shown in Figure 7. It should be noted that because of the shadow of the pipeline during the PIV measurements, the region on the left side of the pipeline has no data (see subplots in Figure 7). As seen in Figure 7, nine discrete phases of the flow field within one cycle of vibration are presented. During the pipeline falling phases (0 ≤ t0/T < 0.5, where T is the vibration period and t0 is the time varies from 0 to T), a pair of vortices with symmetrical patterns is generated from the shear layers on both sides of the vibrating pipeline. Immediately after the pipeline has reached the scour trench bottom (t0/T = 4/8), the counter-clockwise vortex is distorted and sucked into the scour trench as the pipeline rises from the seabed. For the period of the pipeline ascending phases (0.5 ≤ t0/T < 1), another pair of vortices with opposite rotating directions to those in the descending phase is symmetrically generated around the top edge of the pipeline. For a better observation of the flow dynamics in Figure 7, a corresponding video (Video 1) made of 72 phases (frames) of flow fields for one cycle of pipeline vibration is provided.

An example of the near boundary shear stresses, , and normal stresses, , evolution along the scour profile within one vibrating cycle is presented in Figure 8. Since the flow field is symmetrical about the y axis and light reflections on the left half of the scour hole boundary is comparatively stronger than those on the right half, the near boundary shear stresses and normal stresses presented in this study are confined along the right half of the scour profile (0 < x < 5). As shown in Figure 8, these two stresses are normalized by the value of the critical bed shear stress,  (obtained from Shields’ curve as 0.243 Pa) of the sand particles on a plane bed condition. The absolute values of  and within the scour trench and beneath the vibrating pipeline increase significantly when the pipeline is falling to the bed or ascending from the bed. The regions where  and exhibit the maximum and minimum values are consistent with the evolution of flow fields between the vibrating pipeline and scour boundary as shown in Figure 7.

FIGURE AND TABLE LEGENDS:

Figure 1: Schematic of the experimental flume.

Figure 2: Schematic of the pipeline model and vibration system set-up. (a) Section view, (b) Side view. This figure has been modified from 8.

Figure 3: Example of the comparison between (a) the raw image, (b) the processed image for pipeline displacements tracking, and (c) the processed image for instantaneous velocity calculation.

Figure 4: Example of the displacement time-series of vibrating pipeline at t = 1440 min.

Figure 5: Comparison between traditional PIV cross-correlation algorithm (single-time interval algorithm) and the present multi-time interval cross-correlation algorithm. This figure is reproduced from 9.

Figure 6: Example image of the quasi-equilibrium scour profile and vibrating pipeline at t = 1440 min.

Figure 7: Examples of visualized phase-averaged velocity field and vorticity dynamics. This figure is reproduced from 8.

Figure 8: Example of the near boundary shear stresses, , and normal stresses, , evolution along the scour profile (0 < x < 5) within one vibrating cycle. The touchdown and liftoff times refer to the times when the bottom of the pipeline touches and lefts the scour hole boundary. This figure is reproduced from 8.

Video 1: Flow field evolution around the vibrating pipeline within the equilibrium scour hole. The video is made from 72 phases (frames) of flow fields for one cycle of pipeline vibration. This video is reproduced from 8.

DISCUSSION:

The protocol presented in this paper describes a method for visualization of the two-dimensional flow fields and near boundary flow stress fields around a forced vibrating pipeline in an equilibrium scour hole by using the PIV techniques. Since the designed pipeline motion is one-dimensional along the y direction, preparing and adjusting the pipeline model and vibration system to fulfill this objective are critical prerequisites for a successful outcome. Any undesirable motions of the pipeline along the x direction may induce asymmetrical flow fields and scour hole formation around the vibrating pipeline. Besides the apparatus effects, the selection of vibration frequency and amplitude of the pipeline for the experiments is also important for inducing a symmetrical flow field around the pipeline. In fact, as indicated by Lin et al. 31, in a quiescent water condition, the structure of flow recirculation behind an impulsively started circular cylinder can maintain its symmetry when the non-dimensional time  < 5, where tD = cylinder moving time; UD = cylinder speed; for the condition that TD > 5, the oblique vortex shedding may occur around the cylinder. In this study, the maximum pipeline speed can be estimated as , and the cylinder moving time can be taken as , thus the maximum non-dimensional time .

During the PIV setup stage, the laser sheet and camera adjustments, and the seeding particle selection are the critical protocol steps for obtaining high quality flow field data. The camera shooting direction must be perpendicular to the laser sheet, otherwise perspective distortions will be shown in the captured images. As this method aims to obtain the near boundary flow stresses in an unsteady flow field, the intensity of the laser and the position of the field-of-view should be properly set to avoid strong light reflection on the boundary.  The chosen seeding particles need to effectively scatter the illuminating laser sheet and be able to follow the flow streamlines without excessive settlement 20. Based on this consideration, the seeding particles used in this study were aluminum powders, whose settling velocity was estimated to be 92.6 m/s using Stoke's law. This settling velocity is negligible compared with the flow velocities (0.1-0.2 m/s) near the vibrating pipeline. To optimize the experimental setup, verifying the focus of the camera and determining the camera sampling rate are also crucial steps for reliable measurements.

For the data process stage, there are two challenges for obtaining high quality phase-averaged flow fields and near boundary flow stresses: (1) accurately calculate the instantaneous flow fields and avoid the displacement bias error in the flow regions with a large velocity gradient; and (2) accurately catalogue the captured images that have the same vibrating phase. For calculating the instantaneous flow fields, the traditional PIV cross-correlation method 19 determines the velocity vector between two consecutive images with a fixed time interval t (See Figure 6a). This traditional method may not be suitable for this study because the calculated flow field may have significant displacement bias errors near the vibrating pipeline and seabed boundaries. To overcome this problem, a multi-time-interval algorithm is adopted in this study (See Figure 6b).  By using this method, image interrogations are executed reiteratively on different image pairs for different selected intervals. The velocity vector at each grid point is determined based on the estimations of suitable time interval 9,27,28. It should be noted that when using this method, the raw image datasets should be acquired by a time resolved PIV with a high sampling rate camera and continuous wave laser. To overcome the second challenge, this paper provides a wavelet transform technique. By applying the wavelet transform function to the displacement time-series of the pipeline, the instantaneous phase of each captured image can be accurately calculated. This method can also be applied to investigate vortex induced vibration processes, such as pipeline vibration induced by asymmetry vortex shedding 15,27,32.

The key advantages of the flow measurement technique described in this paper are high temporal and spatial resolution and the capacity to simultaneously obtain the pipeline dynamics, flow fields and near boundary flow stresses. By using this technique, more in-depth studies on pipeline scour in complex environments can be carried out and the complex mechanism of scour around the vibrating pipeline could be better understood.

ACKNOWLEDGMENTS:

This work was supported by the Young Scientists Fund of the National Natural Science Foundation of China (51709082) and the Fundamental Research Funds for the Central Universities (2018B13014).

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

1	Fredsøe, J. Pipeline-seabed interaction. Journal of Waterway, Port, Coastal, and Ocean Engineering. 142 (6), 03116002, (2016).

2	Larsen Bjarke, E., Fuhrman David, R. & Sumer, B. M. Simulation of wave-plus-current scour beneath submarine pipelines. Journal of Waterway, Port, Coastal, and Ocean Engineering. 142 (5), 04016003, (2016).

3	Chiew, Y. Mechanics of local scour around submarine pipelines. Journal of Hydraulic Engineering. 116 (4), 515-529, (1990).

4	Chiew, Y. Prediction of maximum scour depth at submarine pipelines. Journal of Hydraulic Engineering. 117 (4), 452-466, (1991).

5	Gao, F.-P., Yang, B., Wu, Y.-X. & Yan, S.-M. Steady current induced seabed scour around a vibrating pipeline. Applied Ocean Research. 28 (5), 291-298, (2006).

6	Wu, Y. & Chiew, Y. Mechanics of three-dimensional pipeline scour in unidirectional steady current. Journal of Pipeline Systems Engineering and Practice. 4 (1), 3-10, (2013).

7	Zhu, Y., Xie, L. & Su, T.-C. Visualization tests on scour rates below pipelines in steady currents. Journal of Hydraulic Engineering. 145 (4), 04019005, (2019).

8	Guan, D., Hsieh, S.-C., Chiew, Y.-M. & Low, Y. M. Experimental study of scour around a forced vibrating pipeline in quiescent water. Coastal Engineering. 143 1-11, (2019).

9	Hsieh, S.-C., Low, Y. M. & Chiew, Y.-M. Flow characteristics around a circular cylinder subjected to vortex-induced vibration near a plane boundary. Journal of Fluids and Structures. 65 257-277, (2016).

10	Sumer, B. & Fredsøe, J. Scour below pipelines in waves. Journal of Waterway, Port, Coastal, and Ocean Engineering. 116 (3), 307-323, (1990).

11	Sumer, B. M., Fredsøe, J., Gravesen, H. & Bruschi, R. Response of marine pipelines in scour trenches. Journal of Waterway, Port, Coastal, and Ocean Engineering. 115 (4), 477-496, (1989).

12	Çevik, E. & Yüksel, Y. Scour under submarine pipelines in waves in shoaling conditions. Journal of Waterway, Port, Coastal, and Ocean Engineering. 125 (1), 9-19, (1999).

13	Sumer, B. M., Truelsen, C., Sichmann, T. & Fredsøe, J. Onset of scour below pipelines and self-burial. Coastal Engineering. 42 (4), 313-335, (2001).

14	Li, F. & Cheng, L. Prediction of lee-wake scouring of pipelines in currents. Journal of Waterway, Port, Coastal, and Ocean Engineering. 127 (2), 106-112, (2001).

15	Yang, B., Gao, F.-P., Jeng, D.-S. & Wu, Y.-X. Experimental study of vortex-induced vibrations of a pipeline near an erodible sandy seabed. Ocean Engineering. 35 (3), 301-309, (2008).

16	Zhao, M. & Cheng, L. Numerical investigation of local scour below a vibrating pipeline under steady currents. Coastal Engineering. 57 (4), 397-406, (2010).

17	Fu, S., Xu, Y. & Chen, Y. Seabed effects on the hydrodynamics of a circular cylinder undergoing vortex-induced vibration at high reynolds number. Journal of Waterway, Port, Coastal, and Ocean Engineering. 140 (3), 04014008, (2014).

18	Guo, Z., Jeng, D.-S., Zhao, H., Guo, W. & Wang, L. Effect of seepage flow on sediment incipient motion around a free spanning pipeline. Coastal Engineering. 143 50-62, (2019).

19	Adrian, R. J. Particle-imaging techniques for experimental fluid mechanics. Annual Review of Fluid Mechanics. 23 (1), 261-304, (1991).

20	Raffel, M., Willert, C. E., Wereley, S. T. & Kompenhans, J. Particle image velocimetry: A practical guide.  (Springer Berlin Heidelberg, 2007).

21	Piirto, M., Saarenrinne, P., Eloranta, H. & Karvinen, R. Measuring turbulence energy with piv in a backward-facing step flow. Experiments in Fluids. 35 (3), 219-236, (2003).

22	Guan, D., Chiew, Y.-M., Wei, M. & Hsieh, S.-C. Characterization of horseshoe vortex in a developing scour hole at a cylindrical bridge pier. International Journal of Sediment Research. https://doi.org/10.1016/j.ijsrc.2018.07.001, (2018).

23	Guan, D., Agarwal, P. & Chiew, Y.-M. Quadrant analysis of turbulence in a rectangular cavity with large aspect ratios. Journal of Hydraulic Engineering. 144 (7), 04018035, (2018).

24	Kim, J.-T., Kim, D., Liberzon, A. & Chamorro, L. P. Three-dimensional particle tracking velocimetry for turbulence applications: Case of a jet flow. Journal of Visualized Experiments. (108), e53745, (2016).

25	Lu, L. & Sick, V. High-speed particle image velocimetry near surfaces. Journal of Visualized Experiments. (76), e50559, (2013).

26	Lin, W.-J., Lin, C., Hsieh, S.-C. & Dey, S. Flow characteristics around a circular cylinder placed horizontally above a plane boundary. Journal of Engineering Mechanics. 135 (7), 697-716, (2009).

27	Hsieh, S.-C., Low, Y. M. & Chiew, Y.-M. Flow characteristics around a circular cylinder undergoing vortex-induced vibration in the initial branch. Ocean Engineering. 129 265-278, (2017).

28	Hsieh, S.-C. Establishment of high time-resolved piv system with application to the characteristics of a near wake flow behind a circular cylinder, National Chung Hsing University, (2008).

29	Newland, D. E. Wavelet analysis of vibration: Part 1—theory. Journal of Vibration and Acoustics. 116 (4), 409-416, (1994).

30	Newland, D. E. Wavelet analysis of vibration: Part 2—wavelet maps. Journal of Vibration and Acoustics. 116 (4), 417-425, (1994).

31	Lin, C., Hsieh, S.-C., Lin, W.-J. & Raikar, R. V. Characteristics of recirculation zone structure behind an impulsively started circular cylinder. Journal of Engineering Mechanics. 138 (2), 184-198, (2012).

32	Sarpkaya, T. A critical review of the intrinsic nature of vortex-induced vibrations. Journal of Fluids and Structures. 19 (4), 389-447, (2004).