TITLE:

Use of Micro X-ray Computed Tomography with Phosphotungstic Acid Preparation to Visualize Human Fibromuscular Tissue

AUTHORS AND AFFILIATIONS:

Jehoon O1, Hyun-Jin Kwon1, Shin Hyung Kim2, Tae-Hyeon Cho1, Hun-Mu Yang1,3

1Department of Anatomy, Yonsei University College of Medicine, Seoul, Republic of Korea

2Department of Anesthesiology and Pain Medicine, Anesthesia and Pain Research Institute, Yonsei University College of Medicine, Seoul, Republic of Korea

3Surgical Anatomy Education Centre at the Yonsei University College of Medicine, Seoul, Republic of Korea

Corresponding Author:

Hun-Mu Yang

yanghm@yuhs.ac

E-mail Addresses of Co-authors:

Jehoon O		 (jhoon81@yuhs.ac)

Hyun-Jin Kwon	 (hjkwon128@yuhs.ac)

Shin Hyung Kim	 (tessar@yuhs.ac)

Tae-Hyeon Cho	 (choth@yuhs.ac)

KEYWORDS:

micro X-ray computed tomography, phosphotungstic acid, human tissue, fibromuscular tissue, 3D anatomy, contrast agent

SUMMARY:

Micro X-ray computed tomography is effective in obtaining three-dimensional information from undamaged human specimens but has limited success in observing soft tissues. The use of phosphotungstic acid contrast agent can resolve this issue. We implemented this contrast agent to examine human delicate fibromuscular tissues (the orbicularis retaining ligament).

ABSTRACT:

Manual dissection and histological observation are common methods used to investigate human tissues. However, manual dissection can damage delicate structures, while processing and histological observation provide limited information through cross-sectional imaging. Micro X-ray computed tomography (microCT) is an effective tool for obtaining three-dimensional information without damaging specimens. However, it shows limited efficiency in differentiating soft tissue parts. Use of contrast-enhancing agents, like phosphotungstic acid (PTA), can solve this problem by improving soft tissue contrast. We implemented microCT with PTA to investigate the human orbicularis retaining ligament (ORL), which is a delicate structure in the orbit area. In this method, harvested specimens are fixed in formalin, dehydrated in serial ethanol solutions, and stained with a PTA solution. After staining, microCT scanning, 3D reconstruction, and analysis are performed. Skin, ligaments, and muscles can be clearly visualized using this method. The specimen size and duration of staining are essential features of the method. The suitable specimen thickness was about 5–7 mm, above which the process was slowed, and the optimum duration was 5–7 days, below which an empty hole in the central area occasionally occurred. To maintain the location and direction of small pieces during cutting, sewing on the same region of each part is recommended. Furthermore, preliminary analyses of the anatomical structure are needed to correctly identify each piece. Parafilm can be used to prevent drying, but care should be taken to prevent specimen distortion. Our multidirectional observation showed that the ORL is composed of a multilayered meshwork of continuous plates, rather than thread-like fibers, as reported previously. These results suggest that microCT scanning with PTA is useful for examining specific compartments within complex structures of human tissue. It may be helpful in the analyses of cancer tissues, nerve tissues, and various organs, like the heart and liver.

INTRODUCTION:

Manual dissection and histological observation are typically used to examine human tissues, such as muscles and connective tissues. However, manual dissection can easily damage delicate structures, and histological observation provides limited information about flat cross-sectional surfaces1,2. Therefore, improved methods are needed to examine tissues more precisely and efficiently.

Conventional computed tomography (CT) is generally used in clinical practice, but it lacks the ability to distinguish small structures2,3. Micro X-ray CT (microCT) is an effective tool for obtaining three-dimensional (3D) information of small structures from specimens, without destroying them. However, microCT has limited applications because only dense tissues can be visualized clearly; it cannot be used to differentiate soft tissues. To overcome this limitation, staining agents can be used. Contrast-enhancing agents, like phosphotungstic acid (PTA), phosphomolybdic acid, and Lugol’s iodine, improve the soft tissue contrast rate during scanning4,5. Several studies comparing these agents suggest that PTA demonstrates good performance and is easy to handle6-8.

The orbicularis retaining ligament (ORL) is a delicate structure around the orbit, which can be easily damaged during conventional observation9. We examined and successfully retrieved 3D information on this structure using microCT with PTA as a contrast agent. This method can be applied to studies on other human tissues, such as the heart and liver, with appropriate modifications10-12

PROTOCOL:

All cadavers utilized in this study were legally donated to the Surgical Anatomy Education Centre at Yonsei University College of Medicine.

- Obtaining samples

  - Draw an incision line on the cadaver with a colored pencil to indicate the cutting area for sample harvesting. Check that the incision line drawn extends medially to a medial canthus, laterally to a lateral canthus, superiorly to a superior border of the lower eyelid, and inferiorly to 1 cm below the line from the orbital rim.

NOTE: Consider the sample size based on the maximum scanning size of the micro-CT equipment (our equipment could acquire an image with a maximum object dimension of 7 × 7 cm). Here, a sample approximately 1 cm in width, 3 cm in length, and 1.25 g weight was harvested from the ORL region.

  - Cut the facial tissues following the incision line with a blade. Make sure the cut is deep such that the tip of the blade touches the bone. The sample must include the skin, subcutaneous tissue, muscle, fat, and periosteum.

  - Fix the sample in 10% formalin immediately and preserve it for 5 to 7 days at room temperature (Figure 1A).

NOTE: Both embalmed and fresh cadavers can be used for this study. However, the fixation solution for cadavers might differ slightly from the solution used in a biological experiment. Therefore, we suggest fixing the sample with 10% formalin again even after obtaining the sample from embalmed cadavers.

- Preparation for staining

  - After fixing, slice the sample into 3 pieces 5–7 mm in thickness. Do not lose the location and direction of each piece during this process.

NOTE: The microCT scanner we use can cover a maximum size of 7 cm³, but the PTA solution cannot penetrate the sample successfully if it is too thick.

  - Sew the superolateral side of each piece using a needle and black thread such that the direction of the sample can be checked later.

  - Dehydrate the sample in a series of 30%, 50%, and 70% ethanol solutions for 1 day each.

  - Place the sample in 70% ethanol until staining.

- PTA preparation

  - Begin the PTA staining process 1 week before microCT scanning is scheduled.

  - Prepare 210 ml of 70% ethanol solution and add 2.1 g of PTA power to it. Mix well using a shaker at 55-60 rpm.

NOTE: The concentration of the PTA solution should be 1% in ethanol.

  - Prepare three 70 ml plastic containers of PTA solution for each sliced piece. Fill the containers with the PTA solution. Soak the specimens into the containers and place them on a shaker for effective penetration. Leave the samples for 5–7 days (Figure 1B).

  - When the staining is completed, store the sample in 70% ethanol to prepare for scanning.

NOTE: The stained samples can be maintained for several months, but it is recommended that the samples be scanned as soon as possible to ensure full staining.

- MicroCT scanning

  - Wrap the sample with parafilm to prevent drying. Do not wrap samples too tight, as that may lead to deformation.

  - Open the scanner and place the sample on the tray (Figure 2).

  - Set the scanning parameters as follows: source voltage (kV) = 70, source current (μA) = 114, Al filter = 0.5 mm, image pixel size (μm²) = 20, pixels = 2240 × 2240, exposure (ms) = 500, rotation step (deg) = 0.3.

NOTE: The parameters may be modified according to the samples and/or scanners used.

  - Start scanning.

NOTE: Scanning takes 30 to 60 minutes depending on the intended resolution and the speed of the scanner.

- Reconstruction and optimization of data

  - Run the reconstruction software. Select Open Dataset on the Actions menu to launch the scanned files.

  - Select Settings tab on the Reconstruction windows. Set the parameters as follows: Ring artifacts reduction = 7, Beam-hardening correction (%) = 40.

NOTE: The parameters can be modified according to the sample.

  - Begin reconstruction by selecting Start on the Start tab. The final data will be stored in the designated folder.

  - Run the file resizing software. Select Source data set to launch the reconstructed files.

  - Select jpg on the Destination data set tab.

  - Choose the Resizing option 1/2 with a Quality option of No interpolation (fast).

  - Adjust the slide bar to 100 (highest) in the Image compression tab. Start converting.

NOTE: The resizing option is to avoid slowing down the computer speed when 3D rendered; however, it can result in lower resolution when resized extensively. We suggest resizing in half for acceptable resolution with better handling.

- 3D reconstruction

  - Run the 3D volume rendering software.

  - Select Actions tab > Load volume data to launch the dataset.

  - Adjust the brightness and contrast level by modifying shape transfer function in histogram in the Transfer Function Editor tab.

  - Select Options > Lighting.

  - Select Shadows and Surface Lighting icons. These effects provide a realistic modeling tone.

  - Find the best view by moving (click and drag), rotating (right-click and drag), and zooming in or out of (scroll) the model.

  - Slide the plane (shift + click and drag in the inner direction) to show the sectional images (Figure 3).

  - Turn on Light icon. Adjust the lighting indication bar and find the best lighting for viewing. Then, turn off the icon and close the Lighting tab.

  - Select Options > Show > Clipping Box to hide the box for the final image.

  - Select Actions > Save image to store the image.

REPRESENTATIVE RESULTS:

The detailed reconstruction of the ORL was achieved by microCT with PTA preparation (Figure 4). The ligamentous fibromuscular structure extending obliquely between the dermis and periosteum was distinctly observed (Figure 4A). In the coronal view (Figure 4B), the amount and complexity of fibers increased laterally. there were fewer, more intricate fibers posterior to the muscle layer than those seen anterior to the muscle layer. In the horizontal view (Figure 4C), an elaborate meshwork with an arborized formation was observed. We observed a shape characterized by continuous plates, rather than thread-like fibers, as reported previously. In the sagittal view (Figure 4D), the thicknesses of the ORL fibers decreased inferiorly. Furthermore, the amount and complexity of fibers increased laterally. Overall, this multidirectional observation proved that the ORL is made up of a multilayered meshwork of continuous plates with variation in the number and thickness depending on the location.

FIGURE AND TABLE LEGENDS:

Figure 1. Samples were harvested and then stained with PTA solution. A. Samples were fixed in 10% formalin after harvesting. B. Samples were cut into thinner pieces to enhance the penetration and then placed into the PTA solution.

Figure 2. The microCT scanner. Arrow indicates the tray where the specimen is placed.

Figure 3. 3D reconstruction. Slide the plane into the inner direction to view the sectional images inside.

Figure 4. 3D images of the ORL. A. The overall image of the ORL. B. Coronal view. C. Horizontal view. D. Sagittal view. S, superior; A, anterior; L, lateral; P, posterior.

Figure 5. Analyzed structures of the ORL. Yellow, red, and green indicate the skin, the muscle, and the ligament, respectively. S, Superior; P, posterior.

Supplemental Figure 1. Comparison between 3D and 2D images. A. Volume rendered 3D image. B. Cross sectional 2D image. Scale bar = 1 mm.

Supplemental Figure 2. Wrapping and fixing of the parafilm. A. Wrapping the parafilm over the whole sample to prevent drying out. B. Parafilm helps fix the sample firmly on the scanner. C. Parafilm is not visible on the microCT scanning and could be subtracted easily.

Supplemental Figure 3. Insufficient staining of PTA. A hollow space at the center shows where the PTA solution has not penetrated sufficiently. A. Volume rendered 3D image. B. Cross sectional 2D image. Scale bar = 1 mm.

Supplemental Figure 4. Comparison between fresh and embalmed cadavers. No differences were found between fresh and embalmed cadavers to apply the protocol. The picture shows another feature could be taken by the same method as well. A. The ORL obtained from a fresh cadaver. B. The nasolabial crease obtained from an embalmed cadaver.

DISCUSSION:

We implemented microCT with PTA preparation in the examination of human soft tissues. Briefly, specimens are harvested and fixed in formalin for a few days, followed by dehydration in serial ethanol solutions. Placing the sample into the PTA solution directly after formalin fixation can result in some tissue cracking due to rapid dehydration. Therefore, serial dehydration is needed before PTA staining. Next, the samples are stained using PTA solution for about a week. MicroCT scanning, 3D reconstruction, and analysis can then be performed. Our goal was to observe the ORL and adjacent structures using this method. We successfully presented the tissue as a 3D model. Skin, ligaments, and muscles were distinctly visualized (Figure 5).

Several points should be considered while processing the samples. The size of a specimen and the duration of staining are principal concerns. After several pilot studies, we found that the proper thickness of a specimen is about 5–7 mm and the proper duration of staining is 5–7 days. In these conditions, the PTA solution penetrates the specimen at a rate of approximately 1 mm/day. If the thickness exceeds 7 mm, the processing time increases. When the duration of staining is insufficient compared to the volume of a specimen, the final image may include an empty hole in the central area of the specimen. This often occurs, especially at the skin level, and removing unnecessary skin can improve staining efficiency. When the duration is too long, the entire specimen will be overstained, making it difficult to identify each compartment. Further study on the optimal duration for staining larger specimens could prove useful.

Usually, the specimen is divided into pieces to enhance penetration; it is important to remember the location and direction of each specimen during this process. To maintain this information, sewing on the same region of each part is recommended. The thread will be seen in the final image, and one should be careful that the thread does not interfere with the main area. For example, sewing on the superolateral region of each piece might be helpful. Additionally, preliminary analyses of an anatomical structure are needed to recognize each tissue part owing to their complexity.

Parafilm and other materials are used to prevent specimens from drying out. However, slight deformities can occur when wrapping specimens. It is important to preserve the original shape to the greatest extent possible. Sometimes a liquid tube is used, instead of parafilm. However, even the slightest trembling of a machine has the potential to affect the tube during scanning and might reduce the clarity of the final image.

There are several limitations to this approach. First, this protocol cannot be done with a living object. Furthermore, the sample size is restricted by the maximum scanning size of the microCT scanner. There could be errors while analyzing the rendered image by the naked eye; therefore, additional histological experiments may be needed to confirm the findings. There might be slight dimensional distortion during preparation; however, we believe that this does not significantly affect the result of the study.

MicroCT scanning with PTA preparation is advantageous for examining specific compartments within a complex structure. This study focused on the development of a method to enhance the contrast rate using PTA preparation, and other features, like scanning and reconstruction processes, were indicated briefly. However, readers should be able to get the same result if they use contemporary microCT scanners and image-analyzing programs after the staining process. This method could prove helpful in the analyses of cancer tissues and structures, nerve contribution in specific areas, and high-resolution anatomical structures of organs, such as the heart and liver13-15.

ACKNOWLEDGMENTS:

This study was supported by a faculty research grant of Yonsei University College of Medicine (6-2018-0099). The authors thank the people who very generously donated their bodies to Yonsei University College of Medicine. We are grateful to Jun Ho Kim and Jong Ho Bang for their technical support (staff members in the Surgical Anatomy Education Centre at the Yonsei University College of Medicine). We are also grateful to Genoss Co., Ltd. for the high-quality microCT scanning system used in this research.

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

- Nierenberger, M., Remond, Y., Ahzi, S., Choquet, P. Assessing the three-dimensional collagen network in soft tissues using contrast agents and high resolution micro-CT: Application to porcine iliac veins. Comptes Rendus Biologies. 338 (7), 425–433 (2015).

- Vymazalova´, K., Vargova´, L., Zikmund, T., Kaiser, J. The possibilities of studying human embryos and foetuses using micro-CT: a technical note. Anatomical Science International. 92 (2), 299–303 (2017).

- Tesařová M. et al. Use of micro computed-tomography and 3D printing for reverse engineering of mouse embryo nasal capsule. Journal of Instrumentation. 11 (3), 1–11 (2016).

- Nemetschek, T., Riedl, H., Jonak, R. Topochemistry of the binding of phosphotungstic acid to collagen, Journal of Molecular Biology. 133 (1), 67–83 (1979).

- Rao, R.N., Fallman, P.M., Falls, D.G., Meloan, S.N. A comparative study of PAS-phosphotungstic acid-Diamine Supra Blue FGL and immunological reactions for type I collagen. Histochemistry. 91 (4), 283–289 (1989).

- Metscher, B.D. MicroCT for comparative morphology: simple staining methods allow high-contrast 3D imaging of diverse non-mineralized animal tissues. BMC Physiology. 9 (11), doi: 10.1186/1472-6793-9-11 (2009).

- Metscher, B.D. MicroCT for Developmental Biology: A Versatile Tool for High-Contrast 3D Imaging at Histological Resolutions. Developmental Dynamics. 238 (3), 632–640 (2009).

- Nieminen, H.J. et al. Determining collagen distribution in articular cartilage using contrastenhanced micro-computed tomography. Osteoarthritis Cartilage. 23 (9), 1613–1621 (2015).

- O, J., Kwon, H., Choi, Y., Cho, T., Yang, H. Three-dimensional structure of the orbicularis retaining ligament: an anatomical study using micro computed tomography. Scientific Reports. 8 (1), 17042 (2018).

- Dullin, C. et al. μCT of ex-vivo stained mouse hearts and embryos enables a precise match between 3D virtual histology, classical histology and immunochemistry. PLoS One. 12 (2), e0170597 (2017).

- Zikmund, T. et al. High-contrast differentiation resolution 3D imaging of rodent brain by X-ray computed microtomography. Journal of Instrumentation. 13 (2), 1–12 (2018).

- Anderson, R., Maga, A.M. A novel procedure for rapid imaging of adult mouse brains with MicroCT using iodine-based contrast. PLoS One. 10 (11), e0142974 (2015).

- Nieminen, H.J. et al. 3D histopathological grading of osteochondral tissue using contrast-enhanced micro-computed tomography. Osteoarthritis Cartilage. 26 (8), 1118–1126 (2018).

- Greef, D.D., Buytaert, J.A.N., Aerts, J.R.M., Hoorebeke, L.V., Dierick, M., Dirckx, J. Details of Human Middle Ear Morphology Based on Micro-CT Imaging of Phosphotungstic Acid Stained Samples. Journal of Morphology. 276 (9), 1025–1046 (2015).

- Sutter, S., et al. Contrast-Enhanced Microtomographic Characterisation of Vessels in Native Bone and Engineered Vascularised Grafts Using Ink-Gelatin Perfusion and Phosphotungstic Acid. Contrast Media & Molecular Imaging. 2017 doi: 10.1155/2017/4035160 (2017).