# Submission ID #: 59764

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18228068

Title: Pulsed Laser Diode-Based Desktop Photoacoustic Tomography for Monitoring Wash-In and Wash-Out of Dye in Rat Cortical Vasculature

Authors and Affiliations: Sandeep Kumar Kalva, Paul Kumar Upputuri, Praveenbalaji Rajendran, Rhonnie Austria Dienzo, and Manojit Pramanik

School of Chemical and Biomedical Engineering, Nanyang Technological University

# Corresponding Author:

# Manojit Pramanik

# manojit@ntu.edu.sg

Email addresses for Co-authors:

sandeepk002@e.ntu.edu.sg

pupputuri@ntu.edu.sg

praveenb001@e.ntu.edu.sg

rdienzo@ntu.edu.sg

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? Y

3. Which steps from the protocol section below are the most important for viewers to see?

3.4., 3.6., 4.6.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

Step 4.6: Injecting indocyanine green (ICG) dye into the tail vein of the animal is the difficult aspect. Proper care to be taken while inserting the needle into tail vein for successful injection of the ICG dye.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Manojit Pramanik: Photoacoustic tomography, or PAT, is an emerging hybrid biomedical imaging modality combining both optical and ultrasound imaging for monitoring dynamic changes in small animal brains [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Sandeep Kumar Kalva: This is a cost effective, portable, high-speed imaging system that uses imaging speeds as short as half a second [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Manojit Pramanik: Demonstrating the procedure with Sandeep Kumar Kalva will be Praveen Rajendran, a PhD student, Paul Kumar Upputuri, a Research Fellow, and Rhonnie Austria Dienzo, a research assistant [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at Nanyang Technological University, Singapore.

# Section - Protocol

- Pulsed Laser Diode (PLD)-Based Desktop Photoacoustic Tomography (PAT) System Preparation

  - Begin by mounting all single-element ultrasound transducers onto each transducer holder one at a time such that the surface of each acoustic reflector faces toward the center of the scanning area [1] and use connecting cables to connect each transducer cable to the low-noise signal amplifier [2].

    - WIDE: Talent mounting transducer onto transducer holder, with at least one already mounted transducer visible in frame

    - MED: Talent connecting cable(s) to amplifier

  - Switch on the power supply of the chiller [1] and turn on the chiller switch to set the temperature between 20-25 degrees Celsius [2].

    - MED: Talent switching on power supply

    - MED: Talent turning on switch

  - Switch on the low voltage power supply [1] and slowly turn the current control to 0.3 amps [2].

    - MED: Talent switching on low voltage power supply

    - CU: Current being turned to 0.3 A

  - Set the voltage to 12 volts [1] and verify that the current does not exceed 0.1 amp [2].

    - CU: Voltage being set

    - CU: Shot of current not exceeding 0.1 A

  - Switch on the high voltage power supply [1] and press the “Preset” button to set the current to 1 amp and the voltage to 0 volts [2].

    - MED: Talent switching on high voltage power supply

    - MED: Talent pressing Present button

  - Enable the “Output” button [1] and switch on the power supply of the function generator [2].

    - CU: Button being enabled

    - MED: Talent switching on power supply

  - Press the “Recall” button and select a 2 kilohertz configuration to generate the laser pulses at this repetition rate [1].

    - MED: Talent pressing button and/or selecting configuration

  - Place an acrylic tank inside the scanner [1] and fill the tank with water until the detecting surface of the transducers are immersed completely [2].

    - MED: Talent placing tank into scanner

    - CU: Tank being filled with water

  - Then switch on the power supply of the low-noise-signal amplifier [1].

    - MED: Talent switching on power supply

- Imaging Preparation

  - After confirming a lack of response to toe pinch [1-TXT], place the anesthetized rat in the prone position on the work bench [2] and use a hair trimmer to remove the fur on the scalp [3].

    - WIDE: Talent pinching toe Videographer: More Talent than rat in shot TEXT: Anesthesia: ketamine 100 mg/mL + xylazine 20 mg/mL i.p.

    - MED: Talent placing rat onto bench Videographer: More Talent than rat in shot Please move shot 3.1.2 (Talent placing rat onto bench) before shot 3.1.1, also please change the text in step 3.1 accordingly.

    - CU: Fur being trimmed

  - Gently apply depilatory cream to remove the fur completely from the exposed skin [1], using a cotton swab to remove the cream after 4-5 minutes [2].

    - CU: Cream being applied

    - CU: Cream being removed

  - Apply ointment to the animal’s eyes [1] and mount a custom-made animal holder equipped with a breathing mask on a lab-jack [2].

    - ECU: Ointment being applied

    - MED: Talent mounting holder onto jack

  - Place the rat in the prone position on the holder with the head resting on the horizontal platform of the holder [1-TXT] and use surgical tape to secure the animal to the holder [2].

    - MED: Talent placing rat onto holder Videographer: More Talent than rat in shot TEXT: Connect breathing mask to rat/anesthesia machine to deliver 0.75% isoflurane

    - CU: Rat being taped

  - Clamp the pulse oximeter to one hind limb to monitor its physiological condition [1] and use a cotton tipped applicator to apply a layer of colorless ultrasound gel to the scalp [2].

    - CU: Oximeter being clamped

    - CU: Gel being applied

  - Then adjust the lab-jack position to the center of the scanner [1] and adjust the height of the jack manually so that the imaging plane is at the center of the acoustic reflector [2].

    - MED: Talent adjusting jack position Videographer: More minimize rat in shot

    - MED: Talent adjusting jack height Videographer: More minimize rat in shot

- Dynamic In Vivo Indocyanine Green (ICG) Uptake and Clearance

  - After setting the parameters in the data acquisition software for a 360-degree acquisition scan [1], enable the output of the function generator to turn on the pulsed laser diode laser emission [2] and slowly increase the voltage of the variable high voltage power supply to 120 volts for maximum per pulse energy [3].

    - WIDE: Talent setting parameters

    - MED: Talent enabling output function generator

    - MED: Talent increasing voltage

  - Run the data acquisition software program to rotate all eight of the transducers 360 degrees over a 4-second scan time [1] and disable the output of the function generator to turn off the laser emission [2].

    - CU: SUTR rotating

    - MED: Talent disabling function generator output

  - Using the reconstruction algorithm in data processing software [1], determine the scanning radius of all eight of the transducers by trial-and-error using the back-projection algorithm [2].

    - MED-over the shoulder: Talent opening software

    - SCREEN: 57964_4.3.2.mp4: Scanning radius being determined for at least one SUTR/algorithm being run

  - Set the parameters in the data acquisition software for a 45-degree acquisition over a 0.5-second scan time [1] and enable the output of the function generator to turn on the laser emission [2].

    - SCREEN: 57964_4.4.1.mp4: Parameters being set

    - MED: Talent enabling function generator output

  - Run the data acquisition software program to rotate all eight of the transducers 45 degrees to obtain the initial control data [1] and disable the output of the function generator to turn off the laser emission [2].

    - CU: SUTR being rotated

    - MED: Talent disabling function generator output

  - Next, inject 0.3 milliliters of indocyanine green into the tail vein of the rat [1-TXT] and enable the output of the function generator to turn on the laser emission [2].

    - CU: ICG being injected TEXT: See text for ICG preparation details

    - MED: Talent enabling function generator output

  - Then run the data acquisition software to acquire A-lines over a 0.5-second scan time in 45-degree rotation [1].

    - SCREEN: 57964_4.7.1.mp4: A-lines being acquired

  - At the end of the acquisition, use the back-projection algorithm to reconstruct the cross-sectional brain image from the saved A-lines [1].

    - SCREEN: 57964_4.8.1.mp4: Brain image cross-sections being reconstructed

# Section – Results

- Results: Representative Non-Invasive In Vivo Desktop PLD-PAT Imaging and ICG Pharmacokinetics

  - Here brain images from a 98-gram female rat [1] collected at 4- and 0.5-second scan speeds are shown [2].

    - LAB MEDIA: figure2A2B.tif: JoVE Video Editor please emphasize Figure 2A

    - LAB MEDIA: figure2A2B.tif: JoVE Video Editor please emphasize Figure 2B

  - The sagittal sinus and the transverse sinus [1] are clearly visible in both images [2].

    - LAB MEDIA: figure2A2B.tif: JoVE Video Editor please emphasize sagittal sinus in both images (as indicated in Figure 2B)

    - LAB MEDIA: figure2A2B.tif: JoVE Video Editor please emphasize transverse sinus in both images (as indicated in Figure 2B)

  - These photographs show the same region of the rat brain before [1] and after removing the scalp [2]. Photoacoustic tomography imaging can achieve the same visualization non-invasively with the skin and skull intact [3].

    - LAB MEDIA: Figures 2C and 2D: JoVE Video Editor please emphasize Figure 2C

    - LAB MEDIA: Figures 2C and 2D: JoVE Video Editor please emphasize Figure 2D

    - LAB MEDIA: Figures 2C and 2D: JoVE Video Editor please add Figure 2B

  - In this plot, increases in the average photoacoustic signal in the sagittal sinus due to increases [1] and, subsequently, decreases in the optical absorption by indocyanine green at 816-nanometers wavelengths over time can be observed [2].

    - LAB MEDIA: Figure 3: JoVE Video Editor please emphasize data line from red arrow to peak

    - LAB MEDIA: Figure 3: JoVE Video Editor please emphasize data line from peak arrow to plateau

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Rhonnie Austria Dienzo: (Step 4.6.): Always take extra care when injecting the ICG dye into tail vein of the animal [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Praveenbalaji Rajendran: This low-cost desktop photoacoustic tomography system can be used for the dynamic imaging of small animal brain vasculature with a high spatial resolution at a 0.5-second scan speed [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Sandeep Kumar Kalva: Other applications of this imaging system include brain tumor imaging, the imaging of different organs in small animals, and other therapeutic applications [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera