[image: image1.png]o
1 Alewife Center, Suite 200
Cambridge, MA 02140
JOURNAL OF tel. 617.401.7770, ext. 701
VISUALIZED EXPERIMENTS =~ WWW.JOVE.com






Dear Author(s),

This document is divided into a number of sections in which you can add your comments to the video, voiceover, and online text/PDF.   Please be aware that our policy is to do a single complimentary revision, so it is critical that all participants in this project offer their comments collectively.   In addition, please make sure that your comments are easily interpreted and transparent. 

Have fun!

Protocol Name: Pulsed Laser Diode-Based Desktop Photoacoustic Tomography for Monitoring Wash-In and Wash-Out of Dye in Rat Cortical Vasculature
Date: 02-May-2019
Authors and Affiliations

Please fill in any missing author information not included in the video.

	Order
	Author
	Affiliation
	Email

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Video Comments

Please fill in any comments you wish to make using the table below using the example as a guide.  If you need more space to write, please do so below the table.  DO NOT ADD CORRECTIONS TO THE NARRATION HERE.  PLEASE DO THIS IN THE AUDIO COMMENTS SECTION.

	
	Time code
	Comment
	Requested Change

	1.
	1:34
	The high voltage power supply display shows 0 V, 1.15 A
	Instead the display should show 
0 V and 1 A. (This rectified video shot was taken immediately in the next take already on the day of the shoot. Please edit it accordingly.)

	2.
	2:53
	Onscreen text says “Connect breathing mask to rat/anesthesia machine to deliver 0.75% isoflurane”
	Text should say “Connect breathing mask to rat/anesthesia machine to deliver 1 L/min of oxygen with 0.75% isoflurane”

	3.
	3:02
	Video shows applying the gel using a syringe but the audio describes “use a cotton tip applicator”.
	Please edit the video such that it shows cotton tip applicator while applying the gel to match the audio description. (This take has also been shot already as a continuous shot to the syringe)

	4.
	3:38
	The video doesn’t show the display on the high voltage power supply as 120 V.
	Please edit the video to show 120 V by the end of the audio description of this take.

	5.
	3:46
	The transducers should rotate 360 degree. In the video, they are not shown rotating in full 360 degree. The rotation was stopped in the middle due to some error. So we repeated the rotation for complete 360 degree demonstration.
	Full 360 degree rotation video was taken on the day of the shoot (already rectified this immediately in the next take). Please edit the video to show full 360 degree rotation. 

	6.
	
	
	

	7.
	
	
	

	8.
	
	
	

	9.
	
	
	

	10.
	
	
	

	11.
	
	
	

	12.
	
	
	

	14.
	
	
	

	15.
	
	
	

	16.
	
	
	

	17.
	
	
	

	18.
	
	
	

	19.
	
	
	

	20.
	
	
	


Audio Comments

This section is used to specify the changes that need to be made to the narration.   Please follow the example below as a guide to list your changes. If there is a pronunciation change, please provide a phonetic pronunciation key.  

	
	Time code
	Comment
	Step(s) in Shotlist 
	Rewritten Text or Corrected Pronunciation (highlight in bold)

	1.
	
	
	
	

	2.
	
	
	
	

	3.
	
	
	
	

	4.
	
	
	
	

	5.
	
	
	
	

	6.
	
	
	
	

	7.
	
	
	
	

	8.
	
	
	
	

	9.
	
	
	
	

	10.
	
	
	
	

	11.
	
	
	
	

	12.
	
	
	
	

	13.
	
	
	
	

	14.
	
	
	
	

	15.
	
	
	
	

	16.
	
	
	
	

	17.
	
	
	
	

	18.
	
	
	
	

	19.
	
	
	
	

	20.
	
	
	
	


Online Text/PDF Protocol

Please use this table to address changes that need to be made to the online text/PDF document. Both the online text and PDF are generated from the HTML template of your article. Since the PDF is generated from the HTML by our conversion software, it may contain formatting errors. For major structural changes or more than 10 spelling or grammatical mistakes, we will require re-upload of the entire document.     

	
	Protocol Step
	Comment
	Requested Change (highlight in bold)

	1.
	1.1
	NOTE says “The PLD generates ~816 nm wavelengths, pulses of ~107 ns duration…”
	Please correct to “The PLD generates ~816 nm wavelength pulses of ~107 ns duration…”

	2.
	2.4
	Step says “Place the animal in prone position on the holder so the head rests on the horizontal platform…..”
	Please correct to “Place the animal in prone position on the holder so that the head rests on the horizontal platform….”

	3.
	Introduction : Line 1
	It says “Photoacoustic computed tomography (PACT/PAT) is a promising non-invasive biomedical imaging modality combining rich, optical contrast with higher ultrasonic resolution.”
	Please correct to “Photoacoustic computed tomography (PACT/PAT) is a promising non-invasive biomedical imaging modality combining rich optical contrast with high ultrasound resolution.”

	4.
	Introduction: Line 2
	It says “When a nanosecond pulsed laser deposits energy onto light, absorbing chromophores present inside any biological tissue, local temperature increases lead to thermoelastic expansion and contraction of the tissue”
	Please correct to “When a nanosecond pulsed laser deposits energy onto light absorbing chromophores present inside any biological tissue, local temperature increases leading to thermoelastic expansion and contraction of the tissue”

	5.
	
	
	

	6.
	
	
	

	7.
	
	
	

	8.
	
	
	

	9.
	
	
	

	10.
	
	
	

	11.
	
	
	

	12.
	
	
	


[image: image1.png]