The authors thank the editor and the reviewers for their insightful comments on our manuscript. We have thoroughly revised the manuscript based on their criticisms and added detailed descriptions to clarify the protocol.

Editorial comments:
General:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

We have corrected all spelling and grammar errors to the best of our knowledge.

2. Please ensure that the manuscript is formatted according to JoVE guidelines–letter (8.5” x 11”) page size, 1-inch margins, 12 pt Calibri font throughout, all text aligned to the left margin, single spacing within paragraphs, and spaces between all paragraphs and protocol steps/substeps.

We have fixed them throughout the manuscript.

3. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please limit the use of commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.
For example: Quick frame, 80/20 Inc, Image Pro Plus,
We have eliminated words that would be considered commercial language. This information has been updated in the Table of Materials and Reagents. However, we still used commercial language software programs such as Matlab and Image Pro Plus (Protocol 1.4 and 4.2). Reviewers requested a more detailed explanation of the software, thereby necessitating the use of commercial names. Please advise if we still need to eliminate these software names, and if so, how we can discuss without using software names.

Protocol:
1. Please include an ethics statement before your numbered protocol steps, indicating that the protocol follows the animal care guidelines of your institution.

An ethics statement has been added prior to the protocol.

2. Please add more details to your protocol steps. Please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. If revisions cause a step to have more than 2-3 actions and 4 sentences per step, please split into separate steps or substeps.

The authors have included more detail in the protocol steps upon the recommendation of the editor. These revisions can be found throughout the entirety of the protocol section, taking special care to answer the “how” question to the best of our ability. 

Specific Protocol steps:
1. I’m not sure what ‘set the speed of looming…’ means, exactly.

The phrasing above has been removed from the manuscript and revised with more detailed explanation (Protocol 1.4). Furthermore, we added Figure 1C and 1D to support the explanation.

2. 1.5: What age/sex/strain of mice do you use?

We described in Protocol 1.5. We used C57 background mice of male and female, and 4-14 weeks old.

3. Please provide more details regarding the use of analysis software or a citation.

We have included more information about its use in our experiment (Protocol 4.2).

Figures:
1. Please remove ‘Figure 2’ and ‘Figure 2’ from the Figures themselves.

We removed the titles “Figure 1” and “Figure 2” from their respective figures. 

References:
1. Please do not abbreviate journal titles.

We did make sure that titles are not abbreviated.

Table of Materials:
1. Please ensure the Table of Materials has information on all materials and equipment used, especially those mentioned in the Protocol.
The authors have ensured that the Table of Materials includes all equipment and reagents used in the experiment. 

Reviewers' comments:

Reviewer #1: 
Manuscript Summary:
The authors describe a simple setup to measure the looming behavior in mice. The behavior is robust and reliable and a good test of mouse vision.
The Introduction is strong and convincingly details the advantages and disadvantages of other tests of mouse vision currently used in the field to assess retinal and visual behavior. A few minor comments on other aspects of the manuscript are listed below.

Major Concerns:
Is the analysis software available to other users?

The analysis software is available to other users commercially. The authors have made note of this in the protocol (Protocol 4.2) and have also given suggestions for similar software—also tested in consideration for this set of experiments-- that is freely available.

Minor Concerns:
Protocol:
*Ln 112: It will be helpful for the reader interested in building the device to know how the looming speed (in units of degrees per second) was determined. Perhaps include a diagram indicating the geometry of the setup and the corresponding calculation relating the linear seed of the looming object and the position of the mouse.

We have added a diagram (Figure 1D) to better explain the calculations to readers. We have also inserted additional stimulus information in section 1.4 of the protocol in order to clarify stimulus parameters.

*Include a diagram illustrating what a looming stimulus looks like and how it moves along the monitor. What is the size of the looming object?

We have included size information (Protocol 1.4) and have also added a diagram (Figure 1C) which illustrates how the stimulus expands on the monitor.

*Indicate the irradiance (illuminance) of the mouse environment and the contrast of the object.

The ambient level of the arena was measured and described in the Representative Results section.

*Ln 114. Says 'we set the looming stimulus 1 second in duration and 10 times in a row'. How was the stimulus introduced into the field? In what region of the field? Does it make a difference? At a speed of 50 degrees per second, the object will only move over a small portion of the overhead field (visual angle) during a one second presentation… See comments below.
*The time between repetitions is not indicated here. How is it controlled? Does it provide enough time for the mice to come out of the refuge? Perhaps refer the reader to the next section (3.3.3 where more details are indicated)
We have added more schemes to explain our stimulus (Figure 1). The looming started expanding from the center to the edge of the monitor (2 to 50 degree). We repeated the stimulus presentation 10 times. This procedure is nowdescribed in Protocol 1.4 and Figure 1. Upon your recommendation, we also refer the reader to section 3.3.

Video analysis
*Ln 4.2: Is this custom software? Is the software available to the readers? Perhaps the info in line 166 could be moved up to this section

The software is not custom, but it is available to readers should they wish to purchase it (Table of Materials). We have clarified this and suggest other possible software that is freely available in Protocol 4.2

.
Representative results:
*Ln 170: unclear how the latency time was measured. Was this from the onset of the looming stimulus? If the duration of the looming stimulus is 1 second (see above) does this mean that the response delay can over-extend the duration of the stimulus (indicated to be between 0.1 to 6 seconds)?

Mice were exposed to the looming stimulus for 10 seconds (250 ms duration, 10 times with an interval of 1 second). The delay time was measured from the onset of the looming stimuli to mouse flight. Therefore, flight occurred during the looming stimuli. We clarified parameters of the looming stimulus in Protocol 1.4 and modified the latency description in the Representative Results.

Discussion:
*ln 220: does this paragraph belong in the introduction?

While we understand the suggestion, we feel the limitations of the study are more appropriately examined in the Discussion section.

*Perhaps include a reference to Huberman's work (Salay et al, 2018) describing the central circuitry involved in looming responses?

We have cited this paper in the last paragraph of Introduction. Thank you for your suggestion.

Figure 2: Legend Fig 2 states that the stimulus duration was 10 seconds not 1 second as indicated in the text.

We clarified the stimulus procedure (Protocol 1.4) in order to avoid confusion about stimulus duration.

How is the 'freezing behavior' defined? By looking at the C and D graphs this mouse seems frozen at 5.5 seconds. Can a more quantitative definition of 'frozen' be introduced. Perhaps by setting noise thresholds for each of the output parameters (velocity and distance)?
We have replaced the figures in question with graphs that have lower noise levels in order to avoid confusion. We have also cited our definitions for both freezing and flight in the manuscript (Protocol section 4.4).

Reviewer #2:
Manuscript Summary:
In this manuscript, the authors used looming visual stimuli to evaluate mouse vision. Take the advantage of a self-built system, they showed that looming visual stimulus induced consistent and robust fear responses in mice, and this behavioral assay could be a useful test of mouse vision which required minimal training of the experimenter.
This method is practical and easy to use. However, I would suggest that the following serious issues should be addressed before the consideration of accepting this manuscript to be published in JOVE.

Major Concerns:
1. The aim of using looming visual stimuli was to evaluate mouse vision. However, the authors did not provide a specific and quantitative definition of the vision. They just showed that naïve healthy-eyed mice exhibited escaping or freezing behaviors and blind mice showed no behavioral response. This was just an all-or-none judgment but not a quantitative evaluation of vision.

A few research articles have investigated the mechanisms of looming experiment, which revealed that the looming stimulus evokes the fear response via the image-forming pathway. Although multiple methods to examine mouse vision are available, many of them, such as pupil light reflex and optomotor reflex, are induced by sub-cortical pathways. The looming experiments is one of few methods to test the image-forming pathway that arises through the visual cortex and the limbic system. Because JoVE is a methodology journal, we do not show any results regarding the mechanism of the looming responses. However, the looming experiments are unique and important vision tests, and thus this looming test merits introduction as a means of assessing vision. We expanded the last paragraph of Introduction to address to your concern.

2. Some logical mistakes appeared in the manuscript. For example, lines 71 "…measuring mouse behavior, such as electroretinogram (ERG)...", ERG is not a behavior.

The authors have deleted ERG in line 71 and have also read through the manuscript and edited other similar logical errors.

3. In the "protocol" session, the authors did not describe how blind mice were prepared.

This was an oversight on our part, thank you for finding this error. These mice were blind due to severe cataract for both eyes, which was induced spontaneously or by ketamine anesthesia. These mice did not show pupil light reflex and OMR. We have included the preparation of blind mice (Protocol 1.5).

4. The authors did not show whether this study has been approved by an ethics committee.

We have now included the Statement at the beginning of the Protocol section.

5. Many descriptions were not accurate enough in this manuscript. The parameters for displaying looming stimuli were not accurate enough. Was there any time interval between the adjacent two looming stimuli? The visual angles for the same looming stimulus at different places of the paper floor should be different. What were the exact size and shape of a looming stimulus?

We apologize for the lack of appropriate description contained within the manuscript and thank you for your insight. We have added further detail on the stimulus presentation in section 1.4 and 1.4.1. Additionally, we have added information concerning the location of the mice in relation to the stimulus (presented in section 3.3.1). Additional panels (Figure 1C-D) were also included in  figure 1 to show the shape of the stimulus.  The stimulus size parameters are now included in Protocol 1.4.

6. In Chapter 4.2, the authors did not introduce what and how analysis software was used.

We expanded the Protocol 4.2 to fully describe the mouse track analysis.

7. In line 171, did "The latency from the looming stimuli to flight" mean the latency from the onset of the first looming stimulus to mouse fight?

Yes, this was what we meant. We have modified the description in the Representative Results section to clarify the meaning of latency.

8. The camera was placed near one side of the arena. Therefore, the shape of the paper floor in captured images should be a trapezoid rather than a rectangle. Was there any follow-up correction of the shape of the paper floor?

We have corrected the skewed image by simple calculation. This calculation is now shown in Figure 2, and the description is given in Protocol 4.3.

9. Some figures are presented in an appropriate or inaccurate way. In figure 2A, the readers cannot distinguish the boundaries between the adjacent two stages. Some markers should be added, or different colors should be used.

The panel has been edited to more clearly demarcate the pre-stimulus (black solid line) and during/post-stimulus phase (red dashed line). We also revised the figure legend to further clarify this panel.

10. From Figure 2B to 2E, only the first 3 seconds of looming stimuli were shown. The authors should show not only the entire stage of looming stimuli but also a few seconds after the end of looming stimuli.

While we understand why this may be helpful in denoting periods before, during, and after the stimulus, all animals remained in the refuge once they fled until well past the end of the stimulus duration. These figures are simply meant to depict representatively the immediate behavioral response to the stimulus. Since the animals remain stationary in the hut following stimulus termination, both figures would show a line hovering on the x-axis if extended any further. We have added the description of stationary mouse behavior after the flight to Figure 3 legend. 

Minor Concerns:
1. Figure 2D and 2E had no Y-axis label.

The authors have made sure to correctly format the PDF so that all axes are showing.

2. In figure 2D, a blue arrow could not quantitatively describe the time period of freezing, especially the start and end of freezing. Therefore, the authors should use two arrows or a background color to illustrate the exact time period of freezing.

In response to this commentary, the authors have added a pale yellow background during the stimulus duration of Figure 3B-E and have inserted a double sided red arrow to denote the freezing period in Figure 3D-E.

3. Many grammatical mistakes exist in the manuscript. For example, lines70 and 71 "They conducted not only cellular experiments, but also measuring mouse behavior, such as…" should be "They not only conducted cellular experiments but also measured mouse behaviors, such as…". Line 93 "mouse visual and emotional system" should be "mouse visual and emotional systems". Besides, confounding use of present tense and past tense was frequent in this manuscript. For example, line 108 and 109 "Because the monitor cannot be seen by the experimenter from the outside, a second monitor was prepared, which duplicates..."

The authors thank the reviewer for finding these grammatical errors and have taken care to comb the manuscript to eliminate further errors. All grammatical errors from the above comment have been fixed accordingly.