## Sheet1
INPUT FIELD | USE
Mouse ID | Input the filename under which the collected data will be saved.
Total Pellets to Dispense During Routine | Input the total number of pellets that will be dispensed during the training session.
Pause After Pellet Number | Deprecated function. May be used to pause the training session after the specified pellet is dispensed.
Pause Length (s) | Length of time the pause lasts.
Reach distance (mm) | Record the distance above minimum over which the mouse must reach to retrieve the pellet. Zero by default.
Size of Accelerometer and Time Arrays | Function exposed for debugging purposes. Keep at default value of 500.
Folder to Contain Logs | Click the folder icon to choose where collected data is saved.
Device name | LabVIEW function that connects hardware to software. Defaults to Dev1. Depending on USB connections, hardware may appear in the dropdown menu under another number; choose devices until one works.
Arrow button, top left | Click to run the program, whether for a training session or for calibration.
Stop sign button, top left | Stop the program prematurely.