# Submission ID #: 59822

# Scriptwriter Name: Qingyun Ping

# Project Page Link: https://www.jove.com/account/file-uploader?src=18245758

# Title: Examination of Mitotic and Meiotic Fission Yeast Nuclear Dynamics by Fluorescence Live-Cell Microscopy

# Authors and Affiliations:  Wilber Escorcia1,2, Kuo-Fang Shen1, Ji-Ping Yuan1, Susan L. Forsburg1

1Program in Molecular and Computational Biology, University of Southern California, Los Angeles, California, USA

2Leonard Davis School of Gerontology, University of Southern California, Los Angeles, California, USA

# Corresponding Author:

# Susan L. Forsburg

# forsburg@usc.edu

# Email addresses for Co-authors:

# escorcia@usc.edu

# kuofangs@usc.edu

# jipingyu@usc.edu

# PLEASE READ THE INSTRUCTIONS IN THE GRAY BOXES CAREFULLY AND USE TRACK CHANGES WHILE MAKING ANY EDITS TO THE DOCUMENT.

# This document has several sections on separate pages, so take care to view each page.

Author Questionnaire:

Authors, please fill out the unanswered questions below.

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

2.5

2.6

2.7

2.14

2.16

4.6

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

2.6

2.14

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

- The total introduction length (i.e., Required and Optional Interview Statements) cannot exceed 150 words.

- Restrict the length of each statement to no more than 30 words.

- Please answer the questions below in full sentences to highlight the significance of your protocol. You will be expected to memorize and deliver these sentences as spoken interview statements during filming.

- Indicate the full name of each author who will give each statement. If only one author is giving the REQUIRED statements, the same author may speak both statements.

# Why is your protocol significant? OR What key questions can this method help answer?

  - Susan L. Forsburg: ___________(Live-cell microscopy allows researchers to study fission yeast mitotic and meiotic nuclear dynamics in real time).

# What is the main advantage of this technique?

  - Susan L. Forsburg: ___________(The strength of this technique stems from observing nuclear processes in living cells under normal physiological conditions, thereby eliminating the use of toxic fixatives and stains).

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

- The following OPTIONAL questions may be answered to provide additional introductory information about your protocol.

- These OPTIONAL statements must be spoken by different authors than those who gave the Required Interview Statements.

- The length of each OPTIONAL statement is restricted to no more than 30 words and contributes to the total introduction length, which cannot exceed 150 words.

- Indicate the full name of each author who will give each OPTIONAL statement.

# Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Wilber Escorcia: ___________(This technique addresses questions related to protein timing, mobility, and stability that may not be amenable to genetic or biochemical manipulation).

# Are there any specific areas of research that this method could provide insight into?

# Can this method be applied to any other systems?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

# How would you expect an individual who has never performed this technique to struggle?

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Wilber Escorcia: ___________ (It is critical to pay close attention to the health and fitness of fission yeast cells before imaging. Always examine cell morphology and growth characteristics to ensure consistency of results across experiments).

# Why is visual demonstration of this method critical?

  - Kuo-Fang Shen: ___________(This protocol shows a relatively simple way to prepare microscope slides that, when mastered correctly, can enhance the consistency and reproducibility of prolonged live-cell imaging).

# Introduction of Demonstrator: (Said by you on camera)

- Please use this statement ONLY if any of the individuals who will be demonstrating the procedure on camera have not given a required or optional Introduction interview statement already.

- Include the full name(s) of the person(s) demonstrating the experiment followed by their title (e.g., technician, post doc, grad student, clinician, etc.)

- Also indicate the full name of the author who will introduce the demonstrator(s).

  - Susan L. Forsburg: Demonstrating the procedure will be _________ (Ji-Ping Yuan), a _________ (laboratory technician) from my laboratory. (Add additional mention of demonstrators as necessary).

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Section - Protocol

- Read through the entire protocol carefully to understand what you will need on the filming day and prepare accordingly.

- The two-digit numbers (e.g. 2.1., 2.2.) represent the “steps” of you protocol and will be read by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the “shots” that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in a single work day, the protocol is restricted to 30 steps and/or 60 shots.

- It is critical for a smooth and organized shoot that all materials and work spaces are prepared and labeled (if applicable) in advance.

- Any specimens/samples that require long or overnight incubation steps should be prepared in advance. (i.e. day 0 sample preparation will be filmed on the day of the shoot; day 1 samples should be prepared the day before the shoot so their processing can be filmed on the day of the shoot/after their overnight culture/treatment/etc.)

# Authors: Please address highlighted questions. If the highlighted areas are correct, you don’t need to change anything. Also check if any pronunciation is incorrect.

# Please record time codes for screen captures.

- Fission Yeast Culture and Sample Preparation

  - To begin, wake up fission yeast strains from cryogenic preservation by streaking cell matter on YES plates and incubating them at the appropriate temperature [1]. Use a sterile loop to pick cells from individual colonies [2] and inoculate them into test tubes containing 3 milliliters of YES liquid medium [3].

    - MED: Talent streaks yeast onto solid medium.

    - CU: Talent uses a loop to pick colonies.

    - CU: Talent places the loop into a tube containing medium.

  - Place the tubes in a shaker at 150-220 rpm to grow at 32 degrees Celsius overnight to late-log phase with a desired optical density reading of 0.7-1.0 [1]. Transfer 10 microliters of the culture to a microscope slide, put a coverslip on, and place it under a microscope [2] to check for proper cell morphology and nutritional state [3].

# Nutritional state can be gauged by observing cell size and vacuole composition. When starved, cells decrease in size and show increased vacuoles (Figure 2A).

    - MED: Talent places the tubes into a shaker.

    - MED: Talent transfers culture and observes under a microscope.

    - SCOPE: Talent shows the cell.

  - To set up microscope slide, first add 2 grams of agarose in a 500-milliliter beaker containing 100 milliliters of either minimal medium plus supplements for mitosis, or liquid SPAS for meiosis [1].

    - CU: Talent adds powder into a beaker with medium.

  - Warm the agarose solution in a microwave oven at 60% power in 10 seconds increments [1] or place the beaker in a 55 degrees Celsius water bath for 10 minutes [2]. Swirl the solution to ensure efficient melting [3].

    - MED: Talent places the beaker in a microwave and adjusts settings.

    - MED: Talent places the beaker in a water bath.

    - CU: Talent swirls the beaker. Close up of the melted agarose.

  - Set up two microscope slides on a pipette tip holder with the top slide resting on two stacks of lab tape at both ends as support, making a cross shape [1]. Adjust the distance between the two slides to change agarose pad width. Thick pads (>5 millimeters) are strongly recommended for prolonged imaging [2].

    - MED: Talent sets up a slide on a holder. Focus on the slides.

    - CU: Shot of the distance between the two slides.

  - After cooling the molten agarose for 1 minute at room temperature, remove the top slide, and use a wide-bore pipette tip to dispense 50-100 microliters on the bottom slide to make a spot [1]. Before the agarose cools down, place the top slide on top to generate a spread pad of about 1.5-2 centimeters in diameter [2].

    - CU: Talent removes top slide and dispenses the agarose on the bottom slide.

    - CU: Talent places a top slide on top.

  - To examine mitotic events, grow cells from starter cultures in either liquid EMM or PMG plus supplements overnight [1]. Transfer 1 millimeter of the culture into a cuvette and measure on the spectrophotometer at a wavelength of 595 nanometers [2]. The cell growth is considered mid-log phase when OD595 (pronounce as O-D-5-9-5) reaches 0.4 [3]. How about optical density at 595 nm?

    - MED: Talent shows the starter culture.

    - MED: Talent transfers culture and measures on the photometer.

    - CU: Close up of the reading of the photometer showing 0.4.

  - Centrifuge 1 milliliter of the cell suspension at 1,375 times g for 1 minute [1], remove the supernatant and resuspend the cell pellet in minimal medium plus supplements to a final volume of 100 microliters [2]. Mount cells for imaging as shown later for meiotic experiments.

    - MED: Talent transfers 1 mL of the cell suspension into a tube, and places into a centrifuge.

    - CU: Talent removes supernatant and adds medium.

  - To image meiotic events, grow cells from starter cultures in minimal medium plus supplements overnight [1]. Cell growth is considered late-log phase when OD595 is between 0.7 to 1 [2].

    - MED: Talent shows the starter culture.

    - CU: Close up of the reading of the photometer showing between 0.7-1.

  - Combine 500 microliters of each opposite mate-type cells, h- and h+, in a 1 milliliter cell suspension [1]. Centrifuge the cells at 1,375 times g for 1 minute [2], remove the supernatant and resuspend the pellet in 1 milliliter of liquid maltose extract (ME) [3]. Repeat the ME wash thrice to ensure efficient nutrient removal [4-TXT].

# In the fission yeast field, it is known that h+ and h- haploid cells of the same genotype must be mixed in limited nitrogen media to induce sexual reproduction. Thus, h+ and h- cells come from the same wake up plate and meet only after growth in liquid culture.

    - MED: Talent adds two solutions into 1 mL cell suspension.

    - MED: Talent places the tube into the centrifuge. Videographer: Take multiple shots, as this will be used later.

    - CU: Talent removes supernatant and adds medium. Videographer: Take multiple shots, as this will be used later.

    - Use 2.10.2. TEXT: Repeat wash thrice.

  - After the last ME wash, resuspend cells in 1 milliliter of ME [1] and transfer it to a 50-milliliter flask containing 9 milliliters of ME [2]. Incubate for 12-16 hours at 22-25 degrees Celsius on minimal rotation speed between 50-100 rpm [3].

    - Use 2.10.3.

    - MED: Talent transfers the cell suspension into a flask containing ME liquid.

    - MED: Talent places the flask on a rotator and adjusts the speed.

  - The appearance of many round fission yeast clumps resulting from abundant cell flocculation indicates efficient mating [1]. Next, take 1 milliliter sample of the mating culture and centrifuge at 1,375 times g for 1 minute [2].

    - CU: Close up of the yeast clumps.

    - MED: Talent draws up 1 mL of the culture into a tube and places into a centrifuge.

  - Remove 750 microliters of the supernatant, and resuspend cells in the remaining supernatant [1]. Vortex vigorously for 5 seconds to disrupt clumps [2].

    - CU: Talent removes 750 microliters and resuspends.

    - MED: Talent vortexes the tube and then shows it with no clumps.

  - Dispense 20 microliters of either a mitotic or meiotic cell suspension on a 2% agarose pad [1]. Remove any excess medium by inverting the slide and putting it on the top of a lint-free paper towel for 2-3 seconds [2]. Flip the slide and gently place a glass coverslip on the top of the pad, ensuring not to generate air bubbles [3].

    - CU: Talent adds cell suspension onto the agarose pad.

    - MED: Talent places the slide on paper to dry.

    - CU: Talent flips the slide and places a glass coverslip on top.

  - To create a cell monolayer, rotate the coverslip clockwise with the index finger for one full turn for mitosis cells, or two full turns for meiosis cells [1]. Ensure that the cell matter disperses across the agarose pad allowing for better separation of single cells or asci [2].

    - CU: Talent rotates the coverslip.

    - ECU: Close up of the cell matters dispersed.

  - With the aid of a small wooden stick, dispense molten hydrocarbon sealant along the edges of the coverslip to seal each agarose pad [1]. Once the agarose pad is sealed, place it on the microscope stage [2] and adjust the temperature and humidity of the microscope system [3].

# Temperature and humidity are part of a temperature chamber that houses the microscope stage. These are controlled by an on/off switch and a dial that sets the desired temperature. Humidity is typically controlled by adding a plate containing a wet paper towel. The sealant is called VALAP, but JOVE only allows us to call it a hydrocarbon sealant.

    - MED: Talent seals the edges of the coverslip with sealant.

    - MED: Talent shows the sealed pad, and places onto the microscope stage.

    - SCREEN: Talent adjusts temperature and humidity.

  - Let it equilibrate for 10-15 minutes at the appropriate imaging conditions. Allow air bubbles to dissipate and let any last-minute agarose shifts to occur [1].

# Bubbles are the enemy of prolonged live-cell imaging. In the previous step, bubbles can be introduced during slide preparation. During equilibration, bubbles come up to the surface as a result of agarose shifting into place. If a bubble abuts a selected field of view, it will eventually expand and cause cell shifting, which is highly undesirable. That’s why it is necessary to be paranoid about air bubbles.

    - CU: Close up of the agarose with bubbles dissipating.

- Live-cell Imaging

  - Use the 40x objective to find appropriate fields of view to the image [1]. Switch to the 60x objective to begin data acquisition [2]. In the software that controls microscope function, choose the microscope filter sets that best match the fluorophores under observation [3].

# Filter sets are chosen according to experimental needs. We cannot put specific filter sets above because of this, unless the video focuses on a specific figure.

    - SCOPE: Talent finds appropriate fields.

    - MED: Talent switches lenses.

    - SCREEN: Talent chooses filter sets.

  - Adjust the excitation wavelengths to match the fluorophores used, employ the lowest excitation power that produces consistent signal, and use exposure times of 4-8 hours to generate acceptable, yet quantifiable and reproducible imaging data [1-TXT].

    - SCREEN: Talent adjusts excitation wavelengths, power, and exposure time. TEXT: 2% agarose pads can withstand 12 to 16 h imaging sessions.

  - Collect at least 6 acquisition time points every hour [1]. In the image collection software, select at least one fluorescence channel from which to acquire data, and employ a z-stack comprised of 13 sections with 0.5-micrometer spacing [2-TXT].

    - SCREEN: Talent adjusts acquisition time points.

    - SCREEN: Talent adjusts settings. TEXT: A minimum of 0.5-1 GB of hard drive storage space.

- Image Analysis

  - In the Fiji software, upload a deconvolved image by selecting the Bio-Formats Importer feature under the Plugins menu [1]. In the Import Options pop-up window, select Hyperstack, Default color mode, check Autoscale, and press the OK button [2].

    - SCREEN: Talent uploads an image.

    - SCREEN: Talent adjusts settings in the pop-up window.

  - Ensure the displayed window has the correct number of fluorescence channels and time frames by scrolling sideways on the respective bars at the bottom [1]. Save as a Tiff file, which does not compress data [2].

    - SCREEN: Talent scrolls the bars at the bottom.

    - SCREEN: Talent saves the file.

  - Then, select Measure, under the Analyze menu [1], use the Set Measurements option to choose different parameters, for example, Area, Perimeter, Mean gray value, Median, Min & max gray value, Integrated density, Stack position, and Display label [2].

    - SCREEN: Talent navigates to Analyze menu.

    - SCREEN: Talent chooses parameters.

  - Select Color and click on the Channels Tool. In the Channels pop-up window, check the color channel for which intensity or area will be measured [1]. Choose the Adjust and Threshold features under the Image menu. Check the Dark background box, select the Default method, and pick Red to overlay the signals of interest [2].

    - SCREEN: Talent goes to channels pop-up window, and points to color channel.

    - SCREEN: Talent chooses two features, and adjusts settings.

  - Use the Wand tool to highlight each structure of interest [1] and press the letter T on the keyboard [2] to add the selected ROI to the pop-up ROI manager window [3].

    - SCREEN: Talent highlights structure of interest.

    - CU: Talent presses T.

    - SCREEN: Talent shows the ROI manager window with added ROI.

  - Next, open the zipped ROI folder to load the ROI manager and click on each ROI identifier on the left side panel [1]. Select Measure from the Analyze menu and repeat this command on each ROI identifier to quantify the objects of interest in all slices of the image stack [2].

    - SCREEN: Talent loads the ROI manager, and clicks on the left panel.

    - SCREEN: Talent selects measure, and repeats for the rest ROI.

  - Save results as a csv file for statistical analysis [1].

    - SCREEN: Talent saves as a csv file.

OPTIONAL – Critical Step Statement:

- An OPTIONAL brief statement may be submitted for further elaboration of the best way to perform the required technique for the single most critical step of this procedure.

- If there is no single critical step, then there is no need to fill out this statement.

- This will be an interview style shot interjected after the relevant step within the Protocol section of the video.

- This statement is limited to 30 words or less.

- Please indicate the full name of the Author who will give this statement and the step of the protocol to which the statement pertains using the step numbers from the Protocol section (above).

# Fill in the details below based on the instructions above for the “Critical Step Statement”

# Kuo-Fang Shen, Step     2.6       :           (is critical for optimal live-cell imaging. Ensure to eliminate any air bubbles from the molten agarose and create a thick pad for imaging periods longer than 4 hours).

# Section – Results

# The Results section is restricted to 200 words of narrative. Please read through the results as presented to make sure that it accurately represents your findings. If you would like to highlight other data, please revise this section accordingly, keeping in mind the word count restriction. Please note that we cannot include narrative without an accompanying visual.

- Results: Cell Selection, Mitotic and Meiotic Nuclear Dynamics

Authors: Please provide layered unflattened image for Figure 2.

  - In this study, if cells starve due to nutrient limitation or overgrowth, they will show excess vacuoles and decreased cell size [1]. Logarithmic cells show active DNA replication and cell division [2], as well as pan-nuclear Tos4-GFP expression, and Sad1-DsRed foci separation [3].

    - Figure 2 – Video editor: Emphasize Figure 2A, and the three top Starvation images.

    - Figure 2 – Video editor: Emphasize Figure 2A, and the bottom Log images.

    - Figure 2 – Video editor: Emphasize Figure 2A, and the bottom blue and green Log images.

  - Failure to mate, as is the case when cells are not sufficiently starved of nitrogen, will prevent them from entering meiosis [1]. A pair of fission cells undergoing karyogamy are shown [2].

    - Figure 2 – Video editor: Emphasize Figure 2B, the top inefficient image.

    - Figure 2 – Video editor: Emphasize Figure 2B, the top inefficient image, and the pair of cells indicated by the arrow.

  - Robust flocculation of the mating cell suspension increases cell-to-cell interaction and thus indicates successful mating and efficient meiotic induction [1]. Zygotic asci take multiple forms including the zig-zag [2] and banana cell shapes [3].

    - Figure 2 – Video editor: Emphasize Figure 2B, the bottom efficient image.

    - Figure 2 – Video editor: Emphasize Figure 2B, the bottom efficient image, and the cell indicated by the red closed arrow.

    - Figure 2 – Video editor: Emphasize Figure 2B, the bottom efficient image, and the cell indicated by the red open arrow.

  - In mitosis, as cells transition from metaphase to telophase [1], the first change involves a contraction of nuclear size in metaphase [2], while the second shows nucleus splitting during anaphase [3].

    - Figure 3A&B – Video editor: Emphasize on Figure 3A, lanes 3-8. Emphasize on Figure 3B, 20-120min.

    - Figure 3A&B – Video editor: Emphasize on Figure 3A, lane 3. Emphasize on Figure 3B, at 20min.

    - Figure 3A&B – Video editor: Emphasize on Figure 3A, lane 4. Emphasize on Figure 3B, at 40min.

  - Besides sharing these changes with mitotic cells, meiotic cells exhibit nuclear oscillation [1] during homologous recombination and further reduction of nucleus size at the end of anaphase two [2].

    - Figure 4 – Video editor: Emphasize -100’ to -50’, on both Figure 4A&B.

    - Figure 4 – Video editor: Emphasize the 70’ to 90’, on both Figure 4A&B.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- Below are questions for statements that can be used to further emphasize the significance of your protocol. At least one statement is required.

- Each statement is limited to 30 words.

- Answer the questions in full sentences, as you will be expected to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each Conclusion Interview statement.

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Kuo-Fang Shen: ____ (Step: __) (It is the responsibility of researchers to ensure that experimental parameters can be reproduced across experiments and that the collected data is fit for downstream analysis )

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Author Name: ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Susan L. Forsburg: ____ (Live-cell imaging has allowed researchers to observe in close detail the mechanics of nuclear division during mitosis and meiosis. As fluorescent tags and microscope capabilities improve, so will the number and type of nuclear processes that we can examine increase)

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take.

  - Author Name: ___(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.