TITLE:

The Lower Body Positive Pressure Treadmill for Knee Osteoarthritis Rehabilitation

AUTHORS AND AFFILIATIONS:

Junjie Liang1,2,*, Yuanyuan Guo1,2,*, Yuxin Zheng1,2, Shijuan Lang1, Hongxin Chen1,2, Yaoyao You1,2, Bryan O’Young3,4, Haining Ou1,2, Qiang Lin1,2

1Department of Rehabilitation, The Fifth Affiliated Hospital of Guangzhou Medical University, Guangzhou, China

2Experiment Education Model Center of Rehabilitation Medicine, Guangzhou Medical University, Guangzhou, China

3Department of Physical Medicine and Rehabilitation, Geisinger Health System, Pennsylvania, USA

4Department of Rehabilitation Medicine, New York University School of Medicine, New York, USA

*These authors contributed equally.

Corresponding authors:

Qiang Lin		(qianglin0925@gzhmu.edu.cn)

Haining Ou		(ouhaining@gzhmu.edu.cn)

Email addresses of co-authors:

Junjie Liang		(ljj88961@gzhmu.edu.cn)

Yuanyuan Guo		(yuanyuanguo@gzhmu.edu.cn)

Yuxin Zheng		(zhengyx@gzhmu.edu.cn)

Shijuan Lang		(langshijuan@stu.gzhmu.edu.cn)

Hongxin Chen		(chenhongxin@gzhmu.edu.cn)

Yaoyao You		(youyaoyao@gzhmu.edu.cn)

Bryan O’Young		(oyoungb@gmail.com)

KEYWORDS:

knee osteoarthritis, lower body positive pressure treadmill, the anti-gravity treadmill, lower limb motor function, gait analysis, rehabilitation

ABSTRACT:

Here, based on a clinician’s point-of-view, we propose a two-model lower body positive pressure (LBPP) protocol (walking and squatting models) in addition to a clinical, functional assessment methodology, including details for further encouragement of the development of non-drug surgical intervention strategies in knee osteoarthritis patients. However, we only present the effect of LBPP training in improvement of pain and knee function in one patient through three-dimensional gait analysis. The exact, long-term effects of this approach should be explored in future studies.

INTRODUCTION:

Knee osteoarthritis (OA) is a progressive degenerative joint condition and a major cause of pain and locomotor disability in people all over the world1. Knee OA is characterized by osteophyte and cyst formation, narrow joint spacing, and subchondral bone sclerosis2. These pathological changes make it difficult to perform essential activities of daily living such as walking, squatting, and going up and down stairs3. However, physical activity is recommended as an essential component of first-line knee OA management4. Exercise intervention for knee OA rehabilitation is affected by several factors: (1) limited knee joint movement caused by pain and minor knee structural changes; (2) muscle atrophy associated with maintaining knee stability and a decrease in muscle strength5; and (3) the above reasons lead to a reduction in exercise and an increase in body mass index (BMI), which further increases the burden on the knees, thus creating a vicious cycle6.

In response to the above mentioned issues, the body weight-supported training system (BWSTT) has gradually addressed bone and joint disease-related rehabilitation7. In recent years, one of the emerging body weight-supported training technologies is called the lower body positive pressure (LBPP) treadmill7. This technology uses a waist-high inflatable balloon to achieve positive lower limb pressure and accurately adjust the air pressure to regulate body weight with the aim of achieving weight reduction. The system is also equipped with a running platform that can concurrently perform treadmill-related activities under the control of body weight8. Meanwhile, the pressure generated in the inflated enclosure provides a lifting force against the body. Because the pressure is only slightly above atmospheric pressure and is evenly distributed, the force on the lower body is almost imperceptible. Thus, the LBPP running platform provides a higher level of comfort and is more suitable for long-term training compared with the traditional BWSTT9. Peeler et al. performed an LBPP treadmill intervention on 32 knee OA patients and showed that the LBPP treadmill can effectively relieve knee pain, improve daily life functions, and produce an increase in thigh muscle strength10. The potential mechanism might be related to achievement of effective knee joint activity while reducing knee joint torque11. On the other hand, since the age of onset of knee OA patients is mostly over 45 years old12, onset may also be associated with cardio-pulmonary diseases. Studies have shown that LBPP allows people to achieve walking as exercise with relatively low heart rate, blood pressure, and oxygen consumption and achieve safer and more effective aerobic exercise than full-weight flat walking; this type of walking is another advantage of LBPP when compared with traditional BWSTT13.

However, due to the relatively new application of this system to knee OA intervention, the relatively few existing studies have greatly limited the clinical application of this technology in knee OA rehabilitation. The LBPP protocol proposed in this article aimed to explore the clinical non-drug and surgical knee OA treatment using the LBPP treadmill.

PROTOCOL:

The clinical project was approved by the Medical Ethics Association of the Fifth Affiliated Hospital of Guangzhou Medical University and has been registered at the China Clinical Trial Registration Center (No. ChiCTR1800017677 and entitled “Effect and Mechanism of Anti-gravity Treadmill on Lower Limb Motor Function in Patients with Knee Osteoarthritis”).

- Recruitment

1.1. Recruit patients presenting with radiographic evidence of mild-to-moderate (Kellgren & Lawrence grades II or III) knee OA in one or both knees and knee pain when walking, squatting, and/or kneeling (the minimum level 3/10 on numerical pain rating scale [NPRS] before inclusion).

1.2. Ensure that these patients have no severe knee OA (Kellgren & Lawrence grade IV), retropatellar arthritis or any medical condition that would prevent them from tolerating progressive training.

1.3. Obtain written informed consent from each patient before their participation.

- Pre-training evaluation

  - Complete demographic forms of the patient including weight, height, past medical history and any past or current medications.

  - Clinical assessment

    - Conduct the numerical rating scale (NRS)14. Ask the patient to describe the pain intensity with 11 numbers from 0 to 10, where 0 is no pain and 10 is the worst pain.

    - Conduct the active/passive knee joint range-of-motion (ROM) assessment15 using a handheld 2-arm goniometer (26-cm arms with 2° markings).

    - Conduct the Western Ontario and McMaster Universities Osteoarthritis Index (WOMAC)16. Ask the patient to mark the corresponding position of pain or limited function on a straight line for 5 pain-related items, 2 stiffness items, and 17 functional items. “0” indicates no pain or no function limitation. “10” indicates severe pain or extreme limited function.

    - Conduct the Knee Injury and Osteoarthritis Outcome Score (KOOS)17 (optional). Ask the patient to finish the self-evaluation questionnaire with five-level for each item in five subscales: pain, other symptoms, activities of daily living, sports, and recreation.

    - Conduct the European five-dimensional health scale (EQ-5D)18 (optional). Ask the patient to mark the three-level for five dimensions: mobility, self-care, usual activities, pain/discomfort, and anxiety/depression.

    - Conduct the 10-meter walk test (10 MWT)19. Ask the patient to perform three consecutive 10 MWT trials at a self-selected pace for safety and comfort. Ask the patient to walk without assistance for 10 m and measure the time taken for the middle 6 m (to exclude acceleration and deceleration effects).

    - Conduct the timed up and go (TUG) test20. Ask the patient to perform three consecutive TUG trials (stand up, walk 3 m, turn, walk back, and sit down) at a self-selected pace (for safety and comfort).

  - Perform the three-dimensional (3D) gait analysis (optional).

NOTE: 3D gait and concurrent electromyography (EMG) analyses are not required for this LBPP training protocol, but can be used for further objective assessments as needed.

2.3.1. Position twenty-two spherical markers on the patient’s anatomical landmarks based on the Davis protocol21.

2.3.2. Position six surface EMG electrodes on the bilateral rectus femoris, semitendinosus, and long head biceps femoris of the patient.

2.3.3. Perform calibration in the standing position. Ask the patient to hold an orthostatic position for at least 3−5 s with the feet aligned in order to avoid having one foot in a more anterior or posterior position with respect to the other.

2.3.4. Instruct the patient to walk with a self-selected speed along the 5-m walkway, five times.

2.3.5. Remove all the spherical markers and EMG electrodes from the patient. Save all the collected data for data processing later following the instructions in section.

- LBPP training

NOTE: An anti-gravity treadmill (Table of Materials) was used for this LBPP training protocol and shown in Figure 1. For patient safety, a therapist is required to set up the patient in the LBPP and supervise the whole treatment process.

  - Preparation

    - Patient preparation

3.1.1.1. Introduce the specific LBPP treadmill training process and related precautions to the patient.

3.1.1.2. Check the patient’s blood pressure (BP) and heart rate (HR) before training (60 bpm ≤ HR ≤ 120 bpm and 90/60 mmHg ≤ BP ≤ 160/100 mmHg).

3.1.1.3. Determine the size of the air seal shorts according to the waist circumference of the patient and ask the patient to put on the shorts.

    - Anti-gravity treadmill setting up

3.1.2.1. Turn on the treadmill by operating the switch located on the front cover of the system and run the self-testing of the anti-gravity treadmill.

3.1.2.2. Lower the cockpit and have the patient step into the fabric enclosure of the anti-gravity treadmill.

3.1.2.3. Lift the cockpit to the appropriate height according to the LBPP training model: the cockpit height should be at the anterior superior iliac spine for the walking model and slightly below the femur’s greater trochanter for the squatting model. Once the cockpit is in place, zip the patient into the anti-gravity treadmill.

3.1.2.4. Use the safety lanyard supplied with the machine to secure the clip onto patient’s clothing, which is essential for emergency stopping during the training process (in case the patient falls or does not feel well).

3.1.2.5. Instruct the patient to stand still on the surface of the treadmill belt to allow the system to hold and weigh the patient’s full body weight (BW) without any support from any part of the system and then press the start button to perform an anti-gravity treadmill system calculation for accurate unweighting.

3.1.2.6. Place three cameras supplied with the machine (in front and bilaterally, Figure 1) and adjust the positions to obtain the synchronized video feedback during the training process; this will help the patient correct abnormal movement patterns.

  - Training session

NOTE: The whole training session is performed for 30 min, six times a week for two weeks. The main parameters that need to be adjusted with the “+” and “–” button controls in the LBPP console are speed (miles per hour, mph), BW support (%), incline (%) and knee’s active range-of-motion (AROM).

3.2.1. Start the warm-up session with the following settings: 5 min (speed = 0−2.0 mph, BW = 65%, incline = 0%). Increase speed by 0.4 mph and BW support in 7% increments per minute.

3.2.2. Perform the walking model session with the following settings: 15 min (speed = 2.0 mph, BW = 65%, incline = 0%).

3.2.3. Perform the cool-down session with the following settings: 5 min (speed = 2.0−0 mph, BW = 65%−100%, incline = 0%). Decrease speed by 0.4 mph and BW support in 7% decrements per minute.

3.2.4. End up with the squatting model session with the following settings: 5 min (speed = 0 mph, BW = 50%, incline = 0%, AROM = 0°−50° or the maximum tolerable joint range of motion within 50°, 30 s of squatting followed by a 30 s rest period).

NOTE: In the clinical application, this LBPP training session should be adjusted according to the patient’s tolerance. Moreover, if the patient cannot tolerate the squatting training model, only the walking mode is performed.

4. Post-training evaluation

NOTE: The same therapist completes each patient's pre- and post-evaluation.

4.1. Re-evaluate the patient after 2 weeks of the LBBP training session, including NRS, active/passive ROM, WOMAC, KOOS, EQ-5D, 10 MWT, TUG and 3D gait analysis.

4.2. Record patient’s satisfaction and feedback on this LBPP protocol including the degree of enjoyment and self-conscious improvement, desire to continue, and suggestions.

5. 3D gait analysis data processing

5.1. Run the gait analysis software (Table of Materials) included with the 3D gait analysis system.

5.2. Define the events of heel-strike (right/left foot initial ground contact) and toe-off (right/left toes are lifted off the ground) in gait cycle for each walking trial (Figure 2).

5.3. Obtain the spatiotemporal parameters, knee joint kinematics and surface EMG activity parameters.

REPRESENTATIVE RESULTS

We show results from a knee OA patient, who was a 60-year-old female (BMI = 22.9) undergoing “more than 3 years of knee osteoarthritis” and severe pain when she was walking (visual analog scale [VAS] = 8/10) and participated in a 2-week LBPP training program at our facility. During the entire intervention, the patient did not take any painkillers to relieve knee pain. The radiological image of her knee joints and the results of clinical function assessments are shown in Figure 3 and Table 1.

The 10 MWT decreased from 4.1 s at pre-training to 3.3 s at post-training. The TUG test decreased from 9.1 s at pre-training to 8.2 s at post-raining. After two weeks of LBPP training, patients showed an improvement in total WOMAC scores (15 versus 8), pain subscales (8 versus 3), stiffness subscales (1 versus 0), and function subscales (6 versus 5). The total VAS pain scores or the knee flex-extension AROM did not change after two weeks of treatment.

The gait parameter results are shown in Figure 4. The right swing phase (%height) increased from 40.75 at pre-training to 41.51 at post-training (Figure 4A). The left swing phase (%height) decreased from 41.11 at pre-training to 40.33 at post-training (Figure 4B). The right stride length (%height) decreased from 77.00 at pre-training to 74.10 at post-training (Figure 4C). In contrast, the left stride length (%height) increased from 74.1 at pre-training to 75.68 at post-training (Figure 4C). The mean velocity (%height) increased from 74.44 at pre-training to 74.97 at post-training (Figure 4D). The cadence (steps/min) increased from 117.2 at pre-training to 119.8 at post-training (Figure 4E). The step width decreased from 0.08 m at pre-training to 0.06 m at post-training (Figure 4F).

Knee joint movement trajectories in the frontal, sagittal, and transverse planes are shown in Figure 5. Both right and left trajectories of the knees’ AROMs were closer to normal reference values at post-training than at pre-training, especially during the swing phase of knee AROM in the sagittal plane.

The results of tight muscle EMG activities are shown in Figure 6. The mean root-mean-square (RMS) of the left long head biceps femoris muscles, left rectus femoris, and left semitendinosus increased from 0.160 ± 0.069, 0.130 ± 0.054, and 0.259 ± 0.138 mV, respectively, at pre-training to 0.194 ± 0.136, 0.317 ± 0.215, and 0.315 ± 0.204 mV, respectively, at post-training (Figure 6A). The mean RMS of the right long head biceps femoris muscles, right rectus femoris, and right semitendinosus increased from 0.160 ± 0.022, 0.136 ± 0.013, and 0.259 ± 0.021 mV, respectively, at pre-training to 0.234 ± 0.018, 0.206 ± 0.009, and 0.438 ± 0.017 mV, respectively, at post-training (Figure 6C). The peak RMS of the left long head biceps femoris muscles, left rectus femoris, and left semitendinosus increased from 0.342 ± 0.094, 0.256 ± 0.245, and 0.528 ± 0.197 mV, respectively, at pre-training to 0.540 ± 0.032, 0.797 ± 0.116, and 0.784 ± 0.074 mV, respectively, at post-training (Figure 6B). The peak RMS of the right long head biceps femoris muscles, right rectus femoris, and right semitendinosus increased from 0.388 ± 0.078, 0.286 ± 0.036, and 0.855 ± 0.055 mV, respectively, at pre-training to 0.576 ± 0.098, 0.390 ± 0.024, and 1.300 ± 0.140 mV at post-training, respectively (Figure 6D).

The patient claimed that she was satisfied with the whole LBPP training process without any discomfort and would like to accept another session in the future.

FIGURE AND TABLE LEGENDS:

Figure 1: Diagram of the LBPP setup and LBBP training protocol. (A) Walking model; (B) squatting model; (C) The protocol and parameter setting of the LBPP training. AROM = active range of motion, BW = body weight.

Figure 2: Example of definition of the right foot initial contact with the ﬂoor (green vertical lines) and right toe off (blue vertical line). The knee ﬂexion-extension angle (green) and the ankle dorsi-plantarﬂexion angle (red) are shown. R = right.

Figure 3: The digital radiography image of the knee OA patient at pre-training.

Figure 4: The spatial-temporal parameters of the patient with knee at pre and post LBPP training intervention. (A) The percentage of right stand phase (dark green) versus swing phase (light green) in the gait cycle. (B) The percentage of left stand phase (dark red) versus swing phase (light red) in the gait cycle. (C) The stride length (%height) of right side (green) versus left side (red). Panels (D), (E), and (F) show mean velocity (%height/s), cadence, and step width, respectively.

Figure 5: Knee joint movement trajectories in gait cycle at frontal, sagittal and transversal plane. The knee movement trajectory of a normal subject as the normal reference (grey) is also shown, which refers to the motion capture system (Table of Materials).

Figure 6: The synchronized EMG activity of the patient with knee OA in the gait cycle at pre and post LBBP training intervention. Panels (A) and (C) show the mean RMS of muscle activity in biceps femoris caput longus, rectus femoris and semitendinosus, respectively; panels (B) and (D) show the peak RMS of muscle activity in biceps femoris caput longus, rectus femoris and semitendinosus, respectively. RMS = root mean square; mV = microvolt; L = left; R = right.

Table 1: Clinical assessment results. 10MWT = 10-meter walk test; SSP = self-selected pace; TUGT = timed up and go test; WOMAC = Western Ontario and McMaster Universities Osteoarthritis Index; NRS = the numerical rating scale; AROM = active range of motion; s = second.

DISCUSSION:

We proposed an LBPP treadmill intervention protocol, which includes both clinical assessment and treatment models, for the rehabilitation of lower extremity motor function in knee OA. Meanwhile, in response to the clinical symptoms and knee OA dysfunction, the treatment model includes not only a training section for walking in the LBPP protocol but also an innovative squatting training section, which aims to solve the daily dysfunction due to thigh muscle weakness and squatting difficulties in knee OA patients. To the best of our knowledge, this protocol is the first to include a squatting exercise regimen with un-weighting technology in knee OA patients.

The design of this protocol was based on five main points. First, pain and the resulting break are the main problem of patients with knee OA. This protocol aims to explore the potential effect of an anti-gravity treadmill for increasing the amount of exercise by reducing knee load and pain during exercise in knee OA patients22. Therefore, the inclusion criteria focused on knee OA patients with knee pain when walking, squatting, and/or kneeling. Second, WOMAC and KOOS are both widely used in clinics to assess the physical function of knee OA patients. WOMAC is used to assess symptoms associated with the condition of patients with OA of the knee and hip (five pain items, two stiffness items, and 17 joint function items) and to reflect the severity and therapeutic effects of arthritis16. The KOOS is a self-administered instrument used for evaluating knee-associated problems including knee joint injury and OA (42 items in five subscales: pain, other symptoms, activities of daily living, sports and recreation)17. Moreover, the EQ-5D is used to assess the general condition of patients, which includes five dimensions (mobility, self-care, usual activities, pain/discomfort, anxiety/depression)18. Although this protocol is mainly focused on pain and physical function of mild to moderate knee OA patients, the KOOS and EQ-5D for a comprehensive evaluation of health is optional and recommended. Third, the LBPP training session consists of the walking and squatting modules. The walking module focuses on improving walking function and knee activity, and the squatting module focuses on the enhancement of the tight muscle strength23. It is noticeable, however, that retropatellar arthritis should be excluded from our LBBP training protocol due to tight anatomical structures (mis-tracking of the patella through the femoral groove) and the squatting-induced heavy physical loading pressure, which can aggravate pain24. Meanwhile, if the patient cannot tolerate the squatting training model, only the walking mode is performed. Fourth, gradual warm-up and cool-down periods are important for better adaptation with high exercise intensity at the beginning of exercise session and restoration of full body weight slowly before stopping the exercise session. Lastly, in our protocol, the frequency of alter-gravity treadmill training is six times per week for two weeks, but the training frequency can be adjusted according to the specific situation of the patient and their Medicare payments, such as one session of treatment with two to three times per week for three−four weeks.

Comparing the results at pre-training and the 2-week post-training, which is presented in the representative results section, the functional improvement was mainly reflected in three aspects. First, the improvement in walking ability, which is reflected in the decrease in time cost of the 10 MWT and TUG tests (the reduction of TUG also indicates a reduction in the risk of falling) (Table 1) in addition to improvement in 3D gait analysis parameters, including an increase in the mean velocity (%height) and cadence and decrease in step width (Figure 4). Second, an increase in muscle strength in thigh muscles, including the rectus femoris, semitendinosus, and long head biceps femoris on both sides (Figure 6). Third, a reduction in knee pain (although the overall NRS pain score was not apparent at pre-training under resting conditions, the patient complained that the main pain was induced during functional activities, such as walking or climbing up and down stairs). Moreover, after two weeks of the LBPP training, the WOMCA assessment showed a significant reduction in pain during functional exercise (Table 1). Additionally, the results collected from the 3D gait motion analysis system at pre and post LBPP training sessions were consistent with the results of the clinical evaluation scales in our study. It is worth noting that the active knee joint mobility did not improve significantly before and after treatment, but the 3D gait motion analysis showed that both sides of knee joint movement trajectories were closer to the normal reference in the sagittal plane at post-training than at pre-training (Figure 5). Meanwhile, the patient has no restriction in AROM, no resting pain. This could explain why knee ROM did not change.

We must address certain limitations in this article. First, this article aims to provide a protocol for anti-gravity treadmills in knee OA patients based on our past clinical experience and previous research reports10,11,22. However, our findings are only valid in this case report (due to the lack of objective evaluation methods in our past clinical applications, such as 3D gait analysis and the conventional control group). The clinical efficacy of this approach requires further investigation. Second, neither the protocol nor the case report involved multiple sessions or follow-up. Considering the irreversibility and progress of the knee OA disease, we recommend that this cohort should be followed up as part of future studies.

ACKNOWLEDGMENTS:

This study was funded by Guangzhou Medical University (Grant Number 2018A053).

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

1. McAlindon, T.E. et al. OARSI guidelines for the non-surgical management of knee osteoarthritis. Osteoarthritis Cartilage. 22, 363-388 (2014).

2. Luyten, F.P., Denti, M., Filardo, G., Kon, E., Engebretsen, L. Definition and classification of early osteoarthritis of the knee. Knee Surgery Sports Traumatology Arthroscopy. 20, 401-406 (2012).

3. Lankhorst, G.J., Van de Stadt, R.J., Van der Korst, J.K. The relationships of functional capacity, pain, and isometric and isokinetic torque in osteoarthrosis of the knee. Scandinavian Journal of Rehabilitation Medicine. 17, 167-172 (1985).

4. Waugh, E. et al. Physical activity intervention in primary care and rheumatology for the management of knee osteoarthritis: A review. Arthritis Care & Research. 71 (2), 189-197 (2019).

5. Segal, N.A. et al. Effect of quadriceps strength and proprioception on risk for knee osteoarthritis. Medicine & Science in Sports & Exercise. 42, 2081 (2010).

6. Linda, F. et al. EULAR recommendations for the non-pharmacological core management of hip and knee osteoarthritis. Annals of the Rheumatic Diseases. 72, 1125-1135 (2013).

7. Watanabe, S., Someya, F. Effect of Body Weight-supported Walking on Exercise Capacity and Walking Speed in Patients with Knee Osteoarthritis: A Randomized Controlled Trial. Journal of the Japanese Physical Therapy Association. 16, 28-35 (2013).

8. Takacs, J., Anderson, J.E., Leiter, J.R., MacDonald, P.B., Peeler, J.D. Lower body positive pressure: an emerging technology in the battle against knee osteoarthritis? Clinical Interventions in Aging. 8, 983-991 (2013).

9. Ruckstuhl, H., Kho, J., Weed, M., Wilkinson, M.W., Hargens, A.R. Comparing two devices of suspended treadmill walking by varying body unloading and Froude number. Gait & Posture. 30, 446-451 (2009).

10. Peeler, J., Christian, M., Cooper, J., Leiter, J., MacDonald, P. Managing Knee Osteoarthritis: The Effects of Body Weight Supported Physical Activity on Joint Pain, Function, and Thigh Muscle Strength. Clinical Journal of Sport Medicine. 25, 518-523 (2015).

11. Patil, S. et al. Anti-gravity treadmills are effective in reducing knee forces. Journal of Orthopaedic Research. 31, 672-679 (2013).

12. Nicolas-Alonso, L.F., Gomez-Gil, J. Brain computer interfaces, a review. Sensors (Basel). 12, 1211-1279 (2012).

13. Webber, S.C., Horvey, K.J., Yurach Pikaluk, M.T., Butcher, S.J. Cardiovascular responses in older adults with total knee arthroplasty at rest and with exercise on a positive pressure treadmill. European Journal of Applied Physiology. 114, 653-662 (2014).

14. Dolphin, N.W., Crue, B.L. Pain: Clinical Manual For Nursing Practice. Clinical Journal of Pain. 5, 363 (1989).

15. Lavernia, C., D'Apuzzo, M., Rossi, M.D., Lee, D. Accuracy of Knee Range of Motion Assessment After Total Knee Arthroplasty. The Journal of Arthroplasty. 23, 85-91 (2008).

16. Bellamy, N., Buchanan, W.W., Goldsmith, C.H., Campbell, J., Stitt, L.W. Validation study of WOMAC: a health status instrument for measuring clinically important patient relevant outcomes to antirheumatic drug therapy in patients with osteoarthritis of the hip or knee. Journal of Rheumatology. 15, 1833-1840 (1988).

17. Collins, N.J., Misra, D., Felson, D.T., Crossley, K.M., Roos, E.M. Measures of knee function: International Knee Documentation Committee (IKDC) Subjective Knee Evaluation Form, Knee Injury and Osteoarthritis Outcome Score (KOOS), Knee Injury and Osteoarthritis Outcome Score Physical Function Short Form (KOOS‐PS), Knee O. Arthritis Care & Research. 63, S208-S228 (2011).

18. Rabin, R., De-Charro, F. EQ-5D: a measure of health status from the EuroQol Group. Annals of Medicine. 33, 337-343 (2001).

19. Wirz, M. et al. Effectiveness of automated locomotor training in patients with chronic incomplete spinal cord injury: a multicenter trial. Archives of Physical Medicine and Rehabilitation. 86, 672-680 (2005).

20. Shumway-Cook, A., Baldwin, M., Polissar, N.L., Gruber, W. Predicting the probability for falls in community-dwelling older adults. Physical Therapy. 77, 812-819 (1997).

21. Iii, R.B.D. A gait analysis data collection and reduction technique. Human Movement Science. 10, 575-587 (1991).

22. Peeler, J., Ripat, J. The effect of low-load exercise on joint pain, function, and activities of daily living in patients with knee osteoarthritis. Knee. 25 (1), 135-145 (2018).

23. Escamilla, R.F. Knee biomechanics of the dynamic squat exercise. Medicine & Science in Sports & Exercise. 33, 127-141 (2001).

24. Linschoten, R.V. et al. The PEX study – Exercise therapy for patellofemoral pain syndrome: design of a randomized clinical trial in general practice and sports medicine [ISRCTN83938749]. BMC Musculoskeletal Disorders. 7, 31 (2006).