# Submission ID #: 59831

# Scriptwriter Name: Anthony Iannazzi

# Project Page Link: http://www.jove.com/files_upload.php?src=18248503

# Title: In Vesiculo Synthesis of Peptide Membrane Precursors for Autonomous Vesicle Growth

# Authors and Affiliations:

# Kilian Vogele1, Thomas Frank1, Lukas Gasser1, Marisa A Goetzfried1, Mathias W Hackl2, Stephan A Sieber2, Friedrich C Simmel1,3, Tobias Pirzer1

# 1Physics of Synthetic Biological Systems - E14, Physics Department and ZNN, Technische Universität München, Garching, Germany

# 2Department of Chemistry, Center for Integrated Protein Science (CIPSM), Technische Universität München, Lichtenbergstrasse 4, Garching, Germany

# 3Nanosystems Initiative Munich, Munich, Germany

# Corresponding Author:

# Tobias Pirzer			pirzer@tum.de

# Email Addresses for Co-authors:

ga25sod@tum.de

ga95pax@mytum.de

lukas.gasser@tum.de

mgoetzfried@mytum.de

mathias.hackl@tum.de

stephan.sieber@tum.de

simmel@tum.de

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  No

2. Does your protocol include software usage? (Y/N) No

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

Step 2.3, Step 2.4, Step 2.5, Step 2.6, Step 3.8, Step 3.9

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

Step 2.3 and Step 2.4

5. Will the filming need to take place in multiple locations? (Y/N) No

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Tobias Pirzer: In our protocol, we use film rehydration from small glass beads to form reaction compartments made of peptides. In the experiments we benefit from the protocol’s simplicity and robustness [1].

    - INTERVIEW: Named author delivers the statement above in an interview-style shot while looking slightly off-camera.

  - Tobias Pirzer: The main advantage of this technique is the ability to incorporate even sensitive samples such as the used crude cell extract. Contact with organic solvents would significantly affect the sample [1].

    - INTERVIEW: Named author delivers the statement above in an interview-style shot while looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Kilian Vogele: It is important to be careful when using a rotary evaporator, due to possible boiling retardation [1].

    - INTERVIEW: Named author delivers the statement above in an interview-style shot while looking slightly off-camera.

# Section - Protocol

- Vesicle Production Using the Glass Beads Method

  - To begin this procedure, use a centrifugal vacuum concentrator to concentrate the ELP solution to 1.1 millimolar [1]. Mix 200 microliters of this concentrated solution with 1250 microliters of a 2-to-1 chloroform and methanol mixture [2]. Vortex the solution to mix thoroughly [3].

    - MED: Talent approaches the work area and uses a centrifugal vacuum concentrator to concentrate the ELP solution. Any action in the concentration process can be filmed for this shot.

    - MED: Talent mixes some of this concentrated solution with chloroform/methanol.

    - MED: Talent vortexes the solution.

  - Next, add 1.5 grams of spherical glass beads to a 10 milliliter round-bottom flask [1]. Add the ELP and chloroform/methanol solution to the round-bottom flask [2] and gently shake to mix [3].

    - MED: Talent adds spherical glass beads to a round-bottom flask.

    - MED Talent adds the ELP and chloroform/methanol solution to the flask.

    - MED: Talent gently shakes the flask.

  - Connect the flask to a rotatory evaporator [1]. Adjust the speed to 150 rpm and regulate the pressure to -80,000 Pascals for approximately 4 minutes [2] until the liquid is evaporated at room temperature [3].

    - MED: Talent connects the flask to a rotatory evaporator.

    - MED: Talent adjusts the settings on the rotatory evaporator and turns it on.

    - CU: Close up on the flask, showing when the liquid is evaporated sufficiently.

  - After this, loosely wrap aluminum foil around the opening of the round-bottom flask to prevent the loss of glass beads [1], and place the flask into a desiccator for at least 1 hour to ensure that the remaining chloroform and methanol are evaporated [2].

    - MED: Talent wraps aluminum foil around the opening of the flask.

    - MED: Talent places the flask into a desiccator.

  - For a single experiment, mix 100 milligrams of the peptide covered glass beads with 60 microliters of a swelling solution [1]. Incubate this sample at 25 degrees Celsius for 5 minutes [2].

    - MED: Talent mixes the peptide covered glass beads with the swelling solution.

    - MED: Talent places the bead/swelling solution mixture into an incubator.

  - Use a table-top centrifuge to centrifuge the samples quickly and sediment the glass beads [1]. Then, use a pipette to collect the supernatant, which contains the vesicles [2].

    - MED: Talent, at a table-top centrifuge, puts the sample into the centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - MED: Talent uses a pipette to collect the supernatant.

- Transcription-translation (TX-TL) Reaction

  - First, mix 100 microliters of the pre-purified plasmid DNA with 100 microliters of either Roti-phenol, chloroform, or isoamyl alcohol in a microcentrifuge tube to enable better phase separation [1-TXT].

    - MED: Talent mixes the pre-purified plasmid DNA with Roti-phenol/chloroform/isoamyl alcohol in a microcentrifuge tube. TEXT: See text for details on preparing and extracting the plasmid.

  - Gently invert the tube up to 6 times [1] and centrifuge at 16,000 x g and at room temperature for 5 minutes [2]. Then, add 200 microliters of chloroform to the upper phase [3] and invert the tube up to 6 times [4].

    - MED: Talent gently inverts the tube.

    - MED: Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - MED: Talent adds chloroform to the upper phase.

    - MED: Talent inverts the tube.

  - Centrifuge the sample at 16,000 x g and at room temperature for 5 minutes [1]. After this, pipet the supernatant to a separate tube [2] and add 10 microliters of 3 molar sodium acetate for ethanol precipitation [3].

    - MED: Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - MED: Talent transfers the supernatant to a separate tube.

    - MED: Talent adds sodium acetate to the tube.

  - Add 1 milliliters of cold ethanol at -80 degrees Celsius [1] and store the sample at -80 degrees Celsius for 1 hour [2].

    - MED: Talent adds cold ethanol to the tube.

    - MED: Talent places the tube into a freezer.

  - Next, centrifuge the sample at 16,000 x g and at 4 degrees Celsius for 15 minutes [1]. Decant the supernatant [2] and add 1 milliliter of cold 70 percent ethanol at -20 degrees Celsius [3].

    - MED: Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - MED: Talent decants the supernatant.

    - MED: Talent adds cold 70% ethanol to the tube.

  - Centrifuge at 16,000 x g and at 4 degrees Celsius for 5 minutes [1]. Then, remove the liquid by pipetting, being careful to not disturb the DNA pellet [2]. Store the sample at room temperature for approximately 15 minutes to evaporate the remaining ethanol [3].

    - MED: Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - CU: Talent removes the liquid by pipetting.

    - MED: Talent sets the sample aside on the lab bench to store it at room temperature.

  - After this, add ultrapure water to the sample to adjust the sample concentration to approximately 300 nanomolar [1], which is measured by absorption at 260 nanometers [2].

    - MED: Talent adds ultrapure water to the sample.

    - MED: Talent measures the sample’s absorption to determine the concentration.

  - To prepare the transcription-translation reaction, thaw the prepared crude cell extraction and the reaction buffer on ice [1-TXT]. For a 60 microliter reaction mix, add the plasmid DNA to 37.5 microliters of the reaction buffer [2-TXT]. Add 28.7 microliters of crude cell extract [3] and fill with ultrapure water to a final volume of 58.8 microliters [4].

    - MED: Talent places thecrude cell extraction and the reaction buffer on ice to thaw. TEXT: TX-TL: transcription-translation.

    - MED: Talent adds the plasmid DNA to a tube containing reaction buffer. TEXT: See text for buffer composition.

    - MED: Talent adds crude cell extract to the tube.

    - MED: Talent adds ultrapure water to the tube.

  - Right before the reaction starts, add 1.2 microliters of the T7 RNA polymerase solution [1] and pipet up and down to mix [2].

    - MED: Talent adds T7 RNA polymerase solution to the tube.

    - MED: Talent pipets up and down to mix.

  - Incubate the sample and a swelling solution at 29 degrees Celsius for the duration of the experiment, which is typically 4 – 8 hours [1].

    - MED: Talent places the sample and a swelling solution into an incubator.

    - Added shot: MED: Talent, at a table-top centrifuge, puts the sample into the centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - Added shot: MED: Talent uses a pipette to collect the supernatant.

# Section – Results

- Results: Analysis of Synthesized Peptide Membrane Precursors

  - Transmission electron microscopy images of vesicles [1] show that various swelling solutions, such as TX-TL or even only PBS, can be used to form vesicles. For both solutions, size determination is a straightforward step [2].

    - LAB MEDIA Figure 1.

    - LAB MEDIA Figure 1.

  - Dynamic light scattering shows that [1] vesicles prepared without the glass beads method results in a diameter of 134 nanometers with a polydispersity of 25 percent [2]. When glass beads are used, the diameter results in 168 nanometers with a polydispersity of 21 percent [3].

    - LAB MEDIA: Figure 2.

    - LAB MEDIA Figure 2. Video Editor: Emphasize the blue data line/set (the data set the represents vesicles prepared without glass beads).

    - LAB MEDIA Figure 2. Video Editor: Emphasize the orange data line/set (the data set the represents vesicles prepared with glass beads).

  - The fluorescence intensity of two fluorescent proteins, which are expressed inside the ELP vesicles, are then measured using a fluorescence plate reader [1]. It is important to note that, after vesicle formation, the contents of the vesicles and outer solution are the same [2]. Thus, the antibiotic kanamycin is added to the exterior solution to suppress protein expression [3].

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4.

  - As a control, kanamycin is also added to the swelling solution, in which case protein expression inside of the vesicle is suppressed [1]. This indicates that kanamycin does not diffuse through the membrane and suppresses internal expression constantly all the time [2].

    - LAB MEDIA: Figure 4. Video Editor: In both Figure 4A and 4B, emphasize the data columns under the text “suppressed”. This represents the control, where expression is suppressed, over the full 5 hour period, inside and outside the vesicle.

    - LAB MEDIA: Figure 4.

  - The FRET assay is then performed to demonstrate ELP incorporation into the membrane [1]. Upon expression of the membrane ELPs, additional peptides incorporate into the membrane, which increases the average distance between the FRET pairs and which results in an increase of donor signal [2].

    - Figure 5.

    - Figure 5.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Tobias Pirzer: The presented technique can be used to produce simple reaction containers or to create artificial cells with peptide-based membranes. The content inside can be chosen as needed [1].

    - INTERVIEW: Named author delivers the statement above in an interview-style shot while looking slightly off-camera.

  - Tobias Pirzer: By using these peptide vesicles, we can now look forward on more complex synthesis reactions within them [1].

    - INTERVIEW: Named author delivers the statement above in an interview-style shot while looking slightly off-camera.