# Submission ID #: 59846

# Scriptwriter Name: Brigid Stadinski

# Project Page Link: http://www.jove.com/files_upload.php?src=18253078

# Title: Characterizing Mutational Load and Clonal Composition of Human Blood

# Authors and Affiliations:

Axel Rosendahl Huber1, Freek Manders1, Rurika Oka1, Ruben van Boxtel1

1Princess Máxima Center for Pediatric Oncology, Utrecht, the Netherlands

# Corresponding Author:

Ruben van Boxtel		(R.vanboxtel@prinsesmaximacentrum.nl)

# Email addresses for Co-authors:

Axel Rosendahl Huber		(A.K.M.RosendahlHuber@prinsesmaximacentrum.nl)

Freek Manders 		(F.M.Manders@prinsesmaximacentrum.nl)

# Rurika Oka			(R.Oka@prinsesmaximacentrum.nl)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  Y - Inspection of cell culture

Can you record movies/images using your own microscope camera? (Y/N) Yes

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope. Leica DMi1

2. Does your protocol include software usage? (Y/N) Yes

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

List of most important sections for viewers to see:

1. Step 2.4

2. Step 2.7

3. Step 3.3

4. Step 3.7

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Correct sorting of viable single HSPCs is the most critical step in the protocol. Step 2.4 and 2.5 would correspond to these steps.

5. Will the filming need to take place in multiple locations? (Y/N) No

If yes, how far apart are the locations?

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Axel Huber: With this method, we can accurately determine the number of mutations in a single hematopoietic stem cell. These mutations can be used to decipher mutagenic processes and dissect hematopoietic lineages [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking towards camera.

  - Axel Huber: Our method avoids the use of whole-genome amplification methods by clonally expanding hematopoietic stem cells in vitro, which results in lower error-rates and benefits downstream analyses [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking towards camera.

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Freek Manders: The mutational patterns present in the genomes of hematopoietic stem cells can reveal mutagenic and DNA repair processes to which the cells were exposed to [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking towards camera.

# Section - Protocol

- HSPC Isolation, Sorting, and Culture

  - Begin this procedure with preparation of sample material, and staining as described in the text protocol [1]. Then, prepare 25 milliliters of hematopoietic stem and progenitor cell, or HSPC, culture medium [2-TXT].

    - Talent performs a final wash of cells after cell staining (or resuspends the stained cells).

    - Talent works to prepare 25 mL of HSPC. TEXT: See text for HSPC culture medium recipe

  - Fill a 384-well cell culture plate with 75 microliters of HSPC culture medium in each well [1]. To prevent evaporation of the medium in the outer wells, fill the outer wells with 75 microliters of sterile water or PBS, and do not use these wells for cell sorting [2].

    - 384 well cell culture plate as talent fills it with 75 microliters of HSPC culture medium in each well. Author Note: Take 1 of this scene: Due to a pipetting error at 0:33 in the video, make sure to not use the video after this point.

    - Cell culture plate as talent fills the outer wells with 75 microliters of sterile water or PBS.

  - Correct sorting of viable single HSPCs is the most critical step in this protocol. Set gates for the HSPC sorting based on an unstained control and 10,000 cells from the stained sample [1]. Gate single cells by drawing a gate around the linear forward scatter-height versus forward scatter-area fraction [2].

    - LAB MEDIA: Figure 2.tif – Video editors, please note that 2.3-2.5 are the most critical steps.

    - LAB MEDIA: Figure 2.tif – Video editors, please emphasize the top right plot.

  - Use the unstained control fraction to draw a gate for the lineage fraction [1]. Draw gates for CD34+ (C-D Thirty Four) cells and further characterize this subset by setting a specific gate for CD38- CD45RA- (C-D Thirty-Eight negative, C-D Forty Five R A negative) cells [2].

    - LAB MEDIA: Figure 2.tif – Video editors, please emphasize the bottom left plot.

    - LAB MEDIA: Figure 2.tif – Video editors, please emphasize the bottom plot in the middle of the figure.

  - Load the 384-well plate on the FACS machine and sort single cells [1]. If applicable to the FACS-machine, toggle on the option to keep index sorting data to enable re-tracing of the sorted cells [2].

    - Talent loads the plate on the FACS machine.

    - MED-over the shoulder: Talent while sorting the cells toggles the option to keep index sorting data to enable re-tracing of the sorted cells.

# Author Note: As we did not know which of the shots would be most interesting, we took two shots, one over the shoulder shots, and one shot (2.5.2. Take 2) where we have included a frontal shot of the running FACS sorter including the sorter and the screen. In addition, we also will upload a screen record of the FACS-machine interface if this is more clear in the video.

  - To culture singly-sorted HSCs, wrap the 384 well culture plate with lid in transparent polyethylene wrap [1]. Transfer the 384 well plate to a humidified 37 degrees Celsius incubator with 5% CO2 and keep it in the incubator for 3 to 4 weeks until visible clones appear [2].

    - Plate with lid as talent wraps it with transparent polyethylene wrap.

    - Talent transfers the plate to the humidified incubator.

  - [1]. [2]. Author Note: Steps 2.7 and 3.1 combined into one. The first scentence was moved to 2.6 and the second to 3.1.

- Harvesting HSPC Clones

  - After 4 weeks of culturing, determine which wells have a confluency of 30% or higher [1]. Based on the condition of the input material 5% to 30% of sorted cells will clonally expand [2].

    - Talent looks at the plate under the microscope to determine confluency.

    - LAB MEDIA: Figure 3B.png

  - For each clone, pre-fill 1.5 milliliter microtubes with 1 milliliter of 1% BSA in PBS and label the tube according to the corresponding well [1]. NOTE: Authors made an extra step here, so all subsequent numbering in this section changed (+0.1). Not sure how the videographer accounted for this.

    - Talent fills 1.5 mL microtube with 1 mL of 1% BSA in PBS and labels tube.

  - Pre-wet a pipette tip with 1% BSA in PBS to minimize the number of cells sticking to the pipette tip [1].

    - Talent pre-wets a pipette tip with 1% BSA in PBS. Use labeled containers whenever possible for viewer clarity.

  - Fiercely pipet the medium up and down at least five times while scraping the bottom of the well with a 200 uL pipette set at 75 microliters. [1]. Collect the cell suspension in the labeled microtube that corresponds to the well [2].

    - Plate as talent fiercely pipettes the medium up and down while scraping, with a 200 microliter pipette set at 75 microliters. Videographer, please note this is an important step.

    - Talent transfers the cell suspension in the corresponding microtube. Videographer, please note this is an important step.

  - Repeat pipetting in the well with up 75 microliters of fresh 1% BSA in PBS to ensure maximum uptake of cells [1].

    - Talent pipettes fresh 1% BSA in PBS to the wells and repeats pipetting.

  - Clonally cultured cells can stick to bottom of well. Inspect the wells using a standard inverted light microscope [1] to ensure whether all cells have been collected [2].

    - Talent inspects the wells of the plate using a standard inverted light microscope.

    - LAB MEDIA: Figure Emptied_well.png

  - If all wells with greater than 30% confluency have been harvested, place the 384 well plate back in incubator. Clonal cultures can proliferate for up to 5 weeks [1]. Spin down the cell suspension for 5 minutes at 350 x g [2].

    - Talent places the plate of cells back into the incubator.

    - Talent places the tubes into the centrifuge, shuts lid and starts run.

  - A small pellet should be visible. Carefully remove all but about 5 microliters of the supernatant [1]. Cell pellets can be frozen at minus 20 degrees Celsius and stored for multiple months before DNA isolation [2-TXT].

    - ECU: Centrifuged tube as talent carefully removes all but 5 microliters of supernatant. Pellet should be visible. Videographer, please note this is an important step.

    - Talent places the cell pellets in the freezer. TEXT: See text for DNA isolation, Sequencing, and Analysis

- Construction of a Developmental Lineage Tree Using Base Substitutions

  - Axel Huber: Mutations present in the first branches of the lineage tree can also be subclonally present in the bulk sample. Later branching lineages are defined by mutations shared by HSPC clones only [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking towards camera.

  - To identify mutations that are present in a subset of the clones and sub-clonally present in the bulk, first filter for somatic mutations shared between clones [1].

    - Talent works at the computer.

  - In a Unix-based terminal, edit the filterSomatic.ini (filter somatic dot inni) file to set the paths and adjust the other parameters. Run the filterSomatic.py (filter somatic dot pie) script [1-TXT].

    - SCREEN - To be provided by the authors – Screen capture movie as talent edits the filterSomatic.ini file to set the paths and adjust the other parameters. Then talent runs filterSomatic.py (python3 filterSomatic.py -i filterSomatic.ini) to detect shared mutations between clones. Authors, please upload this screen capture to your project page. TEXT: See text for all scripts and command lines

  - Filter for mutations that are subclonally present in the bulk using the Determine_low VAF_bulk.R (V-A-F bulk dot R) script in a Unix-based terminal. This will generate separate .vcf files for shared and unique single nucleotide variants [1].

    - SCREEN - To be provided by the authors – Screen capture movie as talent runs the Determine_lowVAF_bulk.R script in a Unix-based terminal. Authors, please upload this screen capture to your project page.

  - Determine all mutations shared between clones that are not present in the bulk sample by overlapping all mutation positions [1].

    - SCREEN - To be provided by the authors – Screen capture movie as talent concatenates column 1 and 2 of SNVFI output to determine all mutations shared between clones but not present in the bulk sample. Authors, please upload this screen capture to your project page.

  - Exclude false positives by manual inspection using Integrative Genomic Viewer, abbreviated IGV. Mutations are considered false when not present, when the mutation is present in the germline in all clones, or when present in poorly mapped regions [1-first three examples]. True mutations can be shared amongst two clones [1 – fourth example], or be subclonally present in the bulk [1 – Last example ] .

    - SCREEN - To be provided by the authors – Screen capture movie as talent excludes false positives by manual inspection using Integrative Genomic Viewer. Authors, please upload this screen capture to your project page.

# Author Note: We have added five examples using IGV in our screen capture. The first three examples are false positives, the fourth is a mutation shared amongst clones and the fourth is a mutation present in the early lineage tree which is subclonally present in the bulk sample.

  - Re-sequence all shared loci independently using targeted or sanger sequencing [1].

    - MED-over the shoulder: Talent reviews the sequencing results on the computer.

  - Use the shared mutations to build a binary table of mutations versus sequenced clones, with 0 indicating that the mutation is not present and 1 indicating presence of the mutation [1].

    - SCREEN - To be provided by the authors – Screen capture movie as talent uses the shared mutations to build a binary table of mutations versus sequenced clones, with 0 indicating that the mutation is not present and 1 indicating presence of the mutation. Authors, please upload this screen capture to your project page.

  - Output the mutation binary table as a heatmap together with a dendrogram indicating lineage relationships between cells using R base functions. The heatmap indicates mutations status for each cell [1].

    - SCREEN - To be provided by the authors – Screen capture movie as talent outputs the mutation binary table as in a heatmap together with a dendrogram indicating lineage relationships between cells using R. Authors, please upload this screen capture to your project page.

# Section – Results

- Results: Checking Quality After Sequencing and Mutation Analysis, and Constructing a Developmental Lineage Tree

  - Shown is an example output of the copy number analysis generated by Control-FreeC to check for copy number alterations. [1].

    - LAB MEDIA: Figure 4.png

  - The variant allele fraction plot created by single nucleotide variant filtering is a histogram of variant allele frequencies in the sample [1]. A peak in the density plot at 0.5 indicates the sample is clonal [2].

    - LAB MEDIA: Figure 5.png

    - LAB MEDIA: Figure 5.png – Video editors, please emphasize the second peak on the histogram.

  - Depicted here is a typical Mutational-Patterns analysis producing a 96-trinucleotide plot. In addition to quantification of different mutation types, signature extraction can be also performed with this tool [1].

    - LAB MEDIA: Figure 6.png

  - Mutations shared amongst clones or present in a clone in the germline control are validated using IGV. Mutations are considered true when present in the sample and not at high variant allele frequency levels in the germline [1].

    - LAB MEDIA: Figure 7A.png

  - Mutations are considered false when not present in IGV, which can happen in poorly mapped regions [1].

    - LAB MEDIA: Figure 7B.png

  - In other cases, events detected by single nucleotide variant filtering are missed germline mutations. Independent re-sequencing of mutations by targeted re-sequencing is highly recommended for these mutations in selected clones [1].

    - LAB MEDIA: Figure 7C.png

  - After detection of shared somatic mutations between clones, a binary matrix is generated. A heatmap is constructed containing cells with and without the shared mutations A through M [1]. The developmental lineage tree is indicated [2].

    - LAB MEDIA: Figure 8.png

    - LAB MEDIA: Figure 8.png – Video editors, please emphasize the brackets above the gray heat map.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Axel Huber: As a next step for the method presented here, the molecular processes active in hematopoietic stem cells can be determined using mutational signature analysis [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking towards camera.