We really appreciate reviewer’s comments. Our article has become sophisticated by various insightful comments from the 5 reviewers. We revised the documents to integrate all comments and avoid contradiction.

Reviewers' comments:

Reviewer #4:

Review of "Four-dimensional CT analysis using iterative 3D-3D registration", by Satoshi Oki et al.

The authors have done a good job in improving the manuscript. For example, the steps in the registration procedure are better describe. I understand the general concept of the overall, but keep having problems in understanding and appreciating the details.

Major concerns

The authors describe the registration procedure that provides the 4x4 matrix (M) to In the description of the protocol, the authors refer to functions in a software package (e.g. Edit new label field/Generate surface->Apply/etc). However, there is no reference to that software package, nor is it clear what these functions exactly do.

This software has been used in many previous studies. We added the articles which used the same software for the similar application in the Material Excel document.

*Ryan, T. M. & Walker, A. Trabecular bone structure in the humeral and femoral heads of anthropoid primates. Anat Rec (Hoboken). 293 (4), 719-729, doi:10.1002/ar.21139, (2010).

transform an object (out of CT) the a target frame in 4DCT (clearly described by Fig. 6). However, they also define a coordinate system (CS) for every surface mesh that was segmented out of the 3DCT and each frame of the 4DCT. This is confusing for two reasons:

1) From their explanation I understand that this is required to quantify rotations from one frame to another.

That is correct.

However, by defining a local CS in the CT world of reference, and by visualizing the ''relative" motion (moving object with respect to fixed object), in that frame of reference, every frame-to-frame motion (translations and rotations) can be visualized and quantified with respect to the single local CS in the CT frame of reference.

As the reviewer pointed, it is possible to describe change of rotation angles and translation from the one certain frame (typically the starting frame) using coordinate system of the reference bone. However, starting position differs among subjects. To describe absolute values(rotation and position) of the starting position, we should define the coordinate system of the moving bone also. For example, in our representative result, Figure demonstrated the femur and tibia in their own local coordinate systems which represent 0° of external rotation, flexion and valus. However, in the first frame of 4DCT analysis, the knee extended from 50 of flexion. This starting angle can be calculated from two local coordinate systems. To avoid confusion, we added the reference of ISB recommendation.

Line 196-197

Define the coordinate systems of the fixed and moving bones when the 	rotation parameters are measured (e.g., flexion angle or rotation angle 	calculated by Euler/Cardan angle)12-14.

12 Wu, G. et al. ISB recommendation on definitions of joint coordinate 	system of various joints for the reporting of human joint motion--part I: ankle, 	hip, and spine. International Society of Biomechanics. Journal of 	Biomechanics. 35 (4), 543-548, doi:10.1016/s0021-9290(01)00222-6, (2002).

13 Wu, G. et al. ISB recommendation on definitions of joint coordinate 	systems of various joints for the reporting of human joint motion--Part II: 	shoulder, elbow, wrist and hand. Journal of Biomechanics. 38 (5), 981-992, 	doi:10.1016/j.jbiomech.2004.05.042, (2005).

2) The matrix M can be obtained from the acquired "local coordinate systems" of a bone, in CT and frames in 4DCT, as well (without registration). M is basically equivalent to a CS-to-CS transformation. It is therefore unclear to me why both methods (registration and all CSs) are required.

As the equation represents, calculation of the moving bone with respect to the reference bone require 4 matrices because the rotation angles in the local coordinate system are different from those in the global coordinate system. Two matrices are coordinate systems of the moving and reference bones and two are the results of surface registration of these segments.

- Winter, D. A. Biomechanics and Motor Control of Human Movement. 4th edn, 176-200 (2009)

- Wu, G. et al. ISB recommendation on definitions of joint coordinate system of various joints for the reporting of human joint motion--part I: ankle, hip, and spine. International Society of Biomechanics. Journal of Biomechanics. 35 (4), 543-548, doi:10.1016/s0021-9290(01)00222-6, (2002).

- Wu, G. et al. ISB recommendation on definitions of joint coordinate systems of various joints for the reporting of human joint motion--Part II: shoulder, elbow, wrist and hand. Journal of Biomechanics. 38 (5), 981-992, doi:10.1016/j.jbiomech.2004.05.042, (2005)

It is not explained how relevant motion parameters are obtained given the local coordinate systems.

Rotation angles are obtained from Euler/Cardan angles which was calculated from the 4×4 matrices. We added the reference.

Line 196-197

Define the coordinate systems of the fixed and moving bones when the 	rotation parameters are measured (e.g., flexion angle or rotation angle 	calculated by Euler/Cardan angle)12-14.

14 Crawford, N. R., Yamaguchi, G. T. & Dickman, C. A. A new technique for 	determining 3-D joint angles: the tilt/twist method. Clinical Biomechanics 	(Bristol, Avon). 14 (3), 153-165 (1999).

Although I find the method cumbersome, confusing and complex it is not necessarily unsound. I leave further judgement to the editor.

The authors added text explaining a method to evaluate the accuracy of registration. Details about the method are missing. For example, it is unclear to me what the gold standard position was in their experiments. The reported error values (especially for the rotation error) seem extremely small to me.

Based on the purpose of this journal, we added the detailed error analysis only in the comment to the Reviewers. In the first revision and second revision, we described the method of validation of the registration accuracy. In these validation procedures, we performed the validation about each bone segment. Thus the position does not matter with the accuracy. The ICP is very accurate method to match two surfaces of the same morphology. Unless local minimum error does not happen, the accuracy is very high because the segment is the same surface in static 3DCT and 4DCT.

-First Revision-

line 173 - have you verified that the registration solution is unique? I.e. as ICP is an optimization technique, it is sensitive to local minima. Perturbation analysis should be performed to assess whether the registration solution is unique. This is particularly necessary to mitigate any propagation of error from the serial way the registrations were determined/combined (i.e. frame 2 depends on registration of frame 1). Additionally, parameters for the ICP algorithm (rms convergence criterion) should be specified.

As reviewer pointed, local minimum convergence is a concern for ICP algorithm. We performed perturbation analysis with 10% length of the femur, 10% length of the tibia and whole surface of the patella. The surface data of these segment moved by 4×4 matrices which translates (every 1mm from 0 to 100 mm) or rotate the surface data (every 1° from -90° to +90°). Then the moved surface data were matched with the original data by ICP algorithm. Rotation angles and translation magnitude were calculated from the results of the ICP process.

The femur and the tibia showed high accuracy of registration under 60 degrees of rotation and 100mm of translation in any direction. Generally all perturbation showed error of 0.02mm in lateral translation. However, as we pointed in DISCUSSION, patellar showed 2 degrees of error for rotation around X-axis because its shape is point symmetry around its anterior/posterior axis.

Minor concerns

Line 45: fixed bones. It seems to me that only one bone is the fixed bone.

The expression was corrected.

Line 45-46 moving bone with respect to fixed bone

Line 53: this method depends on CT quality -> of motion artifacts.

The expression was corrected

Line 53-54 However, fast or large-scale motions cannot be traced because of motion 	artifacts

Line 67: …simulate dynamic motion. Please add a reference.

We added a reference.

Line 67-68

although multiple actuators have been used to apply external forces to 	tendons in an attempt to simulate dynamic motion7.

7. Omid, R. et al. Biomechanical analysis of latissimus dorsi tendon transfer 	with and without superior capsule reconstruction using dermal allograft. 	Journal of Shoulder and Elbow Surgery. 28 (8), 1523-1530, 	doi:10.1016/j.jse.2019.01.016, (2019).

Line 77: no bones are fixed. This is confusing because you chose one bone as the fixed bone.

We changed the expression.

Line 78-79

because all bones are moving and no landmarks can be traced during the active 	motions in vivo.

Line 99: If the rotation time is 0.275s and half a rotation is needed for a reconstruction, shouldn't the temperal resolution be 0.1375s?

We had similar comment from Reviewer #1 in the previous revision. We attach the discussion.

- Reviwer 1

Address why the reconstruction interval requires nearly an entire gantry rotation? There should be sufficient information in 180 degrees plus fan angle, meaning the temporal resolution can be improved beyond what is stated. Existing literature in wrist suggests temporal resolution of 75ms in a dual source system, so 150-170 is likely achievable.

Thank you for your insightful comments. We have added the following sentence regarding temporal resolution.

Line 100-101

…all images are reconstructed using half reconstruction, so that the temporal resolution is approximately 0.16 s. In addition, the reconstruction interval can be set as 0.1s. However, if we reduce the reconstruction interval from 0.2 s to 0.1s, the volume of data would double and the positions of segments would not change during the short interval. We therefore set the reconstruction interval as 0.2 s.

Line 14: entire moving and fixed. These words are confusing because the bones are not moving in the CT. I suggeset removing these words.

Thank you for your comment. We removed these words.

Line 115

Perform static 3DCT of the entire target bones and store the data in DICOM format 	also.

Line 139. This cannot be automatic software since 2.2.1 explains that a thresholds may need to be adjusted. Also, how does the software otherwise differentiate in the tibia and femur? Please change to semi-automatic or explain the procedure in more detail.

Segmentation process from 3DCT is semi-automatic. However, segmentation of the surface data from all frames in 4DCT is performed by automatically process (batch process) because it takes too much time to segment target bones in all frames. So, this is an ‘automatic’ process.

3.1 describes the Initial surface registration, but actually describes landmark-based registration (this seems initial registration to me), AND ICP registration. The latters seems like the final registration to me. Is the title therefore correct?

Thank you for your comment. “Initial” means surface registration to the first frame. This word would be confusion. We removed it.

Line 161

  - Surface registration from static 3DCT to first frame of the 4DCT

3.1.3

Line 150: Translate positional data that have already been obtained in the previous step. Please explain what positional data you refer to (in which step?).

Positional data of CT attenuation values above the threshold. We corrected the sentences.

Line 148-150

Positional data that have already been obtained in the previous step are 	translated into a format that can be interpreted by the image processing 	software.

Line 168: the CT gantry -> in each volume image

We corrected the sentence.

Line 165-166

…the surface data from 4DCT are only partial segments which are included in 	each volume image.

3.1.2/3.1.3. It is unclear to me why landmark-based (3.1.2) and moving bones roughly (3.1.3) are both necessary in an initialization step. Please clarify.

3.1.2 just explains picking landmarks and 3.1.3 explains rough match by these landmarks. We added the explanation

Line 173-174

Match the partial fixed and moving bones roughly on the first frame of the 4DCT surface data according to the picked landmarks in 3.1.2

Lines 186-7: N should be i.

We corrected the sentence.

Line 185-186

Next, match the partial surfaces of the ith frame onto the (i+1)th frame of  4DCT 	sequentially.

Line 190: Provide details about the open-source software.

The software name cannot be written in the manuscript. The material file includes the open source software VTK.

Instruction for Authors

Avoid the use of commercial language, including ™/®/© symbols or company brand names before/after an instrument or reagent. Cite these in the Table of Materials instead.

| VTK(6.3.0) | Kitware (New York, USA) | N/A | Iterative Closest Points algorithm. Used in python language programming. |
| --- | --- | --- | --- |

Line 200: See major concern above.

Line 221/2: I suggest removing Partial segments…in the second frame.

It is true that content is included in the next sentence. We removed the first sentence.

Lines 225-230: It is unclear in this section where (3DCT/4DCT) the global coordinate system is defined. Please explain.

The global coordinate system is the coordinate system of the original CT data. The positional data in global axis means the coordinates value in the CT DICOM data. We added the explanation.

Line 221-222

the global coordinate system in the original CT DICOM data

Line 229: The xyz axes seem inappropriate to me. Normally the z-axis of the CT is toward the center of the gantry. With this definition, internal rotation should be about the z-axis, etc.

It is true that Z-axis pointing the center of the gantry along with the CT bed, but in the field of biomechanics, it is common to define x-axis as antero-posterior axis, y-axis as the long axis of the segment and z-axis as the medial-lateral axis.

- Baker, R. ISB recommendation on definition of joint coordinate systems for the reporting of human joint motion-part I: ankle, hip and spine. Journal of Biomechanics. 36 (2), 300-302; author reply 303-304 (2003).

- Wu, G. et al. ISB recommendation on definitions of joint coordinate system of various joints for the reporting of human joint motion--part I: ankle, hip, and spine. International Society of Biomechanics. Journal of Biomechanics. 35 (4), 543-548, doi:10.1016/s0021-9290(01)00222-6, (2002).

Line 248-256. I recommend adding these results right after line 237 (the method).

Thank you for your insightful comment. We moved this paragraph right after the method section.

Line 274 fixed surface -> femur

We corrected the phrase.

Line 275: in addition to the moving surface -> with respect to the tibia

We corrected the sentence.

Line 266-267 The femur also moves (green arrow) with respect to the tibia 	(blue arrow).

Line 278: As commented above, It is unclear to me why landmark-based registration (b), rough segmentation (c) are both required as an initial registration step. Please explain.

Figure 3B shows that the landmarks are picked in the software. Figure 3C shows rough match based on these three marks.

Line 283: Rotation matrix -> Transformation matrix

We corrected the word.

Line 278

Transformation matrix is calculated from surface registration.

Line 289: decides ->defines.

We changed the expression.

Line 284-285

3 x 3 matrix that defines rotation and d is a 1 x 3 matrix that defines translation

Line 299: subject ->fixed

We corrected the word.

Line 294-295

Rotation angles are calculated using the defined coordinate systems of the fixed 	and moving bones.

Line 300 Please explain L, which is not defined, in LMrefs.

L measn local coordinate system. So LM__s means the transformation matrices which aligns the bone in the static 3DCT to its local coordinate system.

Line 296-297

Rotation matrices from static 3DCT to the local coordinate system of the fixed bone (LMrefS) are calculated.

Reviewer #5:

Four-dimensional CT analysis using sequential 3D-3D registration for Journal of Visualized Experiments.

It is an important and topical area to quantify joint kinematics using four-dimensional computed tomography (4D CT). This paper addresses a much needed and important aspect of medical imaging. It appears that the technique authors describe can be extrapolated into many areas of research and clinical application. I wish to congratulate the authors on their effort on quantification of joint motion using 4D CT.

However, this paper does need revisions and there are few concerns.

In summary, the strength of the paper is that the technique authors use to quantify joint motion, in principle, is technically correct. However, the validity of the system in a scientific context can be questionable as the authors have performed this on only one case of knee motion and the method of validation is not clearly described.

Also, there are areas where more details can be added to increase clarity of the communication. (This is highlighted under relevant sections)

While this appears to be an interesting and useful technique, clarity of presentation, scientific accuracy, and compliance with research standards, and technical quality can further be improved.

We are doing research by comparing the healthy subjects and affected subject (e.g. patellar dislocation or anterior cruciate ligament rupture). However, the scope of this journal to present the methodology, and we presented just one case with instructing the registration technique.

Abstract

Quantitative analysis of dynamic computed tomography, if done accurately, will answer many questions on joint kinematics. While the aim of the study is clear in the abstract, more details on methodology can improve clarity of communication.

In the abstract, it is not very clear how this technique quantifies motion of bones. It would have been more informative to mention whether this is done using as existing software, custom made one or an inbuilt application that comes with the scanner.

Thank you for your insightful comment. We analyzed the 4DCT DICOM data using existing surface rendering software. We added the explanation.

Line 44-46

We aimed to analyze joint kinematics using a sequential 3D-3D registration technique to provide the kinematics of the moving bone with respect to fixed bone semi-automatically using 4DCT DICOM data and existing software.

How and whether the aim is achieved is not clearly mentioned. Precise details on what bones/ joints have been assessed and comments on the results, whether they have been acceptable, would improve the quality of this communication.

This method can be applied to any joint which can be moved inside the CT gantry. The analysis of the knee joint is just a representative result.

Details about whether this technique has been validated will also be of interest. More information on why and how it is mentioned that this is not suitable for large and rapid motion would enhance the clarity of the paper.

As we answered to the Reviewer #1 in the previous revision, CT artifact is caused by multiple factor. In 4DCT, motion speed, bone quality and position of the bone segment with respect to CT beam possibly influence the CT artifact. We have added the comment in the discussion.

Reviewer 1

Discussion: Refers to limitations when joint motion is 'too fast'. How fast is 'too fast'? Was any attempt made to ascertain the angular velocity of the joint at which the method is insufficient?

This depends on the morphological characteristic of the segment. A segment with larger size, less symmetricity and more landmarks such as bone spurs will demonstrate a higher success rate of tracing. Although 30/s seems too fast for knee, wrist and finger motion analysis, we have not performed detailed analyses of velocity limitations. We have added mention of this problem as a future task in the Discussion.

Line 397-399

Tolerable velocity depends of the target joint, because the joint 	morphology affects the success rate of surface registration. Studies of 	velocity tolerance for each joint will be needed in the future.

Line 43- Suggest rewording as "numerical analysis of joint kinematics using 4D CT data". This is different to numerical analysis of soft tissue motion using the same imaging modality. The problems encountered and success rates are different. Hence, I would recommend that the authors should be specific on their aims.

Thank you for your comment. We reworded the sentence.

Line 43-44

However, numerical analysis of 4DCT data remains difficult because 	segmentation in all volumetric frame is time consuming.

Line 43- "However, numerical analysis of 4DCT data remains difficult because of the massive volume of data involved."-Accuracy of this statement is questionable. The numerical analysis of joint kinematics using 4 dimensional CT is difficult not because of the large volume of data involved. This is because of technical difficulty in developing universally acceptable algorithm to register images containing bones. Segmentation is time consuming, automatic segmentation needs a specialised software program. The volume of data is a concern, but this has been largely overcome in the last 10 years by good computer hardware/ workstations and introduction of segmentation and surface based modelling.

As the reviewer pointed, data volume is not a great concern. We paraphrase and specify the cause of difficulty.

Line 43-44

However, numerical analysis of 4DCT data remains difficult because 	segmentation in all volumetric frame is time consuming.

Line 46- Why would you need to 'trim' surface data ( I think this should be 'trimmed 3D surface data to match the length of bones on 4D volumes' as 4D CT can only use the gantry width but 3 D CT can image the whole length of the bone). It would be good to explain this.

Thank you for your comment. Trimming step is required for ICP because ICP requires that one surface is included in another surface. The word number in abstract is limited, so we added the comment in the METHOD section.

Line 163-164

Trim the bones in a static 3DCT into partial segment data that are included in all 	frames of 4DCT for ICP

Line 50- "source bones"- suggest Rewording. Are they the bones segmented from 3 D CT?

These are the target bones which the researcher want to trace during 4DCT. As the reviewer pointed, these target bones should be reconstructed from 3DCT.

We reworded the word.

Line 50-52

Once the coordinate systems of the target bones are decided, translation and rotation 	angles between any two bones can be calculated.

Line 50-suggest Rewording "positional data such as translation and rotation" to "translation and rotation" because in a rigid body in motion, the only positional data you would calculate is translation and rotation. (These two words summarises all the 6 degrees of freedom)

Line 51/52- suggest rewording

That is correct. We reworded the sentence.

Line 50-52

Once the coordinate systems of the target bones are decided, translation and 	rotation angles between any two bones can be calculated.

Line 53- Can you quantify that and give an indication as to how large and how fast

As we answered to the Reviewer #1 in the previous revision, CT artifact is caused by multiple factor. In 4DCT, motion speed, bone quality and position of the bone segment with respect to CT beam possibly influence the CT artifact. We have added the comment in the discussion.

Reviewer 1

Discussion: Refers to limitations when joint motion is 'too fast'. How fast is 'too fast'? Was any attempt made to ascertain the angular velocity of the joint at which the method is insufficient?

This depends on the morphological characteristic of the segment. A segment with larger size, less symmetricity and more landmarks such as bone spurs will demonstrate a higher success rate of tracing. Although 30/s seems too fast for knee, wrist and finger motion analysis, we have not performed detailed analyses of velocity limitations. We have added mention of this problem as a future task in the Discussion.

Line 397-399

Tolerable velocity depends of the target joint, because the joint 	morphology affects the success rate of surface registration. Studies of 	velocity tolerance for each joint will be needed in the future.

Introduction

Clearly identifies and explains the aims and the utility.

Line 64- suggest rewording "tiny"

We reworded the word.

Line 65

This approach can measure small motions in the small joints

Line 65- suggest rewording "of course"

We changed the expression.

Line 66-68

Cadaveric models can mainly evaluate passive motions, although multiple 	actuators 	have been used to apply external forces to tendons in an attempt to simulate dynamic 	motion.

Protocol

It would be informative to mention the software that has been used to do this. The steps may vary according to the software.

As the reviewer pointed, detailed steps may vary in other software. Information about the software is written in Material excel file according to the “Instruction to Authors”.

Avoid the use of commercial language, including ™/®/© symbols or 	company brand names before/after an instrument or reagent. Cite 	these in the Table of Materials instead.

Line 109- How would you ascertain that total motion take place during 10.25 s and why would you do that.

Total motion should be finished ‘in’ 10.25 s. So the subject rehearsal the motion beforehand with the count call of 10 seconds.

Line 115- suggest delete "also"

We removed the word.

Line 115

Perform static 3DCT of the entire target bones and store the data in DICOM format.

Line 147- Do you have a reference for 'to set the threshold for cortical bone lower in osteoporosis"? Can you make a numerical recommendation on this? Have you noted this in your sample- there is only one case described here, hence I would think this recommendation is not based on this study.

It depends on the bone density and CT data quality. Unfortunately, manual segmentation with referring to the static 3DCT is the best way to determine the threshold, although new technology such as artifitial intelligence or machine learning will be able to segment the bone cortex in future. As the reviewer pointed, it is confusing that we described this sentence in the 4DCT section. We moved this paragraph in the 3DCT segmentation section.

Line 150- The step is not clear. Please rephrase.

This process is done by Python module ‘dicom.py’. We wrote the usage of this module in material excel because we cannot write the name of the package in the manuscript.

DICOM file processing to extract the point cloud from the bone 	cortex('dicom.py' 	module).

Avoid the use of commercial language, including ™/®/© symbols or company brand names before/after an instrument or reagent. Cite these in the Table of Materials instead.

Line 151- It is good to mention the image processing software.

Thank you for your comment. We used a software named “AVIZO” as in the material excel file. We cannot describe detail because of Instruction for Authors.

| AVIZO(9.3.0) | Thermo Fisher Scientific | N/A | Image processing software. Surface reconstruction from CT DICOM data and point cloud data. |
| --- | --- | --- | --- |
|  | (OR, USA) |  |  |

Line 161- How would you make sure that the fixed bone remains fixed throughout the arc of motion and avoid errors due to undesirable movement of the fixed bone.

As the reviewer pointed, this sentence was confusing. Actually, the bone itself is not fixed. After 4DCT, we reconstruct the image data as the motion of the moving bone with respect to the fixed bone using image registration described in Section 3. To avoid confusion, we paraphrase the sentence.

Line 158-159

In this step, reconstruct the motions of the moving bone with respect to the 	fixed 	bone from the raw 4DCT DICOM data.

Line 167- Not clear. Please reword. Why would be partial segments in 4D? I think you trim the 3D CT segment to match the length of the bone covered in 4DCT.

As the reviewer pointed, surface registration requires that the one surface is included in another surface. We added the explanation.

Line 166-167

because surface registration requires that one surface data is included in another 	surface.

Line 170-How would you manually clearly identify the landmarks mentioned. When the mark is identified it refers to one single point in the surface model. But the landmarks you have chosen involves relatively a wide area, for instance lateral epicondyle of the femur. How would you manually make sure that you pick exactly the same spot on the lateral femoral condyle in both images

This is just a rough registration of two surfaces. It is not necessary that these landmarks exactly coincide. After rough registration by manually picked landmarks, ICP does the fine registration. Rough registration is required to avoid local minimum problem in the latter ICP process.

Line 174- what is meant by 'partial fixed bones' and 'roughly'

“partial fixed and moving bones” are the trimmed bone in step 3.1.1. Roughly means that these surface are matched only according to the picked landmarks. As the reviewer pointed, these landmarks do not coincide exactly, this process is just a ‘rough match’.

Line 176- What is the open source software, do you have a reference for that.

We used VTK as in the material excel file. As the “Instruction for Authors” says, we wrote the name of the software in the material list.

| VTK(6.3.0) | Kitware (New York, USA) | N/A | Iterative Closest Points algorithm. Used in python language programming. |
| --- | --- | --- | --- |

Line 185- Is this automatic

Once the surface registration to the first frame is done, sequential registration process until the last frame will be done automatically.

Line 200- How would you define the coordinate system

There are a number of coordinate systems(e.g. definition by International Society of Biomechanics(ISB)) to describes for each joint (e.g. for knee joint in the representative results). The examiners can apply any coordinate systems which well describe what they want to calculate in their 4DCT analyses.

- Baker, R. ISB recommendation on definition of joint coordinate systems for the reporting of human joint motion-part I: ankle, hip and spine. Journal of Biomechanics. 36 (2), 300-302; author reply 303-304 (2003).

- Wu, G. et al. ISB recommendation on definitions of joint coordinate system of various joints for the reporting of human joint motion--part I: ankle, hip, and spine. International Society of Biomechanics. Journal of Biomechanics. 35 (4), 543-548, doi:10.1016/s0021-9290(01)00222-6, (2002).

Representative results

One limitation of this paper is the fact that you have studied only one knee joint. I would expect it will be difficult to generalise the methodology and findings to more knees, and other joints. There will be questions on how to compare joint motion in two or multiple patients, what would be the reference etc.

As the reviewer pointed, it would be more reliable if we show more sample data. Actually, we are doing analysis by comparing the healthy volunteers and the patients with patellar dislocation or ligament injuries, and we apply this method to forearms or finger joints. However, it does not sound the scope of this article as in the instruction, we just show a single data.

- Oki, S. et al. The relationship between the morphological axis and the kinematic axis of the proximal radius. Surgical and Radiologic Anatomy. 41 (4), 423-429, doi:10.1007/s00276-018-2131-0, (2019).

Also, it will be interesting to know how you validated your results.

With segmentation, it will be important to state the accuracy of segmentation. (Jacquard index, dice coefficient etc.) Have they been in acceptable?

Line 212- Section about trimming is not clear

We visually checked the included surface and trim the whole 3DCT.

We added the explanation.

Line 208-209

by visually checking 4DCT movie data which is created in the preset 4DCT 	software

Line 213-can you please specify the landmarks, and how you could pick the exact point on epicondyle, intercondylar notch etc.?

As we answered, it is not necessary that the examiner pick up the exactly same anatomical landmark, because this process is just a rough match.

Line 229- Can you please elaborate this.

We added the reference how to calculate the Euler/Cardan angles.

Line 223-225

We calculated the motion of the tibia from Euler/Cardan angles in ‘zxy’ 	order, meaning flexion, varus, and internal rotation, in that order14

14: Crawford, N. R., Yamaguchi, G. T. & Dickman, C. A. A new 	echnique for determining 3-D joint angles: the tilt/twist method. Clinical 	Biomechanics (Bristol, Avon). 14 (3), 153-165 (1999).

Line 234- This is not clear; How do you validate this? What is the absolute variable that you have compared your data with, or have you measured repeatability or reproducibility?

I do not think you can validate this on the same sample, done once.

Compared with the data which were calculated using the whole length of surface data. Reproducibility is not needed because the algorithm is a mathematical and automatic. As the reviewer pointed that the repeatability is a concern because landmarks would be different among examiners. However, perturbation analysis in the previous revise-comment proves differences in landmark pickup do not affect the result of ICP.

Line 236- Suggest elaborate, how you do this when 16 cm length is available for 4D CT

This length is enough to analyze the knee joint kinematics. However, as the reviewer pointed, the examiner should be careful to keep the knee joint in the CT gantry. That is the reason why we used triangle pillow and keep the femur in the same position during knee extension.

Line 248 to 256- With what have you made the comparison

As in the previous explanation. We compared these results with those using whole length of the femur, tibia and patella.

Also, with 0.5 mm axial slices, can you have an accuracy of 0.11 mm in translation. I would think it is limited by the slice thickness of CT.

As the reviewer pointed, Slice thickness of CT exceeds the accuracy of surface registration. We added the explanation.

Line 244-246

These translation errors are thought to be negligible because CT slice thickness is 	0.5mm and exceeds these errors.

Figure and Table legends

Line 270-271-"whole bone of the whole femur"- suggest rewording as 'whole femur'

We corrected the sentence.

Line 277-278- Its not clear what is meant by "Surface data of the fixed and moving bones are trimmed into partial segments that are included in all 4DCT frames.

We added the explanation.

Line 270-272

Surface data of the fixed and moving bones from 3DCT are trimmed 	into 	partial segments that are included in all 4DCT frames because the surface 	data from 4DCT are only partial segments which are included in CT gantry.

Line 314-318- It is not clear how you would validate the method by reducing the length of bones registered. While it may give an idea whether trimmed surface models are good for this, compared to full length, I do not think it adds validity to the technique you describe.

Combined with the perturbation analysis, it proves the repeatability and tolerability for limited view of interest. However, as the reviewer pointed, it contains several limitation such as motion speeds and quality of the bone. These problems for each joint and each condition of CT condition should be evaluated in the future.

We added this limitation in DISCUSSION.

Line 396-399

Frame-to-frame surface registration then fails because the two surfaces 	are too distant. Tolerable velocity depends of the target joint, because 	the joint morphology affects the success rate of surface registration. 	Studies 	of velocity tolerance for each joint will be needed in the future.

Discussion

Line 330- 337- Repeats what is said in the introduction. Suggest inclusion in either section.

We removed the sentences.

Line 339-340- "The surface data from 3DCT should be created precisely because this quality affects the accuracy of the initial surface registration to the first frame of 4DCT". It would be good to elaborate measures that you have taken to ensure that, this criteria is met. Factors that reflect the quality of segmentation can be included.

As the reviewer pointed, we included the factors which include the quality of segmentation. We did the error analysis using surface data from 3DCT. To create rough surface data for surface registration error analysis is too subjective, so we did not perform.

Line 388-391

In addition, ICP also depends on the quality of the surface data. In case of 	osteoporotic bones, surface reconstruction largely depends on the manual 	segmentation. That may lead to interobserver errors.

Line 345- It would be useful to indicate how accurate is the selection of land marks manually, and what is the inter and intra observer variability when asked to mark "lateral femoral epicondyle" etc.

As we explained, it is not necessary to pick up landmarks so exactly.

Line 348-349- "Accuracy of 4 D CT" - Do you have a reference for this please.

Line 351-352- "This technique thus contains human error far, exceeding the accuracy CT itself." Do you have a reference for this?

Because CT DICOM data include absolute coordinate values. These data are literally “absolute”. Measurement error is caused by data analysis process. We reworded the sentences.

Line 345-350

Four-dimensional CT provides sequential volume data with accuracy almost 	as high as static 3DCT because CT DICOM data contain absolute coordinate 	values of all tissues in the CT gantry. Several studies have used 4DCT for 	investigations of joint kinematics 20,21. However, in most, the observers picked 	landmarks from several frames and calculated the parameters (e.g., angles, 	translation). These data analysis processes contain human error which lead to 	measurement error.

Line 354-355- "Theoretically, manual surface segmentation for all 4D CT frames provides the most accurate data" Do you have a reference for this please.

As the reviewer concerns, recently, computer segmentation such as convolutional neural network or deep learning achieve similar accuracy as manual segmentation by orthopedic surgeons. However, manual segmentation is still thought as gold standard to demarcate specific tissues in the CT slices. We added this comment in DISCUSSION and the references.

Line 391-393

Recently, computer oriented tissue segmentation on the CT slices have 	developed, however, human oriented manual segmentation is still thought 	as gold standard to identify specific tissues28,29.

Line 363- It will be good to explain the registration parameters used.

We added the registration parameter in REPRESENTATIVE RESULT.

Line 218-219

In ICP algorithm, the convergence criteria for mean distance between 	iterations was set as 0.01 mm.

Line 370-372- In the abstract it is mentioned that this system is not suitable for rapid and large motions due to CT quality. But here, the idea is that it is due to the ICP algorithm not being able to register 2 models far apart from each other. This is contradictory.

As the reviewer pointed, these two sentences are contradictory. Both of frame-to-frame distance and CT quality will affect the traceability in 4DCT analysis. We added the phrase which consistent with the DISCUSSION.

Line 53-54

However, fast or large-scale motions cannot be traced because of motion 	artifacts and limited frame rates.

Line 383-384- Do you have any reference for this. With your study in one case of large bones can you come to that conclusion. Semiautomated segmentation of small bones which are close to each other, with overlap throughout, poses a different set of problems. It is not convincing that we can extrapolate this directly into small bones.

We published the research of forearm motion.

- Oki, S. et al. The relationship between the morphological axis and the kinematic axis of the proximal radius. Surgical and Radiologic Anatomy. 41 (4), 423-429, doi:10.1007/s00276-018-2131-0, (2019).

And there are some other studies which also showed its advantage to measure carpal bones.

- Troupis, J. M. & Amis, B. Four-dimensional computed tomography and trigger lunate syndrome. Journal of Computer Assisted Tomography. 37 (4), 639-643, doi:10.1097/RCT.0b013e31828b68ec, (2013).

- Kakar, S. et al. The Role of Dynamic (4D) CT in the Detection of Scapholunate Ligament Injury. J Wrist Surg. 5 (4), 306-310, doi:10.1055/s-0035-1570463, (2016).

These are in the REFERENCES.

Line 394-please see comment for line 370-372.

References

None.