# Submission ID #: 59860

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18257348

Title: Methods for In Vivo Biomechanical Testing on Brachial Plexus in Neonatal Piglets

Authors and Affiliations:  Anita Singh1, Rachel Magee1, and Sriram Balasubramanian2

1Department of Biomedical Engineering, Widener University

2School of Biomedical Engineering, Science and Health Systems, Drexel University

# Corresponding Author:

# Anita Singh

# asingh2@widener.edu

Email addresses for Co-authors:

remagee@widener.edu

sb939@drexel.edu

# PLEASE READ THE INSTRUCTIONS IN THE GRAY BOXES CAREFULLY AND USE TRACK CHANGES WHILE MAKING ANY EDITS TO THE DOCUMENT.

# This document has several sections on separate pages, so take care to view each page.

Author Questionnaire:

Authors, please fill out the unanswered questions below.

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)

No

Can you record movies/images using your own microscope camera? (Y/N)

If no, JoVE will need to record the microscope images using our scope kit and camera (through a camera port or one of the oculars). Please list the make and model of your microscope here:

2. Does your protocol demonstrate software usage? (Y/N)

Yes

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

Steps 3.9-3.14

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

Step 3.9 is the most difficult aspect of the procedure as the clamped tissue can sometimes slip out of the clamp. To ensure success, the tissue is often placed within the spring of the clamp and secured.

5. Will the filming need to take place in multiple locations (greater than walking distance)? (Y/N)

If yes, how far apart are the locations?

No

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

- The total introduction length (i.e., Required and Optional Interview Statements) cannot exceed 150 words.

- Restrict the length of each statement to no more than 30 words.

- Please answer the questions below in full sentences to highlight the significance of your protocol. You will be expected to memorize and deliver these sentences as spoken interview statements during filming.

- Indicate the full name of each author who will give each statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Why is your protocol significant? OR What key questions can this method help answer?

  - Author Name: Anita Singh: Neonatal Brachial Plexus Palsy is a significant injury that occurs during complicated birthing scenarios. Existing studies use cadaveric or small animal models to draw hypothesis on possible injury mechanisms and thresholds.  There is no large animal model that replicates biomechanical stretch in an in vivo neonatal brachial plexus. This study outlines details of in vivo biomechanical stretch testing on brachial plexus in a piglet that is known to serve as a highly relevant clinical neonatal animal model. ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# What is the main advantage of this technique?

  - Author Name: Anita Singh: ___________The piglet animal model is highly relevant to clinical scenarios. Additionally, the custom designed biomechanical testing devise allows in vivo stretching of the brachial plexus. Obtained data will not only help understand the injury mechanisms, but also report the injury threshold values for functional and structural deficits within the neonatal brachial plexus. A correlation between subjected stretch injury and functional deficits can further help understand spontaneous versus permanent injury limits. (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- The following OPTIONAL questions may be answered to provide additional introductory information about your protocol.

- The length of each OPTIONAL statement is restricted to no more than 30 words and contributes to the total introduction length, which cannot exceed 150 words.

- Indicate the full name of each author who will give each OPTIONAL statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are there any specific areas of research that this method could provide insight into?

# Can this method be applied to any other systems?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# How would you expect an individual who has never performed this technique to struggle?

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Author Name: ___________ Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

# Why is visual demonstration of this method critical?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

- Please use this statement ONLY if any of the individuals who will be demonstrating the procedure on camera have not given a required or optional Introduction interview statement already.

- Include the full name(s) of the person(s) demonstrating the experiment followed by their title (e.g., technician, post doc, grad student, clinician, etc.)

- Also indicate the full name of the author who will introduce the demonstrator(s).

  - Author Name Anita Singh: Demonstrating the procedure will be Rachel Magee (name of the person or persons), a grad student (technician, post doc, grad student) from my laboratory. (Add additional mention of demonstrators as necessary).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at (Drexel University).

OR

Procedures involving human subjects have been approved by the Institutional Review Board (IRB) or equivalent body at (insert Institutional Name).

# Section - Protocol

- Read through the entire protocol carefully to understand what you will need on the filming day and prepare accordingly.

- The two-digit numbers (e.g. 2.1., 2.2.) represent the “steps” of you protocol and will be read by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the “shots” that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in a single work day, the protocol is restricted to 30 steps and/or 60 shots.

- It is critical for a smooth and organized shoot that all materials and work spaces are prepared and labeled (if applicable) in advance.

- Any specimens/samples that require long or overnight incubation steps should be prepared in advance. (i.e. day 0 sample preparation will be filmed on the day of the shoot; day 1 samples should be prepared the day before the shoot so their processing can be filmed on the day of the shoot/after their overnight culture/treatment/etc.)

- Each section must contain a minimum of 3 steps (~6 shots), so short sections may be combined.

- Brachial Plexus (BP) Surgery

  - After confirming a lack of palpebral and withdrawal reflexes [1-TXT], place the anesthetized pig in the supine position on the operating table [2] with the upper limb in abduction to expose the axillary region [3].

    - WIDE: Talent confirming sedation Videographer: Do not get pig head/face in shot TEXT: Anesthesia: 4% isoflurane

    - Talent placing pig in supine position Videographer: Do not get pig head/face in shot

    - Shot of upper limb in abduction

  - Place a drape over the animal [1] and use a number-10 scalpel blade to make a midline incision over the skin and fascia overlying the trachea down to the upper third of the sternum to expose the brachial plexus complex on both sides of the spine [2-TXT].

    - Talent placing drape

    - Incision being made on one side of spine TEXT: Incision corresponds to C3-T3 processes

  - Use forceps on each side of the incision from the suprasternal notch along the edge of the clavicle to the upper arm while sparing the cephalic and basilic veins [1].

    - Incision being opened

  - Using scissors, forceps, and blunt dissection, release the superior flap to access the cervical region of the brachial plexus [1] and the inferior flap to access the thoracic region of the brachial plexus [2].

    - Superior flap being released

    - Inferior flap being released

  - Identify the axis at C2 and the first rib at T1 [1] and use these landmarks to identify the C6-C8 and T1 spinal vertebral foramen [2].

    - Shot of axis at C2 and rib at T1 Video Editor: Please emphasize C2 and T1 when mentioned as appropriate/possible

    - Shot of axis C6-C8 and T1 spinal vertebral foramen Video Editor: Please emphasize C6-C8 and T1 when mentioned as appropriate/possible

  - Then examine the plexus carefully to locate bifurcations of the divisions [1] and identify the brachial plexus regions above the bifurcations closer to the spine as the root or trunk [2] and the regions below the bifurcations closer to the arm as the chord and the nerve [3].

    - ECU: Shot of BP

- Biomechanical Testing

  - To set up the biomechanical testing device, attach the base of the device to a cart [1] and use large C-clamps to attach the electromechanical actuator to the base [2-TXT].

    - WIDE: Talent attaching device to cart

    - Talent clamping actuator to base TEXT: Actuator can provide150 lb of force, 10” stroke, and 0.2-5 mm/s speed

  - Attach a 200-Newton load cell to the actuator [1] and screw in a clamp with padded plexiglass to prevent stress concentration at the clamping site [2].

    - Talent attaching load cell to actuator

    - Clamp being screwed to load cell

  - Attach a camera that can record up to 120 frames/second at a 658- x 4926-pixel resolution to a tripod [1] and attach USB cables from the camera, actuator, and load cell to the computer to integrate and synchronize all of the components of the setup [2].

    - Talent placing camera onto tripod

    - Talent attaching cable(s)

  - Then plug the computer, actuator, and load cell into a power source [1].

    - Talent plugging in at least one cable

  - To calibrate the load cell before recording the applied loads, use the adjustable handle to set the actuator at a 90-degree angle [1] and check the angle with a protractor [2].

    - Talent angling actuator

    - Shot of angle being measured

  - Open the load cell software [1] and click Start to show a live readout of the voltage [2].

    - Talent opening software, with monitor visible in frame

    - SCREEN: To be provided by Authors: Start being clicked

  - Next, hang 0- to 1000-gram weights from the clamp in 100-gram increments [1], recording the measured voltages at each load [2].

    - Talent hanging weight

    - SCREEN: To be provided by Authors: Shot of voltage for at least one representative load

  - When the voltages have been recorded for all ten weights, calculate the slope and intercept to determine the linear equation of the voltages and weights [1].

    - SCREEN: To be provided by Authors: Shot of calculated slope and intercept

  - For biomechanical testing of the isolated brachial plexus nerve, use fine scissors to cut the nerve [1] and use a custom clamp to clamp the cut side of the nerve [2].

    - Nerve being cut

    - Nerve being clamped

  - Label the clamped nerve segment with black acrylic paint [1] and place a 1-centimeter ruler flat within the animal to set the scale for the data analysis [2].

    - Nerve being labeled

    - Ruler being placed

  - In the camera software, place the camera field of view directly over the tested segments to allow monitoring of the motion and/or displacement of the markers [1] and to determine the actual tissue strain at a specific timepoint [2].

    - SCREEN: To be provided by Authors: Field of being placed over segments

    - LAB MEDIA: Figure 6 image

  - Record the baseline measurements, such as the height at which the nerve inserts into the body from the table [1], the height of the clamp from the table [2], the angle of the actuator [3], and the full length of the tissue [4].

    - Nerve insertion height being measured

    - Clamp height being measured

    - Actuator angle being measured

    - Tissue length being measured

  - Open the programming software [1] and click Run, Initialize, and Tare [2].

    - Talent opening software, with monitor visible in frame

    - SCREEN: To be provided by Authors: Run, Initialize, and Tare being clicked

  - Click start to stretch the brachial plexus segment [1]. The tissue will be pulled at an assigned rate of 500 millimeters/minute until complete failure occurs in any segment of the nerve tissue [2].

    - SCREEN: To be provided by Authors: Start being clicked

    - Tissue being pulled

  - The program will save a video file, the applied tensile load, the displacement of the tissue, and the duration of the test [1].

    - SCREEN: To be provided by Authors: Shot of data being recorded/saved/measurement w/in software

  - Record the failure site, as the segment at which the tissue ruptures [1].

    - ECU: Shot of ruptured tissue segment

OPTIONAL – Critical Step Statement:

- An OPTIONAL brief statement may be submitted for further elaboration of the best way to perform the required technique for the single most critical step of this procedure.

- If there is no single critical step, then there is no need to fill out this statement.

- This will be an interview style shot interjected after the relevant step within the Protocol section of the video.

- This statement is limited to 30 words or less.

- Please indicate the full name of the Author who will give this statement and the step of the protocol to which the statement pertains using the step numbers from the Protocol section (above).

# Fill in the details below based on the instructions above for the “Critical Step Statement”

# Author name, Step            :           (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

# Section – Results

# The Results section is restricted to 200 words of narrative. Please read through the results as presented to make sure that it accurately represents your findings. If you would like to highlight other data, please revise this section accordingly, keeping in mind the word count restriction. Please note that we cannot include narrative without an accompanying visual.

- Results: Representative BP Load-Time Plot and Strains

  - In this representative test of four brachial plexus segments, the obtained failure load was 8.3 Newtons [1] and the average strain failure was 35% for the neonatal nerve tissue samples when subjected to stretch [2].

    - LAB MEDIA: Figures 5 and 6: JoVE Video Editor please add arrow and text box OR emphasize data peak

    - LAB MEDIA: Figures 5 and 6: JoVE Video Editor please emphasize grey data bars

  - Some regions of the nerve undergo a higher strain than others [1], indicating a non-uniform injury along the length of the nerve [2]. The camera data allows identification of the location of failure in this experiment proximal to the foramen [3].

    - LAB MEDIA: Figure 6: JoVE Video Editor please emphasize green, aqua, and black data bars

    - LAB MEDIA: Figure 6: JoVE Video Editor please emphasize orange data bar

    - LAB MEDIA: Figure 6: JoVE Video Editor please emphasize top blue text box and corresponding segment in image

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- Below are questions for statements that can be used to further emphasize the significance of your protocol. At least one statement is required.

- Each statement is limited to 30 words.

- Answer the questions in full sentences, as you will be expected to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each Conclusion Interview statement.

- Each author may give two Conclusion statements maximum.

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Author Name Anita Singh: Ensuring the animal is anesthetized deeply and showing no signs of pain or discomfort is one of the most important steps in this procedure.  (Step: 2.1). Calibration of the load cell is next most important. Finally, clamping the tissue firmly to avoid slips is another critical step. (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Author Name:  Anita Singh – The in vivo animal model can be used to study functional and histological changes in the tissue post varying degree of stretches. It can also be used to study complicated birthing scenarios that accompany more than just stretch on the brachial plexus. An example being hypoxia in neonates and its affect on brachial plexus. ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Author Name Anita Singh: Data obtained from this model can be used in current mathematical and computational models that currently serve as best surrogates to understand the injury mechanism. Furthermore, behavioral and surgical treatment approaches can be explored using the protocol. ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take. If no materials are hazardous, leave this statement blank.

  - Author Name Anita Singh: None ___(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.