# Submission ID #: 59860

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18257348

Title: Methods for In Vivo Biomechanical Testing on Brachial Plexus in Neonatal Piglets

Authors and Affiliations: Anita Singh1, Rachel Magee1, and Sriram Balasubramanian2

1Department of Biomedical Engineering, Widener University

2School of Biomedical Engineering, Science and Health Systems, Drexel University

# Corresponding Author:

# Anita Singh

# asingh2@widener.edu

Email addresses for Co-authors:

remagee@widener.edu

sb939@drexel.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

3. Which steps from the protocol section below are the most important for viewers to see?

3.9.-3.10., 3.11., 3.12., 3.14.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.9. is the most difficult aspect of the procedure as the clamped tissue can sometimes slip out of the clamp. To ensure success, the tissue is often placed within the spring of the clamp and secured.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Anita Singh: This technique replicates in vivo biomechanical stretch testing of the brachial plexus in a piglet, serving as a highly relevant, clinical, large neonatal animal model [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Anita Singh: These methods can not only help in understanding stretch injury mechanisms but also can report the injury threshold values for functional and structural deficits within the neonatal brachial plexus [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Anita Singh: Demonstrating the procedure will be Rachel Magee, a grad student from my laboratory [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at Drexel University.

# Section - Protocol

- Brachial Plexus (BP) Surgery

  - After confirming a lack of palpebral and withdrawal reflexes [1-TXT], place the anesthetized pig in the supine position on the operating table [2] with the upper limb in abduction to expose the axillary region [3].

    - WIDE: Talent confirming sedation Videographer: Do not get pig head/face in shot TEXT: Anesthesia: 4% isoflurane

    - Talent placing pig in supine position Videographer: Do not get pig head/face in shot

    - Shot of upper limb in abduction

  - Place a drape over the animal [1] and use a number-10 scalpel blade to make incisions over the marked skin. Midline incision (C3-T3) is overlying the trachea down to the upper third of the sternum, exposing the brachial plexus complex on both sides of the spine [2-TXT]. To expose one side of the animal’s brachial plexus, superior incision is made from the upper end of the midline incision, corresponding to C3, to the upper arm and inferior incision from lower end of the midline incision, corresponding to T3, to the upper arm.

    - Talent placing drape

    - Incisions being made on the midline and one side of spine TEXT: Midline incision corresponds to C3-T3 processes Author comment: Please insert cartoon here: Cartoon 1 from JoVE Cartoon.pptx

  - Use forceps on each side of the incision to separate tissue from the suprasternal notch along the edge of the clavicle to the upper arm while sparing the cephalic and basilic veins [1].

    - Incision being opened

  - Using scissors, forceps, and blunt dissection, release the superior flap to access the cervical region of the brachial plexus [1] and the inferior flap to access the thoracic region of the brachial plexus [2].

    - Superior flap being released

    - Inferior flap being released

  - Perform blunt dissection on superficial muscles to expose the brachial plexus. Then examine the plexus carefully to locate bifurcations of the divisions [1] and identify the brachial plexus regions below the bifurcations closer to the arm as the chord and the nerve and [3] above the bifurcations closer to the spine as the root or trunk [2].

    - ECU: Blunt dissection of the muscles and Shot of the exposed BP

    - Use 2.5.1. Video Editor: please emphasize brachial plexus regions above bifurcations closer to spine when mentioned

    - Use 2.5.1. Video Editor: please emphasize regions below bifurcations closer to arm when mentioned

- Biomechanical Testing

  - To set up the biomechanical testing device, attach the base of the device to a cart [1] and use large C-clamps to attach the electromechanical actuator to the base [2-TXT].

    - WIDE: Talent attaching device to cart Author comment: Please insert cartoon here: Cartoon 2 from JoVE Cartoon.pptx

    - Talent clamping actuator to base TEXT: Actuator can provide 150 lb of force, 10” stroke, and 0.2-5 mm/s speed

  - Attach a 200-Newton load cell to the actuator [1] and screw in a clamp with padded plexiglass to prevent stress concentration at the clamping site [2].

    - Talent attaching load cell to actuator

    - Clamp being screwed to load cell

  - Attach a camera that can record up to 100 frames/second at a 658 x 492 pixel resolution to a tripod [1] and attach USB cables from the camera, actuator, and load cell to the computer to integrate and synchronize all of the components of the setup [2].

    - Talent placing camera onto tripod

    - Talent attaching cable(s)

  - Then plug the computer, actuator, and load cell into a power source [1].

    - Talent plugging in at least one cable

  - To calibrate the load cell before recording the applied loads, use the adjustable handle to set the actuator at a 90-degree angle such that it is aligned vertical [1] and check the angle with a protractor [2].

    - Talent angling actuator

    - Shot of angle being measured

  - Open the load cell software [1] and click Start to show a live readout of the voltage [2].

    - Talent opening software, with monitor visible in frame

    - SCREEN: calibration: 00:14-00:24

  - Next, hang 0- to 1000-gram weights from the clamp in 100-gram increments [1], recording the measured voltages at each load [2].

    - Talent hanging weight

    - SCREEN: calibration: 00:52-01:02

  - When the voltages have been recorded for all ten weights, calculate the slope and intercept to determine the linear equation of the voltages and weights [1].

    - SCREEN: excel: 00:20-00:36 Video Editor: can speed up

  - For biomechanical testing of the isolated brachial plexus nerve, use fine scissors to cut the nerve [1] and use a custom clamp to clamp the cut side of the nerve [2].

    - Nerve being cut Videographer: Important/difficult step

    - Nerve being clamped Videographer: Important/difficult step

  - Label the clamped nerve segment with black acrylic paint [1] and place a 1-centimeter ruler flat within the animal to set the scale for the data analysis [2].

    - Nerve being labeled Videographer: Important step

    - Ruler being placed Videographer: Important step

  - In the camera software, place the camera field of view directly over the tested segments to allow monitoring of the motion and/or displacement of the markers [1] and to determine the actual tissue strain at a specific timepoint [2].

    - SCREEN: zed: 00:10-00:18 Video Editor: File be replaced by Authors w/ new video footage

    - LAB MEDIA: Figure 6 image

  - Record the baseline measurements, such as the height at which the nerve inserts into the body from the table [1], the height of the clamp from the table [2], the angle of the actuator [3], and the full length of the tissue [4].

    - Nerve insertion height being measured Videographer: Important step Videographer note: MVI 3128 - I called it out as shot 3.1.2 take 1 it should have been shot 3.12.1 take 1; MVI 3132 - Shot 3.12.1 take 2 is correct (focus is on piglet)

    - Clamp height being measured Videographer: Important step Videographer note: MVI 3129 - I called it out as shot 3.1.2 take 2. It should have been shot 3.12.2 take 1 MVI 3130 - I called it out as shot 3.12.2 take 2. That is correct; MVI 3131 - Shot 3.12.2 take 3 is correct (focus is on piglet)

    - Actuator angle being measured Videographer: Important step

    - Tissue length being measured Videographer: Important step

  - Open the programming software [1] and click Run, enter the filename and displacement, and click Initialize, and Tare [2].

    - Talent opening software, with monitor visible in frame

    - SCREEN: gui: 00:14-01:20 Video Editor: please speed up

  - Click start to stretch the brachial plexus segment [1]. The tissue will be pulled at an assigned rate of 500 millimeters/minute until complete failure occurs in any segment of the nerve tissue [2].

    - SCREEN: gui: 01:54-02:04

    - Tissue being pulled Videographer: Important step

  - Then save a video file, the applied tensile load, the displacement of the tissue, and the duration of the test [1] and record the failure site as the segment at which the tissue ruptures [2].

    - SCREEN: gui: 02:27-02:50 Video Editor: please speed up

    - ECU: Shot of ruptured tissue segment

# Section – Results

- Results: Representative BP Load-Time Plot and Strains

  - In this representative test of four brachial plexus segments, the obtained failure load was 8.3 Newtons [1] and the average strain failure was 35% for the neonatal nerve tissue samples when subjected to stretch [2].

    - LAB MEDIA: Figures 5 and 6: JoVE Video Editor please add arrow and text box OR emphasize data peak

    - LAB MEDIA: Figures 5 and 6: JoVE Video Editor please emphasize grey data bars

  - Some regions of the nerve underwent a higher strain than others [1], indicating a non-uniform injury along the length of the nerve [2]. The camera data allowed identification of the location of failure in this experiment as proximal to the foramen [3].

    - LAB MEDIA: Figure 6: JoVE Video Editor please emphasize green, aqua, and black data bars

    - LAB MEDIA: Figure 6: JoVE Video Editor please emphasize orange data bar

    - LAB MEDIA: Figure 6: JoVE Video Editor please emphasize top blue text box and corresponding segment in image

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Anita Singh: It is important to ensure that: first the animal is deeply anesthetized and shows no signs of pain or discomfort, second to calibrate the load cell, and third to clamp the tissue firmly [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step 3.5.)

  - Anita Singh: This in vivo animal model can be used to study functional and histological changes in the brachial plexus tissue after varying degrees of stretches and to study complicated birthing scenarios [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera