We thank the reviewers and editors for their insights and appreciate their comments. We have modified the text to accommodate editorial and reviewer comments and to improve clarity and significance of each step in the protocol.  Below are the comments of each reviewer (in italics) and the steps we have taken to address each.

Editorial comments:

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

We have gone through the manuscript and made all the efforts to remove any grammatical or spelling mistakes, and modified the text to improve clarity.

2. Please obtain explicit copyright permission to reuse any figures from a previous publication. Explicit permission can be expressed in the form of a letter from the editor or a link to the editorial policy that allows re-prints. Please upload this information as a .doc or .docx file to your Editorial Manager account. The Figure must be cited appropriately in the Figure Legend, i.e. “This figure has been modified from [citation].”

We do have any figures or data that have been previously published.

3. Please use h, min, s for time units.

We have gone through the manuscript and addressed any use of units in this notation.

4. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.

We removed any brand names and referred to any reagents or instruments in generic terms. We also added these details in the Table of Materials and Reagents.

5. Please use standard SI unit symbols and prefixes such as µL, mL, L, g, m, etc.

We have gone through the document and made any necessary changes in the notation of SI units.

6. Please do not highlight a step without highlighting any of the sub-steps for filming.

We have gone through the protocol and removed highlighting of any step that does not require filming.

7. Step 5.1: Please write this step in the imperative tense.

We have modified the wording on this step to imperative tense.

8. Please do not abbreviate journal titles for references.

The references have been updated with the correct formatting.

9. Figure 2: Please add a unit.

We apologize for this omission. The figure was modified, we added a kDa unit for the molecular weight markers.

10. Figure 3: Please add a unit.

We apologize again for this error. We have modified the figure accordingly and added a kDa unit for the molecular weight markers.

Reviewers' comments:

Reviewer #1:

Manuscript Summary:
This manuscript describes the protocol for detergent-assisted reconstitution of recombinant drosophila Atlastin into liposomes to assess its fusogenicity. It is clearly written and will be of great interest to all of the scientists working on the mechanism of membrane fusion. Apart for a few minor points (see below), the protocol clearly described the step-by-step procedure and should be easily reproducible by non-experts.

Minor Concerns:
*It would be useful to the readers to detail the rationale for a few experimental details:
1.1.2; 1.1.3. Why are the bacteria grown at 25oC instead of 37oC?

Our construct has some leaky expression before induction with IPTG. Growth at 25oC is mostly to reduce aggregation during this growth period.

1.1.6. Why induce at 16oC?

We have empirically determined that aggregation is minimized by inducing at 16oC. We added this point in the text for clarity.

1.1.13. NOTE: Why use 8M Urea?

We use that to dissolve the solid pellet. It acts as a strong denaturant and should help dissolve any inclusion bodies. We modified the text to address this point.

1.1.14. Why filter extracts through 0.45µm cellulose membrane?

We appreciate this comment and it is important to clarify the rationale of this step. The 0.45 um membrane will filter out any unbroken bacteria and large debris that may not have removed by centrifugation. This also ensures that no debris is present that may clog the chromatography system. We modified the text on this step to address this point.

1.2.1. Why changing the salt concentration from 200mM to 100mM KCl?

The higher salt concentration in the breaking buffer is typical for bacterial lysis buffers. The higher salt concentration is helpful in breaking for bacteria lysis and improves the purity of recombinant proteins by decreasing non-specific binding of the expressed protein to other cellular components. However, following purification, we reduce the salt content to 100 mM to mimics physiological conditions better.

1.2.5. What is the "equilibration buffer", is it A100?

We apologize for the discrepancy in defining the equilibration buffer. It is A100 with 10% glycerol, 2 mM 2-mercaptoethanol, 0.1% Anapoe X-100, and 1 mM EDTA. The solution was defined in step 1.2.3. but we redefined it in step 1.2.5. for clarity.

2.1.9.1. What is the composition of the scintillation cocktail?

The scintillation fluid is premade. We use National Diagnostics Ecoscint XR Scintitllation Solution for aqueous or non-aqueous samples. Form the label, the composition is of Phenyl xylyl ethane, linear alkyl phenyl ethoxylates, butoxy ethanol, and primary alcohol ethoxylate. We added the brand information in the Table of Materials and Reagents.

2.2.4. NOTE: there is no step 2.5.

We apologize for this typo. We have modified the text with the correct referenced step.

2.4. The reference should be formatted.

We have added the reference in the correct format and updated our reference list.

3.1. It would be less confusing to rephrase "Make at least 4 reactions including a triplicate, and a no-GTP negative control" As it reads, it seems that the triplicate and negative control are in addition to the 4 reactions.

We apologize for this confusion, we have reworded the text for clarity. 

*There is a mistake in 4.4. The top layer of the gradient should not have detergent, which would dissolve the newly formed liposomes.

We apologize for this error. We modified the buffer composition and removed the detergent component. 

*There are several typos in the manuscript. For example in 1.1.12 should be Avestin, not Avastin.

We have made all efforts to remove all the typos. We also removed the commercial language of the instrument and will address this at the Table of Materials and Reagents. 

*The buffer A100 needs to be described consistently: in 1.2.1 and at several other places it is described as 25mM HEPES(pH7.4) and 100mM KCL. In 2.1.6. A100 is described as 25mM HEPES(pH7.4) and 100mM KCL, 10% glycerol, 2mMBME, and 1mM EDTA.

We apologize for the inconsistency. We modified the text to address the definition of A100 consistently throughout the text. 



Reviewer #2:

Manuscript Summary:
In this methods paper, McNew et al., who have been publishing a number of the reconstitution studies on atlastin GTPase-mediate membrane fusion (for example, Ref. #2 and #16), describe the detailed step-by-step procedures for (i) expression and purification of recombinant drosophila atlastin protein, (ii) preparation of reconstituted proteoliposomes bearing purified atlastin proteins by a detergent-assisted incorporation method, and (iii) testing the fusogenic capacities of the prepared atlastin-bearing proteoliposomes using lipid mixing assays. Although these experimental protocols appear to be basically well-written and should be very useful for the researchers in the field, this reviewer would like to recommend the authors to amend the paper with respect to the following concerns/suggestions:

Minor Concerns:

1. Page 4, lines 189-195; it would be helpful for the readers, if the authors described why they used the POPC/DOPS lipid compositions for atlastin reconstitution.

The lipid composition of POPC:DOPS has traditionally been used in previous work addressing SNARE in vitro fusion. It is noteworthy that varying the lipid composition with other lipids does significantly affect fusion kinetics.  POPC:DOPS proteoliposomes are very stable and harder to fuse than other lipid compositions. We use this as a very stringent way to assess fusion. We added a note on this step to address that alternative lipid composition may be adjusted at this point. 

2. Page 4, lines 207-209, and Page 5, lines 253-254; the more detailed information about vortexing in these steps would be needed. For instance, regarding the equipment and the settings used.

We appreciate this comment and agree that we need to be more specific for clarity. In Page 4, lines 207-209, any vortex that can accommodate the tube with the lipid mix should suffice, also a low vortex setting is enough for resuspension. In Page 5, lines 253-254, a quick vortex for mixing the solution is enough.  We added more details to the text and added the vortex model in the Table of Materials and Reagents.

3. Page 4, lines 211-212; although they described "…. to form large unilamellar vesicles (LUVs)", this reviewer believes that there must be significant amounts of "multilamellar" vesicles at this step before extrusion.

Although after resuspension most vesicles are going to be multilamellar, the ten freeze-thaw cycles minimize multilamellar vesicles. We appreciate the comment and have modified the text to improve clarity. 

4. Page 5, lines 246-251; they described the Reff value (between 0.64-0.8) for the current reconstitution method, and the Dwater value (of 0.18 mM) for TX-100. It would be very helpful for the readers, if the suitable references for these numbers were cited.

We apologize for the lack of referencing, the numbers were taken from reference 4 (Rigaud, et al., 1995). We also added reference 11 (Patternostre, et al., 1988) were the values are described in greater detail. 

5. Page 6, lines 273-276; what is the "calculated amount of BioBeads"? Need to indicate the typical amounts of BioBeads used in this step.

We apologize for the confusing wording. The volume of BioBead slurry is determined by the total detergent in each reaction. One gram of BioBeads can remove 70 mg of Triton X-100. A typical 250 μL reaction has around 150 μg of detergent. Using 0.2 g/mL BioBead slurry we can remove the detergent typically with 10 μL of slurry. We described the calculations for this in the text to improve clarity. 

6. Page 8, lines 380-386; "Figure 3, Figure 3A, Figure 3B" should be indicated as "Figure 4".

We apologize for this typo and have corrected this on the text. 

7. Figure 4; the y-axis labels for Figure 4A-C should be changed to Lipid mixing (% of Maximum).
We use lipid mixing as a proxy for fusion and agree that lipid mixing is more accurate; we modified the figures to improve clarity.

8. Discussion, Page 10, lines 438-451; in addition to the experimental evidence from lipid mixing assays (Ref. #2, #3, #14, #15, and #16), the intrinsic fusogenic capacities of atlastin-family proteins have been also tested by the prior reconstitution studies using electron microscopy experiments and fluorescence microscopy experiments (Ref. #14, #15, and #16). This would further strengthen the evidence establishing the full-fusion (not only hemifusion) activities of the reconstituted atlastin/Sey1p proteoliposomes, prepared by the detergent-assisted incorporation method described here. This would be worth noting in the Discussion section or so.

We completely agree with this comment, we have taken steps in the lab to address this question and from the literature and non-reported data we are confident that the system we describe for atlastin fusion is in fact full fusion. We have addressed this in the discussion. 



Reviewer #3:

Manuscript Summary:
Fusion assays using reconstituted proteoliposome (RPL) provide a facile tool for studying the role of fusogenic proteins in membrane fusion. In this manuscript, the authors provide a detailed description of the entire procedures of protein purification, proteoliposome production, and a lipid mixing assay. Furthermore, the authors nicely show that detergent-assisted reconstitution of drosophila atlastin-1 has several advantages over other methods: high reconstitution efficiency of membrane proteins into the lipid bilayer with a proper orientation. I only have minor points that the author may want to consider.

Minor Concerns:

(1) In 2.1.10, the authors mention that LUV liposomes can be stored at 4C for up to a week. Can they be stored for a longer time? If so, mentioning the storage condition would be very informative and useful.

We appreciate this comment and agree it is an important point we need to clarify. We do not recommend longer storage time as liposome may aggregate, this may alter reconstitution efficiencies and consequent lipid mixing assays. We modified the text in the step to address this point.

(2) In 2.4, It would be also very informative and useful to describe how proteoliposomes should be stored if they are not immediately used.

Again, this is a very important point we failed to mention in the manuscript. In the case of atlastin proteoliposomes we recommend using fresh liposomes. Long-term storage at 4oC lead to loss of enzymatic activity of atlastin. We also do not recommend freezing the sample again as we have found that atlastin fusogenic activity as well as GTPase activity significantly diminishes when proteoliposomes are subject to freeze/thaw cycles.  We added this point in the text for clarity.

(3) Is there any difference between 'Triton X-100' and 'Anapoe X-100'? To my knowledge, they are basically same. Please stick to one to avoid confusion.

We appreciate this comment, however there are some differences between commercial sources of polyoxyethylene detergents.   Most Triton X-100 sources report an average molecular weight with of 625 of the mixture of 9-10 copies of oxyethylene.  Anatrace Anapoe X-100 has a bit higher purity and this formulation favors the longer 10 copy of oxyethylene with a reported average molecular weight of 647. For the initial steps in bacterial lysate preparation lower grade Triton X100 will suffice. However, for the purification and elution Anapoe X-100 is preferred.  We have not systematically compared sources of detergent but prefer Anapoe X-100.