## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
Acetontrile | Millipore Co. | AX0145-1 | Sampling solvent
CellTram Vario | Eppendorf | 6221 | ICMP
Copper wire | stores.ebay.com/jewelerheaven | Dead soft, round, 20 guage, 25 ft | Conductive union setup
Digital stereomicroscope | Shenzhen D&F Co. | Supereyes T004 | Analysis
Disposable micropipette, 1-5 µL | Rochester Scientific | 5065 | Cell-selection probe fabrication
Dual bore quartz tubing, 1.120"x0.005"x12" | Friedrich & Dimmock, Inc. | MBT-005-020-2Q | Single-probe fabrication
Epoxy resin | Devcon | Part No. 20945 | Single-probe fabrication
Eppendorf cell manipulation system | Eppendorf | Transferman NK517800397-U.R. | ICMP
External nut | VALCO*CHEMINERT | EN1 | Ion transfer tube fabrication
Formic acid | Sigma-Aldrich | 399388-500ML | Sampling solvent
Fused silica capillary, ID: 40 µm, OD: 100 µm | Polymicro Technologies | TSP040105 | Single-probe fabrication, conductive union setup
Fused silica capillary, ID: 50 µm, OD: 150 µm | Polymicro Technologies | 1068150015 | Conductive union setup
HyClone Synthetic fetal bovine serum (FBS) | Fischer Sci | SH3006603 | Cell culture
Inline MicroFilter | IDEX Health & Science LLC | M-520 | Conductive union setup
Laser puller | Sutter Instrument Co. | Model P-2000 | Single-probe fabrication
LED UV lamp | Foshan Liang Ya Dental Equipment | LY-C240 | Single-probe fabrication
LTQ Orbitrap mass spectrometer | Thermo Scientific | LTQ Orbitrap XL | Analysis
Microforge | Narishige, Co. | MF-9 | Cell-selection probe fabrication
Microunion | IDEX Health & Science LLC | M-539 | Conductive union
PEEK tubing, 1/32x0.005x 5ft | IDEX Health & Science LLC | 1576 | Conductive union setup
PEEK tubing, 1/32x0.007x 5ft | IDEX Health & Science LLC | 1577 | Conductive union setup
Penicillin/Streptomycin | Gibco/Life Technologies | 15140-122 | Cell culture
Petri dish, 35x10 mm | VWR | 25382-334 | Sample preparation
Phosphate Buffered Saline (PBS) | VWR | 0780-50L | Cell culture
Platinum wire | Narishige, Co. | Model PT-A | Microforge
Power supply | Nikon | PSM-2120 | ICMP
RPMI, 1X with Corning glutagro | Corning | 10-104-CV | Cell culture
Single-bore tubes | Boralex | 5065 | Cell-selection probe fabrication
Stainless steel ferrules, for 1/16" OD | IDEX Health & Science LLC | VHP-200-01x | Ion transfer tube fabrication
Stainless steel tubing, 1/32x 205 µm x30 cm | IDEX Health & Science LLC | U-1128 | Ion transfer tube fabrication
Syringe, 250 µL | Hamilton | 1725LTN250UL | Sampling syringe
T25 flask | CellStar | 690160 | Cell culture
Thermo LTQ XL ion source interface flange | New Objective | PB5500 | Analysis
ThermoPlate | TokaiHit | 55R30N | ICMP
TrypLE Express | Gibco | 12605-010 | Cell culture
Tube cutter, for 1/16" stainless steel | SUPELCO | 58692-U | Ion transfer tube fabrication
USB digital photography microscope | dx.com | SO2 25~500X | Analysis
UV curing resin | Prime Dental | Item No. 006.030 | Single-probe fabrication
Vertical pipette puller | David Kopf Instruments | Model 720 | Cell-selection probe fabrication
Voltage housing | PicoChip | PCH-A00120 | ICMP/MS interface
Wire cutter | Craftsman | 4 1/2 in end nipper | Conductive union setup