## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
2 mL eppendorf tube. | Axygen | MCT-200-C | 2 mL Tube
AD/DA converter | Instrutech | ITC-18 | Equipment
ADP, Adenosine 5′-diphosphate monopotassium salt dihydrate | Sigma-aldrich | A5285 | Chemicals
Band pass filter | Ealing Electro-Optics, Inc | 35-3920 | Equipment, 640±11nm
Band pass filter | Omega Optical | 690-9823 | Equipment, 590±15nm
Band pass filter | Omega Optical | 500DF20-9916 | Equipment, 500±20nm
Band pass filter | Chroma Technology Corp. | 60685 | Equipment, 450±30nm
Calcium chloride solution | Sigma-aldrich | 21114 | Chemicals
carboxy-SNARF-1(AM) | Invitrogen | C1272 | Chemicals
Charge-coupled device (CCD) camera | Philips | FTM1800NH/HGI | Equipment
Dichroic mirror | Chroma Technology Corp. | 86009 | Equipment, Multiband dichroic mirror, Reflection : <400nm, 490±10, 560±10, Transmission : 460±15, 510±20, >580nm
Dichroic mirror | Chroma Technology Corp. | 567DCXRU | Equipment, Reflection : <560nm, Transmission : > 580 nm
Dichroic mirror | Chroma Technology Corp. | 480dclp | Equipment, Reflection : <470nm, Transmission : > 490 nm
Dichroic mirror | Chroma Technology Corp. | 20728 | Equipment, Multiband dichroic mirror, Reflection : <405nm, 470±30, Transmission : 430nm~520nm, > 640 nm
Dimethyl sulfoxide(DMSO) | Sigma-aldrich | 154938 | Chemicals
DMEM, Dulbecco’s Modified Eagle’s Medium | Sigma-aldrich | D5030 | Chemicals
EGTA, Egtazic acid, Ethylene-bis(oxyethylenenitrilo)tetraacetic acid, Glycol ether diamine tetraacetic acid | Sigma-aldrich | E4378 | Chemicals
FCCP, Mesoxalonitrile 4-trifluoromethoxyphenylhydrazone | Sigma-aldrich | 21857 | Chemicals
field diaphragm | Nikon | 86506 | Equipment
Fura-2-FF(AM) | TEFLABS | 137 | chemicals
Green tube | DWM |  | test tube
HEPES, 4-(2-Hydroxyethyl)piperazine-1-ethanesulfonic acid, N-(2-Hydroxyethyl)piperazine-N′-(2-ethanesulfonic acid) | Sigma-aldrich | H3375 | Chemicals
High-speed counter | National Instruments | NI-6022 | Equipment
Hot mirror | Chroma Technology Corp. | 21002 | Equipment, 50:50
Inverted microscope | Nikon | TE-300 | Equipment
Malate | Sigma-aldrich | 27606 | Chemicals
Near infrared filter | Chroma Technology Corp. | D750/100X | Equipment, 750±100nm
Oil immersion lens | Nikon | MRF01400 | 40x, NA 1.3; Equipment
Photon counter unit | Hamamatsu | C3866 | Equipment
Photon multiplier tube | Hamamatsu | R2949 | Equipment
Polychrome II | Till Photonics | SA3/MG04 | Equipment
Potassium chloride | Merck | 1.0494 | Chemicals
Potassium hydroxide solution | Sigma-aldrich | P4494 | Chemicals
Pyruvate | Sigma-aldrich | 107360 | Chemicals
Rotenone | Sigma-aldrich | R8875 | Chemicals
Saponin | Sigma-aldrich | S4521 | Chemicals
TMRE, Tetramethylrhodamine, ethyl ester | Molecular probes | T669 | Chemicals

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=