## Sheet1
Name | Company/Source | Catalogue Number | Comments
5 ml polystyrene round-bottom tube | Falcon | 352054 | Tubes for DS containing enzymes used in digestion steps
9-Phenanthrol | Sigma-Aldrich | 211281 | TRPM4 channel inhibitor
Amphotericin-B | Fisher | BP928-250 | Used for patch/cell perforation
Amphotericin-B | European Pharmacopoeia Reference Standards | 5 | Used for patch/cell perforation
Amphotericin-B | Sigma-Aldrich | A9528-100MG | Used for patch/cell perforation
Analog vortex mixer | VWR | 58816-121
Aspartic acid | Sigma-Aldrich | A9006 | Intracellular pipette solution
Bovine serum albumin | Sigma-Aldrich | A7906 | DS
CaCl2 | Sigma-Aldrich | C1016 | Extracellular solution and DS
Capillary Glass | Sutter | BF150-110-7.5 | Capillary for preparation of pulled patch electrodes
Cesium hydroxide hydrate | Sigma-Aldrich | C8518 | Intracellular pipette solution
Clampex ver. 10 software includes data acqusition (Clampex) and analysis (Clampfit) programs | Axon Instruments/ Molecular Devices | pCLAMP-10 | Commerical software and part of patch-clamp rig setup
Collagenase type 2 | Worthington Biochemical Corporation | LS004177 | DS-C
CsCl | Sigma-Aldrich | 203025 | Extracellular and intracellular solutions
Dental wax | Miltex Dental Wax Technologies, Inc. | 18058351
Digital Thermometer with Probe | FisherScientific | 15-077-32 | Placed in tissue bath to monitor temperature
Dimethyl sulfoxide (DMSO) | Sigma-Aldrich | D2650 | Solvent
DL-Dithiothreitol (DDT) | Sigma-Aldrich | D9779 | Reducing agents used together with Papain
EGTA | Sigma-Aldrich | E3889 | Ca2+ chelator, used in intracellular pipette solution
Flaming/Brown micropipette puller | Sutter | P-97 | Required to pull electrodes with very fine tips
Floating foam tube rack/holder | VWR Scientific | 82017-634 | Used for holding tubes with enzymes for temperature control
Glucose | Sigma | G8270
Glutamic acid (Na salt) | Sigma-Aldrich | G1626 | DS
HEPES | Sigma-Aldrich | H3375 | pH Buffer
KCl | Fisher Scientific | BP366-1 | Extracellular solution
Low Noise Data Acquisition System | Axon Instruments/ Molecular Devices | Digidata 1440A | Part of patch-clamp rig setup
Magnetic stirrer | VWR | 01-442-684
MgCl2 (hexahydrate) | Sigma-Aldrich | M2670 | Extracellular and intracellular solutions
MicroForge | Narishige | MF-830 | Used for fire-polishing electrodes
NaCl | Sigma-Aldrich | S7653 | Extracellular and intracellular solutions
NaOH | Sigma-Aldrich | S8045
Nifedipine | Sigma-Aldrich | N7634 | L-type voltage-gated Ca2+ channel blocker
Nikon inverted microscope, TS100 with T1-SM stage with 5x, 10x, 20x, and 40x objectives | Nikon | Discontinued | Part of Patch-clamp rig setup
Non-metalic syringe needle, MicroFil | WPI | MF-34G-5 | Filling of intracellular pipette solution
Papain | Worthington Biochemical Corporation | LS003126 | DS-P
Pasteur pipette | FisherBrand | 13-678-20A | Tips are broken off and fire-polished and used for titration of enzymatically treated tissues to release single DSM cells from pieces
Patch-clamp amplifier | Axon Instruments/ Molecular Devices | Axon Axopatch 200B | Part of patch-clamp rig setup
PC computer | DELL | Custom configuration | Part of patch-clamp rig setup
pH Meter | Aspera Instruments | PH700
Polyethylene tubing | Intramedic | 427-436 | Tubing for superfusion of extracellular bath connected to glass-bottom recording chamber
Tetraethylammonium chloride | Sigma-Aldrich | T2265 | Ion channel blocker of Kv and BK channels added to the extracellular bath solution
ThermoScientific Precision shaking water bath (model 2870) | ThermoScientific | Discontinued | Water bath for temperature control of enzymatic digestion employed as an alternative to tissue chamber-circulating bath setup
Tissue bath, 100 mL | Radnoti | 1583-101 | Connected to a circulating bath and filled with water, tubes with DS and DSM pieces are placed in the setup to control the temperature of digestion steps
Vinyl tubing | ColePalmer | 06405-3 | Multiple uses including for connecting tissue bath to circulating water bath
Water circulator bath, Haake D1 L | Haake | Discontinued | Connected to tissue bath
Weighting scale | Mettler Toledo | XS64
ZeissAxiovert 40C inverted microscope with 10x and 40x objectives | Carl-Zeiss | Discontinued | Part of patch-clamp rig setup