# Submission ID #: 59886

# Scriptwriter Name: Qingyun Ping

# Project Page Link: http://www.jove.com/files_upload.php?src=18265278

# Title: Kinase Inhibitor Screening in Self-Assembled Human Protein Microarrays

# Authors and Affiliations: Fernanda Festa1,2, Joshua LaBaer1

1Virginia G. Piper Center for Personalized Diagnostics, Biodesign Institute, Arizona State University, AZ, USA

2Current address: Department of Pediatrics, and Biochemistry/Molecular Biology, College of Medicine, The Pennsylvania State University, PA, USA

# Corresponding Author:

# Joshua LaBaer

# joshua.labaer@asu.edu

# Email address for Co-authors:

# ffesta@psu.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (NO)

2. Does your protocol include software usage? (Yes and the software is installed in PCs)

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Steps:

2.3 – 96-pin device

2.7 – slurry

2.9 – vacuum manifold

4.4 - gasket

4.5 - IVTT

6.3 – Kinase reaction

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Step 6.3 – Kinase reaction.This step is critical because differences in the incubation time between slides may result in differences in the signal intensity, which can compromise the data analysis. I give myself 2 minutes to prepare each slide and stop the reaction at 2 minutes intervals, to assure that every slide was incubated for the exact same period of time.

5. Will the filming need to take place in multiple locations? (Yes, but all the locations are in the same building)

If yes, how far apart are the locations?

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Joshua LaBaer: NAPPA is a powerful protein microarray platfporm that can be used for the study of protein activity and function in an unbiased, high-throughput manner [1].

    - INTERVIEW

  - Joshua Labaer: The proteins displayed on NAPPA are produced in a human-based expression system using human-derived ribosomes and chaperones in order to improve the likelihood of natural folding and activity [1].

    - INTERVIEW

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Fernanda Festa: Yes. The use of NAPPA arrays for the screening of kinase inhibitors provides a new platform for the test of new drugs and clinically relevant kinase mutations [1].

    - INTERVIEW

  - Jennifer Van Duine: Protein microarrays generated by NAPPA methodology can be used for many distinct applications, including biomarker discovery, protein-protein interactions, substrate identification, and drug screening [1].

    - INTERVIEW

  - Fernanda Festa: Perform quality control steps along the way. Test the quality of your DNA preparation, DNA microarray and protein-microarray. If in any step the quality is not good, start over [1].

    - INTERVIEW

# Introduction of Demonstrator: (Said by you on camera)

  - Joshua Labaer: Demonstrating the procedure will be Lisa Miller, a technician from my laboratory [1] [2].

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Section - Protocol

- DNA Preparation

  - To prepare bacterial growth for in-house high-throughput mini-prep, first inoculate the bacteria in the agar plate in a 96 well format, and let it grow for 16 hours [1].

    - Talent inoculates the agar plate using a robot to pipe the samples.

  - The next day, fill each well of a deep-well plate with 1.5 milliliters of TB (pronounce as Terrific Broth) medium supplemented with antibody ampicillin. The antibody depends on the selection marker on the plasmid [1]. Then, sterilize a 96-pin device with 80% ethanol and flame [2-TXT]

    - Talent fill wells of a deep-well block.

    - Talent uses ethanol and flame to clean the device. TEXT: Commercial DNA mini-preps are not recommended.

  - Use the sterile 96-pin device to pick colonies from the overnight-incubated agar plate, and submerge into the wells of the deep-well plate to inoculate the culture. [1]. Cover the block with a gas permeable seal and incubate on a shaker for 22–24 hours at 37 degrees Celsius and 300–800 rpm [2].

    - CU: Talent uses the 96-pin device to pick colonies and inoculate into wells. Important Step

    - Talent covers the block and places onto a shaker.

# [Split Shot] 2.3.2.A - Talent covers the block

# [Split Shot] 2.3.2.B – Talent places the blocks onto a shaker

  - After that, pellet cultures and resuspend the cultures according to the manuscript [1]. Lyse bacteria by adding 200 microliters of solution 2 into each well [2-TXT], seal the plate with an aluminum seal and invert 5 times. Incubate the cells for less than 5 minutes [3].

    - Shot of the block with resuspended cultures.

    - CU: Talent adds solution to each well. TEXT: See manuscript for all solution preparation.

    - Talent seals the plate and inverts 5 times, and then places on a surface. With view of a timer counting towards 5 min.

  - To neutralize the solution, add 200 microliters of solution 3, seal the plate with an aluminum seal and invert 5 times [1].

    - Talent adds solution, seals the plate and inverts 5 times.

  - To prepare anion exchange resin plates, first mix the anion exchange slurry, and pour the slurry into a glass trough [1]. Stack filter plates on top of a deep well plate to act as a waste collection vessel [2].

    - Talent mixes anion exchange slurry, and pours the slurry into a glass container. Author comment: Shoot as 2.6.1.A

    - Talent places filter plates on top of the block.

  - Then, using wide-bored P1000 (pronounce as P-one-thousand) tips, pipet the slurry again, and transfer 450 microliters of the slurry into each well of the filter plates [1]. Centrifuge and discard the flow-through [2].

    - CU: Talent transfers slurry into each well. Important Step  Author comment: By mistake this shoot was recorded as Shoot 2.6.1

    - Talent takes out the filter plates from the centrifuge, and removes the supernatant.

# [Split Shot] 2.7.2.A - Talent takes out the filter plates from the centrifuge

# [Split Shot] 2.7.2.B – Talent removes the supernatant

  - Now, transfer the lysate supernatant to the stack of resin plate and deep well block [1]. Spin the stacked plates for 5 minutes at 30 times g with slowest ramp-up speed [2], and discard the flow-through [3].

    - Talent draws up lysate supernatant, and dispenses into resin block.

    - Talent places the plates into a centrifuge.

    - CU: Talent removes flow-through.

  - To wash the column, add 400 microliters of solution N3 wash buffer to each well [1]. Transfer the resin plate to vacuum manifold to remove the wash buffer [2-TXT]. Repeat the washing step twice and then remove any remaining washer buffer with a brief 5-minute spin at 30 times g.

    - Talent adds buffer to each well.

    - Talent places the resin plate to vacuum. TEXT: Repeat the washing 3x Important Step

  - To elute the DNA, place the resin plate onto a clean 800-microliter collection plate [1]. Add 300 microliters of solution N5 (pronounce as N-five) to each well, and let it sit at room temperature for 10 minutes [2].

    - Talent places the resin plate onto a collection plate.

    - Talent adds solution into each well. And then a shot of it on a surface.

  - Then spin the stacked plates for 5 minutes at 20 times g with slow ramp-up speed to 233 times g for 1 minute [1]. Store plates at -20 degrees Celsius prior to use [2-TXT].

    - Talent places the plates into a centrifuge, and adjusts settings.

    - Talent places the plates into a freezer. TEXT: DNA can be kept at -20 °C for years.

- Aminosilane Slide Coating and Array Sample Preparation

  - First, place the slides on a rack and submerge the slides in glass reservoir containing the coating solution of 2% aminosilane reagent in acetone [1] . Rock the slides for 15 minutes [2]. Then rinse the slides in Acetone followed by a final rinse in water [3].

    - CU: Talent submerges glass slides

    - Talent places a container on a rocker.

    - Talent rinses the glass slides with acetone, and then with water.

  - Next, dry slides using pressured air, blowing on them from all angles for about 3 minutes until all water droplets have been removed [1]. Store the coated slides at room temperature on a metal rack inside a tightly sealed box [2].

    - CU: Talent dries the slides. Focus on the droplets disappearing.

    - Talent places the slides on a rack inside a box.

  - Now, proceed to precipitate the DNA as described in the manuscript [1]. Resuspend the DNA pellet in 20 microliters of ultrapure water [2], and shake at 1,000 rpm for 2 hours [3].

    - CU: Talent shows the DNA precipitate in a plate.

    - CU: Talent adds water to resuspend the pellet.

    - Talent places the plate on a shaker.

  - To prepare array sample, add 10 microliters of freshly prepared printing mix, which contains the antibody, crosslinker and poly-lisine to each DNA sample [1], seal plates with aluminum foil, and shake at room temperature for 90 minutes at 1,000 rpm [2]. Store the plates overnight at 4 degrees Celsius [3].

    - Talent adds solution to each well.

    - Talent seals plates and place on a shaker.

    - Talent places the plates in a refrigerator.

  - On the printing day, briefly vortex and spin the plates [1]. Transfer 28 microliters of each sample to a 384-array plate [2].

    - Talent vortexes and then place the plate into centrifuge.

# [Split Shot] 3.5.1.A - Talent vortexes the plate

# [Split Shot] 3.5.1.B- Talent places the plate into centrifuge

    - CU: Talent transfers solution into another plate.

- Microarray Printing and Expression of NAPPA Slides

  - Place the aminosilane coated slides and the 384-well plate on the arrayer deck [1], and start the microarray printing program [2]. When printing is done, label the microarrays. The microarrays can be stored for months until further use [3].

    - Talent places slides and plate on the deck.

# [Split Shot] 4.1.1.A – Talent places slides on the deck

# [Split Shot] 4.1.1.B – Talent places plate on the deck

    - Talent starts the program, and shot of the machine running.

    - CU: Talent labels the microarrays.

  - To measure the levels of DNA, place the slides in a pipet box and block them with 50 milliliters of blocking buffer [1]. Incubate the slides on a rocking shaker at room temperature for 1 hour [2].

    - Talent places the slides in a box, and adds buffer.

    - Talent place slides on a shaker.

  - Then, discard the solution and add 20 milliliters of blocking buffer and 33 microliters of fluorescent DNA-intercalating dye [1]. Incubate for 15 minutes with agitation [2]. After the incubation is over, quickly rinse the slides with ultrapure water and dry with pressured air. The microarrays are ready to be scanned [3].

    - Talent discards the solution, and adds solution.

    - Talent places the box onto a shaker.

    - CU: Talent rinses the slides, and dries the slides.

# [Split Shot] 4.3.3.A: Talent rinses the slides

# [Split Shot] 4.3.3.B: Talent dries the slides

  - To express the microarrays, block the slides as previously shown and then rinse them with ultrapure water and dry with filtered compressed air [1]. Attach a sealing gasket to each slide [2].

    - CU: Talent rinses the slides, and dries the slides. Author comment: Use 4.3.3.

    - CU: Talent attaches gaskets to each slide. Important Step

  - Add 130 milliliters of IVTT (pronounce as in vitro transcription and translation) mix onto the slides, and gently massage the sealing gasket so that the IVTT mix spreads out and covers the whole area of the array without any bubbles [1]. Apply the small round port seals to both ports [2].

    - CU: Talent adds solution onto the slides, and presses the gaskets to make it spread out. Then, talent removes bubbles from the slides. Important Step

    - Talent applies seals.

  - Incubate for 90 minutes at 30 degrees Celsius for protein expression, followed by 30 minutes at 15 degrees Celsius for immobilization of the query protein [1]. Then, remove the gasket, wash the slides 3 times for 5 minutes each in 50 milliliters of TBST with Milk [2], and block in the same solution for 1 hour [3].

    - Talent transfers the plate into the incubator, and adjusts setting for two periods of incubation.

    - Talent removes the slides from the incubater container, removes the gasket and transfer the slide to the washing buffer.

    - Talent blocks the slides.

- Detection of Proteins on NAPPA Arrays

  - For the detection of the proteins on the Array, remove the TBST (pronounce as T-B-S-T) with milk, place the slides on a grid plate and apply 600 microliters of primary antibody, mouse anti-flag, diluted 1:200 in 1x TBST supplemented with 5% milk [1-TXT]. Incubate for 1 hour at room temperature [2].

    - Talent removes solution, places the slides on a support, and adds solution. TEXT: TBST: TBS supplemented with 0.1% Tween 20 Video editor: Show text when VO says the word. Videographer: Take multiple shots, as this will be used later.

    - Shot of the slides on the support.

  - Wash the slides with 50 milliliters of 1x TBST and 5% milk on the rocking shaker 3 times for 5 minutes each [1].

    - Talent adds the solution to the slides, and place onto a shaker.

  - Repeat the procedure for the secondary antibody. After the 1 hour incubation is over, wash the slides with 1x TBST on the rocking shaker 3 times for 5 minutes each [1]. Then, quickly rinse the slides with ultrapure water and dry using pressured air. The slides are ready to be scanned [2].

    - Talent adds the solution to the slides, and places them onto a shaker. Author comment: Use 6.2.3.

    - CU: Talent rinses the slides and dries with air, and shows the slides. Videographer: Take multiple shots, as this will be used later.

- Tyrosine Kinase Inhibitor Screening on NAPPA Arrays

  - To perform the phosphatase and DNase (pronounce as D-N-ayse) treatment, wash and block the expressed slides with TBST supplemented with 3% BSA as described in the manuscript [1]. Then, place the slides on a grid plate and apply 200 microliters of phosphatase DNase (pronounce as D-N-ayse) solution [2].

    - Talent washes slides.

    - Talent places the slides on a support, and adds solution.

  - Place a microarray coverslip on top to avoid evaporation [1]. Incubate at 30 degrees Celsius for 1 hour and 30 minutes in the oven [2]. Then, wash slides with 1x TBST and 0.2 molar sodium chloride on the rocking shaker 3 times for 5 minutes each [3].

    - CU: Talent places a coverslip on top.

    - Talent places the slides into an oven.

    - Talent adds solution and places the slides on a shaker. Videographer: Take multiple shots, as this will be used later.

  - To perform the drug treatment and kinase reaction, place the slides on the grid plate and apply 200 microliters of drug kinase solution [1]. Place a coverslip on top to avoid evaporation [2]. Incubate for 1 hour at 30 degrees Celsius in the oven [3].

    - Talent adds solution to the slides. Author comment: Use 6.1.2.

    - CU: Talent places a coverslip on top. Important Step Author comment: Use 6.2.1.

    - Talent places the slides into oven. Author comment: Use 6.2.2.

  - Fernanda Festa: The key to reproducible data is consistent incubation times across slides. This is especially important during the kinase reaction. The time required to process each slide should be accounted for [1].

    - INTERVIEW

  - After that, wash slides with 1x TBST and 0.2 molar sodium chloride on the rocking shaker 3 times for 5 minutes each [1]. Repeat protein detection using as primary antibody phospho-tyrosine antibody diluted 1:100 in TBST supplemented with 3% bovine serum albumin [2].

    - Use 6.2.3. TEXT: TBST supplemented with 0.2 M NaCl

    - Talent removes solution, places the slides on a support, and adds solution. TEXT: phospho antibody diluted in TBST supplemented with 3% BSA .

  - Use 1x TBST and 3% bovine serum albumin for washing after the incubation with primary antibody and TBST for washes after incubations with secondary antibody [1]. Wash and dry as previously [2].

    - Talent shows the solution for primary antibody wash and the solution for secondary antibody wash. Author comment: Disregard first take. Use take 6.6.1.B

    - Use 5.3.2.

  - For image acquisition, load the microarrays into the slide holder magazine. Load the magazine into the microarray scanner [1]. Scan all microarrays with the optimized settings and remember to turn the autogain off when comparing images across experiments [2]. Transfer the images to a quantification software, align the grid with the spots and quantify the signal intensity of each feature on the microarray. Proceed with statistical analysis.

    - Talent places the microarrays into the holder, and load into the scanner.

    - SCREEN: Talent adjusts settings, shows one image of pico green and one image of protein/kinase assay, and turns the autogain off. Author comment: This was recorded by the videographer

    - Screen: Talent places the grid on the scanned microarray image and quantify the signal intensity of the features on the array. Author comment: This was recorded by the videographer

# Section – Results

- Results: Protein Expression

  - In this study, the microarray showed the majority of spots containing cDNA (pronounce as complementary D-N-A) successfully displayed detectable levels of protein [1].

    - Figure 2 – Video editor: emphasize the left and middle images.

  - NAPPA-kinase (pronounce as Napa (nä – pä) kai-nay-ze (kī-ˌnās) microarrays showed good reproducibility among slides, with the correlation of the levels of protein display among distinct printing batches higher than 0.88 [1].

    - Figure 2 – Video editor: emphasize the right image.

  - Representative results of kinase activity in NAPPA-kinase (pronounce as Napa (nä – pä) kai-nay-ze (kī-ˌnās) arrays showed high levels of protein phosphorylation after expression [1].

    - Figure 3 – Video editor: emphasize the first image.

  - The comparison between microarrays in which the phosphorylation levels were measured right after protein expression and after 60 minutes of autophosphorylation reaction suggest the presence of active protein kinases on the array [1].

    - Figure 3 – Video editor: emphasize the second and the last image.

  - On NAPPA-kinase arrays imatinib (pronounce as i-ˈma-tə-ˌnib) showed [1] a significant reduction in Abl1 (pronounce as able (ā-bəl) - one) [2] and BCR-Abl1 (pronounce as B-C-R abel(ā-bəl) - one) activity [3] whereas other kinases remained mostly unaffected [4].

    - Figure 4 – Video editor: emphasize Figure 4A

    - Figure 4 – Video editor: emphasize Figure 4A, and emphasize blue squares.

    - Figure 4 – Video editor: emphasize Figure 4A, and emphasize red squares.

    - Figure 4 – Video editor: emphasize Figure 4A

  - The kinase activity normalized against the dephosphorylated array and represented as a percentage of the positive control microarray showed selective inhibition of imatinib (pronounce as i-ˈma-tə-ˌnib) towards Abl1 and BCR-ABl1 [1].

    - Figure 4 – Video editor: emphasize Figure 4B, and emphasize blue and red lines.

  - Typical results obtained for the ibrutinib (pronounce as eye broo' ti nib) screening showed the kinase activity of ABL1 (pronounce as able (ā-bəl) - one), non-relevant kinase is unaffected [1]. BTK (pronounce as B-T-K), canonical target [2], and ERBB4 (pronounce as E-R-B-B- four), potential new target [3] showed reduced activity in the presence of ibrutinib (pronounce as eye broo' ti nib). The data suggests ERBB4 can be inhibited by ibrutinib in a dose-specific fashion [4].

    - Figure 4 – Video editor: emphasize Figure 4C&D, and emphasize blue squares and blue line.

    - Figure 4 – Video editor: emphasize Figure 4C&D, and emphasize red squares and red line.

    - Figure 4 – Video editor: emphasize Figure 4C&D, and emphasize green squares and green line.

    - Figure 4 – Video editor: emphasize Figure 4C&D.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Joshua Labaer: The success of protein microarrays screenings are highly dependent on the quality of the microarray itself. Several positive and negative control features should be used to allow proper data analysis [1].

    - INTERVIEW

  - Fernanda Festa: NAPPA-kinase assay is a screening platform and as such, the data obtained should be validated in follow-up assays, which may include in-vitro kinase assays or cell-based assays [1].

    - INTERVIEW

  - Joshua LaBaer: Since our protocol starts with cDNA, any kinase mutation or variation can be easily incorporated in the microarray and studied in high-throughput [1].

    - INTERVIEW

  - Jennifer Van Duine: During the preparation of the anion exchange resin slurry and plates it is recommended the use of masks to prevent possible inhalation of the resin particles [1].

    - INTERVIEW