Changes to be made by the Author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.

AUTHOR RESPONSE: Completed.

2. Please submit the figures as a vector image file to ensure high resolution throughout production: (.svg, .eps, .ai). If submitting as a .tif or .psd, please ensure that the image is 1920 pixels x 1080 pixels or 300dpi.

AUTHOR RESPONSE: Completed. Image submitted as a .tif in maximum pixels available.

3. Please do not abbreviate journal titles.

AUTHOR RESPONSE: Completed. JBJS changed to journal of bone and joint surgery. Line 165

4. Please revise the table of the essential supplies, reagents, and equipment. The table should include the name, company, and catalog number of all relevant materials in separate columns in an xls/xlsx file. Please sort the Materials Table alphabetically by the name of the material.

AUTHOR RESPONSE: Completed. Only two devices are required and these are listed in alphabetical order.

5. Please include an ethics statement before the numbered protocol steps, indicating that the protocol follows the guidelines of your institution’s human research ethics committee.

AUTHOR RESPONSE: Completed.

Line 68-71 “Ethics Statement: This experimental protocol has been reviewed and approved by our hospital’s institutional review board (IRB) and follows all guidelines set forth by our institution’s human research ethics committee.”


Reviewers' comments:

Reviewer #1: 
Manuscript Summary:
Overall an innovative approach to a challenging clinical problem with severe down stream effects if missed. Compartment syndrome is a challenge with no real solution outside of clinical exam. This offer a promising possibility to diagnose and monitor the tissue.

Major Concerns:
None

Minor Concerns:
none

AUTHOR RESPONSE: We appreciate the review and agree that the diagnosis of compartment syndrome remains elusive. It is our hope this technique may ultimately prove to be a reliable means of diagnosing compartment syndrome.

Reviewer #2: 
Manuscript Summary:
A compartment syndrome is a severe potential threat in trauma patients, and can occur at any age, any anatomical compartment and can be provoked by different mechanism.
However, missed diagnosis of an acute compartment syndrome can provoke a severe soft tissue necrosis with unacceptable consequences up to live threatening complications.
A very wide range of minimal invasive and non-invasive techniques were published in the last decades. All of them lack due to their reliability and there is in deed a need for further developments.
The authors present a novel technique of measuring the elasticity of the muscle compartment in vitro (Sellei et al. 2015 in Patient Saf Surg), a cadaver model, which was published previously in 2015 (Sellei et al. in Eur J Trauma Emerg Surg) using a ultrasound probe connected with a pressure measurement and in 2018 (Bloch et al) in an animal model. The authors should refer to these publications. The results should decribe the method of statistical calculation.
The aspect of measuring the flattening pressure of the fascia seems to be a promising access. Overall a well written manuscript with potential clinical impact.

Major Concerns:
none

Minor Concerns:
a) please refer to the above mentioned authors

AUTHOR RESPONSE: We have added the above requested references:

Line 56-59:“It has been previously demonstrated in artificial, animal, and human cadaver models that a rise in the intra-compartmental pressure results in a decreased elasticity of the fascia overlying the anterior compartment suggesting a correlation between the intra-compartmental pressure and compliance of the facial compartment as measured by ultrasound.8-10”

b) please describe the statistical method

AUTHOR RESPONSE: Descriptive analysis included mean, median, and standard deviation was performed on the compartment pressure data. A single-tailed t-test was used to evaluate for a difference between the compartment pressures of those who had fasciotomies performed for compartment syndrome and those who were not diagnosed with compartment syndrome.

Line 110-113: “The average delta CFFP for patients without compartment syndrome was 10.7 ± 10.6 mbar compared to 157 ± 51.7 mbar for patients with compartment syndrome and single-tailed t-test identified the differences in pressures between the groups as being statistically significant (P<0.02).”