Reviewers' comments:

Reviewer #1:

Major Concerns:
The most important thing for any measurement method is to demonstrate the consistency and accuracy of the results. The method presented in the manuscript is interesting; however, it failed to provide any comparative analysis or accuracy assessment. The authors should include a comparative study with commercial kit(s) to demonstrate the advantage of the protocol (for example less ligation associated bias). In addition, the authors should include synthetic miRNA with known concentration as input so that the accuracy of the miRNA profiling results can be assessed.

- We agree that comparative studies are helpful for readers to make decisions about which protocol to use, and we now point the reader to manuscripts that compare several protocols simultaneously.  Our primary goal here is to provide detailed steps involved in generating small RNA sequencing libraries. In the introduction, we focus on the strength of using a defined and long-standing protocol.  Several commercial options are available, which have minimized biases all while trying to ensure ease of use and multiplexing capacity.  As these options often include proprietary components, any changes to the protocol makes it difficult to compare data from old and new versions.  We expand the discussion to describe alternatives that commercial kits use.  We have also added our observation that we have used many different barcodes for the same technical and biological replicates, and yield similar results, indicating that we do not observe barcode bias.
- We have also made a note that synthetic spike-in RNAs are an option for normalization purposes, which are critical for low-yield situations, like quantifying microRNAs from exosomes.  We typically focus on normalized microRNA reads and so did not include spike-ins in our protocol, but recognize their importance in certain contexts.

Reviewer #2:

1) A problem with this protocol is the fact that it uses a 5' adapter with a barcode sequence. As the authors indicate themselves, (even small) changes in adapter sequences can alter miRNA expression profiles in NGS libraries (e.g. Jayaprakash et al Nucleic Acids Res 39, e141, doi:gkr693 [pii];10.1093/nar/gkr693 [doi] (2011) and Van Nieuwerburgh et al. PLoS One 6, e26969, doi:10.1371/journal.pone.0026969 (2011). It is therefore of major importance to use exactly the same adapter sequences for all libraries in a series to be compared. The authors state that they have not observed such biases themselves but they do not explain how they have tested this. I would therefore strongly advice to remove the barcode from the 5' adapter and add a barcode by PCR as in the Illumina TruSeq system. This implies only a minor modification of the protocol.

- We appreciate the efforts by researchers to minimize bias in 5’ adaptors.  We have made a point to mention the optimized approaches in the discussion as well as referencing the aforementioned articles and provide the barcode choice as an option in the procedure. Since our representative results are based on the protocol we have designed, we were hesitant to remove our strategy completely and instead encourage the readers to consider the internal barcode option.  We have included the references to the manuscripts that are listed.

1) The authors state that their protocol is better than commercial protocols, but the arguments are not very clear. First, commercial protocols would be less reproducible because they do not use acrylamide-based enrichment of small RNAs. While I agree that it is probable better to enrich for small RNAs, I do not really see how not doing so would reduce reproducibility. In addition, commercial protocols are generally perfectly compatible with small RNA enrichment prior to library preparation. The second argument is that other methods would suffer more of adapter dimer issues. Is this based on the fact that other methods do not gel-purify 3' adapter-miRNA ligation products as do the authors? Please explain better, knowing that kits now exist that elimitate unligated 3' adapter through beads purification, modified adapters or by hybridizing complementary oligos.

- The reviewer makes some excellent points and suggestions.  In general, we have toned down the rhetoric that our approach is better, to make the point that we have a protocol that has stood the test of time and yielded consistent results between labs and for experiments performed years apart. We clarify that commercial kits often change, making comparison of data produced using different versions of kits difficult; in contrast, our protocol can remain exactly the same, which is one source of reproducibility. In the discussion, we describe commercial improvements for removing adaptor-dimers.

2) Reference 2 is at the wrong position, it should be after the year "1993"

- Thank you, we have made this change.

3) Lines 45-46 : "and their similarity to… [snoRNAs]" : I don't understand, why do the authors state the miRNAs are similar to tRNAs, rRNAs etc?

- We appreciate the comment and have provided more detail to clarify that tRNA-derived small RNAs, small RNAs that come from repetitive elements, or ribosomal RNA fragments are around the same size as the mature microRNAs, and so microRNAs need to be enriched.  We use an input file of tRNA and rRNA (and snoRNA) precursors for the alignment but agree that we should really focus on the small RNAs that are produced.  In cases where library quality is poor, we see a relative enrichment of these other classes of small RNAs.

4) Step 2.2: it would be more logical to use RNL2 by default rather than RNL1

- We agree and have modified the protocol and updated the list of reagents.

5) Line 416 "our method obviates…barcode bias": it introduces barcode bias rather than obviating it…. see major point 1.

- We have removed this portion of the sentence. 


Reviewer #3:

Major Concerns:
This is a technically sound protocol in used for more than 15 years now. The time and number of steps that it takes may be a deterrent for some users. While the others indicate that some commercial kits may have so limitations, it seems that others may provide acceptable solutions with a much shorter and simple protocol such as https://www.takarabio.com/products/next-generation-sequencing/epigenetics-and-small-rna-sequencing/microrna-seq-kit
A more extensive comparison and discussion with commercially available products could be useful for users to discern under what circumstances this protocol may be more advantageous or appropriate for specific research needs.

- 	We concur that several commercial protocols have now optimized their strategies to minimize bias in small RNA sequencing and are especially useful for handling large sample numbers. We have expanded the discussion to reflect the many options that are available and the strengths and limitations to the different approaches. For users that do not need to invest in the infrastructure for many experiments, a kit is a great option.  One of the challenges of commercial kits is that if the components are modified from one version to the next, it is harder to ensure reproducibility between experiments. Therefore, one strength of our protocol is the long-term stability of the procedure and ability to adjust components.  We also highlight the point that our bioinformatics strategy is helpful even if users start with a commercial kit, and provide greater detail on how to analyze data using these starting points.

We have also added a note in the introduction about the length of protocol: “Several commercial options exist for microRNA cloning and sequencing that are often quicker and easier to multiplex.”   Also, as mentioned in the response to other reviewers, we have expanded the discussion to list the advantages of commercial kits, including the use of multiplexed barcodes and methods to enrich for microRNAs.  We also provide more reference to the article by Giraldez et al. Nature Biotech, 2018, and others, which  systematically assess several commercial kits.

Minor Concerns:
The voltage for pre-running at 375V and run at 425V for 2 hrs seems rather high. the authors may want to provide more info on amperage and whether this is a constant voltage run.\

- We agree that the voltage is high and that not all users will have a power apparatus that reaches these levels.  We updated the protocol to specify constant voltage (which avoids overheating) and that the gel can be run at a lower voltage for a longer period of time. What matters is that the gel is run until the bromophenol blue is about 1-4 cm from the bottom.