## Sheet1
Equipment/reagent | Specification | Catalogue no. | Comment
0.2-µm pore-size filters | SPI supplies, https://www.2spi.com/ | B0225-MB | Black, polycarbonate track etch membrane filters, diameter approprite for filtering apparatus used
5-(4,6-dichlorotriazin-2-yl) aminofluorescein (DTAF) | Any brand
Automatic pipettes with adjustable volumes | Any brand, various sizes
Centrifuge | 22 000 x g
Cryovials | Any brand, 2 mL size
DAPI (4´,6-Diamidino-2´-phenylindole dihydrochloride) | Any brand |  | 1 mg ml-1
Epiflorescence microscope | Magnification from 400 x up to 1000 x
Filters appropriate for viewing in the DAPI and DTAF range
Counting grid in one of the oculars
Filtering apparatus | Usually with a diameter of 25 mm
Formaldehyde | A brand for microscopy
Glutaraldehyde | A brand for microscopy
Immersion oil for microscopy | Specific oil with low fluorescence
Lugol´s solution | Any brand or see comment |  | Make an alkaline Lugol' solution as follows: Solution 1 - dissolve 10 g of potassium iodide in 20 ml in MQ water, then add 5 g of iodine. Solution 2 - add 5 g of sodium acetate to 50 ml of MQ water. Add the solution 2 to the solution 1 and thoroughly mix
Methanol stabilized formalin | Any brand available for microscopy purposes
Microscope slides and cover slips | Any brand produced for microscopy purposes
MQ water for diluting samples | Any brand
Phosphate-buffered saline (PBS; pH = 9) | Any brand |  | 0.05 M Na2HPO4-NaCl solution, adjusted to pH 9
PPi-saline buffer | Any brand |  | 0.02 M Na4P2O7-NaCl solution. Add 0.53 g Na4P2O7 to 100 ml of MQ water plus 0.85 g NaCl
Sampling device | Appropriate for obtaining representative sample |  | e.g. Friedinger sampler for lake plankton
Sodium thiosulfate solution | Any brand |  | 3% solution is used in the protocol
Sonicator | Any brand |  | 30 W
Vortex | Any brand allowing thorough mixing of the solutes and samples
Water bath | Any brand allowing temperature to be maintained at 60 °C