# Submission ID #: 59914

# Scriptwriter Name: Anthony Iannazzi

# Project Page Link: http://www.jove.com/files_upload.php?src=18273818

# Title: Visualizing Surface T-Cell Receptor Dynamics Four-Dimensionally Using Lattice Light-Sheet Microscopy

# Authors and Affiliations:

# Jillian Rosenberg1, Jun Huang1,2

# 1Committee on Cancer Biology, The University of Chicago, IL 60637, USA

2The Pritzker School of Molecular Engineering, The University of Chicago, IL 60637, USA

# Corresponding Author:

# Jun Huang			huangjun@uchicago.edu

# Email Address for Co-author:

# jnrosenberg@uchicago.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  Yes

Can you record movies/images using your own microscope camera? (Y/N)  Yes

2. Does your protocol include software usage? (Y/N) Yes

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

The most important steps are 2.2, 2.3, 4.1, 4.2, 4.6 and 4.7.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

The most difficult aspect of this procedure is adding the T cells into the bath (step 4.6). There are many ways to add T cells, but we have found the most effective way is to let a drop form on the very end of the pipette tip, then touch this drop to the surface of the media in the bath directly on top of the coverslip.

5. Will the filming need to take place in multiple locations? (Y/N) Yes

If yes, how far apart are the locations? Adjacent buildings (~100-150 feet apart)

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Jillian Rosenberg: Lattice light-sheet microscopy is a powerful imaging technology but few labs in the world are capable of using it. This protocol gives a detailed overview of how to use the commercially available lattice light-sheet microscope, which is a complicated system that many scientists are struggling to use. This is an extremely powerful system, capable of four-dimensional imaging of individual cells or embryos that allows for real-time tracking of molecules [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Jillian Rosenberg: The main advantage of this technique is that it can three-dimensionally image single live cells or organs with unprecedented spatiotemporal resolution and minimal photobleaching. The lattice pattern of the light-sheet allows us to high-speed image samples for long duration and obtain real-time videos of 3-dimensional living cells and organs with molecular details other techniques cannot achieve [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera)

  - Jun Huang: This will be the first video protocol showing how to use lattice light-sheet microscopy to imaging single cells 4-diemsionally. This is a very complicated technique due to alignment and sample preparation, and we believe that visual representation will improve accessibility, thereby allowing more researchers to image many different molecules, cells, and organs in biology [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - 5C.C7 TCR-transgenic RAG2 knockout mice in B10.A background were used in this study according to a protocol approved by the Institutional Animal Care and Use Committee of the University of Chicago.

# Section - Protocol

- Prepare Cells

  - To begin this procedure, incubate 5 millimeter round coverslips with 0.1 percent poly-L-lysine at room temperature for 10 minutes [1]. Aspirate off the liquid and let the coverslips air-dry naturally [2].

    - Talent adds poly-L-lysine to a dish/container that holds round coverslips.

    - Talent aspirates off the liquid.

  - Next, add 3 milliliters of density gradient to a 15 milliliter conical tube [1]. Carefully add cells dropwise to the edge of the tube [2-TXT]. Centrifuge at 930 x g and at 4 degrees Celsius for 10 minutes [3-TXT].

# Videographer: This step is one of the most important for viewers to see.

    - Talent adds density gradient to a conical tube.

    - Talent adds cells dropwise to the edge of the tube. TEXT: Do not mix.

    - Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on. TEXT: Acceleration: SLOW; Deceleration: SLOW.

  - After this, carefully remove the thin middle layer of cells between the complete media and the density gradient reagent [1] making sure to put each cell type into a separate conical tube [2].

    - Videographer: This step is one of the most important for viewers to see.

    - Talent removes the thin middle layer of cells between the complete media and the density gradient reagent.

    - Talent places one type of cells into a conical tube.

  - Centrifuge at 300 x g for 5 minutes to wash the cells [1]. Discard the supernatant and add 5 milliliters of RPMI to the tubes of T cells and CH27 cells [2]. Repeat the wash with fresh RPMI until three total washes have been performed [3].

    - Talent places the tubes into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - Talent discards the supernatant and adds fresh RPMI to the tubes.

    - Talent places the tubes into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

  - Then, re-suspend the cells in each tube with 1 milliliter of complete RPMI [1] and count the cells with a hemocytometer [2].

    - Talent re-suspends the cells in RPMI.

    - Talent, at a microscope, counts the slides with a hemocytometer.

  - Re-suspend 1 million antigen-presenting cells in 500 microliters of complete RPMI [2] and add 10 micromolar MCC [2-TXT]. Incubate at 37 degrees Celsius with 5 percent carbon dioxide for 3 hours [3].

    - Talent re-suspends antigen-presenting cells in complete RPMI.

    - Talent adds MCC to the tube of antigen-presenting cells. TEXT: MCC: Moth cytochrome-C.

    - Talent places the tube of antigen-presenting cells into an incubator.

  - After this, re-suspend 1 million T cells in 500 microliters of complete RPMI [1]. Add 2 micrograms of anti-TCRβ Alexa488-labeled Fab (“anti T-C-R beta Alexa four-eighty-eight labeled F-A-B”) [2] and incubate at 37 degrees Celsius with 5 percent carbon dioxide for 30 minutes [3].

    - Talent re-suspends T cells in complete RPMI.

    - Talent adds anti-TCRβ Alexa488-labeled Fab to the tube.

    - Talent places the tube into an incubator.

  - Next, centrifuge both cells at 300 x g for 5 minutes and discard supernatant [1]. Add 500 microliters of complete RPMI and repeat the centrifuge to wash the cells [2]. Repeat the wash with fresh RPMI until three total washes have been performed, discarding the supernatant after each wash [3].

    - Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - Talent discards the supernatant and adds fresh RPMI to the tube. If time permits, then place the tube into the centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - Talent removes the tubes from the centrifuge, aspirates the supernatant, and adds fresh RPMI.

  - After this, re-suspend both cells types in 500 microliters of imaging media [1-TXT].

    - Talent re-suspends the cells in imaging media. TEXT: See text for media composition.

- Conducting LLSM Daily Alignment

  - First, add 10 milliliters of water and 30 microliters of fluorescein to the LLSM bath [1]. Press Image (Home) to move the objective to image position, and look at a single Bessel laser beam pattern. Align the laser beam using the guide and pre-set region of interest to make the beam a thin pattern that is balanced in all directions [2].

    - Talent adds water and fluorescein to the LLSM bath.

    - SCREEN: *To be provided by authors. Press Image (Home) to move the objective to image position. Show a single Bessel laser beam pattern. Align the laser beam using the guide and pre-set region of interest. Authors, please upload all screen captures to your project page.

  - The beam should also appear focused in the finder camera. Use two mirror tilt adjustors, the top micrometer, focus, and an emission objective collar to adjust the beam [1].

    - SCREEN: *To be provided by authors. Show the beam being adjusted and focused. Authors, please upload all screen captures to your project page.

  - Next, wash the bath and the objectives with at least 200 millimeters of water to completely remove any fluorescein [1].

    - Talent washes the bath and the objectives with water.

  - To image standard fluorescent beads, turn on dither by pressing Live to view the current field. Move along the Z direction to find the coverslip and beads. Find the center of a bead by moving along Z, and press Stop to pause the laser. Check 3D, press Center, and then press Execute to collect the data [1].

    - SCREEN: *To be provided by authors. Press Live to view the current field. Move along the Z direction and show the coverslip and beads. Find the center of a bead, and press Stop to pause the laser. Check 3D, press Center and then press Execute to collect the data. Authors, please upload all screen captures to your project page.

  - Manually adjust the tilt mirror, objective collar, and focus micrometer for highest gray values [1] [2]. Then, adjust as necessary to obtain proper patterns for objective scan, z galvo, z+objective, and sample scan capture modes [3] [4].

# Videographer: The actions in 3.5 are best visualized through a combination of filmed shots and screen capture. Please film the actions as directed by the authors to match the screen capture videos they provide.

    - Talent manually adjusts the tilt mirror, objective collar, and focus micrometer.

    - SCREEN: *To be provided by authors. Screen capture showing the tilt mirror, objective collar, and focus micrometer being changed as the demonstrator makes manual adjustments. Authors, please upload all screen captures to your project page.

    - Talent continues to make adjustments as described.

    - SCREEN: *To be provided by authors. Screen capture showing adjustments being made to obtain the proper patterns for objective scan, z galvo, z+objective, and sample scan capture modes. Authors, please upload all screen captures to your project page.

  - After this, press Execute in sample scan mode for deskewing and deconvolution to collect the sample point spread function. Change the lasers to three color mode, and press Execute again [1].

    - SCREEN: *To be provided by authors. Press Execute to collect the sample PSF. Change the lasers to three color mod, and press Execute again. Authors, please upload all screen captures to your project page.

- Setting up Cells with LLSM

  - To begin, add 100,000 antigen-presenting cells to a 5 millimeter diameter circular coverslip [1], and allow them settle for 10 minutes [2].

# Videographer: This step is one of the most important for viewers to see.

    - Talent adds antigen-presenting cells to a coverslip.

    - Talent sets a timer for 10 minutes.

  - Grease the sample holder [1] and add the coverslip to it cell-side-up [2]. Next, add a drop of imaging media to the back of the coverslip [3]. Screw the sample holder onto the piezo [4] and press Image (Home) [5].

# Videographer: This step is one of the most important for viewers to see.

    - Talent greases the sample holder.

    - Talent adds the coverslip, cell-side-up, to the sample holder.

    - Talent adds a drop of imaging media to the back of the coverslip.

    - Talent screws the sample onto the piezo.

    - Talent presses Image (Home).

  - Find an antigen-presenting cell to image, and ensure that the LLSM and imaging software are functioning properly [1].

    - Talent, at the workstation computer, finds a cell to image.

  - Press Live to view the current image. Move along Z to find the coverslip and cells [1].

    - SCREEN: *To be provided by authors. Press Live to view the current image. Move along Z to find the coverslip and cells. Authors, please upload all screen captures to your project page.

  - Find the center of an antigen-presenting cell by moving in the Z direction, then press Stop to pause the laser. Check 3D and input the desired settings. Press Center and then press Execute to collect the data [1-TXT].

    - SCREEN: *To be provided by authors. Find the center of an antigen-presenting cell by moving in the Z direction, then press Stop to pause the laser. Check 3D and input the desired settings. Press Center and then press Execute to collect the data. Authors, please upload all screen captures to your project page. TEXT: See text for desired settings.

  - Lower the stage to load position [1] and add 50 microliter of T cells in imaging media dropwise directly over the coverslip [2]. It is best to let a drop form on the end of the pipette tip and then touch the tip to the bath liquid [3]. Raise stage back by clicking Image (Return) [1].

# Videographer: This step is one of the most important for viewers to see, and one of the most difficult steps to perform.

    - Talent lowers the stage to the load position.

    - Talent begins adds T cells in imaging media dropwise directly over the coverslip.

    - CU/ECU: Show the drop forming on the end of the pipette tip, and then the pipette tip being touched to the tip of the bath liquid.

    - SCREEN: *To be provided by authors. Click Image (Return). Authors, please upload all screen captures to your project page.

  - Begin imaging. Be sure to set the desired stack size and time lapse length. For example, image 60 z-stacks at a 0.4 micrometer step size and input 500 time frames. Stop recording before 500 frames are reached to avoid photobleaching. Use Live mode to search for cell pairs, and when ready and desired settings have been entered, press Execute to collect data [1].

# Videographer: This step is one of the most important for viewers to see.

    - SCREEN: *To be provided by authors. Show a sample being imaged as described. Use Live mode to search for cell pairs. Press Execute to collect data. Authors, please upload all screen captures to your project page.

# Section – Results

- Results: Four-Dimensional Visualization of Surface T-Cell Receptor Dynamics

  - In this study, primary mouse 5C.C7 T cells are isolated and prepared, and are then imaged using a lattice light-sheet microscope [1]. Shown here are the correct beam path [2] and beam alignment, when imaged with fluorescein [3].

    - LAB MEDIA: Figure 2. Video Editor: Show only Figures 2A and 2B.

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figures 2A and 2B. Emphasize Figure 2A.

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figures 2A and 2B. Emphasize Figure 2B.

  - The objective scan should show a large X shape in the XZ and YZ projections that is as symmetrical as possible. This should also be adjusted to be as small of an X as possible [1]. The z galvo scan should show an oval in XZ and XY with a single dot on either side [2].

    - LAB MEDIA: Figure 2. Video Editor: Show only Figure 2C.

    - LAB MEDIA: Figure 2. Video Editor: Show only Figure 2D.

  - Finally, both the z+objective scan and the sample scan should show dots that look as round as possible [1].

    - LAB MEDIA: Figure 2. Video Editor: Show only Figures 2E and 2F.

  - Using this protocol, the four-dimensional dynamics of the T-cell receptors on a T-cell surface can be seen. The main advantage of this microscope lies in the ability to track the visualized surface units of the T-cell receptors, and to obtain quantified data from their size, motion, signal intensity, excreta [1].

    - LAB MEDIA: Movie 1.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Jillian Rosenberg: The most important thing to remember is the quality of your alignment. The LLSM must be aligned daily, and not doing this properly will result in distorted imaging. Similarly, the quality of the PSF collected directly impacts the quality of the deconvolution, which ultimately results in the quality of your final image [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Jillian Rosenberg: One of the reasons this method is so powerful is because each cell and label can be replaced to visualize a myriad of cell types and molecules. Therefore, this method can be used to answer any question related to four-dimensional tracking of molecules [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Jillian Rosenberg: I think this technique will absolutely pave the way for researchers to explore new questions within the field of molecular trafficking, but it is not yet being widely used due to the complicated system. We are hoping this JoVE video demonstration will help improve accessibility to the technique [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Jillian Rosenberg: The lasers used on this system are Class 4, so absolute caution must be taken to ensure laser safety. Please take necessary laser safety training prior to utilizing this method [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.