## Reagents
β-mercaptoethanol (βME) | Sigma-Aldrich | M3148 | CAUTION toxic. Stock solutions are aproximatly 14 M, make at 1/20 dilution for use
Chloroform | Sigma-Aldrich | 25668 | CAUTION toxic
Diethyl pyrocarbonate (DEPC) | Sigma-Aldrich | D5758 | add 1/1000 volume to a solution, leave at room temperature for 24 h, then autoclave
DMF (N,N-dimethylformamide) | Sigma-Aldrich | 227056 | CAUTION toxic
EDTA | Sigma-Aldrich | 3609 | Make 0.5 M and pH to 8.0 with sodium hydroxide
Ethanol | Sigma-Aldrich | 29221
EZ-link HPDP Biotin | Thermo scientific | 21341 | Store protected from light. Disolve all the vial contents in DMF. Store away from water, in the dark & at -20 °C. Check the solution before using, as some batches of HPDP precipitate in storage; heat at 42 °C to resuspend.
Glucose | Fisher Scientific | G/0500/60
Glycogen [20 mg/mL] | Sigma-Aldrich | 10901393001 | Store at -20 °C
Immobilised TCEP Disulfide Reducing Gel | Thermo Scientific | 77712 | Optional
LiCl | Sigma-Aldrich | 793620 | 10 M solution. CAUTION: this gets very hot as is dissolves and can even boil at greater than 100 oC, add the LiCl crystals to the water slowly.
Magnesium chloride (MgCl2) | Sigma-Aldrich | 63033 | 1 M solution. CAUTION: this gets very hot as is dissolves and can even boil at greater than 100 oC, add the MgCl2 crystals to the water slowly.
Methanol | Fisher Scientific | M/4000/PC17 | CAUTION Toxic and flammable
NaH2PO4 | Sigma-Aldrich | S3139 | Make 1 M solutions of each and mix in equal amount to obtain a solution of the appropriate pH
Na2HPO4 | Sigma-Aldrich | S3264
NaCl | Sigma-Aldrich | S9888-M | 5 M solution
Phenol, low pH. | Sigma-Aldrich | P4682 | Store in the dark at 4 °C. CAUTION toxic
Phenol Chloroform 5:1 (125:24:1) low pH. | Sigma-Aldrich | P1944 | Store in the dark at 4 °C. CAUTION toxic
Pierce Spin Columns | Thermo Scientific | 69702 | Optional
SCSM single drop-out –ura | Formedium | DSCS101
Sodium Acetate | Sigma-Aldrich | 32318-M | Make a 3 M solution and pH to 5.3 with acetic acid
Sodium hydroxide | Sigma-Aldrich | 795429 | CAUTION corrosive
SDS (Sodium dodecyl sulfate) | Sigma-Aldrich | 436143 | CAUTION irritant, do not inhale
Streptavidin Magnetic beads | NEB | 1420S | Store at 4°C
SUPERase-In, RNase inhibitor | Life technologies | AM2696 | Store at -20°C
Thiolated Schizosaccharomyces pombe for spike |  |  | See section 1.7 of the protocol
4-thiouracil (4tU) | ACROS ORGANICS | 359930010 | Store in the dark. Make 100 mM Stock in 1M NaOH, store solutions at -20°C.
Tris base | Sigma-Aldrich | 93362 | 1 M solutions at various pH
tRNA | Sigma-Aldrich | 10109541001 | 5mg/ml, store at -20°C
Uridine | Sigma-Aldrich | U3750 | Make 1 M solution in H2O. Split into 2 mL aliquots and store at -20 C.
Yeast nitrogen base without amino acids with amonium sulphate | Formedium | CYN0410
Zeba Columns 0.5ml | Thermo Scientific | 89882 | Store at 4 °C
Zirconia beads | Thistle Scientific | 110791052

## Equipment & consumables
Beadbeater | Biospec | 112011EUR | Other homogenisers can be used; the correct conditions for each homogeniser and strain must be established.
Bioanalyser (Agilent) or similar to assess RNA quality. If this is not important a spectrophotometer is useful to quantify the RNA.
Centrifuge: capable of spinning cultures at 4 °C and at least 3000 g. Pre-chill if possible.
Centrifuge: capable of spinning up to 2 mL tubes at variable speeds upto 13,000 g and down to 1000 g
Magnetic rack for separating the beads from the sample. The one used in the paper is 3D printed, available from Thingiverse (thing:3562952). Comercially available racks exist
PCR machine with a heated lid that will allow incubation in the dark.
Rotating wheel to rotate 1.5 mL tubes end over end
Shaking heating block (such as Eppendorf Thermomixer) is recomended
Tubes, centrifuge, Low retention, RNase free 0.5mL | Eppendorf | H179467N
Tubes, centrifuge, Low retention, RNase free 1.5mL | Ambion | AM12350
Tubes, centrifuge, 50 mL | Sarstedt | 62.547.004 | Other centrifuge tubes are not gas proof allowing CO2 to disolve in the methanol, this comes out of solution vigorously on adding warm culture, leading to sample loss
Tubes, centrifuge, 15 mL | Sarstedt | 62.554.001
Tubes, 2 mL, screw cap | Greiner | 723361
Tubes 0.2 mL strip of 8 with integral lids | Brand | 781332