## Sheet1
Problem | Possible reason | Solution
Cell pellet not firm or secure | Insufficiently spun | The centrifuge might take a while to reach maximum speed. Re-spin for at least 1 min more at 3000 g
| Too long on dry ice | Remove the liquid carefully, do not pour. In future, if there is insufficient time to fully process the samples, spin quickly, remove the liquid and put the pellet in dry ice.
Discolouration in the cell pellet, often at the top | Autoclaved growth medium | The methanol will precipitate brown peptide/sugar complexes produced by autoclaving the growth medium. Proceed as normal, phenol extraction will remove this matter. To avoid this, filter sterilise media in the future.
Large white mass in the phenol after spinning | The sample has not adequately thawed | Continue with extraction after thawing and re-spinning. However, there will be increased genomic DNA contamination, which, although undesirable, should not ruin the experiment. Next time, reduce the amount of time in dry ice in step 2.11. Do not used a chilled centrifuge.
The sample does not flocculate | Not enough LiCl | Add more LiCl, up to the same volume as the sample. Ensure that the concentration of LiCl is 10 M, remake the solution if unsure.
| Not Enough RNA | Repeat the experiment with a greater sample volume taken from the culture.
The RNA will not re-dissolve | Too much RNA | Redisolve in more TE, but do not use more than 90 µL in the biotinylation reaction.
| Too much genomic DNA contamination | Discard and start again from the beginning, paying particular attention to the dry ice step with phenol. DNase treatment is not recommended as the DDT in most DNase buffers will deactivate the HPDP in later stages unless strenuous steps are taken to re-purify the RNA. This may not be a problem if using permanent biotin linker such as maleimide biotin.
Low RNA recovery | Not enough material | Repeat using more sample.
| RNA degradation | Run on a gel or bioanalyser to confirm. Repeat the experiment using RNase free reagents and equipment, reduce the time the RNA spends at 65 °C. DEPC treat reagents, use fresh aliquots
| RNA pellet not re-suspended, generally one or a few samples have much less RNA than the others | Check that all of the RNA has re-dissolved by pipetting up and down and checking for smooth movement; incubate at 65 °C briefly.
HPDP precipitation | Poor batch of HPDP | Heat to 42 °C, replace batch.
| Water in DMF | Heat to 42 °C, replace the batch or take a fresh aliquot.
After zeba column purification the sample volume appears to be less than 90 µL | Inadequate centrifugation | Do not discard the column; place back in the sample tube and spin at 1000 g for another minute.
Bead Buffer precipitates | Solutions added in wrong order | Remake the solution, adding the water first.
| Solutions too cold | The solutions and sample must be at room temperature; if the lab is cold, gently warm sample to 30 °C.
Precipitation in the sample | Solutions added in wrong order | Spin down the precipitate, transfer the liquid into a new tube, add any components not yet added to the liquid, and then mix before adding the SDS last. The yield and /or background may be unfavourable.
| Sample too cold | Spin down the precipitate and collect the liquid. Ensure that the sample is at room temperature, then add any components not yet added, with the SDS added last. The yield and/or background may be unfavourable.
Magnetic beads will not resuspend | Sample left too long on magnet | Vortex vigorously, pipette up and down to break up the bead mass.
| Bead Buffer has precipitated; the pellet will have more cohesion than in the case above | Vortex vigorously, pipette up and down to break up the bead mass. The experiment may have to be repeated.
Brown discolouration of the liquid | The beads are degrading | The βME is degrading the beads, which can happen, particularly with the NEB beads, whereas Dynabeads are less sensitive. This is normal and the discoloration is often removed by the second magnetic purification. It does not seem to affect downstream steps. However, if you are concerned, leave on the magnet longer during the second magnetic purefication and reduce the time the beads are in contact with the βME.
RNA pellet is diffuse and spread up the side of the tube | Too much detergent left after washing | Be careful when removing the liquid and when washing. There is no reason to worry about RNA yield. Take special care to remove as much of the bead wash as possible in future.
RNA will not resuspend | Too much SDS or glycogen | Increase the volume and pipette to break up the pellet. Consider heating briefly to 65 °C and then leaving at minus 20 °C overnight.
Low nsRNA yield | Poor RNA resuspension | Check that the RNA has resuspended and treat as above.
| Poor RNA precipitation | Make sure the RNA, sodium acetate and glycogen are mixed well before adding the ethanol.
| Not enough material | Repeat using more sample.
High background | Blocking not complete | Repeat the experiment or affected sample, using new batches of glycogen and tRNA, make sure the RNA sample is well mixed with the Bead Buffer before adding to the beads.
RNA degraded | RNases | Ensure that all solutions are RNase free by DEPC-treating wherever possible. Add SUPERase-In to solutions where the RNA concentration is low, i.e. from step 4.26.
| There is not actually a problem | The RNA may not, in fact, be degraded; the nsRNA profile, as produced by a bioanalyzer, will not be the same as for total RNA; see Figure 1b for expected RNA profiles. Similarly the RIN number will indicate that the RNA is of poor quality, however values down to 4 are not cause for concern.