# Submission ID #: 60003

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18300963

Title: Spеcific Labeling of Mitochondriаl Nuclеoids for Timе-Lаpsе Structurеd Illuminаtion Microscopy

Authors and Affiliations: Visnja Jevtic1, Petra Kindle1, and Sergiy V. Avilov1

1Imаging Fаcility, Mаx Plаnck Institutе of Immunobiology аnd Еpigеnеtics

# Corresponding Author:

# Sergiy V. Avilov

# avilov@ie-freiburg.mpg.de

Email addresses for Co-authors:

jevtic@ie-freiburg.mpg.de

kindle@ie-freiburg.mpg.de

Author Questionnaire:

1. Microscopy: Does your protocol require JoVE to film through your microscope? N

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most visually important?

2.2., 2.3.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.2.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Sergiy Avilov: The protocol permits the specific labelling of mitochondrial nucleoids in live cells and the quantitative study of their motion at a high resolution [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Visnja Jevtic: Our protocol requires incubation with a fluorescent dye only, not fluorescent protein overexpression, avoiding related limitations and artifacts and allowing our protocol to be applied to non-transfectable cells [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Sergiy Avilov: To achieve preferential nucleoid staining, one should use SYBR Gold - and nothing else – under the conditions that we have optimized. Otherwise, the total cellular DNA may be stained [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- Live Cell Labeling

  - One day before the labeling procedure, culture 4 x 105 HeLa (he-la) cells in 2 milliliters of medium in a 35-mm Petri dish [1-TXT].

    - WIDE: Talent adding cells to 35-mmPetri dish TEXT: Alternative: Use multi-well chambered slides and adjust volumes accordingly

  - The next morning, wash the cells in 2 milliliters of PBS [1] before adding 1 milliliter of phenol red-free culture medium [2-TXT] and 1 milliliter of the appropriate 2x labeling solution [3-TXT].

    - 35-mm Petri dishes being washed, with PBS container visible in frame Videographer: Important/difficult step

    - Talent adding medium to 35-mm Petri dishes, with medium container visible in frame Videographer: Important/difficult step TEXT: See text for all medium and solution preparation details

    - Dye being added to 35-mm Petri dishes), with dye dilutions visible in frame Videographer: Important/difficult step TEXT: i.e., 1:500, 1:1000, or 1:5000 SYBR Gold or picoGreen

  - After 30 minutes at 37 degrees Celsius and 5% carbon dioxide [1] carefully aspirate the dye-containing supernatant from each 35-mm Petri dish [2] and wash the cells with 2 milliliters of PBS [3].

    - Talent placing 35-mm Petri dishes into incubator Videographer: Important step

    - Supernatant being aspirated Videographer: Important step

    - 35-mm Petri dish being washed, with PBS container visible in frame Videographer: Important step

  - Then feed the cells with fresh phenol red-free cell culture medium [1] and return the culture to the cell culture incubator protected from light until live imaging [2].

    - Medium being added to well(s), with medium container visible in frame

    - Talent placing 35-mm Petri dishes into incubator

- Superresolution Structured Illumination Microscopy (SR-SIM) Image Acquisition

  - For live cell imaging, at least an hour before the imaging session, place a stage-top incubator onto the superresolution structured illumination microscope stage [1] and set the temperature to 37 degrees Celsius and the carbon dioxide concentration to 5% [2].

    - WIDE: Talent placing incubator onto stage

    - Talent setting temperature and/or gas

  - Switch on all of the components of the microscope, including the lasers [1] and select a high magnification, high numerical aperture immersion objective as recommended for superresolution structured illumination microscopy by the microscope manufacturer [2].

    - Talent switching on components

    - Talent selecting objective

  - When the lasers have warmed up, install the 35-mm Petri dish onto the microscope stage [1] and use the oculars to locate an area of interest with cells attached to the bottom of the dish [2].

    - Petri dish being placed onto stage

    - Talent at microscope, locating area of interest

  - To acquire superresolution-structured illumination microscopy images, use a back-tinned high-end electron multiplying charge-coupled device camera [1].

    - Shot of camera

  - In the image acquisition software set a high electron multiplying gain as recommended for the camera [1].

    - SCREEN: 3-4-2 Video Editor: please emphasize gain as indicated by red arrow

  - Before acquiring a time lapse series for nucleoid tracking, acquire a two-color superresolution-structured illumination microscopy image of the same field of view in one channel for mitochondrial staining [1] and another one for SYBR (cyber) Gold [2].

    - SCREEN: 3-5-1 Video Editor: please emphasize stop button as indicated by red arrow

    - SCREEN: 3-5-2

  - Set the mitochondrial image color channel to the appropriate excitation and emission for the mitochondrial stain used [1] and set the appropriate excitation and bandpass emission filter for the SYBR Gold dye [2].

    - SCREEN: 3-6-1 Video Editor: please emphasize button/text as indicated by red arrows

    - SCREEN: 3-6-2 Video Editor: please emphasize button/text as indicated by red arrows

  - Set the lowest laser power possible for both channels [1].

    - SCREEN: 3-7-1 Video Editor: please emphasize text as indicated by red arrow

  - If the microscope acquires channels only sequentially, switch off the channel for the mitochondrial stain detection [1].

    - SCREEN: 3-8-1 Video Editor: please emphasize box as indicated by red arrow

  - Untick the Z-stack box in the software to switch off the Z-stack acquisition to set the acquisition of a single focal plane [1] and set the shortest possible camera exposure time [2].

    - SCREEN: 3-9-1 Video Editor: please emphasize box/text as indicated by red arrow

    - SCREEN: 3-9-2 Video Editor: please emphasize text as indicated by red arrow

  - Set three rotations of the grid [1] and acquire two-dimensional images of the labeled cells at several laser power values and several exposure times to optimize laser the power and camera exposure time [2].

    - SCREEN: 3-10-1 Video Editor: please emphasize text as indicated by red arrow

    - SCREEN: To be provided by Authors: Image(s) being acquired

  - Select the laser power and camera exposure times that yield structured illumination microscopy images with bright spots in the mitochondria with little or no artifacts [1] and start the acquisition of the time lapse series using the optimized settings [2].

    - SCREEN: 3-11-1 Video Editor: please emphasize text as indicated by red arrow

    - SCREEN: To be provided by Authors: Acquisition being started. (Author Comment: Also has been shot in “WIDE” by the videographer.)

- Data Analysis

  - For analysis of the time lapse images, open the converted structured illumination microscopy images in an appropriate image analysis software that has a spot tracking module [1] and click Add New Spots to start up the Spots creation wizard [2].

    - WIDE: Talent at computer, opening software, with monitor visible in frame

    - SCREEN: screenfile1

  - Under the Create tab, click Track Spots over time and proceed to the second step of the wizard [1].

    - SCREEN: screenfile2 Video Editor: please emphasize Create button and Track Spots over time box

  - Set the Estimated XY Diameter to 0.1-0.15 micrometers, click Background Subtraction, and proceed to the third step in the wizard [1].

    - SCREEN: screenfile3 Video Editor: please emphasize Estimate XY Diameter text and Background Subtraciotn box

  - Drag the vertical line in the histogram to adjust the threshold of the Quality filter until the majority of the nucleoids are detected as “spots” and the artifacts are not detected within each frame [1].

    - SCREEN: screenfile4 Video Editor: please emphasize yellow vertical line in bottom left histogram

  - Proceed to the fourth and fifth steps of the wizard and select the Autoregressive Motion algorithm. Set the Max Distance to 0.5 micrometers and the Max Gap Size to 0 [1].

    - SCREEN: screenfile5 Video Editor: please emphasize Autoregressive Motion, Max Distance, and Max Gap Size texts

  - When the fine-tuned parameters allow the software to detect all of the spots and build tracks correctly, click the arrow navigation button to confirm creation of the tracks [1] and click the Statistics icon to extract the track statistics [2].

    - SCREEN: screenfile 7 Video Editor: please emphasize start arrow in bottom of frame

    - SCREEN: screenfile7 Video Editor: please emphasize Average Values window

  - Then select the necessary statistics parameters [1] and click the Save As to export the values as .csv files for quantification and visualization [2].

    - SCREEN: screenfile 7 Video Editor: please emphasize Save As button

    - SCREEN: To be provided by Authors: Files being saved as .csv files

# Section – Results

- Results: Representative Live Cell Labeling and Mitochondrial Nucleoid Tracking

  - Labeling with high concentrations of SYBR (cyber) Gold or PicoGreen [1] results in abundant staining of the nuclei аnd punctаtе stаining within thе cytoplаsm [2].

    - LAB MEDIA: Figure 1 1:1000 and 1:2000 images

    - LAB MEDIA: Figure 1 1:1000 and 1:2000 images Video Editor: please emphasize bottom right zoom in images for each dye

  - At lower concentrations, faint SYBR Gold signal appears within the nuclеi and a pаttеrn of bright spots is observed within the cytoplasm [2].

    - LAB MEDIA: Figure 1 1:10000 images Video Editor: please emphasize green signal in SYBR Gold zoom in image

  - PicoGreen labeling at low concentrations yields mostly nuclear staining [1].

    - LAB MEDIA: Figure 1 1:10000 images Video Editor: please emphasize green signal in picoGreen zoom in image

  - Simultaneous staining with low concentrations of SYBR Gold and a far red mitochondrial dye reveals that nearly all of the SYBR Gold staining occurs within the mitochondria [1], while labeling at high concentrations results in significant staining of the nuclei and cytoplasm [2].

    - LAB MEDIA: Figure 2 1:10000 and 1:5000 images Video Editor: please emphasize signal in Merge images

    - LAB MEDIA: Figure 2 1:1000 and 1:500 images Video Editor: please emphasize signal in Merge images

  - Time lapse imaging reveals that after 45 minutes, the nucleoid staining is close to saturation [1].

    - LAB MEDIA: Figures 3A and 3C Video Editor: please emphasize bottom right image

  - Fixаtion causes a slight redistribution of the dye to the nucleus [1], while pеrmеаbilizаtion of the fixed cells eliminates the dottеd staining pаttеrn of the mitochondriа and enhances the nuclear stаining [2].

    - LAB MEDIA: Figures 4A and 4B Video Editor: please emphasize green signal in bottom Merge image

    - LAB MEDIA: Figure 4C Video Editor: please emphasize green signal in Merge images

  - If SYBR Gold is аddеd to the cеlls аftеr fixаtion аnd pеrmеаbilizаtion, then the dye is distributed uniformly across the cytoplasm and the nucleus, resulting in a loss of the staining specificity [1].

    - LAB MEDIA: Figure 4D Video Editor: please emphasize green signal in Merge image

  - Live cell 3D imaging by super-resolution structured illumination microscope reveals the mitochondrial nucleoids as bright spots within the mitochondria [1].

    - LAB MEDIA: Figure 5A Video Editor: please emphasize green signal

  - Tracking the positions of the nucleoids at a resolution beyond the diffraction limit demonstrates that the majority of nucleoids exhibit short-distance random motions that are probably confined to the mitochondrial network [1].

    - LAB MEDIA: Movie 1 Video Editor: please speed up

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Visjna Jevtic: It is important to note that this protocol is not compatible with fixation of the sample [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step: 2.2.)

  - Sergiy Avilov: However, our protocol should be compatible with a wide range of live cell imaging-based assays for study of the morphology, dynamics, and activity of molecules and organelles [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Sergiy Avilov: Our study illustrates the advantages of “re-targeting” known organic dyes for cell-based techniques. It may inspire the exploration of other fluorescent dyes for their application in cellular studies [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera