# Submission ID #: 60012

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18303708

Title: Advanced Diffusion Imaging in The Hippocampus of Rats with Mild Traumatic Brain Injury

Authors and Affiliations: Kim Braeckman, Benedicte Descamps, and Christian Vanhove

Infinity Lab, Medical Imaging and Signal Processing Group, Ghent University

# Corresponding Author:

# Kim Braeckman

# kim.braeckman@ugent.be

Email addresses for Co-authors:

benedicte.descamps@ugent.be

christian.vanhove@ugent.be

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

3. Which steps from the protocol section below are the most important for viewers to see?

2.3.2., 3.1.2., 3.3.1., 3.3.2.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.3.: To a single impact it is important that the first and second experimenter communicate clearly. This will allow the second experimenter to be prepared to move the rat immediately following impact. It is recommended each time a series of animals will receive impact, both experimenters practice on a dummy rat.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Kim Braeckman: With this diffusion imaging protocol, it is possible to investigate microstructural changes in the hippocampus of rats with mild traumatic brain injury that are otherwise not visible on anatomical MRI’s [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Benedicte Descamps: This technique has the advantage of being able to detect alterations in the brain following a mild and diffuse trauma that cannot be detected with CT or anatomical MRI [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Christian Vanhove: This technique makes it easier to monitor the recovery process after sustaining a mild traumatic brain injury in an objective and quantitative manner [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Kim Braeckman: This diffusion imaging and analysis technique can be applied in other disorders affecting the brain, such as multiple sclerosis or dementia, not only in preclinical research but also in humans [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Benedicte Descamps: When using this protocol, it is important to perform high quality diffusion scans and correction steps. Therefore, guidance from experienced technicians and analysts is recommended [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by Animal Ethics Committee at the University of Ghent.

# Section - Protocol

- Animal Preparation and Helmet Attachment

  - After confirming a lack of response to toe pinch in a 12-week-old, female, Wistar H rat [1-TXT], place the animal on a 37-degree Celsius heating pad [2] and insert a catheter into a lateral tail vein [3].

    - Talent placing rat onto pad Videographer: More Talent than rat in shot

    - WIDE: Talent pinching toe Videographer: More Talent than rat in shot TEXT: Anesthesia: 5% isoflurane; analgesia: 0.05 mg/kg buprenorphine subcutaneous

    - Catheter being inserted

  - Inject 100 microliters of 2% lidocaine locally into the shaved and disinfected scalp [1] and make a midline incision to expose the skull [2].

    - Lidocaine being injected

    - Incision being made

  - Use small scissors to remove any excess membranes [1] and rub a cotton bud across the skull until the periosteum is no longer present [2].

    - Excess membranes being removed

    - Periosteum being removed Videographer: Important step

  - Then use a drop of tissue glue to attach a 10-millimeter-diameter, 3-millimeter-thick metallic disc approximately one-third in front of and two-thirds behind the bregma [1-TXT].

    - Disc being glued to skull TEXT: Air dry glue 1 min

- Traumatic Brain Injury (TBI)

  - For traumatic brain injury induction, place the rat on a custom-made bed with a foam mattress of a specific spring constant [1-TXT] and place the rat directly under a transparent plastic tube with a 450-gram brass weight with the helmet as horizontal as possible [2].

    - WIDE: Talent placing rat onto bed Videographer: More Talent than rat in shot TEXT: See text for custom bed details

    - Shot of tube with brass weight being positioned Videographer: No rat in shot/important step Author comment: Rat was present in shot because otherwise it is impossible to align the helmet and the brass weight.

  - Pull the weight up to 1 meter [1].

    - Talent pulling weight to 1 m Videographer: More Talent than rat in shot

  - With a second experimenter present, release the weight [1] and have the second experimenter move the rat way from the tube immediately after the impact to prevent a second injury [2-TXT].

    - Talent releasing weight Videographer: No rat in shot/important and difficult step

    - Rat being moved TEXT: Gently compress thorax to encourage return of spontaneous breathing after impact as necessary Videographer: Important/difficult step

  - Gently pull the helmet from the skull [1] and use a gauze to stem any bleeding [2].

    - Helmet being removed

    - [Added Shot] Stemming of bleeding.

  - Close the skin with a suture [1] and apply local analgesia gel to the incision [2].

    - Skin being sutured

    - Analgesia being applied

  - Place the rat on the bed of a CT (C-T) scanner [1-TXT] and administer a general-purpose, low-dose CT scan to rule out skull fractures [2].

    - Talent placing rat onto scanner bed TEXT: CT: computed tomography

    - LAB MEDIA: Figure 5 top row

  - Then place the rat in a clean cage on a 37-degree Celsius heating pad with monitoring until full recumbency before returning the animal to its cage [1].

    - Talent placing rat onto heating pad Videographer: More Talent than rat in shot

- Diffusion Magnetic Resonance Imaging (MRI)

  - Before and one day following the trauma induction, confirm a lack of response to toe pinch in the experimental animal [1] and place the animal on the MR scanner bed in a head-first prone position [2].

    - WIDE: Talent pinching toe Videographer: More Talent than rat in shot

    - Talent placing rat into scanner bed Videographer: More Talent than rat in shot

  - Slide the quadrature volume coil over the head [1] and advance the scanner bed into the scanner bore [2].

    - Coil being placed onto head

    - Scanner bed being advanced into scanner bore

  - To ensure a correct positioning, obtain a default three-plane scout scan [1].

    - SCREEN: load_tripilot.mov

  - When the scan is finished, load the scan in the image display and ensure that the head is lying straight and that the brain is positioned in the center of the magnet and coil [1].

    - SCREEN: 06_tripilot_v2.mov

  - Acquire T2 weighted images using the default settings, except for the field of view and matrix size, which should be adjusted to a higher in-plane resolution of 109- x 109-micrometers [1].

    - SCREEN: T2_load_adjust_res.mov

  - Open the Geometry editor and place the slice package in the correct position, including the bulbus of the brain and the cerebellum [1], and load three new echo-planar diffusion-weighted spin-echo sequences from the B_DIFFUSION folder into the Scan Control protocol [2].

    - SCREEN: T2_geom.mov

    - SCREEN: load_DTI.mov

  - Acquire diffusion weighted images using the default settings and open the Edit Scan tab. Set the slice orientation to axial and the number of slices to 25 to achieve a slice thickness of 500 micrometers and an interslice distance of 600 micrometers and amend the readout direction into left-right [1].

    - SCREEN: DTI_adjust_slice.mov

  - Under the Geometry tab, adjust the geometrical parameters and adjust the field of view and matrix size to 105 x 105 to ensure a resolution of 333 - x 333-micrometers [2].

    - SCREEN: DTI_adjust_res.mov

  - Click the Diffusion tab within the Research tab for each of the three diffusion shells and adjust the number of diffusion directions to 32 for the first shell, 46 for the second shell, and 64 for the third shell [1].

    - SCREEN: DTI_diffusion.mov 00:00-00:15

  - Change the number of B-zero images to 5 for the first shell, 5 for the second shell, and 7 for the third shell and adjust the gradient directions with custom gradient direction files [1].

    - SCREEN: DTI_diffusion.mov 00:16-00:23

  - Adjust the b-value per direction to 800 seconds/millimeter-squared for the first shell, 1500 seconds/millimeter-squared for the second shell, and 2000 seconds/millimeter-squared for the third shell [1].

    - SCREEN: DTI_diffusion.mov 00:25-00:39

  - Then open the Geometry editor and place the field of view between the bulbus and cerebellum containing only the cerebrum to reduce the artifact and scan time [1].

    - SCREEN: DTI_geom.mov

  - At the completion of the scanning protocol, transfer the animal from the scanner bed to a clean cage with a 37-degree Celsius heating pad with monitoring until full recumbency [1].

    - Talent placing rat into cage Videographer: More Talent than rat in shot

- Image Processing

  - For diffusion-MRI image processing, load the images in MRtrix3 (M-R-tricks-three) [1] and perform noise correction and Gibbs ringing correction on the diffusion-weighted images in the software program [2].

    - WIDE: Talent loading image(s), with monitor visible in frame

    - SCREEN: 10_denoise_gr.mov: 00:00-00:16

  - Convert the corrected diffusion-weighted images and T2 image to the NIFTI (nifty) format as indicated [1].

    - SCREEN: Convert_to_nii.mov

  - To perform correction for echo-planar imaging, motion, and Eddy current distortions, in the Plugins menu of ExploreDTI (explore-D-T-I), select Correction for subject motion and EC-EPI (E-C-E-P-I) distortions, and select the preprocessed diffusion data file [1].

    - SCREEN: 11_SM_EC-EPI.mov

  - To calculate the diffusion tensor imaging metrics for each rat, click Plugins and Export stuff to nifty. Then select the parametric maps of the diffusion tensor imaging model and export the parametric maps for the kurtosis and white matter tract integrity models [1].

    - SCREEN: 12_export_stuff.mov

  - To create a mask file for the hippocampus of each rat, load the fractional anisotropy image of the rat in the MRtrix viewer and click the plus button to create a new region of interest [1].

    - SCREEN: 13_draw_hip.mov

  - To extract the diffusion metrics of the hippocampus of the rat, import the created mask file in the Amide software and open the parametric maps and mask image of the rat [1].

    - SCREEN: 14_amide.mov: 00:00-00:19

  - To add the region of interest of the mask file into Amide, select the mask file image, click Edit, Add Region of Interest, and 3D Isocontour, and give the region of interest a meaningful name [1].

    - SCREEN: 14_amide.mov: 00:19-00:31

  - Click on the region of interest displayed in the mask image and confirm that this volume should only contain voxels with a value of one [1].

    - SCREEN: 14_amide.mov: 00:31-00:40

  - To calculate the mean values of the diffusion metrics in the hippocampus, click Tools and Calculate Region of Interest Statistics and indicate the images and the region of interest to be included [1].

    - SCREEN: 14_amide.mov: 00:47-00:56

  - After clicking Execute, a popup window with the computed values that can be used for further statistical analysis will appear [1].

    - SCREEN: 14_amide.mov: 00:55-01:05

# Section – Results

- Results: Representative Changes in Hippocampal Diffusion Tenor and Kurtosis Metrics After Mild TBI

  - In this representative experiment, there was no evidence of skull fracture as assessed by CT imaging [1] and the T2 images did not show any abnormalities at the contusion site one day after the trauma [2].

    - LAB MEDIA: Figure 5 top row

    - LAB MEDIA: Figure 5 bottom row

  - To examine the quality of the non-rigid co-registration step between the T2 image and the diffusion data set, an overlay of the T2 image was added to the color-encoded fractional anisotropy map [1].

    - LAB MEDIA: Figure 6

  - The parametric maps for fractional anisotropy [2], mean diffusivity [2], axial diffusivity [3], and radial diffusivity parametric maps could then be calculated [4].

    - LAB MEDIA: Figure 1: JoVE Video Editor please emphasize FA image

    - LAB MEDIA: Figure 1: JoVE Video Editor please emphasize MD image

    - LAB MEDIA: Figure 1: JoVE Video Editor please emphasize AD image

    - LAB MEDIA: Figure 1: JoVE Video Editor please emphasize RD image

  - Within the region of interest, calculation of the mean values for the axial [1], mean [2], and radial kurtosis values [3] as well as values for the axonal water fraction [4], axial and radial extra axonal diffusivity [5], and tortuosity of the white matter tract integrity could also be performed [6].

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize AK image

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize MK image

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize RK image

    - LAB MEDIA: Figure 3: JoVE Video Editor please emphasize AWF image

    - LAB MEDIA: Figure 3: JoVE Video Editor please emphasize AxEAD and RadEAD images

    - LAB MEDIA: Figure 3: JoVE Video Editor please emphasize TORT image

  - In this representative experiment, analysis of the diffusion tensor imaging metrics [1] revealed a significant increase in the fractional anisotropy values [2] and a decrease in the diffusivity values following impact in the mild traumatic brain injury group [3].

    - LAB MEDIA: Figure 7

    - LAB MEDIA: Figure 7: JoVE Video Editor please emphasize blue data bars in FA graph

    - LAB MEDIA: Figure 7: JoVE Video Editor please emphasize blue data bars in MD and RD graphs

  - Diffusion kurtosis metrics also showed a significant decrease in radial kurtosis [1] following impact, while no changes in the axial or mean kurtosis were observed [2].

    - LAB MEDIA: Figure 8: JoVE Video Editor please emphasize blue data bars in RK graph

    - LAB MEDIA: Figure 8: JoVE Video Editor please emphasize blue data bars in MK and AK graphs

  - Using the white matter tract integrity model, the radial extra axonal diffusivity displayed a significant decrease [1] and the tortuosity demonstrated a significant increase in the mild traumatic brain injury group 1 day after the impact [2].

    - LAB MEDIA: Figure 9: JoVE Video Editor please emphasize blue data bars in RadEAD graph

    - LAB MEDIA: Figure 9: JoVE Video Editor please emphasize blue data bars in TORT graph

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Christian Vanhove: (Step: 5.2.-5.3.) During the image analysis, it is important to check whether the data format from MRtrix was properly converted and imported into ExploreDTI and that each correction step was performed correctly [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Kim Braeckman: Instead of a ROI-based analysis, a voxel-by-voxel analysis can be applied to investigate whole brain alterations [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Benedicte Descamps: This technique is very valuable within the neuroimaging field and it can be applied to other brain disorders, such as dementia or multiple sclerosis [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera