# Submission ID #: 60018

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18305538

Title: Processing Embryo, Eggshell, and Fungal Culture for Scanning Electron Microscopy

Authors and Affiliations: Jessica Gibbons and Poongodi Geetha-Loganathan

Department of Biological Sciences, SUNY Oswego

# Corresponding Author:

# Poongodi Geetha-Loganathan

# p.geethaloganathan@oswego.edu

Email addresses for Co-authors:

Jessica Gibbons

jgibbons@oswego.edu

Author Questionnaire:

1. Microscopy: Does your protocol require JoVE to film through your microscope? N

2. Does your protocol demonstrate software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

3.9., 3.10., 3.12., 3.13., 5.8., 5.9.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

More than difficult I will call them most essential for processing embryos

3.9., 3.10.

5. Will the filming need to take place in multiple locations (greater than walking distance)? Maybe, if shooting of egg collection done on the day of shoot, travel to Rice Creek Field station is needed, which is 2.5 miles from SUNY Oswego campus.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Poongodi Geetha-Loganathan: We have standardized sample preparation protocols for imaging painted turtle embryos, rigid eggshell samples, and fungal cultures using scanning electron microscopy [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Poongodi Geetha-Loganathan: These comprehensive methods use subtle alterations to known protocols to process three delicate tissues, allowing the differentiation between original structures and processing artifacts [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Poongodi Geetha-Loganathan: Demonstrating the procedure with me will be Jessica Gibbons, a graduate student from my laboratory [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving painted turtle (Chrysemys picta) eggs used in this study were collected during the nesting season of May through June 2015-16 from Rice Creek Field Station, Oswego New York with permission obtained from the New York State Department of Environmental Conservation (DEC).

# Section - Protocol

- Egg Collection

  - Before collecting turtle eggs from a field site during nesting season, make four to six, 0.25-centimeter holes along the sides of plastic boxes and on their lids to allow aeration [1-TXT] before filling the boxes with a moist mixture of vermiculite and peat moss bedding mixture at a 1:1 ratio [2].

    - WIDE: Talent making hole(s) in boxes TEXT: Box dimensions: 6.7 cm x 25.4 cm x 10.2 cm

    - Talent placing bedding into box

  - At the nesting site, gently remove the soil to uncover the eggs [1] and wipe the surface of each turtle egg with a diluted iodine tincture to protect against microbial contamination during incubation [2].

# Author note: Videos sent earlier to cover for the sections 2.2.1. to 2.5.1

    - LAB MEDIA: To be provided by Authors: Soil being removed

    - LAB MEDIA: To be provided by Authors: Egg being wiped

  - Place a maximum of 8-9 eggs per box in the same orientation and alignment as they were laid, keeping individual clutches separate from each other [1-TXT].

    - LAB MEDIA: To be provided by Authors: Egg being placed into box TEXT: Egg re-orientation inhibits embryo development

  - When all of the eggs have been collected, manually bury the eggs half in the bedding [1] and place the lidded boxes inside a 30-degree-Celsius incubator for 10-17 days to obtain embryonic stages 12, 13, and 18, embryos respectively [2].

    - Eggs being buried

    - Talent placing box into incubator

  - Add distilled water to partially wet the bedding medium every other day to avoid dehydration and to maintain the moisture level for normal embryo development [1].

    - Water being added to bedding

- Scanning Electron Microscopy (SEM) Preparation: Embryo Chemical Drying

# Steps 3.1 to 3.5.1: video files provided by both authors and videographer.

# For steps 3.1 to 3.4.2 : Files provided by any of us can be used

# For steps 3.5 (3.5.1)- use only the file provided by authors as the embryo used on shoot day had malformation during development which is beyond our control as a natural process of embryonic development.

  - At the appropriate stage of development, use pointed scissors to make a cut onto one side of the dorsal eggshell and yolk membrane together vertical to the long axis of the egg [1].

    - WIDE: Talent cutting eggshell

  - Next, cut the other side of the egg along the short axis [1] and use forceps to peel open the excised piece with the embryo side up [2].

    - Egg being cut

    - Piece being peeled

  - Cut the other lateral side of the eggshell [1] and place the excised piece of shell into PBS [2].

    - Eggshell being cut

    - Shell being placed into PBS

  - Using a stereomicroscope and forceps [1] … peel the embryo and yolk membrane from the eggshell [2].

    - Shot of Talent at microscope/placing eggshell under microscope

    - LAB MEDIA: To be provided by Authors: Embryo and membrane being peeled from eggshell

  - Use the forceps and microscissors to remove the extra-embryonic membranes [1] and use an embryo spoon to transfer the embryo into a Petri dish of fresh PBS [2].

    - LAB MEDIA: To be provided by Authors: Membrane being removed

    - Embryo being scooped

  - After washing away any blood and yolk, place up to three embryos per well of a 12-well plate containing 4% paraformaldehyde at 4 degrees Celsius for 2-3 days [1-TXT].

    - Talent placing embryo into well, with PFA container visible in frame TEXT: Alternative: Fix in 2-3% glutaraldehyde

  - When the samples appear white [1] … use polystyrene inserts with polyester mesh bottoms to rinse the embryos with three, 5-minute washes in fresh PBS per wash [2].

    - Shot of white embryo

    - Embryo in insert being placed into PBS

  - After the last wash, dehydrate samples in an ascending ethanol series for 1-hour per concentration [1-TXT]

    - Talent placing sample into ethanol, with other ethanol concentrations visible in frame TEXT: 30% EtOH -> 50% EtOH -> 70% EtOH -> 80% EtOH -> 95% EtOH -> 100% EtOH x2

  - After the second ethanol immersion, dry the embryos in a series of HMDS (H-M-D-S) to ethanol concentrations for 20 minutes per immersion with the Petri dishes partially covered [1-TXT].

    - Embryo being placed into HMDS, with HMDS container visible in frame Videographer: Important/difficult step TEXT: 1:2 HMDS: EtOH -> 2:1. HMDS: EtOH

  - Then place the embryos in a final 100% HMDS solution completely or partially covered in a fume hood overnight [1].

    - Talent placing dish into fume hood Videographer: Important/difficult step

  - Jessica Gibbons: Slow drying by gradually increasing the concentration of HMDS to ethanol is important for revealing an excellent surface structure in the embryos [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - The next morning, use double stick carbon conductive tape to carefully mount the completely dried samples on a standard aluminum pin stub [1-TXT].

    - Embryo being mounted TEXT: Completely dried samples are white; Allow yellow samples to dry longer

  - When all of the samples have been mounted, introduce the samples into the sputter coater chamber [1] to coat the specimens with a very thin film of gold for 60-120 seconds at a 35-milliamp sputter [2].

    - Talent placing sample into chamber Videographer: Important step

    - Shot of coated specimen Videographer: Important step

  - Then securely fasten the setscrews to mount the stubs onto the corresponding pore-plates [1] and use the sample exchange tool to transfer the sample holder into the sample chamber of the scanning electron microscope for imaging [2].

    - Stub being mounted

    - Talent placing sample holder into sample chamber

- SEM Preparation: Eggshell Air-Drying

  - To prepare eggshells for scanning electron microscopy, place the eggshells in distilled water for at least one hour after the embryo harvest [1] to eliminate any yolk or albumin contamination [2].

    - WIDE: Talent placing eggshells in water

    - Shot of cleaned egg shell being removed from water, with dirty distilled water visible in frame

  - Next, air-dry the cleaned eggshells on delicate antistatic wipes in the fume hood overnight [1] and store the dried eggshells in clean specimen bottles labeled by number and embryo stage [2].

    - Talent placing shell(s) onto wipe(s)

    - Dried shell(s) being placed into bottle, with bottle label visible in frame

  - Then mount, sputter coat, and image the eggshell specimens as just demonstrated for the embryos [1].

    - Gold-coated eggshell being mounted onto stub

- SEM Preparation: Fungal Culture Critical Point Drying

  - To establish slide fungal cultures, use a sterile scalpel to cut ½-3/4-inch blocks of solid potato dextrose agar [1] and place the blocks on individual glass microscope slides [2].

    - WIDE: Talent cutting agar

    - Block being placed onto slide

  - Place sterile toothpicks on the bottom of clean Petri dishes for raising slides off of them to create surface tension between the plate and the slide [2]. Place each slide on the toothpicks in the Petri dish [1].

    - Toothpick being placed Author note: 5.2.2 should precede 5.2.1

    - Slide being placed

  - Next, use a sterile loop to transfer fungi from the specimen inoculum to each of the four lateral sides of an agar block [1] and add a few drops of sterile distilled water to the Petri dish around the slide to ensure moisture for the growing fungi [2].

    - Fungi being applied, with fungal culture container visible in frame

    - Water being added to dish

  - Partially seal the plate with paraffin film [1] and place the plate in the 30-degree-Celsius incubator for the appropriate incubation period for the fungal species [2].

    - Plate being sealed

    - Talent placing plate into incubator

  - At the end of the incubation, remove the slide from the Petri dish [1] and use sterile forceps to transfer the tightly-adhered the agar block from the slide to a container of 3% glutaraldehyde for an overnight incubation at 4 degrees Celsius [2].

    - Slide being removed

    - Block being removed from slide/placed into glutaraldehyde, with incubation container of glutaraldehyde visible in frame

  - The next morning, dehydrate the samples in an ascending ethanol series for 15 minutes per concentration [1-TXT].

    - Talent placing sample into ethanol, with other ethanol containers visible in frame TEXT: 10% EtOH -> 25% EtOH -> 50% EtOH -> 75% EtOH -> 90% EtOH

  - After the 90% immersion, process the samples for final dehydration with two, 30-minute changes in 100% ethanol to ensure a complete saturation [1] before placing the dehydrated samples in the chamber of the critical point drying apparatus [2].

    - Sample being placed into 100% ethanol, with 100% ethanol container visible in frame

    - Talent placing sample into CPD chamber

  - Seal the chamber [1] … and open the valves to allow liquid carbon dioxide to vent in and to let the ethanol vent out [2] until liquid carbon dioxide completely fills the chamber [3].

    - Talent sealing chamber Videographer: Important step

    - Talent opening valve(s) Videographer: Important step

    - Shot of chamber filled with liquid carbon dioxide Videographer: Important step

  - Next, seal and slowly heat the chamber [1] to achieve a critical point when the chamber pressure exceeds 1000 pounds of pressure per square inch, the temperature exceeds 31 degrees Celsius, and the liquid and gas phase of carbon dioxide is in equilibrium [2].

    - Talent sealing/heating chamber Videographer: Important step

    - Shot of 1000 psi, >31 °C, and equilibrium readouts Videographer: Important step

  - Then slowly drain the carbon dioxide from the chamber and the sample as a gas to avoid any effects of surface tension on the sample [1] and mount, plate, and image the fungal specimens as demonstrated [2].

    - Talent draining gas

    - Gold-coated sample being mounted onto stub pin

# Section – Results

- Results: Representative Scanning Electron Microscopic (SEM) Analysis of Painted Turtle Embryos and Eggshells

  - A lateral scanning electron micrographic view of a stage 12 painted turtle embryo reveals how the maxillary prominence extends beyond the mandibular [1] and medially limits a well-marked nasal pit [3].

    - LAB MEDIA: Figure 1F Video Editor please emphasize tissue indicated by mpx text and arrow in original Figure 1F

    - LAB MEDIA: Figure 1F: JoVE Video Editor please emphasize tissue indicated by np text and arrow in original Figure 1F

  - Five pharyngeal arches can also be observed [1].

    - LAB MEDIA: Figure 1F: JoVE Video Editor please emphasize tissue indicated by pa text and arrow in original Figure 1F

  - In a stage 15 embryo, newly formed somites are visible at the posterior tail region of the embryo [1] and the forelimb buds point more caudally than ventrally [2].

    - LAB MEDIA: Figure 1G JoVE Video Editor please emphasize tissue indicated by s text in original Figure 1G

    - LAB MEDIA: Figure 1G: JoVE Video Editor please emphasize tissue indicated by fl text in original Figure 1G

  - A well-defined outgrowth of a carapace ridge can also be visualized along the entire inter-limb flank region of the embryo [1].

    - LAB MEDIA: Figure 1G: JoVE Video Editor please emphasize tissue indicated by cr text in original Figure 1G

  - At stage 18, a short, feebly projecting snout has formed [1], with a slightly upturned lower beak with a terminal hook that fits into the central notch of the upper beak [2].

    - LAB MEDIA: Figure 1H: JoVE Video Editor please emphasize snout

    - LAB MEDIA: Figure 1H: JoVE Video Editor please emphasize tissue indicated by ij text in original Figure 1H

  - The upper jaw exhibits a notched appearance [1], and a tiny egg tooth can be seen forming at the tip of the upper jaw [2].

    - LAB MEDIA: Figure 1H: JoVE Video Editor please emphasize tissue indicated by uj text in original Figure 1H

    - LAB MEDIA: Figure 1H: JoVE Video Editor please emphasize tissue indicated by et text and arrow in original Figure 1H

  - Ultra-structural analysis of a Chrysemys picta eggshell and shell membrane by scanning electron microscopy [1] reveals an outer calcareous eggshell layer [2] firmly attached to the inner filamentous shell membrane [3].

    - LAB MEDIA: Figure 2D

    - LAB MEDIA: Figure 2D: JoVE Video Editor: emphasize tissue indicated by cl text and arrow in original Figure 2D

    - LAB MEDIA: Figure 2D: JoVE Video Editor: emphasize tissue indicated by sm text in original Figure 2D

  - The outer surface of the eggshell consists of well-distinguished mineralized shell units [1] made of globular-spherical nodules arranged in groups and in between adjacent shell units [2] with a concentration of small rounded depressions or pores of various sizes [3].

    - LAB MEDIA: Figure 2E

    - LAB MEDIA: Figure 2E: JoVE Video Editor: emphasize tissues indicated by su text in original Figure 2E

    - LAB MEDIA: Figure 2E: JoVE Video Editor: emphasize tissues indicated by asterisks in original Figure 2E

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Jessica Gibbons: Common methodologies cannot be generalized for all biological specimens to achieve a decent image quality using SEM. Unique alterations as demonstrated are essential for specific tissue types [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Jessica Gibbons: The chemical- and air-drying methods could also be used for other organic samples and the coupling slide culture technique could be used for all soft, robust microbial cultures [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera