We are grateful to the two reviewers and the editor for the critical comments and useful suggestions that have helped us to improve our manuscript considerably. As indicated in the responses below, we have taken all these comments and suggestions into account in the revised version of our paper. In the revised manuscript, changes in the text are highlighted in red color except for the numbering of the Protocols and other minor corrections such as grammatical tenses and pluralities. Specific points changed in line with the reviewer’s and editorial comments are as follows.

Editorial comments:

Changes to be made by the author(s):

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.

Thank you for giving us the opportunity to refine the manuscript. We have proofed our manuscript and corrected grammatical issues.

2. Authors and affiliations: Please provide an email address for each author.

We have added email addresses for remaining authors.

3. Please adjust the numbering of the Protocol to follow the JoVE Instructions for Authors. For example, 1 should be followed by 1.1 and then 1.1.1 and 1.1.2 if necessary. Please refrain from using bullets, dashes, or indentations.

We have checked and corrected the all numbering throughout the Protocol.

4. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials. You may use the generic term followed by “(Table of Materials)” to draw the readers’ attention to specific commercial names. Examples of commercial sounding language in your manuscript are: Omnetics, Dremel, etc.

This point has been corrected as following:

- “Omenetics connector” to “silicon probe connector” in line 121, 376.

- “an Omnetics connecter of a 32-channel silicon-probe” to “a 32-channel silicon-probe connecter” in the legend of Fig. 1Cf line 457–548.

- “Omnetics” in line 310 is deleted.

- “a Dremel rotary grinder”, “a Dremel grinder” to “a rotary grinder” in line 138, 155.

- “parafilm” to “plastic paraffin film” in line 377.

- “commercial photo-artifact reduced probes are available in NeuroNexus and Cambridge NeuroTech” to “there are photo-artifact reduced silicon-probes there are photo-artifact reduced silicon-probes commercially available” in Discussion in line 564-565

5. Please revise the Protocol text to avoid the use of any personal pronouns (e.g., "we", "you", "our" etc.).

This point has been corrected throughout the Protocol.

6. Please revise the Protocol to contain only action items that direct the reader to do something (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “NOTE.” Please include all safety procedures and use of hoods, etc. However, notes should be used sparingly and actions should be described in the imperative tense wherever possible. Please move the discussion about the protocol to the Discussion.

The sentences in the Protocol have been corrected to be described in the imperative tense in line 111–112, 238–239, 245, 301, 331–332, 343, 344–345, 357. In addition, we move the information of “NOTE” in the Protocol 5.14. to the Discussion line 561–562.

7. Please add more details to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol. Please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. See examples below.

This point has been corrected and refined as described below in 8–12. In addition, we added “using sharp scissors” in the Protocol line 175. We also added the instruction of using a hood during the perfusion of 4% paraformaldehyde in line 388.

8. Line 140: What is used to cut?

We have added “using a rotary grinder” in line 154.

9. Line 267: Please mention how proper anesthetization is confirmed.

We have added the sentence “The anesthetic condition of the mouse is confirmed by the absence of toe-pinch reflex.” in line 322–323.

10. Line 270: How large is the incision? Please specify surgical tools used throughout the protocol.

We have described “a 1.5–2.0 cm incision” in line 327–328. We also mentioned the tools: “standard surgical scissors” in line 328, “using surgical tweezers and a screwdriver” in line 336, “using pliers” in line 399. The information of the surgical scissors and tweezers are also added in the Table of Materials.

11. Line 298: Please specify the size of the needle.

We replaced the words “a needle” to “a 20G needle” in line 362.

12. Line 318: Please describe how perfusion is done.

We have corrected the description in line 386–389 and added the reference as:

“Inject ketamine (75 mg/kg) and dexmedetomidine (1 mg/kg) anesthetics intraperitoneally and confirmed the absence of toe-pinch reflex. Fix the anesthetized mouse by directly perfusing 4% paraformaldehyde through the heart using a hood. Surgical methods for rodents are described previously42”

Added reference:

42	Gage, G.J., Kipke, D.R., & Shain, W. Whole animal perfusion fixation for rodents. Journal of visualized experiments. (65), doi:10.3791/3564 (2012).

13. Please combine some of the shorter Protocol steps so that individual steps contain 2-3 actions and maximum of 4 sentences per step.

Thank you for giving us the opportunity to refine the manuscript. This point has been corrected and refined in the Protocol 1.2.1., 1.2.2., 2.1.2., 2.1.3., 2.1.4., 2.2.1., 2.2.2., 2.4., 2.5., 2.7.3., 2.8.3., 2.8.4., 2.8.5., 2.8.7., 3.3., 3.4., 3.5., 3.6., 4.1., 4.3., 5.4., 5.6., 5.9., 5.10., 5.12., 5.13., 5.14., 6.2., 6.7.

14. Please apply single line spacing throughout the manuscript, and include single-line spaces between all paragraphs, headings, steps, etc.

We have corrected throughout the manuscript as the editor’s instruction.

15. After you have made all the recommended changes to your protocol (listed above), please highlight 2.75 pages or less of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol.

We have highlighted 2.5 pages of the Protocol after making all the recommended changes.

16. Please highlight complete sentences (not parts of sentences). Please ensure that the highlighted part of the step includes at least one action that is written in imperative tense. Notes cannot usually be filmed and should be excluded from the highlighting. Please do not highlight any steps describing anesthetization and euthanasia.

We have highlighted complete sentences in the Protocol. Notes are not highlighted.

17. Please include all relevant details that are required to perform the step in the highlighting. For example: If step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be highlighted.

All relevant details are included in the highlights.

18. Please upload each Figure individually to your Editorial Manager account as a .png, .tiff, .pdf, .svg, .eps, .psd, or .ai file.

We have separated each Figure and uploaded them.

19. Please upload Table 1 to your Editorial Manager account as an .xlsx file.

We have uploaded Table 1 and 2 as .xlsx files.

20. Table of Materials: Please sort the items in alphabetical order according to the name of material/equipment.

This point has been corrected.

21. References: Please do not abbreviate journal titles.

Thank you. This point has been corrected.

Reviewers' comments:

Reviewer #1:

Manuscript Summary:

The paper describes a micro-drive to perform simultaneously tetrode recordings, silicon probe recordings and light stimulus delivery. The design of the micro-drive, the steps to build and implant are sufficiently described.

Minor Concerns:

line 78: maybe high cost instead of expensiveness

Thank you. We have replaced the word “expensiveness” in line 78 to “high cost”.

line 106: Fig. 1A, B

Thank you. We have corrected this point in line 111.

line 133: 'anti-twist tube' is used, but on the figure 2B it is 'support tube'.

Thank you. We have replaced the word “an anti-twist tube” in line 147 to “a support tube”.

It is not specified which parts of the drive need to be printed again and which parts are reused (do they need to be cleaned? How dental cement is removed?) for the next surgery.

Thank you very much for your suggestions. We have modified added two procedures in the recovery protocol in line 415–423:

“6.8. To reuse the microdrive array body for the next surgery, remove the dental acrylic using a combination of fine-tip drills and nippers. Then, recover the skull-screws by immersing the removed dental acrylic into acetone. Note that acetone will dissolve the plastic parts of the microdrive array.

6.9 Remove the epoxy between the microdrive body and the shielding cone using a scalpel.

Note: no additional parts are needed to be printed again for the next surgery if the microdrive is not broken.”

Reviewer #2:

Manuscript Summary:

I would like to thank the authors for their invention of a novel 3D printed microdrive design that allows for the simultaneous use of tetrode loaded microdrives and silicon probes alongside optic fibres. This new design of microdrive boasts to address a common need in Neuroscience: multisite recordings from multiple regions with control of neuronal populations via light stimulation. This is an exciting advance in neuroscience and could be a innovative, cheap tool for many researchers.

Except for minor comments about the flow of the introduction (see Minor concerns), the manuscript reads very well and is clear and concise throughout. In particular, the abstract is informative, comprehensible and enjoyable to read. Alongside this, a thorough grasp of the motivations and difficulties facing researchers today is presented in the introduction alongside clear and logical reasoning behind the design of their microdrive. This level of discussion is very useful for scientists who use these tools.

The instructive steps laid out to build the microdrive are clear, easy to follow and logical. Instructions are complimented by informative and well structured figures throughout. All important points included in the instructions alongside useful tips and pointers that might achieve the best result. This level of detail is very much appreciated and will aid researchers achieve optimum results.

The representative results are very useful and provide a proof of concept to the microdrive design presented. The demonstration of the use of optogenetics to show interactions between distinct networks is particularly exciting.

The discussion of the drive design is clear, relevant and informative. The insider tips described to help reduce common problems with microdrives i.e. movement related noise, is very insightful and appreciated and shows a clear understanding of the necessities for successful recordings of this kind. Moreover, although weight of the drive is a concern (see Major concerns), I appreciate the weight is discussed and all relevant information is made available.

Overall the manuscript was very enjoyable and am very thankful for the authors contribution of this innovative, clever and highly useful microdrive design. If major concerns are met it could be a widely used tool in neuroscientific research. Moreover the microdrive design shows great dedication towards developing new tools to address complicated questions in science.

Major Concerns:

The only major concern held in regards to the manuscript is to the weight of the microdrive described and the presentation of the discussion around the weight of the drive and representative mouse implanted. My concerns, comments and questions in regards to this are listed below. Not all are major concerns but fall under the same topic so for clarity I have kept them together.

We thank Reviewer #2 for raising a critical point. The weight of the implanted device is important to be considered since it can prevent the animal’s natural behaviors. It is often said the limit of the implant weight is ~10 % of the body weight, but actually there are no published data supporting this (Lidster, et al., 2006). In our microdrive case, as we described below, our implanted mice (>25 g) tolerated with the microdrive. Although the first few days during recovery needs attention, all the implanted mice showed standard behavioral performances such as walking, eating, grooming and rearing and even jumping after the recovery period. These mice also performed behavioral tasks such as linear track running, so we consider our microdrive array does not restrict animal’s behavior. Unfortunately, it is difficult to describe the limit of the mouse body weight since we have implanted only using the mice with >25 grams. However, because we have not seen issues in behavioral performances at least when we used these mice, we recommended the used of the mice larger than 25 grams.

1. Weight of the drive is primarily described in the discussion (lines 454 - 461) but weight of mice preferred for implantation is not mentioned (only that they be adults not juvenile). The weight is approximated in Figure 5 (line 250) where animal weight of over 25 g is noted. My first recommendation is that mouse weight and drive weight (as a percentage of mouse weight) should be included in the discussion paragraph for clarity.

Thank you very much for your suggestion. We have modified the Discussion as below to clarify the mouse weight and the drive weight (and the drive weight as a percentage of mouse weight):

In line 567–571,

“The weight of our microdrive array (5.9 grams) is heavier than the typical microdrives described in previous articles12,53, mainly due to the microdrive array body (~21% of the total weight), shielding cone (~31%), and metal parts (screws and nuts; ~22%). We recommend to use the mouse with the weight of over 25 grams (~2–3 months old for C57BL/6 mice54,55) for implant surgery because the mice with the adequate body weight tend to recover earlier.”

In line 572–575,

“While the devices of 5–10% of bodyweight are often guided to be tolerated for implant12,56 although there are no supporting published data for this55, our microdrive array weigh ~24% bodyweight of 25 grams mice (~19% when using the alternative cone described below). However, …”

Added references:

54	Hu, S. et al. Dietary Fat, but Not Protein or Carbohydrate, Regulates Energy Intake and Causes Adiposity in Mice. Cell Metabolism. 28 (3), 415-431 e414, doi:10.1016/j.cmet.2018.06.010 (2018).

55	Yang, Y., Smith, D.L., Jr., Keating, K.D., Allison, D.B., & Nagy, T.R. Variations in body weight, food intake and body composition after long-term high-fat diet feeding in C57BL/6J mice. Obesity. 22 (10), 2147-2155, doi:10.1002/oby.20811 (2014).

55	Morton, D.B. et al. Refinements in telemetry procedures. Seventh report of the BVAAWF/FRAME/RSPCA/UFAW Joint Working Group on Refinement, Part A. Laboratory Animals. 37 (4), 261-299, doi:10.1258/002367703322389861 (2003).

56	Lidster, K. et al. Opportunities for improving animal welfare in rodent models of epilepsy and seizures. Journal of neuroscience methods. 260, 2-25, doi:10.1016/j.jneumeth.2015.09.007 (2016).

Also, we have clarified the reason of the use of >25 grams mice in the NOTE of the Protocol line 301–302 as “…for the faster recovery after the surgery.”.

2. My second concern is that if mice that are 25 g are implanted and your drives are approximately 5.9 g this means your drive is approximately 24 % of your mouses body weight. But since only a vague weight is given ("over 25 g"), I am unsure of the exact weight of mice implanted that was successful and resulted in the "jumping" behaviour in the home cage you observed and describe in lines 457 - 458. Can you be more explicit about exact weight of the animal here alongside the age and gender.

Thank you very much for your suggestion. We have added the description of the mouse in the Representative Results line 428–429:

“21 weeks old, 29 g body weight male pOxr1-Cre mouse (C57BL/6 background)”

3. If the actual weight of mouse to drive is as described (approx. 24%), some researchers may struggle to use such the device for reasons described in Voigts et al., 2013 (also referenced in the manuscript). Moreover, in some countries Veterinary law restricts weights of devices implanted into animals. For this reason, could you add more detail on how the drive design could be modified to make it lighter? Specially you discuss reducing height and thickness of the cone. Could you give the range of heights and thicknesses you advise, and comment on the effect changing these parameters might have (i.e. drive stability).

Thank you very much for your suggestion. Since the shielding cone is the heaviest part of our microdrive array, the modification in the cone can easily reduce the total weight. However, thinning the cone in excessive way (less than 0.3 mm) make the cone soft and easy to break. In addition, excessive lowering the cone height (more than ~ 5 mm) make the tetrode wires exposed and cause their break. If the researchers do not require physically strong protection but only the electromagnetic shielding, it is possible to prepare the shielding cone using a paper and aluminum tape which greatly reduce the total implant weight (reduce ~20% of the total weight).

Thus, we added the following sentence in the Discussions:

In the Discussion line 582–588,

“Using the current 3D-printing material, the thickness of the shielding cone can be reduced up to ~0.3 mm from the current thickness of ~0.6 mm. The cone height can be reduced ~5 mm as long as the tetrode wires can still be covered; exposure of the tetrode wires will result in breakage of the wires and a failure of the long-term recording. Alternatively, preparation of the shielding cone using a paper and aluminum tape can reduce the cone weight to ~0.7 grams (~15% of total weight; reduce 20% from the total weight of the original microdrive array), although these are a tradeoff with the physical strength.”

We have also added the ratio of the body/cone/metal parts to the total weight of the original microdrive array in line 568-569 in order to help readers to compare these weights.

In addition, we have added Figure 3F and following sentences in the Protocol to explain how to prepare the alternative shielding cone using a paper and aluminum foil. The total weight in the case of using this cone have been described in Table 1.

In the Protocol line 292–296,

“Note: Another way to prepare the shielding cone is to use aluminum tape40 (Fig. 3F). First, prepare the pattern paper for the shielding cone after sticking the alumni foil to the paper (Fig. 3Fa). Then, roll paper and attach to the microdrive body using a small amount of cyanoacrylate glue (Fig. 3Fb). The weight of this cone is 0.72 grams and the total weight of the microdrive array is reduced to 4.7 grams (Table 1).”

In the Figure 3 legend line 486–488,

“(G) Alternative shielding cone using a paper and aluminum tape. (a) A pattern paper. (b) An attached alternative shielding cone, which reduces 1.1 grams of weight compared to the 3D printed version.”

In the Table 1 legend line 527–528, we have also added:

“*: in the case of using an alternative shielding cone using a paper and aluminum tape.”

The information of the aluminum foil tape has been added in the Table of Materials.

4. Could you also include in the discussion the total dimensions of the protective cone and a comment on whether it prevents usual mouse behaviour in the home cage due to size i.e. feeding, cleaning and grooming.

Thank you very much for your suggestion. We have added the size of the protective cone as following. The implant on the mouse head can be an obstacle to foods or water access which provided from the cage top. However, as long as they are provided on the floor or from the sidewall, we do not observe any issues in mouse behaviors such as eating, drinking, grooming, rearing, or nesting.

Thus, we added the following sentence in the Discussions:

In line 588–593,

“In addition, the size of the microdrive (current shielding cone: 4.2×4.0×2.6 cm in major axis×minor axis×height) can be an obstacle to food and water access if they are provided from the top of the animal cage. As long as they are provided on the cage floor of from the sidewall, the microdrive does not disturb natural behaviors of mice, such as eating, drinking, grooming, rearing, or nesting60.”

Added references:

60	Gaskill, B.N., Karas, A.Z., Garner, J.P., & Pritchett-Corning, K.R. Nest building as an indicator of health and welfare in laboratory mice. Journal of visualized experiments. (82), 51012, doi:10.3791/51012 (2013).

In addition, we added the implanted mouse photos during walking and grooming in Figure 4 as described below in 5.

5. Could a photo of a mouse be included that shows the mouse with implant after the recovery period. This may be appreciated as researchers can visualise the impact of the implant size and make a more informed decision as to whether it is appropriate for their research purposes.

Thank you for your suggestion. We have added the photos of the implanted mouse after the recovery period in Figure 4Ca-c. We also added the following sentences to describe these photos:

In the Protocols line 382,

“The implanted mouse after the recovery period is shown in Fig. 4C.”

In the legend of figure 4 line 493–495,

“(C) The chronically implanted mouse after the recovery period, when the mouse is walking (a), grooming (b), and when connected to the recording cable with the counter-balancing pulley system (c).”

Minor Concerns:

1. Use of the word "probe" (line 55) to refer to all recording devices may be confusing as tetrode microdrives are not usually referred to as probes but are one of the categories discussed under "probes". Perhaps use "recording devices" or "electrodes" i.e. tetrodes, silicon probes for clarity.

Thank you. We have replaced the word “probes” to “electrodes” in line 57.

In addition, we modified the sentence in the Introduction line 90–91, “to optimize the selection of the type of electrode/probes” into “to optimize the selection of the type of electrode or to implant an optical fiber”

2. The introduction contains clear and concise motivation behind the design drive but it does not read as well as it could. The flow is interrupted as paragraphs are split inappropriately and there isn't sufficient linking and summarising statements between main points. Can you ensure each paragraph is self contained (start with a sentence introducing your point and end on a summary sentence at the end). Specific examples where this is problematic in the introduction:

a. Paragraphs covering lines 60-78 : the two paragraphs are arguing towards the same point or conclusion. It might flow better if paragraphs are joined or made self contained i.e change the start of the second paragraph (starting at line 69) from "On the other hand" to something like "In contrast to tetrodes, silicon probes…".

b. Similar issue as above at paragraphs 80-87

c. At line 90 could start a new self contained paragraph that summarises points in your introduction.

Thank you very much for your suggestions. We have refined the Introduction as following:

- In line 61-80, we combined the two paragraphs about tetrodes and silicon probes, and added the following summary sentence in the last part of this paragraph.

In line 78–80,
“Thus, the choice of the tetrodes or the silicon probes depends on the aim of the recording: whether the researchers prioritize to obtain the high yield of single-unit or spatial profile at the recording sites”

- In line 87-88, we added the summary sentence of the paragraph:

“Therefore, it is not trivial task to combine the implantable optical fiber to the conventional microdrive arrays.”

- We separated the reviewer’s pointed sentences and combined with the last paragraph of the Introduction (line 90-104). Accordingly, we refined the sentences in this paragraph line 99–100

3. Where three levels of subheadings are used in the instructions, the third level is a bit unclear. I.e. those denoted with 1.1. Could you indent them once more? This might not be necessary and could be my personal preference.

Thank you for your suggestion. We have indented at the third level of the subheadings through the Protocol.

4. At line 267 the numbering jumps from 1. To 4. (2 and 3 are missed out).

Thank you. We have corrected the numbering throughout the Protocol.

5. At line 267, can you comment on whether ointment is clear or opaque that you apply to the eyes of animals?

Thank you for your suggestion. We have added “Apply clear ointment” in the Protocol line 323. In addition, to describe that the mice are protected from surgical light during surgery, we added the following sentence in line 324–325: “Cover the eyes with a piece of foil to protect from strong surgical light exposure.”

We have also added the information of the ointment in the Table of Materials.

6. Time spent to build is often an important consideration for scientists, could you give an approximate time to make the drive by stage? i.e. include a brief timeline/table of how long each drive building step takes. Does not need to be detailed but more of a summary overview of main steps.

Thank you for your suggestion. We added Table 2 for the time line of the microdrive preparation (in total within 4–5 days). To describe about Table 2, we have added the following sentences in the manuscript:

In the Representative Results line 426–427,

“The microdrive array was constructed within 5 days. The timeline of the microdrive preparation is described in Table 2. Using this microdrive, …”

In the legend of Table 2 line 530–532,

“Table 2. The timeline of the microdrive preparation. The 3D-parts printing, waiting for curing the silicone rubber/dental acrylic/epoxy, and loading the tetrode wires take the majority of the time of the microdrive array preparation, in total 4–5 days.”

7. Is it possible to show spikes obtained from the MEC in a similar way to how its shown for the CA1? If not, can you discuss why this is not included in the representative results? Or if I am misunderstanding the figure can you make it clearer where this is shown?

Thank you for your suggestion. We have added the representative result of the MEC spikes in Figure 6C which is referred in the Representative Results line 443. We also added the following sentences:

In the legend of Figure 6 line 516–520,

“(C) Representative spike recording from one of the silicon-probe electrode sites. (a) Two-dimensional cluster projections of spike principal components. (b) Examples of the average spike waveform of three clusters. Spike clusters (pink and green) are separated from the noise clusters (blue). The clusters in (B, C) are calculated using KlustaKwik software.”

Accordingly, we also modified line 521–522 as:

“Black arrows indicate the tetrode shown in (B) and the silicon-probe electrode site shown in (C).”

8. Could you comment under "representative results" whether data shown was gathered in anesthetised or awake animals? If awake, could you describe the behavioural state of the animal during the representative recording, was it still or moving at the time of the recording?

Thank you for pointing the critical comment. We have recorded electrophysiological data from the naturally sleeping mouse without anesthetics. Thus, we added the word “when the mouse was sleeping” in the Representative Results line 444.

In addition, in order to demonstrate that our microdrive is able to achieve the electrophysiological recording from behaving animals, we additionally added Figure 5 (original Figure 5 was moved to Figure 6 in the current version), which represents the results of the recording on the linear track and in the open field.

In the Representative Results line 438–442, we have added

“After the tetrode adjustment, behavioral performance was tested on a linear track (Fig. 5A) and in an open field (Fig. 5B). In both experiments, the mouse explored freely for ~30 min (Fig. 5Aa-c, Ba-c). The electrophysiological signals were successfully recorded without severe motion-related noise throughout the recording session (Fig. 5Ad, Ae, Bd, Be). Next, light stimulation was performed at the MEC to stimulate MEC layer III neurons which project to the CA143…”

We have also added the legend of Figure 5 in line 499–508:

“Figure 5. Examples of the simultaneous tetrode/silicon-probe recording in the hippocampal CA1 and the medial entorhinal cortex (MEC) from the behaving mouse. (A) Recording on the linear track. (a) The linear track used for the recoding. (b) Trajectories of the mouse exploration for ~30 min on the track. (c) Behavioral performance on the linear track. (d-e) Representative LFP recordings from the tetrode (d) and the silicon-probe (e). (B) Recording in the open field. (a) The open field chamber used for the recoding. (b) Trajectories of the mouse exploration for ~30 min in the chamber. (c) Behavioral performance in the open field. (d-e) Representative LFP recordings from the tetrode (d) and the silicon-probe (e). LED is attached to the head amplifier to record the positions of the mouse. The linear track and the open-field chamber are connected with the electrical ground to reduce electrostatic noise.”

9. Aversive stimuli is often used in behavioural experiments to motive the animal i.e. water and food restriction. Do you think the recommended weight of the animal should be reconsidered for behavioural experiments that require food and water restriction? If so could you comment on this in the discussion?

Thank you for your critical comment. We have already successfully conducted T-maze task using the food-restricted mice implanted with the microdrive (4.5 grams) similar to the current manuscript. In our experience, the adequate mouse weight is needed for the fast recovery after the surgery. However, once the mice get used to carry the implanted device, the mice do not show any problems in their behavioral performances even when they are food deprived, probably because the mice have acquired and strengthened the muscles to support the implant on their head.

We have added the following sentence about the previous food-restricted mice experiments:

In Discussion line 576–578,

“The mice implanted with the similar microdrive array weight (~4.5 grams) have previously been shown to perform the behavioral task (linear maze task) even under the food restriction13,17.”

10. The table is very clear and all components listed are easy to understand. One comment that is perhaps my own misunderstanding - under "customized screws for tetrode microdrive" is the "Yamamoto_0000- 160_9mm " a quote they have sent you or design you have sent in for the custom screw? If you think it's necessary a comment here could be useful to clarify.

Thank you for pointing this. The screws are custom-made to accommodate for our design. In the Table of Material, we have added “custom-made to order for our design”.

11. In figure 5 legend, could you comment on the software used to do the spike sorting described in (B) (a).

Thank you for your suggestion. We have added the sentence in figure 6 legend line 519–520: “The clusters in (B, C) are calculated using KlustaKwik software.”.

Other alterations made voluntarily:

Because we had found four minor errors in our manuscripts during the revision, we have corrected the following errors:

- We have corrected the following texts regarding to the isoflurane concentration in line 322, “0.8–3.0% isoflurane” to “0.8–1.5% isoflurane”.

- We have added a reference regarding to the projection from MEC layer III to CA1 in line 430:

43	Suh, J., Rivest, A.J., Nakashiba, T., Tominaga, T., & Tonegawa, S. Entorhinal cortex layer III input to the hippocampus is crucial for temporal association memory. Science. 334 (6061), 1415-1420, doi:10.1126/science.1210125 (2011).

- We have slightly modified the Fig.1Ab (the position of the microdrive screw and wires).

- To increase the visibility, we have added the labels in in Fig. 3Ca, b.