# Response to Reviews:

## We thank the reviewers for their thoughtful and constructive critiques. We have responded to each comment below in blue text; changes in the manuscript are shown highlighted in green.

# Specific Comments:

# Reviewer #1:

## Major Concerns:

### 1) Please describe more accurately what you mean with mesoscale. Is this referring to the number of interactions studied? The intensity of changes able to be detected? The time frame?

#### We agree that the term ‘mesoscale’ lacked clarity as to what it referred to, so we have changed the title to be more descriptive:

##### Quantification of protein interaction network dynamics using multiplexed co-immunoprecipitation.

#### We have also removed ‘mesoscale’ from the summary, which now reads:

##### Quantitative Multiplex Immunoprecipitation (QMI) uses flow cytometry for sensitive detection of differences in the abundance of targeted protein-protein interactions between two samples. QMI can be performed using a small amount of biomaterial, does not require genetically engineered tags, and can be adapted for any previously defined protein interaction network.

### 2) Figure 1 is not referenced in the main text. Please eliminate the figure or reference it where appropriate.

#### We thank the reviewer for catching our oversight and have now referenced Figure 1 in Lines 90, 92, and 126.

### 3) Figure 1B is not adding any value to the manuscript. According to the figure legend, it is supposed to indicate that the flow cytometer is refrigerated, but it is hard to say looking at the picture. The cytometer used by the authors according to the material list (Bioplex 200 System with HTF) does not offer a refrigerated option but it is indicated that it was "modified to keep partially refrigerated". There are no details in the manuscript about the modifications realized. Since the authors highlight (rightfully) that temperature affects protein complexes and keeping samples refrigerated is key to obtain reliable results, this is a major deficiency in the manuscript that should be explained so other groups can reproduce these results. Please explain how the machine was modified.

#### We agree that it is important to include more detail about refrigeration. These details are too extensive to include in this figure, so we have edited the legend of Figure 1 to refer to the newly-added supplemental Figure S1, which provides detailed instructions on how to modify the cytometer.

##### (b) Microspheres are run through a refrigerated flow cytometer to quantify relative amounts of proteins occurring in shared complexes. See Fig S1 for schematic details of custom refrigeration.

##### Figure S1: Diagrams of custom refrigeration of the Bioplex 200 system. The Bioplex200 array reader (the flow cytometer) must be kept at room temperature, but the lower portion (the microplate platform) must be refrigerated to maintain PiSCES during analysis. (a) We purchased a Norlake model SMP-36-15 Sandwich Prep Refrigerator and removed the upper attachments and food storage bins. We placed the Bioplex200 microplate platform on the metal supports meant to hold the plastic food storage bins. We had to remove the plastic housing of the microplate platform to make it fit. We then custom-built a plexiglass platform with measurements shown in (b) to cover the upper opening of the refrigerator. We insulated the plexiglass with ½” foam insulation cut to match the size of the plexiglass, and sealed the gap with insulating tape. We then drilled a hole through the plexiglass to allow the sample needle from the Bioplex200 Assay Reader to access the microplate platform when extended. A black coupling device that was originally screwed into the top of the microplate platform was removed, and screwed back into the microplate platform from above the plexiglass, which aided in alignment. A door in the plexiglass cover allows user access to the microplate carrier when it is extended out of the unit. Note that the Bioplex Manager software will alert the user that the plate carrier is too cold, but the user can override the warning and run cooled QMI experiments. (c) Photograph of the assembled system. (d) Detail of the front right corner, as drawn in (a), showing assembly of plexiglass cover and insulation. (e) Detail of the needle aligned above the holes. (f) Detail of the shaved-down section of insulation that allows airflow under the unit. (g) Detail of the open door showing the Bioplex microplate platform below.

### 3) There is some confusion about which beads the authors are referring to thorough the manuscript. E.g. in section 1.2 (antibody screening by IP-FCM) it is not clear which beads are being used. Are these CML or magnetic beads? Are these a third kind of beads? This is aggravated by the fact that nomenclature is not consistent through the manuscript. E.g. the following terms are used to reference the same beads: Luminex beads, magnetic beads, Magplex beads. Please use consistent nomenclature and try to avoid the generic term "beads" when possible.

#### We thank the reviewer for noting this and have standardized and clarified our nomenclature. We now specify bead type whenever we refer to beads. The generic term ‘beads’ is now only used after bead type is specified within the same step or sentence, as in the examples below.

##### Excerpt from abstract: To run the assay, lysate is mixed with Magplex beads overnight, then the beads are divided and incubated with different probe antibodies, then a fluorophore label, and read by flow cytometry.

##### 1.2.3. Incubate the volume of lysate from 1.2.1 with the volume of each CML bead to be screened from 1.1.3, overnight at 4 °C with rotation to prevent beads from settling.

### 4) Step 2.1.14: It is indicated to keep the antibody solution for troubleshooting, but this is not referenced again in the manuscript and it is not explained which troubleshooting the authors are referring to. Please eliminate this sentence or explain.

#### We have removed this step because we do not believe it is necessary.

### 5) Step 4.1.2.: Please, clarify how to fill the "ANC input" file and what information is requested here.

#### The ANC input file requires the user to input details about Magplex bead class, IP and probe antibody identity, and details of the plate layout. These details are provided in the “Analysis Instructions” document included with the ANC program in the supplemental material, and instructions on how to fill each individual field are commented out in the Matlab program. In addition, the “ANC_input.m” file is pre-populated with the values necessary to run the ANC analysis program using the example data files provided.

### 6) Step 4.1.3.: Define what "Hit" means more accurately at this point. There is an explanation in line 490 that I would move here and expand.

#### We agree that more detail should be given at this point to clarify analysis methods, so in response to this suggestion we have added steps to describe what the program outputs as “hits” and why.

##### 4.1.3. Run the program.

##### 4.1.4. In each experiment, ANC compares the fluorescence distributions of each Magplex bead class in each well (i.e. all possible IP_Probe  combinations) between user-defined control and experimental conditions. It assigns a p-value to each combination that reflects the probability that the beads have been sampled from identical populations based on Kolomogrov-Shmirnov (K-S) statistics. The program then calculates the K-S p-value required to produce a false-positive rate of 0.05 by correcting for multiple comparisons and accounting for technical variability (differences between the technical replicates).  IP_probe combinations (PiSCES) whose  K-S test p-value falls below the calculated cut-off in all four experiments, or at least 3/4 experiments (3/44/4) are identified. Since the p-value cut-offs differ depending on these different levels of stringency, occasionally PiSCES will be identified in 4/4 but not 3/44/4, which is why the separate lists are calculated. For detailed ANC equations, see (Smith et al 2016).

##### 4.1.5 The program writes a .csv file into the active directory. The file reports PiSCES that are significantly different, at a false positive (alpha) level of 0.05, between Control and Experimental conditions, in all 4 experimental replicates, or least 3 replicates. We typically use only the “at least 3 replicates” criteria, represented as 3/44/4 in the file.

### 7) Figure 3: what does the gradient in color means? Does it represent different conditions? Please clarify in the figure legend.

#### We have clarified that in Figure 3 each color represents a different condition.

##### Figure 3. Example plate layout. A 4-condition multiplex is set up in a 96-well plate. Samples are loaded in consecutive rows (each biological sample represented here by a different color), and technical replicates are loaded in the same order in the following rows. One probe is used per column.

### 8) Figure 5: need more information to understand the image. (E.g. What does the thickness and colors of the lines mean? According to the text only significant PPI are included here, so why some boxes have lines while others do not?)

#### We have edited the legend for Figure 5 substantially in order to provide clear information about data visualization and interpretation. It now reads:

##### Figure 5. QMI identifies synaptic PiSCES that change in magnitude following 5 minutes of NMDA stimulation in cultured cortical neurons. A QMI experiment compared NMDA stimulated vs.  unstimulated (ACSF control) neurons. PiSCES that were identified by both ANC and CNA analyses are presented. (a) In a node-edge diagram produced using the open source software Cytoscape, the nodes indicate the antibody targets (proteins) that were included as IPs and probes in the QMI panel. The edges represent ANCCNA PiSCES, with the color and thickness of the edge indicating the direction and magnitude of the fold-change between NMDA treatment and control. PiSCES that did not change between the NMDA and control conditions are not included in the figure. (b) A heatmap produced in R using the Heatmap.2 function represents the same ANCCNA PiSCES. ComBAT-normalized, log2 MFI values are normalized by row to account for data that spans ~3 logs, and the relative MFI for each experimental replicate is show to demonstrate the relative magnitude and consistency of each reported PiSCES. The data and code required to reproduce these figures are included in the supplementary material.

## Minor Concerns:

### 1) The term PiSCES is used in the introduction but never used again in the protocol or the discussion. It looks like it is replaced by PPI later in the paper, but the definition of PiSCES does not look to be the same than PPI. Please clarify this.

#### We thank the reviewer for catching this inconsistency and have now changed all references of QMI measurements to “PiSCES” to indicate that we measure proteins in shared complexes, but not necessarily direct interactions that the term “PPI” implies.

### 2) Are there any flow cytometry apparatus with refrigeration capacity available in the market compatible with this method? If there are, I would recommend the authors to indicate some options.

#### Unfortunately, there are no refrigerated flow cytometers currently on the market, so we have added Figure S1 to give instructions for custom refrigeration of the Bioplex 200 system. (see reviewer 1, response 3)

### 3) Line 187: Wrong step referenced (1.3.2.). Please reference correct step.

#### We corrected this line to reference step 1.1.3.

### 4) Line 188: Is this 96-well plate flat bottom? Will you see a pellet then?

#### We have changed the text to specify that a PCR plate is used in step 1.2.3; in the subsequent centrifugation step we added that a pellet should be visible before and after removing lysate. The pellet is made up of beads and should not be present in a suspension (step 1.2.3), but should be present after spin down (step 1.2.4). We feel that this addition, as well as the instruction in 1.2.3 to rotate the plate in order to prevent beads from settling, provide enough clarity for when there should and should not be a visible pellet.

##### 1.2.3. Incubate the volume of lysate from 1.2.1 with the volume of each CML bead to be screened from 1.1.3, overnight at 4 °C with rotation to prevent beads from settling. Typically, incubations are performed in the first column of a 96-well PCR plate, and capped with PCR tube strip caps.

##### 1.2.4. Spin down CML beads at 3200 x g for 1 min and remove lysate by a single, rapid flicking of the plate over the sink. A tiny white pellet should be visible at the bottom of each well both before and after flicking.

### 5) Lines 197 and 198: 96-well PCR plate is missing from the material list. Figure 2 is referenced in the same step but it is not clear what the connection between figure and text is.

#### We have added a 96-well PCR plate to the materials list, and have clarified the contents of Figure 2 and related the figure to the step as follows:

##### 1.2.6. Distribute each IP across (X+1) wells of a 96-well PCR plate, where X is the number of probe antibodies being screened, using 20 µL/well. Figure 2A shows an example screening setup.

### 6) Line 200: Referenced step does not exist.

#### We have corrected the referenced step to 1.2.4.

### 7) Lines 214 and 220: Add details about the washing conditions (e.g. centrifugation conditions) or reference a previous step.

#### We have changed both steps to reference the previous wash, shown below:

##### 1.2.11. Wash 3x in 200 µL FlyP buffer, for each wash centrifuge and remove lysate as in 1.2.4.

### 8) Line 283: What does EDAC means?

#### We added the full chemical name of EDAC.

##### 2.1.8. Add 25 µL of 50mg/mL freshly dissolved EDAC [1-ethyl-3-(-3-dimethylaminopropyl) carbodiimide hydrochloride, also called EDC] in MES buffer. Vortex.

### 9) Line 300: Please indicate what "wash" means in this context.

#### This usage was redundant, so we removed it.

### 10) Step 3.3.4.: Please add the final volume needed of the antibody solutions.

#### We have changed the step to include the final volume and prevent confusion about which concentration and volume should be prepared.

##### 3.3.4. In a different 96-well plate, dilute biotinylated probe antibodies to 2X working concentration (typically 1:100 or 1:200, empirically determined) in FlyP buffer so that their order matches the columns on the plate layout (see figure 3). Final volume of probe antibodies at the working concentration will be 50 µL per well, so the volume of each 2X antibody prepared should be (25 µL) * (number of biological samples) * (2 technical replicates) * (1.1 for pipetting error)

### 11) Step 3.3.8.: Please add streptavidin-PE information to material list.

#### We added streptavidin-PE to the materials list.

### 12) Line 527: Correct symbol typo between ANC and CNA.

#### We corrected the symbol typo between ANC and CNA.

### 13) Line 536: The acronym PPI is used before describing it.

#### We removed the acronym PPI, and replaced it with PiSCES, which we made sure to define earlier in the text.

# Reviewer #2:  
The presented QMI method is an interesting approach to study the composition of protein complexes in cell lysates. However, in this manuscript the advantages and disadvantages of this method are not clearly enough stated and discussed. Additionally, the presented data are not conclusive and well described. Also, they do not sufficiently support the claimed advantages of the QMI method. Therefore, in its current form the manuscript is not suitable for publication.

## Major Concerns:

### 1)  The authors state that an advantage of this technique over other immunoprecipitation-based methods is that minimal amounts of biomaterials are needed to perform experiments (e.g. line 53). A direct comparison of the method with other PPI detection assays, however, is missing. How would QMI outperform for instance an ELISA in terms of the amount of samples required for analysis?

#### We thank the reviewer for bringing this concern—we had already included specific biomaterial inputs that we’ve used in the past in lines 98-101:

##### QMI assays using 20 IPs and 20 probe targets have been performed using 1-5 x 105 primary T cells isolated from a 4 mm skin biopsy, P2 synaptosomal preparations from a 3 mm coronal section of mouse prefrontal cortex, or 3 x 106 cultured mouse primary cortical neurons14,16,17.

#### and in response to the reviewer’s request we have added a comparison with ELISA (below), which we believe is the most similar assay. Reviewer 3, response 3 contains a description of additional changes that were made regarding biomaterial specifications.

##### Line 96: For example, the amount of starting material used in QMI is similar to what’s required for an Enzyme-Linked ImmunoSorbent Assay (ELISA), but multiple interactions are detected in a single QMI assay.

### 2) Other advantages of the QMI technique should be stated more clearly. For instance, in lines 86-89 it is mentioned that a FRET-based assay is not easily scaled up for network analysis which is not the case. It is true, however, that FRET cannot be directly applied for the detection of PPIs in biological samples and is mainly used for the detection fo binary interactions with genetic methods. The strengths of the QMI assay should be emphasized differently, e.g. similar amounts of sample needed as for ELISA, but multiple proteins detectable at the same time.

#### We thank the reviewer for this critique and suggestion, and in response we have more carefully emphasized the strengths of QMI while trying to avoid pointing out limitations of other techniques. The mention of FRET has been removed completely.

### 3) How do you rule out expression effects? How do you make sure that not detecting a certain protein in a network is not due to fluctuations in protein expression? Do you first quantify the expression of the tested network proteins with RNA-seq or Western blotting?

#### This is a great concern to bring up: Expression effects are an issue, because in QMI we cannot distinguish between increased absolute levels of a protein vs. increased homo-multimerization of a protein. For example, IP_X probe X could increase because the levels of X increase, or because a stimulus has caused X to multimerize such that for each molecule of X that we IP, more probe antibody is bound. We generally try to assure that changes we observe by QMI are not due to differences in protein levels by designing stimulations that do not allow enough time for protein levels to change. Changes in protein expression generally take several minutes, and are typically measured after 1/2 an hour or more. We emphasize timepoints on the order of 5 minutes or less to make it less likely that protein expression levels will change in such a short period of time. However, this does remain a valid limitation of the assay. We now discuss this limitation beginning in Line 638:

##### Expression effects influencing QMI results cannot be ruled out without additional tests, because QMI does not distinguish between increased absolute levels of a protein and increased homo-multimerization of a protein. Additionally, QMI attempts to take a sample of the protein complexes in a lysate rather than fully depleting it (as is typical for other IP methods)23. This means that even if expression levels of a protein are reduced in a sample, that change might not be detected unless it is a dramatic difference, as in knockout conditions16. Differences in the composition of protein complexes affected by a change in expression, however, would be detected by QMI. To minimize uncertainty regarding expression, experiments can be performed using acute treatment conditions with limited timescales that minimize potential changes in protein expression levels. Other methods are needed to rule out expression effects in chronic treatment conditions or primary patient samples.

### 4) In line 117 it is mentioned that any protein interaction network can by studied by QMI. Later, in line 135, it was clarified that any previously defined protein interaction network can be studied by QMI. This particular formulation is essential as only these protein networks can be addressed due to the limitations mentioned in line 541: it is better to use monoclonal or recombinant antibodies. Additionally, you should check for antibody cross-reactivity.

#### In response to this critique, we have made sure to state early on in the manuscript that QMI can work for any defined protein network with appropriate antibodies available.

##### Line 104: QMI can be adapted for any previously defined protein interaction network (provided that antibodies are available),

#### Additionally, we had addressed cross-reactivity in section 1.4 (below) and shown representative results for this screen in Figure 2C:

##### 1.4. Confirmation of Antibody Specificity

##### 1.4.1. To ensure antibody specificity for the intended targets, use a lysate sample in which the target has been knocked out; for example, a knockout mouse or an RNAi cell line. Alternatively, use lysate from a target-negative cell line in which the target protein has been artificially expressed.

##### 1.4.2. Perform IP-FCM as described in 1.2, modifying to fit the experiment.

#### In response this critique we have more explicitly covered antibody specificity in the discussion as well.

##### Line 627: Another limitation of using flow cytometry rather than western blots is that size information to confirm antibody specificity is not available. To overcome this limitation, IgG controls are used in screening each antibody pair, and specificity is confirmed with knock-out or knock-in cell lines or animals before proceeding with QMI experiments (section 1.4).

### 5) In line 137 the statement was made that QMI is useful to study protein networks in their native state. However, the fact has to be considered that due to cell lysis and the loss of transient/weak interactions only a near-native state is reached. A protein-protein interaction or a protein complex that was precipitated from a lysate is not necessarily in a native state.

#### The reviewer correctly points out that QMI is a post-lysis assay, and like any other post-lysis analysis of protein interactions, one can only measure protein interactions that survive the lysis process. The use of detergents is a critical factor in determining which protein interactions survive lysis, and is extensively discussed in the manuscript, and in our pre-print paper, currently in review elsewhere (Lautz et al, 2019 BioARXIV). Both of these caveats, shared by any assay that measures post-lysis protein interactions, are discussed in the manuscript.

### 6) What is the composition of your basis lysis buffer? It is critical for the application of this method that lysis buffers and detergents are defined What about weaker protein-protein interactions? Have you tested for cell lysis conditions that enable the detection of such interactions (e.g., a kinase and a substrate)?

#### We thank the reviewer for catching this omission and have added our basic lysis buffer recipe to Step 1.5.2:

##### Standard lysis buffer includes 150 mM NaCl, 50 mM Tris (pH 7.4), 10 mM sodium fluoride (Sigma, 201154), 2 mM sodium orthovanadate (Sigma, 450243), and protease/phosphatase inhibitor cocktails (Sigma, P8340/P5726).

#### We have also added references to previous publications that document the detection of weaker protein interactions as suggested (below). See reviewer 3, response 4 for expanded discussion of the lysis buffer in the protocol.

##### Line 670: When appropriate lysis buffers are selected, changes in even weak interactions—such as those between a kinase and substrate—can be reliably detected (e.g. TCR-LCK)14.

### 7) It was stated that this method can detect changes in protein complex compositions. However, a convincing proof-of-concept experiment to support this statement is missing. For instance, it would be important to demonstrate that a disruption of a protein-protein interaction with a compound can be quantified with this method.

#### Since this manuscript focuses on detailed methods for performing QMI, we feel that providing a proof-of-concept experiment is beyond the scope of this manuscript. However, we provide references to 7 years worth of publication that have each demonstrated QMI’s ability to detect changes in protein composition in several experimental systems. See excerpts from our References section below:

##### 10	Schrum, A. G. & Gil, D. Robustness and Specificity in Signal Transduction via Physiologic Protein Interaction Networks. Clin Exp Pharmacol. 2 (3), S3.001, doi:10.4172/2161-1459.S3-001, (2012).

##### 14	Smith, S. E. et al. Multiplex matrix network analysis of protein complexes in the human TCR signalosome. Sci Signal. 9 (439), rs7, doi:10.1126/scisignal.aad7279, (2016).

##### 15	Schrum, A. G. et al. High-sensitivity detection and quantitative analysis of native protein-protein interactions and multiprotein complexes by flow cytometry. Sci STKE. 2007 (389), pl2, doi:10.1126/stke.3892007pl2, (2007).

##### 16	Brown, E. A. et al. Clustering the autisms using glutamate synapse protein interaction networks from cortical and hippocampal tissue of seven mouse models. Molecular Autism. 9 (1), 48, doi:doi:10.1186/s13229-018-0229-1, (2018).

##### 17	Lautz, J. D., Brown, E. A., Williams VanSchoiack, A. A. & Smith, S. E. P. Synaptic activity induces input-specific rearrangements in a targeted synaptic protein interaction network. J Neurochem. 146 (5), 540-559, doi:10.1111/jnc.14466, (2018).

##### 18	Smith, S. E. et al. Signalling protein complexes isolated from primary human skin-resident T cells can be analysed by Multiplex IP-FCM. Exp Dermatol. 23 (4), 272-273, doi:10.1111/exd.12362, (2014).

##### 19	Neier, S. C. et al. The early proximal αβ TCR signalosome specifies thymic selection outcome through a quantitative protein interaction network. Sci Immunol. 4 (32), doi:10.1126/sciimmunol.aal2201, (2019).

##### 21	Smith, S. E. et al. IP-FCM measures physiologic protein-protein interactions modulated by signal transduction and small-molecule drug inhibition. PLoS One. 7 (9), e45722, doi:10.1371/journal.pone.0045722, (2012).

##### 22	Schrum, A. G., Gil, D., Turka, L. A. & Palmer, E. Physical and functional bivalency observed among TCR/CD3 complexes isolated from primary T cells. J Immunol. 187 (2), 870-878, doi:10.4049/jimmunol.1100538, (2011).

### 8) In lines 231-222 you comment on the selection of antibodies. How many runs of antibody testing with QMI can be performed with the biosample until it is depleted?

#### We do not screen antibodies on limited biosamples; rather we use wildtype mouse tissue, cell lines, or normal human donor tissue that is not a limiting resource. Then, once the panel is generated and validated, we use more limited resources. We thank the reviewer for pointing out the lack of clarity and have added a step in the manuscript to reflect this:

##### 1.2.1. Decide on an appropriate screening lysate. For this and all other pre-QMI screening steps (anything included in this section 1: Assay Design), biosamples with limited availability should not be used. Instead, choose a comparable control material such as wildtype mouse tissue, cell lines, or normal human donor tissue that is not a limiting resource.

### 9) In section 1.4 it was suggested to test for antibody specificity ideally with samples from a knock-out mouse or cell line. In many cases no such models are available or there is no certainty that you see the same antibody specificity in your biological sample. Do you alternatively analyze your samples with Western blots and test different antibody concentrations?

#### We thank the reviewer for this well-founded concern. Unfortunately, western blotting is not a useful way to confirm antibody specificity for IP-flow cytometry because denatured proteins are used for western blots, while proteins in their native conformations are used for IP-FCM; antibody recognition and specificity are often not conserved between techniques. We have clarified this in the Discussion, line 642:

##### Another limitation of using flow cytometry rather than western blots is that size information to confirm antibody specificity is not available. To overcome this limitation, IgG controls are used in screening each antibody pair, and specificity is confirmed with knock-out or knock-in cell lines or animals before proceeding with QMI experiments (section 1.4).

#### Further, we had written that RNAi or artificial expression in target-negative cell lines could be used to confirm specificity. These may be more accessible ways for labs to confirm specificity, but overall it is an unavoidable challenge.

##### 1.4.1. To ensure antibody specificity for the intended targets, use a lysate sample in which the target has been knocked out; for example, a knockout mouse or an RNAi cell line. Alternatively, use lysate from a target-negative cell line in which the target protein has been artificially expressed.

#### If unexpected, non-specific noise is present in a biological sample of interest; using an appropriate control should be sufficient to keep this noise from appearing as a ‘hit’ since QMI is only to be used for measuring changes in PiSCES, and there should not be statistically significant differences in noise levels between comparable samples.

### 10) In Figure 1A a scheme illustrating the different steps of the QMI assay is missing. In general, it does not become immediately clear from the text how the technique works. Are beads linked with different antibodies or are different beads mixed prior to immunoprecipitation in the same well? The current description of the method in my view is confusing.

#### Each bead class is first linked with a different antibody, and then mixed immediately prior to immunoprecipitation. We have added more detail in Figure 1A-C (right) to better briefly illustrate the steps of QMI.

### 11) In Figure 2B it is not clear where the detection threshold lays. Furthermore, the formulation in lines 510-511 "probe shows some positive signal" is not scientific. In what range related to the background is the signal you measure? In line 512, it was stated that using the same antibody for both bead and probe is not ideal. Why? Is this not a necessary control to confirm the presence of the target protein in the input?

#### We have added the following text to the Antibody Screening section of Representative results, which includes the MFI range difference to look for.

##### Figure 2B shows the results of a screen for the protein Connexin36.  Most IP_probe combinations produce no signal over IgG controls. IP with the monoclonal antibody 1E5 and probe with either 1E5 or the polyclonal antibody 6200 produces a rightward shift in the bead distribution compared to IgG controls. Here, we selected IP 1E5 probe 6200poly, because we avoid using the same antibody as IP and probe, both to reduce the probability of a non-specific protein being recognized by two independent antibodies, and to increase the chance of detecting co-associations using different epitopes. It is best to choose an IP_probe combination with at least 1-2 log higher MFI compared to IgG controls, but occasionally pairs producing weaker MFIs that are consistently distinguishable from controls may be used if no alternatives are identified.

#### Line 512 references Figure 2, which shows a screen of different antibody clones that each recognize the protein Connexin36. Using one Connexin36 antibody clone for immunoprecipitation and another as a probe, we are indeed able to detect this target protein. However, as stated previously, QMI detects changes in protein interactions, not their absolute presence or absence due to the challenges defining background noise, now addressed in the Discussion beginning at line 639:

##### To account for this limitation of not knowing the absolute MFI signal, we do not report PiSCES that we detect above a arbitrary background level. Instead, we report PiSCES that change in response to a given stimulation. While high MFI can be caused by nonspecific noise, this noise would not be expected to change with stimulation, while actual PiSCES will. In addition, we typically confirm a portion (10-20%) of activity-dependent interactions that we observe by a second method, typically IP-western. This confirmation is analogous to confirming high-throughput RNA sequencing results with RT-PCR and is meant to increase confidence QMI results.

#### In the Representative Results section referenced by the reviewer, we have expanded the description of why different antibodies should be used:

##### Here, we selected IP 1E5 probe 6200poly, because we avoid using the same antibody as IP and probe, both to reduce the probability of a non-specific protein being recognized by two independent antibodies, and to increase the chance of detecting co-associations using different epitopes.

#### Similarly, we have added the following sentence to the legend for Figure 2.

##### Differential epitope recognition maximizes the chances of observing interactions because some epitopes may be occluded in certain protein complexes.

### 12) A general remark concerning all presented figures: They are all of low graphic quality which makes it difficult to understand the message; the axes labelling must be improved.

#### We apologize for the low graphic quality of the figures; we believe this is an artifact of the PDFs given for review, and we have double-checked that the graphics in our submission materials are up to JoVE’s standards.

### 13) In the discussion, in lines 548-552, two points are made. On the one hand epitope availability is mentioned as a limitation "that is common with other protein interaction methodologies". This is true only for antibody-based techniques. On the other hand, you comment on the issue of not distinguishing between direct or indirect interactions. Based on this fact, it would be useful to mention early on that with the QMI method protein complex compositions rather than direct interactions are detected.

#### We thank the reviewer for pointing out that we did not make the nature of QMI-detectable protein interactions clear until later in the manuscript. In response to this critique and others, we have updated the manuscript to consistently use the more accurate term Protein Interactions in Shared Complexes detected by Exposed Surface epitopes (PiSCES), which clarifies from the beginning of the manuscript that the protein interactions measured by QMI are those in shared complexes.

### 14) A summary of the results presented in Figure 5 is missing in the text. What is the outcome of this experiment? Does this experiment represent a proof of concept study? If yes, it should be clearly emphasized.

#### Figure 5 is discussed in the Representative Results section (below). It is used as an example of output visualization after data analysis, which we believe is clear because it is referenced under the heading “Data Presentation.”

##### Data Presentation. ANC and CNA analyses are performed to identify PiSCES that both (1) show significant fold changes between experimental conditions in at least 3/4 of runs and (2) belong to a CNA module that is correlated with the experimental variable. We refer to these high-confidence PiSCES that are identified two independent statistical approaches as ANCCNA PiSCES. These interactions can be visualized as a node-edge diagram using the open-source software Cytoscape (Figure 5a) or as a heatmap by using the R code and analysis instructions included in the supplementary material (Figure 5b).

### 15) Even though mass spectrometry is mentioned as an alternative approach (line 90), it was not made clear why mass spectrometry approaches to study protein-protein interaction complexes are less sensitive compared to QMI.

#### We thank the reviewer for this critique, and in response we have more carefully emphasized the strengths of QMI while trying to avoid pointing out limitations of other techniques. The mention of mass spectrometry has been removed completely.

### 16) A clear limitation of QMI is that the applied antibodies might disrupt or stabilize protein complexes. This may introduce a bias, which should be discussed in this paper.

#### We thank the reviewer for this note and have added it to our discussion:

##### Line 619: A limitation of all antibody-based methods that should be kept in mind is that the addition of antibodies may disrupt or stabilize protein complexes.

# Reviewer #3:

## Major Concerns:

### 1) The manuscript's tittle is overly complicated and does not inform of the content. In particular, the use of term 'at mesoscale', normally referring to 100nm to 10μm cellular substructures, is rather misleading as the mesoscale aspect of the method is in no way highlighted in the manuscript.

#### We have changed the title (below) to be more informative and removed the term ‘mesoscale.’

##### Quantification of protein interaction network dynamics using multiplexed co-immunoprecipitation.

### 2) Even though the methods is useful and should be made accessible for the scientific community, I found the current flow of both the protocol itself and the abstract rather difficult to follow. This is mostly because of lack clear distinction between the antibody-testing step and the actual QMI measurement of protein interaction. In fact, the purpose of this first antibody-testing section is only properly explained at the very end of the manuscript, in the discussion. The authors should consider revising the order of the manuscript or endeavour to make the aim of each step clearer, to make it easier to follow.

#### We appreciate the reviewer’s feedback that the flow of both the protocol and abstract were difficult to follow, and especially their guidance as to why. In response to this critique we have made changes to the abstract which include the following overview of what to expect in the protocol, placed after we describe the basic principles of a QMI assay and its applications and advantages:

##### This protocol includes instructions to perform QMI from initial antibody panel selection through to running assays and analyzing data. Initial assembly of a QMI assay involves screening antibodies to generate a panel, and empirically determining an appropriate lysis buffer. The subsequent reagent preparation includes covalently coupling immunoprecipitation antibodies to Magplex beads, and biotinylating probe antibodies so they can be labeled by a streptavidin-conjugated fluorophore. To run the assay, lysate is mixed with Magplex beads overnight, then the beads are divided and incubated with different probe antibodies, then a fluorophore label, and read by flow cytometry. Two statistical tests are performed to identify PiSCES that differ significantly between experimental conditions, and results are visualized using heatmaps or node-edge diagrams.

#### Similarly, we have added a paragraph at the end of the introduction to orient readers for what to expect in the protocol section:

##### To assemble a QMI antibody panel, initial antibody screening and selection protocols are described in Section 1, below. Once antibody panels are identified, protocols for conjugation of the selected antibodies to Magplex beads for immunoprecipitation (IP), and for biotinylation of the selected probe antibodies, are described in Section 2. The protocol for running the QMI assay on cell or tissue lysates is described in Section 3. Finally, since a single experiment can generate ~5 x 105 individual datapoints, instructions and computer codes to assist in data processing, analysis, and visualization are provided in Section 4.

#### We believe that the order of the protocol: (1) Assay Design, (2) Multiplex Reagent Preparation, (3) Quantitative Multiplex Immunoprecipitation, and (4) Data Analysis should be left as is to reflect the order in which these steps are performed.

### 3) Moreover, a better idea of the minimal requirement of biological material necessary for the successful execution of the QMI protocol would be critical for scientist to make a decision whether the approach could be useful in their research. It would also allow to better compare the method with regular co-IP. The authors claim that the comparison with regard to input requirement is favourable for QMI (line 52), but it is impossible to judge this statement without any information on actual inputs used. Authors could refer to their own data here, and state the lowest cell numbers/protein concentration per a single well/IP that produced a clear signal.

#### Specific protein concentrations and cell numbers needed will vary depending on starting material, proteins of interest (since protein abundance varies over several orders of magnitude, even in a simple cell type such as yeast), and antibody affinity. We hope that our examples of biomaterials used in publications (detailed in lines 96-101) will be sufficient to give users a starting point, but input requirements must be empirically determined by users. To clarify this we have added a suggested starting point for users in Step 3.2.1., but stressed the need for empirical determination.

##### 3.2.1. Lyse tissue or cells in appropriate detergent with protease and phosphatase inhibitors and incubate on ice for 15 minutes. Take care to keep the lysate cold at all times. The exact quantity of starting biomaterial and lysate protein concentration must be empirically determined, and some examples of previously used samples are listed in the third paragraph of the introduction. In general, 200 µL of 2 mg/mL protein have been successful in the past for 20 IP and 20 probe targets, but ideal inputs for each antibody panel and cell or tissue type must be determined empirically.

### 4) Similarly, to make the protocol more accessible for new users in the field, some examples of lysis buffer that could serve as starting conditions for optimisation should be provided. This is important as the authors themselves state that appropriate lysis buffer is critical (line 554). It would therefore be extremely useful to give composition of lysis buffers that were successfully used in QMI experiments as well as provide a list of detergents compatible with the assay.

#### We have added our standard lysis buffer composition and detergents known to be compatible with QMI in the following step:

##### 1.5.2 Using the non-fluorescent, antibody-conjugated CML beads made for initial screens, perform IP-FCM as described in 1.2 using varied lysis buffer detergent conditions. Standard lysis buffer includes 150 mM NaCl, 50 mM Tris (pH 7.4), 10 mM sodium fluoride (Sigma, 201154), 2 mM sodium orthovanadate (Sigma, 450243), and protease/phosphatase inhibitor cocktails (Sigma, P8340/P5726). Detergents compatible with QMI include 1% NP-40, 1% Digitonin, 0.1-1% Triton X-100, and 0.5-1% deoxycholate. Detergent screens can be performed with detergent as the only variable, or with different cell conditions for each detergent. Always use IgG controls for both beads and probes, since detergents occasionally produce unexpected background in some IP-Probe combinations.

### 5) In general, more in-depth discussion of the differences in lysis buffer and input requirements between classical IP and QMI would be essential for the fellow scientists to be able to judge the applicability and potential advantages of using QMI over other methods in their research.

#### Lysis buffers compatible with standard IP are also compatible with QMI. The complication arises from the need to optimize the detection of multiple interactions in a single lysis buffer, where each interaction has different optimal conditions (as opposed to optimizing for one interaction in a traditional IP-western experiment). We understand that this presents an overall problem to the field, and have recently uploaded a manuscript to BioRXiv detailing our lab’s attempts to deal with this issue {Lautz, 2019, Activity-dependent changes in synaptic protein complex composition are consistent in different detergents despite differential solubility}. Based on these data we feel confident, however, that detergents are not altering the changes detected by QMI, merely its aptitude for detecting them.

#### Another major difference between bead-based IP and IP-western is that in the latter, one is trying to pull out as much protein from as a sample as possible, while in the former, one is trying to sample protein without changing the overall protein concentration of the lysate to achieve quantitation (see Bida  Methods 2012). Some of the discussion we have included about lysis buffer and input requirements is written below:

##### Line 94: The sensitivity of QMI depends on the protein concentration of the lysate relative to the number of Magplex beads used for immunoprecipitation, and achieving a resolution to detect 10% fold changes requires only a small amount of starting material compared to other co-IP methods14,15. For example, the amount of starting material used in QMI is similar to what’s required for a sandwich Enzyme-Linked ImmunoSorbent Assay (ELISA), but multiple interactions are detected in a single QMI assay.  QMI assays using 20 IPs and 20 probe targets have been performed using 1-5 x 105 primary T cells isolated from a 4 mm skin biopsy, P2 synaptosomal preparations from a 3 mm coronal section of mouse prefrontal cortex, or 3 x 106 cultured mouse primary cortical neurons14,16,17.

##### Line 658: It is vital to select an appropriate lysis buffer for QMI. Too weak of a detergent can leave membranes intact and hold together proteins that aren’t in complex, while too strong of a detergent can destroy protein complexes. Additional factors such as the presence of calcium or its chelators can dramatically affect PiSCES and should be carefully considered before screening antibodies to include in a QMI panel. For IP-western experiments, lysis conditions are usually optimized for each PiSCES on a case-by-case basis, but the best conditions for detecting a single PiSCES may not translate to other PiSCES in the same protein network22. Detergent selection presents a chicken-and-egg dilemma, in that a lysis buffer is needed to screen antibody candidates, but a panel of antibodies is needed to screen for an appropriate lysis buffer. While not a perfect solution, we suggest selecting a small panel of beads and probes that are of particular interest and/or have known associations or dissociations in response to a stimulus, and testing their behavior under different lysis conditions on the CML beads initially used for screening antibodies (step 1.1.3). An ideal detergent should allow for both reliable detection of PiSCES and recapitulation of known physiological protein behavior (association/dissociation) with a given stimulus. If there is any concern that a detergent does not fully solubilize membranes, a negative control antibody can be added that would only give signal if two proteins were linked by membrane.24 When appropriate lysis buffers are selected, changes in even weak interactions—such as those between a kinase and substrate—can be reliably detected (e.g. TCR-LCK)14.

#### The above responses 3 and 4 to this reviewer incude additions to the text which are also relevant here.

### 6) The authors underline the important of the samples being kept cool at all times. In particular, they emphasize that the flow cytometer needs to be refrigerated, which they achieved by custom adaptation. Some description of how it was achieved/advice would be very useful for researchers, who want to reproduce the setup in their own laboratories.

#### We thank the reviewer for pointing out the need for a description of our custom refrigeration, and in response we have added Figure S1, which contains detailed instructions and diagrams (see reviewer 1, response 3).

### 7) In addition, even a brief description of the antibody coupling to CML beads, instead of simply referring to another paper (line 158) would vastly improve the protocol.

#### There are two reasons we choose not include these steps in our (already lengthy) paper. 1) The referenced protocol is on JoVE, so a reader accessing this paper can easily access that one as well. 2) The CML bead coupling is very similar to Magplex bead coupling and would be repetitive. However, it also contains several critical, sensitive steps that the Davis protocol carefully addresses, but that we would have difficulty addressing in a brief description. Therefore we believe that referencing the protocol is a better approach.

## Minor Concerns:

### 1) Lines 161 and 308: please state how long are the respective beads stable at 4 deg C.

#### We have added the following information at the appropriate steps:

##### Beads have been stored for over a year and used successfully in QMI assays, but shelf life or expiration dates have not been formally established. NaN3 in the B/S buffer should prevent bacterial growth.

### 2) Line 176: "Calculate your IP volume". Not immediately clear if this refers to single IP or the total volume. Please clarify

#### We have clarified the calculation needed for this step.

##### 1.2.1. Calculate the total volume of lysate to be used for each IP, using 10 µL for each IP-probe combination to be screened. If you are screening X probe antibodies and using one IgG control, each IP will use (X+1) * (10 µL)  * (1.1 for pipetting error); X+1 is to account for the required IgG probe control. For example, in a 3x3 antibody screen, each IP should use 44ul.

### 3) Line 184: How was 0.66 µl of bead stock calculated? Is the concentration assumed to be 108/ml? Please clarify.

#### We have clarified that 0.66 µL is given as an estimate based on what typically results from our CML bead coupling, but indicated that users should be quantifying their own beads before use.

##### 1.2.2. Calculate the your CML bead number to be used. If you are screening X probe antibodies, use [(X+1) * 5x104 beads]. Ideally, 5,000 beads per well will result in >2,000 beads per well being read by the flow cytometer. For example, in a 3x3 antibody screen, each IP should use 20,000 beads, which is approximately 0.66 µL of prepared CML bead stock from 1.1.3 (beads should first be quantified using a hemocytometer to ensure accuracy).

### 4) Line 198: Figure 2A? Please specify the panel.

#### We have specified that this refers to panel 2A.

### 5) Lines 204-206: Not clear how or why this calculation is made. Could you please clarify? Also, please provide the dilution range.

#### The step has been modified as follows for clarity:

##### 1.2.8. For each biotinylated antibody to be screened, calculate the total volume as (Y+1) * 1.1 * 50 µL, where Y is the number of IP antibodies being screened and 50 µL is the final volume per well. Dilute antibody to a working concentration in this volume of FlyP buffer, typically using a 1:100 dilution of a 0.5mg/ml stock.

### 6) Line 229: Figure 2B? Please specify the panel.

#### We have specified that this refers to Figure 2B.

### 7) Line 232: Figure 2C? Please specify the panel.

#### We have specified that this refers to Figure 2B.

### 8) Line 389: 1:100 - does this refer to the 2x or the final dilution? Please specify.

#### We have clarified this in the step:

##### 3.3.4. In a different 96-well plate, dilute biotinylated probe antibodies to 2X working concentration (working concentration is typically 1:100 or 1:200, empirically determined)

### 9) Lines 510, 511 and 513: IE-5H5 is not labelled in the figure. Please correct the labelling or provide the explanation in the legend.

#### We have corrected to 1E5 in the legend.

### 10) Line 511: UW label is not present in the figure 2 at all. Please correct the labelling.

#### We have corrected this to 6200Poly in the legend.

### 11) Lines 527-530: Figure 5 legend is very short and not informative. Please provide more details, including the meaning of the colour and linewidth of the edges for panel A.

#### We have changed the legend for Figure 5 to be more descriptive, shown in reviewer 1, response 8.

### 12) Figure 5: Some of the nodes in panel A are different and are partially missing the enclosing line. Is this meaningful? If yes, please explain, otherwise please correct.

#### This difference was an error and has now been corrected.

### 13) Materials: Please provide the source of Streptavidin-PE.

#### We have added Streptavidin-PE to the materials list.