# Submission ID #: 60045

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18313773

Title: Single-Molecule Förster Resonance Energy Transfer Methods for Real-Time Investigation of the Holliday Junction Resolution by GEN1

Authors and Affiliations:  Mohamed A. Sobhy*, Amer Bralić*, Vlad-Stefan Raducanu, Muhammad Tehseen, Yujing Ouyang, Masateru Takahashi, Fahad Rashid, Manal S. Zaher, and Samir M. Hamdan*

*These authors contributed equally to the work

Laboratory of DNA Replication and Recombination, Biological and Environmental Sciences and Engineering Division (BESE), King Abdullah University of Science and Technology (KAUST)

# Corresponding Author:

Samir M. Hamdan

samir.hamdan@kaust.edu.sa

# Mohamed A. Sobhy

# mohamed.sobhy@kaust.edu.sa

Email addresses for Co-authors:

amer.bralic@kaust.edu.sa

vladstefan.raducanu@kaust.edu.sa

muhammad.tehseen@kaust.edu.sa

yujing.ouyang@kaust.edu.sa

masateru.takahashi@kaust.edu.sa

fahad.rashid@kaust.edu.sa

manal.zaher@kaust.edu.sa

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

3. Which steps from the protocol section below are the most important for viewers to see?

n/a

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.14. Synchronizing the start of imaging with the entrance time of the protein into the flow cell. To ensure success, we determine the protein entrance by determining the dead volume and adjusting the flow rate.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Samir Hamdan: This protocol enables us to monitor the interaction dynamics and resolution of the Holliday junction by Gap-endonuclease1 at the single-molecule level and in other enzymatic systems [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Mohamed Sobhy: In bulk, ensemble averaging throughout the molecular population obscures the underlying individual mechanistic steps and their rates. Single-molecule methods provide these details by monitoring the real-time behavior of individual molecules [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Amer Bralić: Single-molecule methods can efficiently detect biomolecular interactions in the pico and nanomolar range with high specificity, which is handy for many practical solutions in diagnostics, genome sequencing, and sensing [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Samir Hamdan: Optical and force measuring single-molecule methods are widely applied in physics, chemistry and biology, and proven to provide novel observations that are inaccessible by other methods [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Amer Bralić: My advice to first-time users is to closely follow the detailed steps laid out in this protocol [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

  - Mohamed Sobhy: Visual demonstration of the hands-on procedures of this protocol will aid in a successful implementation of the technique [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- Flow Cell Preparation

  - To prepare a single-channel flow cell, begin by drilling two, 1.22-millimeter-diameter holes in the middle part of a 50- x 20-millimeter quartz slide [1] with the centers 37 millimeters apart and 6.5 millimeters from the edge of the slide [2].

    - WIDE: Talent drilling quartz

    - Shot of drilled quartz Video Editor: please emphasize 37- and 6.5-mm distances when mentioned as possible

  - Use an electronic cutter to cut a 41- x 2.25-millimeter channel into a 50- x 20-millimeter piece of a double-adhesive sheet [1] and peel off the plastic side of the protective cover [2].

    - Channel being cut

    - Talent peeling off plastic

  - Align the edges of the piece with the edges of the quartz slide [1] and use a pair of polytetrafluoroethylene tweezers to gently remove any trapped air bubbles [2].

    - Piece being aligned with slide

    - Bubble(s) being pressed

  - Peel off the paper side of the adhesive piece [1] and mount the piece onto the functionalized surface of a coverslip [2].

    - Paper being peeled

    - Piece being mounted onto coverslip

  - Next, cut one piece of polyethylene tubing with an internal diameter of 1.22 millimeters to an 11-centimeter length for the inlet [1] and one piece of tubing to 25 centimeters for the outlet [2].

    - Talent cutting tube

    - 25-cm piece of tube being placed on bench under 11-cm piece of tube

  - Then insert the tubes into the previously drilled holes as the inlet and outlet tubes for the flow cell [1] and use 5-minute epoxy glue to seal the edges of the quartz-coverslip interface and the inlet and outlet tubes [2].

    - Tube(s) being inserted

    - Glue being applied

  - When the cell has dried, use a 1-milliliter syringe to flush 0.2-micrometer-filtered 0.03-milligram/milliliter concentration avidin in PBS into the cell [1], using a second syringe filled with buffer alone to wash out any excess avidin at the end of the perfusion [2-TXT].

    - Cell being flushed, with avidin container visible in frame

    - Talent flushing cell, with PBS container visible in frame TEXT: Caution: Avoid bubbles when exchanging syringes

- Single-Molecule Förster Resonance Energy Transfer (smFRET) Experiments

  - To perform a single-color FRET (fret) experiment, first apply one drop of immersion oil onto a 100x total internal reflection fluorescence objective [1] and set the on-chip multiplication of photoelectrons to a suitable gain to optimize the signal to the background and to prevent saturation [2].

    - WIDE: Talent applying drop to objective

    - Talent setting EM gain Author NOTE: The gain is shown in Screenshot 3.1.2.

  - Carefully place the flow cell onto the sample holder [1] and use coarse adjustment to gradually raise the objective until the oil touches the coverslip [2].

    - Flow cell being placed onto holder

    - Objective being raised

  - Turn on the 532-nanometer laser [1] and switch to fine adjustment mode of the objective [2].

    - Talent turning on laser

    - Talent switching to fine adjustment

  - Direct the emission to the camera port to observe the image on the monitor [1] and adjust the height of the objective until the functionalized surface of the coverslip is brought into focus and can be observed on the monitor [2].

    - Talent switching to camera port, with monitor visible in frame

    - Talent adjusting objective, with monitor visible in frame

  - Check that the background from the functionalized surface of the coverslips does not exceed few spots before flowing in the fluorescently labeled HJ (H-J) [1-TXT].

    - SCREEN: To be provided by Authors: screenshot 10 TEXT: HJ: Holliday junction

  - When the system is ready, add 0.2-0.5 microliters of the diluted substrate of interest into 120 microliters of imaging buffer with oxygen scavenging system into a 0.5 milliliter tube [1-TXT] and connect the outlet of the slow cell to a syringe pump [2].

    - Talent adding substrate to tube, with substrate and buffer containers visible in frame TEXT: See text for all solution preparation details

    - Outlet tube being connected to pump

  - Insert the inlet tube into the 1.5-milliliter tube [1] and start the syringe pump at a 30-50 microliter/minute to withdraw the solution from the tube [2].

    - Tube being placed into tube

    - Syringe pump being started/solution being aspirated into tube

  - Frequently image the surface briefly with the green laser to confirm a good coverage of the cell with 100-300 particles of homogenously distributed, well-spaced substrate [1-TXT].

    - SCREEN: To be provided by Authors: screen shot 11 TEXT: Wait 1-2 min for fluorescently-labeled HJ to settle onto surface or repeat perfusion as necessary

  - If the flow cell surface is adequately covered, flush another 120 microliters of imaging buffer at 30-50 microliters/minute to wash away any unbound HJ [1] and allow the flow cell to sit for 5 minutes to allow the oxygen scavenging system to deplete the dissolved oxygen [2-TXT].

    - Cell being flushed

    - Talent setting timer, with setup visible in frame TEXT: Fluorophore photobleaching should be minimal at start of imaging.  Author NOTE: This step was replaced with ‘Screenshot 3.9.2.’

  - Set the exposure time to approximately 60 milliseconds. The cycle time will be automatically set by the software based on the speed of data transfer [1].

    - SCREEN: To be provided by Authors: screen shot 12

  - Specify the desired number of cycles or frames to approximately 400. The emission from the donor and acceptor fluorophores are split into two color channels by an image splitter device [1].

    - SCREEN: To be provided by Authors: screen shot 13

  - Select a suitable area on the surface, adjust the height of the objective to focus the image, and record and save the movie in 16-bit TIFF format [1].

    - SCREEN: To be provided by Authors: screen shot 14

  - Then move to a new area [1-TXT].

    - SCREEN: To be provided by Authors: screen shot 15 TEXT: Move in single direction to avoid imaging same area twice

  - Flush the cell with 120 microliters of imaging buffer supplemented with the indicated concentrations of GEN1 (gen-one) at a 30 microliters/minute flow rate one concentration at a time [1-TXT].

    - Solution being added to cell TEXT: i.e., 1, 2, 5, 10, 25, 50, 75, and 100 nM gap endonuclease 1 (GEN1)

  - In the resolution of the HJ cleavage experiment, adjust the flowrate to 110 microliters/minute and start the recording 5-10 seconds before the entrance of the enzyme into the flow cell [2].

    - SCREEN: To be provided by Authors: screen shot 16

  - Mohamed Sobhy:  Synchronizing the imaging to start 5-10 seconds before the entrance of the enzyme into the flow cell will maximize the number of events [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - When all of the concentrations have been tested, use a fixed fluorescent bead slide to map the donor and acceptor particles to each other in the image splitting device [1].

    - Talent adding slide to sample holder

- Sm-FRET Data Analysis

  - After installing the appropriate software package, to generate a transformation matrix, open the recorded beads slide movie [1] and select the positions of the individual beads in the donor and acceptor channels [2].

    - WIDE: Talent at computer, opening movie(s)

    - SCREEN: Screenshot_1: 01:46 – 01:56

  - When the matrix has been generated from the fixed-bead slide, click Load TForm and select the transformation matrix file [2].

    - SCREEN: Screenshot_3: 0:14-00:24

  - In the Channel filter dropdown menu, click the D&AA (D and A-A) option to select for particles labeled with both the donor and acceptor [1].

    - SCREEN: Screenshot_3: 01:04 - 01:11

  - Then enter plot Time trace CW as instructed in the manual to generate the time-traces for each molecule [1].

    - SCREEN: Screenshot_5: 00:04 – 00:30 Video Editor: can speed up/cut time between 00:04 and 00:30

- Two-Color Alternating Excitation (ALEX) FRET Experiment and Analysis

  - To perform an ALEX (alex) FRET experiment, record one 80-millisecond movie composed of consecutive frames of donor and acceptor emissions by direct excitations with the green and red lasers [1].

    - WIDE: Talent recording movie, with monitor visible in frame

  - Open the acquired ALEX movies and set the suitable detection threshold at approximately 300 for each of the donor emission due to donor excitation, acceptor emission due to donor excitation, and acceptor emission due to the direct excitation channels [1].

    - SCREEN: Screenshot_6: 00:40-00:46

  - Apply the appropriate Channel filters to select for the particles that have both donors and acceptors and link 200-300 particles in each of the three channels [1].

    - SCREEN: Screenshot_6: 00:46-00:56

  - Use the ‘’plot-Hist-ALEX’’ MATLAB (mat-lab) code to generate ALEX histograms, fitting different peaks in the histograms to gaussian functions [1], and use a suitable graphing and analysis program to determine the percentage of the area under the curve for each population [2].

    - SCREEN: Screenshot_7: 00:04 – 00:16

    - SCREEN: Screenshot_8: 00:02 – 00 :12

  - Then use the plot-Time-trace-ALEX MATLAB code to generate a time-trace for each molecule showing the donor emission by the direct excitation and the acceptor emissions due to the FRET and direct excitation [1].

    - SCREEN: Screenshot_9: 00:04-00:16

# Section – Results

- Results: Representative Real-Time HJ Resolution Investigation

  - This representative alternating excitation FRET histogram of adjacent-label X-zero [1] shows two peaks that correspond to interchanging of the more abundant [2] and less abundant isomers [3].

    - LAB MEDIA: Figure 2B

    - LAB MEDIA: Figure 2B: JoVE Video Editor please emphasize right peak

    - LAB MEDIA: Figure 2B: JoVE Video Editor please emphasize left peak

  - The isomerization rates obtained from the dwell time histograms of the isomers is consistent with those reported previously [1].

    - LAB MEDIA: Figure 2C: JoVE Video Editor please sequentially emphasize tau-Iso(1,3) and tau-Iso(2,4) graphs

  - Single molecule-FRET histograms of the adjacent-label X-zero junction at different GEN1 concentrations acquired by ALEX reveal one histogram corresponding to the free high FRET isomer [1] and one histogram corresponding to the bound GEN1-HJ population [2] after subtracting the contribution of the less abundant isomer from the low FRET peak [3].

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize red peak in first Figure 3B histogram

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize last Figure 3B histogram

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize yellow histogram in middle Figure 3B histogram

  - At a saturating GEN1 concentration, the FRET histogram of X-zero has only a single low FRET peak corresponding to GEN1 bound to either isomer of the HJ as predicted by the model [1].

    - LAB MEDIA: Figure 3C: JoVE Video Editor please emphasize data line

  - The binding of GEN1 monomer to the HJ followed by dimer formation is a unique feature for the eukaryotic HJ resolvase GEN1 compared to prokaryotic resolvases, which exist in dimeric form in solution [1].

    - LAB MEDIA: Figure 4A: JoVE Video Editor please emphasize bands from I to IV

  - Further evidence that GEN1 monomer binds and distorts the HJ is the observation of a significant number of traces of uncleaved particles with a stable low FRET state in the presence of magnesium at low GEN1 concentrations [1].

    - LAB MEDIA: Figure 4C: JoVE Video Editor please emphasize right side of data line and/or add/emphasize Uncleaved Particle text

  - The simultaneous departure of the donor and acceptor after a stable low FRET state in traces of resolved X-zero that occurs without the emergence of an intermediate indicates that a complete resolution occurs within the lifetime of the GEN1-HJ complex [1].

    - LAB MEDIA: Figure 5C: JoVE Video Editor please emphasize space in graph after Cleavage text/lack of data line

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Amer Bralić: (Step: 3.5., 3.8.) Note that the background from the functionalized glass surface should not exceed a few spots and that evenly-distributed particles are essential for obtaining good results [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Samir Hamdan: Other methods, such as cryoEM, nuclear magnetic resonance, and X-ray crystallography, can provide atomic-level structural details that are integral for the design and interpretation of the smFRET experiments [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Samir Hamdan: Single-molecule FRET opened new venues in the field of DNA replication, resulting in a deeper understanding of the mechanisms of action of reconstituted replisomes, helicases, and 5’nucleases [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Mohamed Sobhy: Always use personal protective equipment and a fume hood when preparing the silanization mixture. Be sure to wear protective glasses specific to the wavelength when working with the lasers [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera