# Submission ID #: 60072

# Scriptwriter Name: Qingyun Ping

# Project Page Link: http://www.jove.com/files_upload.php?src=18322008

# Title: Measuring Phosphorus Release in Laboratory Microcosms for Water Quality Assessment

# Authors and Affiliations:  Eric O. Young1, Donald S. Ross2, Jessica Sherman1

1United States Department of Agriculture, Agricultural Research Service (USDA-ARS), Institute for Environmentally Integrated Dairy Management, Marshfield, WI, USA

2Department of Plant and Soil Science, University of Vermont, Burlington, VT, USA

# Corresponding Author:

# Eric O. Young

# eric.young@ars.usda.gov

# Email addresses for Co-authors:

# dross@uvm.edu

# Jessica.Sherman@ars.usda.gov

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Protocol sections 3.4, 3.5, 4.1, 4.2, and 4.4.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Section 4.2/4.2. The experimenter must be comfortable with the number of beakers draining at any given time. Flow rates will depend mainly on soil/sediment physical properties and filter pore size and can vary widely. Four to six beakers at a time is generally recommended.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Eric Young: Our method helps to answer the question of how likely a given soil or sediment is to release soluble phosphorus under prolonged saturation. Quantifying phosphorus release potential in variably saturated environments is important for determining transport risk to streams and designing mitigation practices [1].

    - INTERVIEW

  - Eric Young: The main advantage of the method is its ability to simulate important biogeochemical processes affecting soluble phosphorus release and mobility under field conditions [1].

    - INTERVIEW

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Jessica Sherman: Simplicity is an important advantage of the method [1].

    - INTERVIEW

# Section - Protocol

- Sample Collection

  - To begin, collect approximately 4 liters of soil from desired sites. Limit collection areas to approximately 10 square meters to reduce the amount of spatial variability represented by the sample [1].

    - Talent collects soil.

  - Sieve samples through a coarse 20-millimeter screen [1], followed by a 2-millimeter screen [2]. Thoroughly hand-mix the samples after sieving [3].

    - Talent shows the 20-mm screen, and sieves through the screen.

    - Talent shows the 2-mm screen, and sieves through the screen.

    - Talent mixes the samples.

  - Weigh out 100 grams of the field-moist soil [1]. Dry in an oven at 105 degrees Celsius for 24 hours [2]. Weigh the dry soil [3] and calculate percent gravimetric water content [4-TXT].

    - Talent weighs the soil.

    - Talent places the soil in an oven.

    - Talent weighs dry soil.

    - Talent does calculation on paper. TEXT: % soil water (g) = [wet mass-dry mass]/dry mass x 100

  - Then, measure out a 500-milliliter subsample using an empty beaker and reserve for chemical analysis [1]. Use the remaining sieved soil for microcosm studies or store in polypropylene bags at 5 degrees Celsius for later use [2].

    - Talent weighs sample.

    - Talent transfers soil into bags, and place them into refrigerator.

- Microcosm Construction

  - Use one-liter graduated polypropylene or other non-reactive plastic beakers as individual experimental microcosm units. Wash beakers in 10% hydrochloric acid and triple rinse with distilled water [1].

    - Shot of the graduated container, and then talent washes with acid, and then rinses with DI water.

  - Measure 2 centimeters up from the bottom [1] and place a mark next to beaker graduations [2]. Drill a 1.25-centimeter diameter hole at the mark for drainage ports [3].

    - Talent measures 5 cm from the bottom.

    - CU: Talent marks on the beaker.

    - Talent drills a hole.

  - Place a small bead of silicone around the inside edge of hose barb [1-TXT]. Carefully insert the drainage port into the hole [2]. Allow air-drying for 24 hours before proceeding [3].

    - CU: Talent puts silicone on the hose. TEXT: 5.2 cm x 0.938 cm i.d.

    - Talent inserts drainage port.

    - Shot of the beaker.

  - Trace the outside circumference of hose barbs onto nylon mesh filter screen. Cut out with scissors [1-TXT]. Apply a thin bead of silicone around the outside edge of the filter screen and gently press onto hose inlet [2]. Allow at least 24 hours of drying time before using [3].

    - Talent traces on the mesh filter, then cuts out with scissors. TEXT: pore size: 74 µm

    - Talent applies silicone, and presses filters onto inlets.

    - Shot of the beaker on a surface.

  - Next, fit a short piece of latex hose on hose barbs and clamp with 3.3-centimeter wide paper binder clips [1-TXT]. Fill beakers with approximately 500 milliliters of distilled water to test for possible leaks [2].

    - Talent fits hose on barbs and clamps with clips. TEXT: 0.625 cm i.d.

    - Talent fills beakers with water to test for leaks. Author comment: We modified this since beakers are not inverted but kept upright.

- Conducting A Phosphorus Release Trial

  - Load 500 milliliters of sample into duplicate microcosms [1] and gently apply distilled water along beaker walls until FW (pronounce as flood water) reaches the 1 liter mark [2].

    - Talent loads soil into the container.

    - CU: Talent adds water to the 1 L mark. Close up of water level moving up.

  - Remove the paraffin film to induce PW (pronounce as pore water) flow through drainage port at desired initial sampling time point [1]. Collect samples by placing clean 20-milliliter beakers directly beneath PW drainage ports [2]. Allow several milliliters of PW to drain, discard [3] and use the next 10 milliliters as a representative sample volume [4].

    - Talent removes unclips binder from hose.

    - Talent places beakers under the drainage port. Author comment: 4.2.1&4.2.2 were combined for filming

    - Talent shows the beaker and discards.

    - Talent places the beaker back under the drainage port.

  - Filter PW samples through 0.45-micron membrane filters [1] and immediately analyze for soluble reactive phosphorus on a spectrophotometer [2]. Record absorbance values and time of measurements [3].

    - Talent filters water sample.

    - Talent analyzes P concentration.

    - Talent records on a paper.

  - Take initial FW sample by inserting a 10-milliliter bulb syringe pipette halfway down the water column and withdraw a sample using a circular motion [1]. Dispense into beakers, filter through 0.45-micron membrane filters [2], and analyze immediately for soluble reactive phosphorus [3].

    - CU: Talent inserts a pipette, and draws a sample in circular motion. Videographer: Take multiple shots, as this will be used later.

    - Talent transfers sample into a beaker, and filters.

    - Talent analyzes P concentration.

  - Refill beakers to the 1-liter level with distilled water to consistently maintain a total volume of flooded soil and water column at 1 liter in all microcosms [1]. Repeat the analysis of soluble reactive phosphorus as desired time points [2].

    - Talent refills to 1 L. Focus on the measuring marker.

    - Use 4.4.1.

# Section – Results

- Results: Porewater SRP and Floodwater SRP

  - In this protocol, a riparian site with low soil pH had nearly continuous soluble reactive phosphorus sorption from pore water [1].

    - Figure 1 – Video editor: emphasize Figure 1A, and then emphasize the green symbols.

  - Soil that was sampled from an adjoining maize production field with elevated labile inorganic phosphorus [1] demonstrated nearly a 7-fold increase in pore water soluble reactive phosphorus over the first month of inundation [2].

    - Figure 1 – Video editor: emphasize Figure 1B

    - Figure 1 – Video editor: emphasize Figure 1B, and emphasize the green symbols.

  - Pore-water ferrous iron concentration, as a proxy for redox status, increased substantially after approximately 3 weeks, indicating reducing conditions [1].

    - Figure 1 – Video editor: emphasize the open symbols in A&B.

  - In contrast, flood-water soluble reactive phosphorus tended to decrease over time [1].

    - Figure 1 – Video editor: emphasize Figure 1B, and emphasize the black symbols.

  - Flooding dry soil substantially increased inorganic phosphorus desorption to pore-water and subsequent mobilization to overlying water [1] compared to flooding the same soil in a field-moist state [2].

    - Figure 1 – Video editor: emphasize Figure 1C.

    - Figure 1 – Video editor: emphasize Figure 1D.

  - The reliability of soil phosphorus tests to predict average soluble reactive phosphorus concentrations was evaluated [1]. Distilled water and modified Morgan extractable phosphorus were among the best predictors of average pore-water and flood water soluble reactive phosphorus concentrations [2].

    - Figure 2

    - Figure 2 – Video editor: emphasize Figure 2A&C.

  - Modified Morgan extractable phosphorus measured by inductively coupled plasma-optical emission spectroscopy was not as good of a predictor [1] compared to modified Morgan extractable phosphorus or distilled water measured by molybdate colorimetry [2].

    - Figure 2 – Video editor: emphasize Figure 2B.

    - Figure 2 – Video editor: emphasize Figure 2C.

  - The ratio of pore-water-soluble-reactive-phosphorus over flood-water-soluble-reactive-phosphorus increased linearly as a function of soil pH [1].

    - Figure 2 – Video editor: emphasize Figure 2D.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Eric Young: Other experiments characterizing phosphorus dynamics are also possible. For example, phosphorus removal capacity of wetland soils is an important process that can be simulated by spiking floodwater with phosphorus and measuring its rate of disappearance over time. [1].

    - INTERVIEW

  - Eric Young: The analytical procedure for measuring phosphorus involves use of hydrochloric acid. Proper safety equipment and laboratory facilities are therefore required [1].

    - INTERVIEW