# Submission ID #: 60088

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18326888

Title: Applications for Open Source Microplate-Compatible Illumination Panels

Authors and Affiliations: Pierre Baillargeon, Timothy P. Spicer, and Louis Scampavia

The Scripps Research Molecular Screening Center, Department of Molecular Medicine, Scripps Florida

# Corresponding Author:

Louis Scampavia

scampl@scripps.edu

Email addresses for Co-authors:

bpierre@scripps.edu

spicert@scripps.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

3. Which steps from the protocol section below are the most important for viewers to see?

4.5., 4.6., 4.8 (shot from 4.7.)., 4.10.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

The most difficult aspect of this procedure is preparing the data file needed for the sample transfer protocol (steps 2.1, 2.2). Each lab will have their own way of tracking samples and will need to determine how to generate these files based on their LIMS system. We use an in-house developed web interface that is capable of automatically generating this type of input file based on a plate barcode.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Tim Spicer: Traditional hand transfer methods of bulk reagents into microtiter plates are slow and prone to human error. This technology more than doubles the efficiency of sample processing and eliminates error [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Pierre Baillargeon: This technique can help to increase user understanding of the operations performed in microplates, reduce opportunity for errors, and increase user efficiency during manual pipetting operations [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Tim Spicer: This technique will positively impact outcomes in preclinical and clinical settings by removing and reducing mistakes that can be costly and even life threatening if not corrected [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Louis Scampavia: This open-source system can be easily adapted for other applications, such as microplate copy inspections, to eliminate inconsistencies in either compound or bioassay placement for chemistry and biology needs [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Pierre Baillargeon: Demonstrating the sample transfer procedure will be Lina Deluca, a Compound Manager from the Lead Identification laboratory [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

# Section - Protocol

- Semiautomated “Plate-to-Plate” Sample Transfer Preparation

  - To set up a semiautomated plate-to-plate sample transfer, use a spreadsheet editing application to generate a CSV file containing source and destination plates [1], labeling the columns “Source_barcode”, “Destination_barcode”, “Source_well”, “Dest_well”, and “Transfer_volume” [2].

    - WIDE: Talent at computer, generating file

    - SCREEN: 60088_video_3: 00:00-00:14

  - Under the columns, include one row in the file for each desired pipetting protocol, indicating the alphanumeric barcode of the source microplate, the alphanumeric barcode of the destination microplate, the alphanumeric row and column identifier for the well to be pipetted from in the source plate, the alphanumeric row and column identifier for the well to be pipetted from the destination plate, and the volume to be transferred from the source_well in the source_barcode column to the dest_well in the destination_barcode.

    - SCREEN: 60088_video_3: 00:15-00:37 TEXT: Leave blank if no associated barcodes

  - Open the Light Guide program to open the Microplate Assistive Pipetting Light Emitter Plate to plate graphic user interface application and click Select cherrypick file [1].

    - SCREEN: 60088_video_1: 00:00-00:03

  - In the file browser window, open the CSV file. The application will parse the first row of the CSV file and illuminate the corresponding wells in the source and destination plates [1].

    - SCREEN: 60088_video_1:00:04-00:05

  - Use the Previous well and Next well buttons to traverse the CSV file as desired. The graphic user interface will highlight in grey any rows that have been previously illuminated and highlight in brown the currently active rows [1].

    - SCREEN: 60088_video_1: 00:06:00:10

  - Perform the pipetting operations as needed to transfer samples between the source well of the source plate to the destination well of the destination plate [1].

    - Talent pipetting sample from source plate to destination plate

  - In addition to the user interface, the plate barcodes can be verified [1] via the LCD displays attached to the illumination panels [added shot].

    - Shot of barcode(s)

Added shot: LCD screen along with plate barcodes

  - Then click Next well to continue until the end of the CSV file is reached [1].

    - SCREEN: 60088_video_1: 00:10-00:20

  - To load a new CSV file, click Select cherrypick file at any time [1]. To exit the program, click the red X at the top right corner of the interface [2].

    - SCREEN: 60088_video_5: 00:00-00:05

    - SCREEN: 60088_video_4: 00:00-00:06

- Multi-Well Illuminations for Parallel Transfers and Serial Dilutions

  - For multi-well illuminations, open the Microplate Assistive Pipetting Light Emitter ‘Serial dilution’ application [1] and specify the desired titration mode, plate density, and start rows or columns [2].

    - WIDE: Talent opening application, with monitor visible in frame

    - SCREEN: 60088_video_2: 00:00-00:15

  - Use the Next and Previous buttons to navigate through the rows or columns in sequence from the initial start row or column to the last row or column in the plate [1].

    - SCREEN: 60088_video_2: 00:15-00:25

  - Each time the Next or Previous button is clicked, the light panel will illuminate the corresponding LEDs of the microplate [2].

    - LED(s) being illuminated

  - Continue until the end of the titration sequence is reached before exiting the program [1].

    - Talent adding sample to illuminated well(s)

- Assay Development and Screening Format Techniques

  - To set up an assay, place a microplate into the portable light guide [1].

    - WIDE: Talent placing microplate into guide

  - The light guide contains a battery and all of the electronics necessary to be used independently of a computer [1] to allow the guide to be used in a handheld mode that can be controlled with built-in pushbuttons to toggle between demonstration modes [2].

    - Talent placing battery into guide

    - Shot of pushbuttons

  - Use the power toggle switch on the portable light guide enclosure to power the system on [1] and select the appropriate portable light guide mode for the experiment [2-TXT].

    - System being powered on

    - Mode being selected TEXT: Portable light guide set to HTS demo by default

  - In the high-throughput screening demo mode, use the right pushbutton switch at the top of the portable light guide to toggle through the sample illumination patterns [1].

    - Talent pushing button/toggling patterns Author NOTE: Steps 4.4.1 through 4.8.1 were all filmed as one shot (4.4.1).

  - The wells illuminated with pink color simulate the reagent dispense of an assay, for example cells suspended in medium [1].

    - Shot of pink wells Videographer: Important step

  - The wells illuminated with a yellow color simulate dye reagent addition [1].

    - Shot of yellow wells Videographer: Important step

  - The first and last column of wells are illuminated in green [1] and the middle ‘sample field’ columns are illuminated in blue to indicate the plate being read on microplate reader [2].

    - Shot of plate Videographer: Important step; Video Editor: please emphasize green columns

    - Use 4.7.1. Video Editor: please emphasize blue columns

  - Random wells in the sample field will also have green color of varying intensity to represent hits [1].

    - Use 4.7.1. Video Editor: please emphasize random green wells

  - To toggle the light guide between the high-throughput screening demo mode and the Titration demo mode, push the left pushbutton switch [1].

    - Talent pushing left button

  - When the light guide enters the Titration demo mode, all of the wells in columns 3 and 13 will be illuminated with an orange color [1].

    - Shot of plate Videographer: Important step; Video Editor: please emphasize orange columns

  - Pressing the rightmost pushbutton switch will illuminate the subsequent columns in sequence [1].

    - Shot of plate, then button being pushed/columns being illuminated

  - When the pushbutton is pressed after columns 12 and 24 are reached, the wells in columns 4-12 and 13-24 will be illuminated in a decreasing intensity of orange to represent the titration [1].

    - Shot of plate with columns 12 and 24 illuminated, then button being pushed/show of wells being shown in decreasing intensity of orange

- Artifact Illumination

  - For artifact illumination, place the microplate into the portable light guide [1] and press the leftmost pushbutton switch two times to switch the light guide to Illumination mode [2].

    - WIDE: Talent placing plate into guide

    - Talent pressing switch two times

  - Use the right pushbutton to toggle between a set of predefined colors as needed for the application. The light panel will turn all of the LEDs on in red, blue, green, orange, white, violet, yellow and indigo in sequence with each push of the right button [1].

    - Button being pressed/colors being toggled Videographer: Can split action into separate shots as necessary

  - Optionally, a camera or smartphone can be used photograph the illuminated plate for recordkeeping or documentation of the work [1].

    - Talent imaging plate and guide with camera/smartphone

# Section – Results

- Results: Manual vs. Microplate Assistive Pipetting Light Emitter (M.A.P.L.E.)-Guided Sample Preparation

  - The transfer of samples between plates and the preparation of a serial dilution can be accomplished without the concern of distraction or losing track of what pipetting operations remain [1].

    - LAB MEDIA: Figure 11A

  - The M.A.P.L.E. (maple) platform can be used to help illuminate the microplate to identify potential artifacts such as precipitate, empty wells, partially filled wells or air bubbles [1].

    - LAB MEDIA: Figure 11B

  - Users can then take measures to ameliorate samples before providing them to downstream laboratory processes [1].

    - LAB MEDIA: Figure 11C: JoVE Video Editor please emphasize dark blue well in center of image and well with brown debris in off-center right of image

  - In this representative experiment, the worklist consisted of 49 pipetting operations from two 384-well source microplates containing a random assortment of colored dyes [1] that spell ‘jove’ in a single 384-well destination microplate [2].

    - LAB MEDIA: Figures 14A and 14B

    - LAB MEDIA: Figure 14C: JoVE Video Editor please emphasize wells that make up j, o, v, e

  - The layout of the wells in the destination plate confirm that the user pipetted into the correct wells [1] and the color pattern of the wells in the destination plate can be used to identify errors for which the user did not pipette from the correct well of the source plates [2].

    - LAB MEDIA: Figure 14C: JoVE Video Editor please trace j, o, v, e wells

    - LAB MEDIA: Figure 14D: JoVE Video Editor please emphasize wells K2, F22, and F23

  - Results from this head-to-head test show an average time saving of 50% when users performed this test using M.A.P.L.E. versus an offline printed worklist [1].

    - LAB MEDIA: Table 1: JoVE Video Editor please emphasize % speed increase column

  - Further, the error rate of the plates created using M.A.P.L.E. was 0% for all of the users [1], while a 6% error rate was observed for one novice user using a worklist for the sample preparation task [2].

    - LAB MEDIA: Table 1: JoVE Video Editor please emphasize MAPLE error rate column

    - LAB MEDIA: Table 1: JoVE Video Editor please emphasize 6% cell in Worklist error rate column

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Pierre Baillargeon: Take care when generating the input file, as ensuring that the list of plate barcodes and wells is correct will ensure that the correct wells are illuminated in the microplates (Steps: 2.1., 2.2.). [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Louis Scampavia: Drug synergy formulations require a 2D matrix preparation based on a serial dilution by column for the first drug and a serial dilution by row for the second drug [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Pierre Baillargeon: We are investigating the use of LED light panels to illuminate micro-droplet dispensing, as by strobing LED light, we can capture images of liquid samples for quality-control and analysis [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Tim Spicer: This instrument can improve a user’s exposure to hazardous materials and agents by reducing user-reagent interactions time and facilitating appropriate reagent usage [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera