# Responses to the reviewers' comments

# Reviewer #1

We thank the reviewer for the positive comments on our work and his suggestions for further improvement that were incorporated into the revised manuscript.

The description of the procedure to embed the gel is rather vague at the moment and difficult to follow. The accompanying video for this part is absolutely needed and will be very useful. If it is the intention that this manuscript can stand alone without the video, then this part should be improved somewhat. Maybe some pictures/figures could be added.

We agree that video documentation of gel embedding will be important to comprehend the procedure and reproduce it in your own lab. Key steps of the original gel embedding and slicing procedure have been described and photo-documented in (Müller et al., 2016) now referenced in the revised manuscript (line 511).

While size exclusion chromatography profiling can be used to separate protein complexes in a single sample, some of the earlier versions aimed at assessing differences between two samples/conditions. This was obtained by metabolic labeling (SILAC) and can also be obtained by TMT labeling approaches. It would be good if the authors could comment on the usefulness of such a labeling approach with their separation approach? Such labeling could compensate for technical variation and make the method particularly useful to detect (subtle) differences in the complexes.

In theory, multiplexed csBN-MS analysis could be realized by mixing metabolically labelled protein samples prior to separation. However, in preliminary experiments with solubilized membrane proteins we observed dynamic exchange of subunits even in tightly assembled complexes which would hamper interpretation of results independent of the separation method used. A workaround for csBN-MS could be to run differentially labelled samples on neighbouring lanes followed by combined slicing or by TMT-labelling of digests of matched slices. This aspect has been added to Discussion (last section of the revised manuscript).

# Reviewer #2

We thank the reviewer for the positive comments on our work and his constructive criticism that led to further improvements that were incorporated into the revised manuscript.

1. Please briefly mention and contrast csBN-MS with other protein complex

separations like ion exchange and size exclusion chromatography, particularly in terms of resolution anisotropy, separation range and sample amount.

With experiments not yet in hand that would allow to directly compare performance of different complexome profiling separation techniques, such contrasting may appear somewhat preliminary.

Clearly, BN-PAGE provides the best size resolution of all protein complex fractionation techniques published to far. In addition, it is highly versatile (i.e. it effectively resolves solubilized membrane protein complexes as well as soluble protein complexes evenly over a large size range). Disadvantages may be the limited separation capacity (approximately 3 mg protein per gel), low throughput and incompatibility with automatization as compared to chromatographic methods.

These aspects were added to the Discussion section (lines 1157-1164).

2. Please indicate if a decoy database was used in the spectral match search and, if so, please indicate the false discovery rate corresponding to the suggested expected value cutoff for peptide identifications.

A decoy database was indeed used as part of the Mascot spectral match search. The average peptide FDR in slice samples was 4.4±0.7%. This information, together with additional details on further filtering of results to obtain reliable protein abundance profiles were added to Protocol section 3.2.5.

3. The table of materials formatting makes it hard to match a certain material/equipment with the Catalogue Number and Comments/Description. Please reformat the table of materials to fit all columns in the page width.

The table was reformatted accordingly.

4. Please speculate about what adaptations would deem the protocol suitable for further extension to either soluble complexes or even whole cell lysates.

We refrain from speculations, but the presented protocol can be indeed used for analysis soluble protein complexes (which are well resolved here and in Müller et al., 2016). It should also be generally applicable to whole tissue or cell lysates when following the guidelines in the extended general introduction of protocol section 1.2.

Minor concerns

- The acronym PV is now explained in Protocol section 3.3.1 and in the main text lines 962-963.

- Units (w/v and v/v) were added throughout the manuscript.

- A commercial source for a two-chamber gradient mixer was added to the Table of Materials and Reagents. The accompanying manual also describes casting of hyperbolic pore gradient gels.

- The terms "heavy" and "light" were replaced with "concentrated" and "diluted".

- Maximum storage time and condition for polymerized BN-PAGE gels were added to Protocol section 1.1.4.

- “embedding medium” is Tissue Freezing Medium from Leica, listed in the Table of Materials and Reagents.

- Recommended manual slicing speed has been added to the Protocol (note of section 2.3.7).

- The maximum number of precursors picked for fragmentation per full scan cycle (Top N) has been added to the Protocol (section 3.1.4).

# Reviewer #3

We thank the reviewer for the positive comments on our work and his constructive criticism that led to further improvements that were incorporated into the revised manuscript.

1) On line 101 the authors describe making a gradient gel "using a stirring gradient mixer driven by a pump". Is this imperative to making good quality gels or is there an alternative method which can be used for laboratories that do not possess this equipment? I also noticed that this set-up was self-made - could the authors recommended where to buy the components of this equipment and describe how to successfully assemble them for this protocol?

A gradient mixer is mandatory for casting BN-PAGE gels whereas the pump just allows for better control and reproducibility of the gel casting process. We added commercial sources for a two-chamber gradient mixer and a peristaltic pump to the Table of Materials and Reagents.

2) On line 105 the authors recommended using 2 x CMC detergent. However, they do not state what detergent. Later in the manuscript they state that they use CL-47 detergent, is this what is recommended? If so, could they elaborate on why this detergent and whether others can be used (or may even be more advantageous). For membrane proteins especially, the choice of detergent is essential for the maintenance of non-covalent interactions within protein complexes and there needs to be a larger discussion of the choice of detergent (along with some reference to relevant literature - DDM detergent is a common choice for BN-PAGE, see: https://www.ncbi.nlm.nih.gov/pmc/articles/PMC2648668/ and http://www.jbc.org/content/288/30/22163.full.html). Other developments in the field have also shown that using polymers for solubilization can maintain membrane protein complexes during BN-PAGE (https://www.sciencedirect.com/science/article/pii/S0005273619301087), could the authors comments on this also?

We agree with the reviewer that the detergent condition used for membrane protein solubilization is an important factor determining BN-PAGE separation quality and complexome comprehensiveness. Given the large number of neutral detergents available, the protein-specific differences in complex stability and distinct types of biological source materials, however, an elaborate discussion of detergents is clearly beyond the scope of this manuscript. Furthermore, any detergent condition necessarily represents a compromise between efficiency and preservation of protein interactions and has therefore to be tested / selected according to the specific requirements of each project. For BN-MS experiments with membrane proteins, DDM (n-dodecyl β-d-maltoside) and digitonin have so far been the most popular choices. A respective paragraph has been added to the general introduction of Protocol section 1.2.

3) On line 164 embedding medium is mentioned but it is unclear what the embedding medium is and how to prepare it, or even where to purchase it from. Could the authors expand on this?

“embedding medium” is Tissue Freezing Medium from Leica, listed in the Table of Materials and Reagents.

4) On line 178 the authors say the embedding medium was cooled briefly for solidification. To what temperature was this cooled and for how long? Again, this links with the lack of information on the embedding procedure and the medium, which needs to be expanded upon.

The requested information has been added to Protocol section 2.3 together with further experimental details. Key steps of the original gel embedding and slicing procedure have been described and photo-documented in (Müller et al., 2016) which is now referenced in the revised manuscript (line 518).

Minor concerns

1) On line 134 the authors mention that they add sucrose. Why is this? To increase sample density for loading? Please elaborate on this.

Sucrose was indeed added to the sample to increase its density for loading (now explicitly stated in the general introduction of Protocol section 1.2 (v).

2) On line 222 the authors state a "NOTE" that all measurements were carried out on the day and same columns without any wash procedures. Indeed, they state that this important for good quality results. One concern I have for this set-up is the existence of peptide carry over (especially with membrane protein samples) - do the authors experience this and does it greatly influence your results? If so, how can this be avoided in their set-up or in another's?.

As stated in Protocol section 3.1.4, LC-MS/MS measurements were carried out consecutively on the same column. The gradient protocol (detailed in section 3.1.2) included two short wash steps (5 + 15 min). However, we did not separate sample measurements by empty gradients. Carry-over in the range of a few percent may therefore occur for sticky peptides, but this would not have a significant impact on our results (due to the high-resolution sampling protein abundances change by less than an order of magnitude from slice to slice). If carry-over is still a concern, it could be easily reduced by separating sample runs by empty gradients.

3) On line 267 the authors say they use custom scripts for performing peak detection using the local maxima method - are these widely available? If not, they can they be made so? As without them if becomes very difficult to reproduce the authors entire workflow and result when benchmarking the produce in your own laboratory.

The custom script for performing peak detection and fitting is a preliminary tool that we did not publish yet but could provide upon request. Software solutions performing similar functions (and more) have also been developed and made available by other groups (e.g. Heusel et al., (2019). Mol Syst Biol. 15: e8438).

4) On line 427 the authors say they used 23 marker complexes. It is unclear but were these in the samples already or were they performed separately to produce a calibration curve? Also, why 23 and not say 20?

These markers were endogenous to the sample and selected based on (i) monodisperse shape of their profile peak, (ii) experimental support of their molecular weight and (iii) distribution along the investigated BN-PAGE gel section. This has been clarified in the revised manuscript (note in Protocol section 3.4.2).