Dear Dr. Singh,

Thank you very much for the editorial and peer-review of our manuscript, entitled “Production of E. coli-expressed Self-Assembling Protein Nanoparticles for Vaccines Requiring Trimeric Epitope Presentation” for publication in JoVE Bioengineering as an open access video article. We addressed all the questions that were raised by the reviewers and highlighted our answers and the changes according to the reviewers’ comments with red color in the manuscript. We thank the reviewers for their comments that contributed to the improvement of our manuscript. We submitted each figure in 300 dpi resolution.

Best regards,

Zoltan Beck, Ph.D.

Principal Scientist

U.S. Military HIV Research Program (MHRP),

Henry M. Jackson Foundation for the Advancement of Military Medicine (HJF),

Walter Reed Army Institute of Research (WRAIR)

Office: 301-319-2290

Cell: 202-569-3511

Editorial Comments:

- Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

We have proofread the manuscript.

- Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

To avoid branding we had moved the instrument and software identifications to the materials and reagent table. Although the main point of the video will not be the use of software of FPLC, we added more specific details (e.g. “button click” actions and numerical settings) to protocol.

- Protocol Numbering: There must be a one-line space between each protocol step.

We have inserted one-line between steps.

- Protocol Highlight: After you have made all of the recommended changes to your protocol (listed above), please re-evaluate the length of your protocol section. There is a 10-page limit for the protocol text, and a 3- page limit for filmable content. If your protocol is longer than 3 pages, please highlight ~2.5 pages or less of text (which includes headings and spaces) in yellow, to identify which steps should be visualized to tell the most cohesive story of your protocol steps.

We have highlighted about 2.5 pages in yellow to identify the steps for visualization

- Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

The discussion covers points 1-5

- Commercial Language: JoVE is unable to publish manuscripts containing commercial sounding language, including trademark or registered trademark symbols (TM/R) and the mention of company brand names before an instrument or reagent. Examples of commercial sounding language in your manuscript are magic media, magic media, ChromLab, HisTrap HP, Trans-Blot Turbo Transfer, Trans-Blot Turbo Mini Nitrocellulose Transfer Packs, Zetasizer software 7.12, NanoSight, Kinetic-QCL, etc.

We have located and replaced the commercial sounding language in the manuscript with generic names where it was possible. All commercial products are referenced in the table of materials. We also have removed the registered trademark symbols from the table of materials.

- If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher.

All figures and tables are original and have not been published previously

Reviewer #1:

Major Concerns:

- In Protocol 3.3.3., the authors suggest the use of 60% isopropanol to wash the HisTrap column after capturing the protein target. The authors explain that this step helps removing endotoxins from the protein target, however, 60% isopropanol treatment seems extremely harsh for proteins. Even for the very stable proteins (e.g. monoclonal antibodies) isopropanol of greater than 15% causes irreversible denaturation (Bobaly et al., J. Pharm. Biomed. Anal. 2016). There are many other ways to remove endotoxins from protein solutions with much less harmful conditions by using surfactant detergents and/or cationic polymers (Petsch et al., J. Bacteriol. 2000). I am wondering if the authors tried other conditions instead of 60% isopropanol?

In the manuscript we discussed the use of a Q-column as an alternative method or a further purification step to reduce the endotoxin. Previously, we have attempted multiple techniques for SAPNs, but the isopropanol wash worked the best. The reviewer is right that 60% isopropanol could be harsh for some protein, but we could not see any evidence for irreversible denaturation. Our protein was capable of refolding after the 60 % isopropanol wash as the DLS and electron microscopy images demonstrated. We have been successfully using this approach for many years (Karch et al., J Nanobiotechnology, 2017; Li et al., PLoS One. 2018; Seth et al, Vaccine 2017, Kaba et al., Vaccine 2018, El Bissati et al., NPJ Vaccines, 2017, and Karch et al., Nanomedicine 2017).

- In Discussion, the authors mention that the sonication may lead to the protein degradation and expression problem of the gene in the host cell. What exactly is the problem in the host gene expression? Did the author mean fragmented host genomic contamination? Also have the authors tried other methods for lysing E. coli cells (e.g. French press and/or chemical lysis)?

For lab scale production sonication is the most convenient technique due to the size of the culture and the availability of equipment. We have previously used a microfluidizer to lyse E. coli in the large-scale production of SAPNs (Seth et al, Vaccine 2017), which resulted in no difference in biophysics or immunogenicity when the cells were sonicated (Kaba et al., Vaccine 2018. Sonication has no relation to the gene expression. We believe that this protocol will be used with various proteins displayed on the SAPNs. The comment about the problem of gene expression relates to the troubleshooting steps. During the optimization of the production of the new protein, if no protein is obtained, one of the potential problems could be the gene expression. The text of the manuscript has been revised accordingly.

Minor Concerns:

- In Protocol 4.3., 200 mV should be 200 Volts instead.

Thank you for calling our attention to this typo. The protocol has been updated to reflect this change.

- For Figure 3A, the image looks a little blurry and it might be hard for readers to understand what is shown. I would suggest adding label on each step (e.g. sample loading, wash with xx mM imidazole, elution with xx mM imidazole, column regeneration, etc). It would also be helpful to indicate the peak that contains the product.

We tried to increase the image quality of Figure 3A, but please note that the image is generated by the software of the FPLC. We will work with the journal’s production team together to make the highest resolution possible. We added additional labels on Figure 3A. We also indicated the peak that contains most of the product.

- For Figure 3B, place arrow to indicate the target protein.

The arrows have been now added indicating the protein of interest.

- For Figure 4A, it appears that the lane 7 and 8 are positive from the image. This may just be the incorrect gel cropping.

The reviewer is right, the lane markers were slightly off, which probably occurred during saving the file. Lanes have been adjusted correctly in the new version of figure 4A.

- For Figure 4A and B, place arrow to indicate the target protein.

The arrows have been now added indicating the protein of interest.

Reviewer #2:

Major Concerns:

Lack of a method to detect correct formation of trimeric antigen epitope(s).

The reviewer is right about the lack of a method to detect trimeric formation. However, it was not the scope of this manuscript. The purpose of this protocol was to describe the production and purification method of the core of the self-assembling protein nanoparticles that can be used for various antigens. We did not use any specific antigen in this work. The trimeric presentation is strongly dependent on the antigen and design of the construct. In our previous study (Karch et al., Nanomedicine, 2019), using an HIV-1 Env antigen, we provided methods to detect the correct formation of the trimeric V1V2 epitope.

Minor Concerns:

Overall, numerous details missing.

Reviewer is right. We have included more details in the revised manuscript

Specific reviewer comments:

Protocol section, part 1.1, should specify the origin/manufacturer of Magic Media.

This information is included in the reagents/materials table according to the journal’s instructions.

1.2 Specify origin of pPep-T vector.

We have added a reference to specify the origin of the used expression vector (Babapoor et al. Influenza Research and Treatment, 2011). We removed the name of the pPep-T vector, because other expression vectors can be also used.

And, 200 rotations per minute is not informative if we don't know the size of incubator rotation radius.

The information on the incubator is in the reagents/materials table.

1.3. 4000g in fixed angle or horizonal centrifuge? Temperature?

The centrifugation was performed with a fixed angle rotor at 4oC. We have added this change to the text.

2 Note: 'bonds' not 'bounds'

Thanks for calling our attention to this typo. “Bounds” has been fixed in the text.

2.1 - use Tris buffer, is that Tris-HCl or Trizma base? How is the pH adjusted? Same query applies to parts 3.1 etc. (I see Tris base specified in the table page 20-22, perhaps also mention in main text).

Tris base has been used and the pH was adjusted for “buffers” with 5 N NaOH. Text has been updated.

  - - for a 40mL volume, what sort/size of sonicator probe should be used?

We used the probe that comes with the instrument. (Cat: 101-147-040). It’s referred to in the manual as the standard solid disruptor horn. It has also been listed as a separate item in the reagents/materials table now.

2.2 and 2.3. Please specify how many tubes are being processed. i.e. in step 1, two pellets were generated, each from approx. 50mL, from the 100mL total. Now in step 2.2 and 2.3, how many tubes are being processed. Is it necessary to use 1 x 150mL sterile flask for each '50mL-pellet' being processed? E.g. 'Transfer the supernatant (approx. 45mL) to a 150mL….' ?

Once the cells were resuspended, they were in one tube. These details have been added to the manuscript now. 150 mL flask is needed because the 40 mL of cellular lysate was diluted to 100 mL.

2.3 - horizontal or fixed angle rotor?

It is a fixed angle rotor; this information has been added to the text.

2.3 - discard the pellet? Why not keep the pellet for analysis later to see if it contains target protein, as a 'control' that the sonication step worked efficiently?

We agree with the review that the pellet can be analyzed for the efficiency of the lysis. We have done it for the method development, but it is a well-established method that does not necessarily require this step.

2.3 - refers to 'this step'. Question: which step? Part 2.3 contains multiple steps.

Thank you for this comment, it was not clear which step we referred to. The referred step has been now clarified.

General:

3.2. Provide an example of a His-column e.g. source, size, manufacturer, how the size might change if processing pellets of different volume/expected yield, which may influence purity.

The details about the His-column is included in the reagents/materials table. Traditionally for lab scale production we use 5 mL prepacked GE Healthcare HisTrapHP columns (please see references: Kaba et al., Vaccine 2018, El Bissati et al., NPJ Vaccines, 2017, Karch et al., Nanomedicine 2017). The reviewer is right that the pellet size and yield can vary from construct to construct. We generally modify the culture media and other growth conditions to generate protein that purifies with few impurities and at high enough yield for downstream animal experiments with this specific column size. Reference 13 (Seth et al, Vaccine 2017) covers the method development with a larger column. We could not see a difference in purity by changing the size of the column.

3.2.1 Choose, not chose. (same corrections in 3.3.1)

Thanks for calling our attention to this misspelling. It has been fixed in the text.

3.2.1 Buffer B has not been defined. What is the composition? Is it necessarily the buffer into which the tubing of pump B is placed? If so, should part 3.3.2 appear earlier in the method?

The composition of Buffer B has been defined in 3.1 (8M urea, 50 mM Sodium phosphate, 20 mM Tris-base, 5 mM TCEP, 500 mM Imidazole). The tubing of pump B is placed in Buffer B during the purification method.

3.3.1 Isopropanol second and third washes are done as two separate washes of 5 and 10 CVs each? Why not simplify and just have one step of 15 CVs?

Only the second wash is the 60% isopropanol wash. The third wash is to remove the remaining isopropanol before the elution steps.

3.3.3 Worth adding a cautionary note to avoid dripping/carryover transfer of isopropanol back into imidazole-free buffer?

It is a good question/suggestion. However, we did not detect any carryover of the buffers, because the closed pump does not let the buffer drip. Therefore, we believe that there is no need for a cautionary note.

Titles to sections 4 and 5: so far, most titles are descriptive of the aim (e.g. protein expression, protein purification etc). However, title to section 5 is 'Western Blot' which is a method, not an aim. What is the purpose of section 5 (WB)? Perhaps section 4 could be 'recovery and overall purity assessment' while section 5 could become 'protein identification by WB'? Or similar…

These are very good suggestions that increase the consistency of the protocol. We have changed the titles of section 5 to reflect this change.

4.1 the term 'flow through' has not been defined

We added this description to define flow through, “…the cell lysate that did not bind to the His column.”

4.2 - manufacturer of gel, example?

This information is included in the reagents/materials table.

4.3 - manufacturer of MW marker, example?

This information is included in the reagents/materials table.

4.4 - correct size of what? Of the target antigen? Specify.

We agree that is was not clear. The sentence has been clarified by including “protein” and the “expected size of the band”.

5.1 - 'run a Western blot' is insufficient information. Please provide full experimental details. Provide details of where to obtain the detection antibodies mentioned.

This is just introducing the idea; the full experimental details are explained in the subsequent steps (5.2-5.10). We have slightly changed the text to be more descriptive. Antibody sources are included in the reagents/materials table.

5.2 - 'determine the concentration' - of what? E.g. determine the total protein concentration by measuring Absorbance at A280nm….

The sentence was modified to include the phrase the “protein concentration at an absorbance of 280 nm”.

  - 'as before' is vague, please refer to specific part numbering that contains the aforementioned method.

Text has been updated to reference the specific step that describes the denaturing step.

5.4. Please specify gel type and running buffer type. If this is an SDS-PAGE system, it should be mentioned (reasonable doubt exists, given that the Abstract claims that WB was used to detect conformational epitopes whereas it is generally understood that conformational epitopes are not maintained under the denaturing conditions of SDS-PAGE but could feasibly be maintained were this a native PAGE).

The gel information is included in the reagents/materials table. Yes, conformation of a protein is not maintained under denaturing conditions of SDS-PAGE. The purpose of the Western blot in steps 5.1-5.10 was purely to demonstrate that protein of interest was the correct size, and to verify that it was not truncated on either the N or C terminus. Thanks for this comment, the sentence in the abstract has been modified to clarify the role of the Western blot in the protocol.

5.5 Whereas much of the methods are not dependent on a specific manufacturer, here a very specific system is named. Is this necessary or sufficient?

In this protocol we used a transfer system from a specific manufacturer that requires only 7 minutes for the transfer. Text has been updated and the name of the manufacturer has been moved to the reagent/materials table.

6.1 Specify expected range of RT (e.g. 18 to 26 deg C?)

18 to 26 C as room temperature has been defined in the text now.

7.1.1 - any comments about data analysis? This seems to be a method to determine mean particle size. What happens if there are multiple populations of distinct particles of diverse sizes?

We added sentences that address this potential problem to the discussion section. If there are multiple populations of the particles, the quality of the product is not acceptable and further optimization of the method is required. The methodology for the “empty” SHB-SAPN core described in this manuscript is well-established. However, when a new antigen sequence is added, the methodology must be fine-tuned for the new construct.

7.2.3 Knob, not nob.

Thank you. Text has been updated to include the correct spelling

Figure 1a: quick check: are all colors used in the sequence correctly identified?

Yes, the colors are correct.

Figure 2: box 14 in the flow diagram mentions 'refold protein….'. For clarity, should box 3 (or later) mention the denaturing/unfolding step?....to mark the point at which the protein is unfolded or solubilized in denaturing conditions?

We agree with the reviewer that clarifying the steps with the protein monomers, denatured monomers, and fully assembled SAPN construct would help to understand the flowchart of the protocol. Therefore, the legend of Figure 2 has been updated now.

Figures 3 & 4: What is the expected/theoretical MW of a single chain? Can this be indicated somewhere.

The theoretical size is 18.07 kDa and it has been added to step 4.4 and to the figure legend.

Add an arrow to highlight he monomeric band on the gel/WB? Based on the MW of single chain, where would the dimer appear on the gel? The text says '…blots demonstrated the presence of the SHB-SAPN multimers'. The WB only shows two bands in lanes 6,7,8, perhaps monomer and dimer, or monomer and trimer…but only two species, not a ladder of multimers. Please comment/clarify. Are these due to disulphide bond formation?

We added arrows to highlight the monomeric band. We agree with the reviewer that the strong bands are the monomers, dimers and perhaps trimers. There are some faint bands that are weakly detected by the image capture system. The dimers, trimers, and multimers, if any, formed by the nature of coiled-coils, which can stay associated in a denaturing SDS-PAGE gel. Although the SHB-SAPN core construct itself does not have any cysteines, we included the use of a TCEP in this protocol, because most of the antigens that will be used with this core will contain cysteine, and therefore, require a reducing agent.

After figures 3 and 4 - the reader cannot know how pure the sample is, with respect to contaminating E coli proteins. The gels in fig 3b are promising, but the later fractions that contain the protein are so dilute that one cannot tell whether other contaminants are present. The WBs are Ab-dependent, and might not reveal contaminants. The authors should present a gel of a concentrated sample, after the refolding step. Fig 5 suggests nanoparticles are formed, but does not inform about how many other contaminants may also be present.

The SAPN proteins have very little of contaminating E. coli. proteins as Figure 3b shows. We fully agree with the reviewer that the WBs may not reveal any bacterial contaminants since the antibodies used were specific for the SAPN construct. Although, theoretically, a gel with concentrated sample after the refolding step may increase the signal of the contamination, due to nature of the SAPN with the tendency for multimerization, it is not a doable approach.

In the representative results' section. Sizes are mentioned in nm. Please add clarity. Is this diameter (or radius)?

It is the hydrodynamic diameter. The text has been updated.

The text mentions that measured sizes were 'within the expected range'. What was the 'expected range' and how was it determined?

We added the expected size range of 20-100 nm to the sentence. The size of SAPNs has been reviewed in our previous publications that were referenced here, specifically in (Raman et al., Nanomedicine 2006, Indelicato et al., Biophys J. 2016 and Indelicato et al., R Soc Open Sci 2017). Some SAPN are not completely formed and there are some aggregates, however, the majority of the constructs fall into a narrow, 68-81 nm size range, as measured by DLS.

Figure 5 panel C shows particles with quite high variability in size. Please indicate which are closely matching the 68-81nm sizes determined by DLS/Nanosight. If the scale bar is really 20nm, where is a particle 3-4 times broader than the scale bar?

There is a limitation of the use of DLS on polydisperse samples, because the larger size particles mask the smaller ones and the technique highly overestimates the frequency of the big size particles. DLS measures the fluctuations in intensity of scattered light from all particles undergoing Brownian motion. (Pecora, 1985). Intensity is then statistically autocorrelated to the diffusion coefficient, from which the hydrodynamic diameter is determined. Electron microscopy identifies the individual particles and the detected size of the particles is precise. However, due to the lack of the real-time detection and the limitation of the size of the field of detection, this technique does not provide size distribution data. The two technique measure similar size of homogenous particles, however, the higher the polydispersity of the samples the higher the detected size by the two technique.

Discussion section:

Histidine, not histadine

Spelling has been corrected

"This length of the His-Tag found to be the optimal for the highest protein yield." - poor English

The missing word, “was”, was added to the sentence to now read as, “This length of the His-Tag was found to be the optimal for the highest protein yield.”

Discussion mentions expected size range of 20-100nM. That seems like a large range. As queried above, how was this expected/theoretical range calculated?

Particles follow a Gaussian distribution. The expected size range was assumed from previous works with different SAPN constructs that are cited in this manuscript. The actual size and size distribution of the SHB-SAPN particles, as discussed above, was measured by EM and DLS.

"This method without or only slight modifications can be applied when an antigen of interest is added to the SHB-SAPN core" - poor English

The reviewer is right about the sentence. It has been rewritten as “This method with only slight modifications, if any, can be applied to the purification of SHB-SAPNs when a new antigen of interest is added”.

Other comments:

In this method, the authors have included SDS-PAGE and WB as methods to show purification and identity of sample, and have included methods to show nanoparticle assembly, but have not included a method to demonstrate/check correct folding of a trimeric antigen/epitope. It is conceivable that the designed sequences self-assemble into trimers and beyond into larger nanoparticles, without necessarily 'faithfully recreating' the correctly folded 'target trimer' of the antigen of interest; in my opinion. i.e. it is conceivable that 60 copies of a peptide fragment of a target antigen are being presented but not necessarily in the right trimeric conformation. Can the authors comment on and address this query? In this context, the authors merely cite reference 6, "…we have engineered a unique SHB-SAPN core to effectively present the V1V2 antigen in a native-like trimeric conformation". The Abstract here says "As an indication of the correct conformation, the purified protein reacted with known monoclonal antibodies in

Western blot analyses.", but the WB technique is not able to indicate correct conformation, only the presence of a target sequence under denaturing conditions, irrespective of whether this is known as an Ab targeting a conformational epitope (it may bind to a conformational epitope with high affinity, but with low-but-detectable affinity to a sub-fragment of that epitope under 'denaturing' conditions of the WB procedure)

We agreed with the reviewer and explained why we did not include a method to demonstrate/check correct folding of a trimeric antigen/epitope (see above answers). We agree with the reviewer’s statement that “It is conceivable that the designed sequences self-assemble into trimers and beyond into larger nanoparticles, without necessarily 'faithfully recreating' the correctly folded 'target trimer' of the antigen of interest; in my opinion. i.e. it is conceivable that 60 copies of a peptide fragment of a target antigen are being presented but not necessarily in the right trimeric conformation.”. Although, generally speaking it is a true statement, we are still very confident that because of the strong interactions in the coiled-coil motifs in particular in combination with the SHB, forces the designed trimeric antigen into the native-like trimeric conformation (Karch et al, Nanomedicine, 2019, Raman et al., Nanomedicine 2006, Indelicato et al., Biophys J. 2016 and Indelicato et al., R Soc Open Sci 2017). Thanks for the reviewer’s other comment, it is true that WB technique is not able to indicate correct conformation. We have updated the abstract and removed the reference to the conformation and focused on protein purity instead.

Reviewer #3:

Comments:

- The statement that a repetitive antigen display system can have the same benefits as a sub-unit vaccine is not necessarily an obvious conclusion - this sentence could be rewritten for clarity.

We have discussed the benefits of a repetitive antigen display system in two reviews (Karch et al., Biochem Pharmacology 2016, Kelly et al., Expert Rev Vaccines 2019).

2. SAPNs are an example of designed protein assemblies but are no more leading than the work of others including the groups of Woolfson, Yeates and Baker. The work of these groups as it relates to vaccines should be included for full acknowledgment of the literature.

Their work has been now fully acknowledged by citing three references.

3. 1.2 - are E.coli really grown for 48 hours? Is there a reason for this? ThermoFisher's protocols for expression in Magic Media recommend overnight growth only. Is cell viability still good after this time?

The reviewer is right, the general protocol from ThermoFisher recommends 24 hours incubation at 37oC. During the method optimization with this SHB-SAPN core, we have tested different media and multiple growth conditions. We gained the best protein yield when we grew the culture at 30oC for 48 hours.

4. 2.2 - During lysis are protease inhibitors, nucleases etc added to the cells?

There were neither protease inhibitors nor nucleases added to the cells during the lysis. The cells were lysed under denaturing and reducing conditions, which would inactivate any proteases and nucleases present.

5. 3.2 - the description of using ChromLab could be clearer. Hopefully the video will make this more understandable than the written section on its own.

Since the journal avoids commercialization, we removed all of the branding, such as the BioRad HPLC with the ChromLab software, from the text and moved the specific information to the reagents/materials table. However, based on the reviewer’s suggestions for better understanding, we have now included the detailed steps for the setup of the ChromLab software that will be further clarified by the video file.

6. 5.3 - add "in step 4.1" to the sentence ending "denature them as before"

The text has been updated to reflect this suggestion. Thank you.

7. 5.5 - the instructions for transferring the gel onto the nitrocellulose membrane could be expanded on. The level of detail is lacking in comparison to other sections

We would like to emphasize again that the journal tries to avoid commercialization, and therefore, we have moved all the branding, such as the Trans-Blot® Turbo™ Transfer System, from the text to the reagents/materials table. However, the reviewer is right, and for better understanding and consistency, we have now included more details of the transfer to the nitrocellulose membrane.

8. 5.8 - it would be useful to note the total final dilution of your antibodies (it appears to be 1:1000 and 1:2000?)

Thanks for this suggestion. Although we usually calculate with the actual concentration of the given antibody, we agree that most of the time the dilution factor has been provided. We have added this information to the text

9. 5.9 - as point 8. The dilution ratio of antibodies is possibly more useful than just how many uL are being added

We have added the dilution factor to the text.

10. 6.1 - what are the relative volumes for dialysis (eg 25 mL pooled protein was dialyzed against 4L, with several changes of buffer, for 20 total L)

Based on the upstream application (e.g. characterization only or animal immunization studies) the volume of the pooled protein varies between 10 and 20 mL. The volume of the refolding buffers is 1 L. As described in the refolding section the buffer is changed 4 times every two hours decreasing the urea content by 2 M every 2 hour. Then it is dialyzed overnight into the final buffer condition.

11. 6.2 - is urea still necessary in the refolded protein?

It is a very valid question, the presence of the urea is not essential, but we have found that this concentration helps the protein folding.

12. 7.1.1 - line break required between 7.1.1/7.1.2

Missing line break has been added to corresponding lines.

13. In the discussion you state that these proteins can be expressed at high yield and are easy to purify using IMAC. For clinical products the presence of a his-tag is not ideal. Are alternate methods for purification without his-tags being considered? This may make the process more difficult.

The reviewer is right, for a clinical product the presence of the His-Tag is not ideal. In previous work, we have used ion exchange and size exclusion chromatography to purify the protein, in current animal studies the SAPNs have contained a His-Tag. Also, a malaria SAPN based vaccine that contains a HisTag has been manufactured and will soon be used in a clinical phase I/IIa trial (Seth et al, Vaccine 2017).

14. In the discussion the sentence "This method without or only slight modifications can be applied..." does not make sense as currently written.

We agree with the reviewer and the sentence has been updated to read: “This method with only slight modifications, if any, can be applied to the purification of SHB-SAPNs when a new antigen of interest is added”.

15. Does the selection marker of the expression vector matter? (regarding ampicillin allergy in humans) In a final protein-based product there should be no left-over antibiotic after a thorough purification. This does not seem like a sentence necessary to the discussion of the work.

It is a good question. The FDA does not recommend using β-lactam antibiotics because they are used in humans and there may be hypersensitivity or allergic reactions. This recommendation is outlined in the FDA guideline, "Points to Consider in the Characterization of Cell Lines Used to Produce Biologicals."

16. The resolution of Fig 3a could be improved

We tried to improve the quality of Figure 3a. The chromatogram was exported from the HPLC software in the highest as possible resolution. The Figure has been saved in a Tiff format with the requested 300 dpi resolution. However, we will work with the journal’s production team to further improve the resolution if it is required.

17. Why are multiple bands observed in lanes 6&7 of Fig 4. No reference to these bands are made in the figure caption

These bands are dimers of the protein which tend to happen with coiled-coils structures. These bands have been now referenced in the figure caption.

18. Is there a reason for presenting the DLS data in Fig 5a in terms of %volume rather than the more analytically correct %intensity?

The reviewer is right. DLS measures the intensity of scattered light. Volume is then mathematically calculated. Since the size range of the SHB-SAPN particles is relatively wide, the % volume presentation of the size distribution correlates better with the results of the EM.