## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
2-aminobenzamide, 2-AB | Sigma, China
96-well collection plate | AXYGEN
96-well filter plate | Pol | 0.45 um GHP
96-well monolithic plate | BIA Separations
96-well plate rotor | Eppendorf Co., Ltd, Germany | T_1087461900
Acetic acid | Sigma, China
Acetonitrile | Huihai Keyi Technology Co., Ltd, China
Ammonium bicarbonate | Shenggong Biological Engineering Co., Ltd, China
Ammonium formate | Beijing Minruida Technology Co., Ltd.
Constant shaking incubator/rocker | Zhicheng analytical instrument manufacturing co., Ltd, China | ZWY-10313
Dextran Calibration Ladder/Glycopeptide column | Watts technology Co., Ltd, China | BEH column
Dimethyl sulfoxide (DMSO) | Sigma, China
Disodium phosphate | Shenggong Biological Engineering Co., Ltd, China
Electric ovens | Tester instruments Co., Ltd | 202-2AB
Empower 3.0 | Waters technology Co., Ltd, America
Ethanol | Huihai Keyi Technology Co., Ltd, China
Formic acid | Sigma, China
GlycoProfile 2-AB Labeling kit | Sigma, China
HCl | Junrui Biotechnology Co., Ltd, China
High-speed centrifuge | Eppendorf Co., Ltd, Germany | 5430
Igepal | Sigma, China
Low temperature centrifuge | Eppendorf Co., Ltd, Germany
Low temperature refrigerator | Qingdao Haier Co., Ltd
Manifold 96-well plate | Watts technology Co., Ltd, China | 186001831
Methanol | Huihai Keyi Technology Co., Ltd, China
Milli-Q pure water meter | Millipore Co., Ltd, America | Advantage A10
NaOH | Shenggong Biological Engineering Co., Ltd, China
PH tester | Sartorius Co., Ltd, Germany | PB-10
Phosphate buffered saline, PBS | Shenggong Biological Engineering Co., Ltd, China
Pipette | Eppendorf Co., Ltd, Germany | 4672100, 0.5-10μl & 10-100μl & 20-200μl & 1000μl
PNGase F enzyme | Sigma, China
Potassium dihydrogen phosphate | Shenggong Biological Engineering Co., Ltd, China
Propan-2-ol | Huihai Keyi Technology Co., Ltd, China
SDS | Sigma, China
Sodium chloride | Shenggong Biological Engineering Co., Ltd, China
Sodium cyanoborohydride (NaBH3CN) | Sigma, China
Spectrophotometer | Shanghai Yuanxi instrument Co., Ltd | B-500
Transfer liquid gun | Smer Fell Science and Technology Co., Ltd, China | 4672100
Tris | Amresco, America
Ultra-low temperature refrigerator | Thermo Co., Ltd, America | MLT-1386-3-V; MDF-382E
Ultra-performance liquid chromatography | Watts technology Co., Ltd, China | Acquity MLtraPerformance LC
Vacuum Pump | Watts technology Co., Ltd, China | 725000604
Volatilizing machine/Dryer | Eppendorf Co., Ltd, Germany | T_1087461900
Vortex | Changzhou Enpei instrument Co., Ltd, China | NP-30S
Water-bath | Tester instruments Co., Ltd | DK-98-IIA
Weighing balance | Shanghai Jingke Scientific Instrument Co., Ltd. | MP200B

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=