Screenshots (SS )for insertion into the video (2019-12-16)

The text in Blue refers to the accompanying spoken text to explain the screen shot. Dur is suggested exposure time of the screen shot.

SS01  Discarded ________________________________________________________________________

SS02 in 2.4.1.  Dur: 25 sec Text: This and the following images will be acquired with the Andor Solis camera control software, using the settings shown on the right. The red arrowhead points to the acquisition button. The present image is called the "yellow image". It shows the autofluorescent structures together with the iGluu -expressing structures in the striatum.

SS03 in 2.5.1 Dur: 7 sec Text: Here you see the "red image" with the autofluorescence isolated by the 600 nanometer filter.

SS04 in 2.6.1. Dur: 7 sec Text: After rescaling the fluorescence intensity you see the autofluorescence more clearly.

SS05 in 2.7.1. Dur: 25 sec Text: You can now compare the original "yellow" raw image on the left with the result of  subtraction on the right and clearly distinguish the bright iGluu-positive structures, including presynaptic varicosities of corticostriatal axons.

SS00 in 3.1.2. Dur: 15 sec Text: This is the tip of the glass pipette just pulled. When filled with extracellular salt solution it will have a resistance of about 10 MegOhms.

SS06 in 3.3.1. Dur: 15 sec Text: The two images are now loaded, and you can see the position of the stimulation pipette next to an iGluu-expressing varicosity.

SS07 3.5.1. Dur: 5 sec Text: After zooming in you see the varicosity selected for further test and the nearby stimulation pipette.

SS08 4.2.1. Dur: 10 sec Text: The cross is now on the center of the bouton of interest. This position is to be determined for focal laser illumination of this bouton.

SS09 3.1.1. Dur: 5 sec Text: No text needed

SS10 4.4.1.-4-4-3 Dur: 15 sec Text: The calculated coordinates have been fed into the laser positioning system. You are now using the Rapp UGA-42 software and have selected the settings for focal illumination of the synapse of interest.

SS11 4.5.1.-4.6.1. Dur: 15 sec Text: You have turned back to the other screen with the display of the camera control software Andor Solis. In the center of the white square you see the small Region Of Interest where our synapse of interest resides. On the right side you check your acqusition settings. When ready you activate the Take signal button.

SS12 4.7.1 Dur: 25 sec Text: To synchronize and to control all peripheral devices you need a master generator software. Here you use the TIDA software from HEKA. It generates the TTL trigger pulse to synchronize illumination, stimulation and acquisition. You see a pair of biphasic electrical pulses delivered to the stimulation pipette at an interval of 50 msec. In the presence of tetrodotoxin the release of glutamate is initiated and the fluorescence signal is acquired from the synapse of interest for detection of the glutamate elevation.

SS13 5.1.2-5.2.1. Dur: 20 sec Text: You now see the Region Of Interest before the onset of stimulation. The number of suprathreshold pixels can be used to identify corticostriatal terminals according to the size of the varicosity expressing the fluorescent sensor. On the left you find a list of choices for further quantification.

SS14 5.3.1. Dur: 20 sec Text:   This is a display of the responses to the single synapse activation. The boxed area in image on top shows the pixels with a fluorescence increase larger than four standard deviations of the resting fluorescence, prior to stimulation. The traces on the bottom display the fluorescence signal against time.

SS15 5.5.1. Dur: 10 sec Text: You now look at the averaged fluorescence transient calculated from all suprathreshold pixels of the Region Of Interest. This example shows a average response from an apparently healthy synapse because the values of TauD are much below the critical 15 msec.

SS16 5.6.1. Dur: 10 sec Text: This is the trace from a single pixel, in this case the pixel with the strongest elevation of the iGluu fluorescence.