## Slide 1
2.2.3 There is no any manipulations with software.
Parameters mentioned in 2.1.5
Rectangular scanning area for the bouton searching mode 2.3
Lase control software (Rapp OptoElectronics UGA)
Parameters mentioned in 2.1.5 and
3.1.4
Button to add the rectangular sequence
2.2.4 Preparation of the laser control software for the searching mode

## Slide 2
2.2.5 Acquisition of image with both autofluorescence and iGluu -positive structures using a high pass filter at 510 nm ("yellow image").
Recorded area (1px=0.2µm)
Settings,
mentioned in
2.1.1 and 2.1.8
Illuminated
with laser
area
Acquisition button
Camera control software (Andor SOLIS)

## Slide 3
2.2.6 Acquisition of image with autofluorescence alone using a high pass filter at 600 nm (“red image").

## Slide 4
2.2.7 Rescaling of the “red image“ (autofluorescence only).
Rescaling button

## Slide 5
2.2.7 Result of the subtraction of “red image” from “Yellow image”
Scaled “Yellow image”
Result of subtraction
Bright elements are
iGluu-positive structures
Dark elements are
autofluorescence
Grey pixels are
background

## Slide 6
2.3.2 Positioning of the stimulation electrode
“Yellow image” with electrode
Subtracted image with electrode
Image shows the position of the stimulation electrode near from the iGluu bouton, shown on the previous slide

## Slide 7
2.3.2 Positioning of the stimulation electrode
Magnified image of the stimulation electrode acquired with infra-red ilumination.

## Slide 8
2.3.2 Positioning of the stimulation electrode
Same view filed, but acquired with laser illumination (note iGluu bouton in the centre and position of the electrode)

## Slide 9
3.1.1 Determination of the bouton XY coordinates
The cross shows the bouton centre and has coordinates X=941, Y =983 px
Coordinates
of the cross

## Slide 10
2.2.4,3.1.2-3.1.4 Determination of the bouton XY coordinates
Lase control software (Rapp OptoElectronics UGA)
Coordinates
of the laser
calculated
In 3.1.2
Laser pulse parameters (3.1.3)
Parameters mentioned in 3.1.4
Button to add the single point sequence

## Slide 11
3.1.5-3.1.6 Recorded area
Take signal button is activated
Recorded area
Settings,
mentioned in
3.1.5
Camera control software (Andor SOLIS)

## Slide 12
3.1.7-3.1.8. Electrical stimulation of the bouton
Program (HEKA TIDA) for the electrical stimulation and for the devices triggering and synchronization
Trace shows stimulation voltage given to the 4 MOhm
stimulation electrode

## Slide 13
3.2.1.-3.2.2. Determination of the bouton size (Please, find “Original record for WT mouse.tiff” with original data)
Home written analysis program
Image of the iGluSnFr fluorescence intensity at rest (F ).
The red line shows 12 pixels with the average rest intensity more than mean + 3 SD intensity of all pixels at rest.
Traces of iGluSnFr fluorescence intensities for each pixel
Red traces shows 12 suprathreshold pixels

## Slide 14
3.2.3, 3.2.5. DF/F transients for the bouton shown on the previous slide
Image of DF/F transients distribution in 2D space.
The red line shows 60 pixels the DF/F amplitude during first stimulation more than 4 SD of DF/F values at rest.
Traces of DF/F transients for each pixel
Red traces shows 60 suprathreshold pixels
1px = 0.04 µm2

## Slide 15
3.2.3 Determination of Determine the time constant of decay TauD of ΔF/F.
Mean ΔF/F trace for pixels selected on the previous slide
Red lines show monoexponential fittings curves.
TauD for first response equal -1.67 ms, for second – 1.22 ms

## Slide 16
3.2.4 Trace with maximal ΔF/F amplitude
Trace with maximal ΔF/F amplitude
Red lines show monoexponential fittings curves.
TauD for first response equal -0.96 ms, for second – 0.68 ms

## Slide 17
3.2.5 Trace with maximal ΔF/F amplitude
Trace showing the number of supra-threshold pixels at each time point.
The virtual diametr is calculated according formula:

## Slide 18
Additions
For better illustration of 3.2.1. – 3.2.5. I have added a video (Stack.avi) of the bouton stimulation shown on other slides.
To demonstrate the difference in the synaptic Glu release between WT and Huntington HET and HOM mice I have added following video (Q175_iGluSnFr-ultrafast_WT_HET_HOM_2fps.mp4)
To help you prepare the scrip I have add one of my presentation (AD_180314_v1.pptx) with some additional videos and explanations.