# Submission ID #: 60136

# Scriptwriter Name: Anastasia Gomez

# Project PageLink:https://www.jove.com/account/file-uploader?src=18341528

# Title: Optimized Griess Reaction for UV-Vis and Naked-Eye Determination of Anti-Malarial Primaquine

# Authors and Affiliations:

Yalan Wu#, Shengjun Wu#, Xin-an Huang, Qingping Zeng, Tao Deng*, Fang Liu*

Institute of Tropical Medicine, Guangzhou University of Chinese Medicine, Guangzhou, China

# These authors contributed equally to this work

# Corresponding Author:

# Tao Deng 		dengtao@gzucm.edu.cn

# Fang Liu		fangliu@gzucm.edu.cn

# Email addresses for Co-authors:

# Yalan Wu		wuyalan968825@163.com

# Shengjun Wu		wsj@gzucm.edu.cn

# Xin-an Huang		xinanhuang@gzucm.edu.cn

# Qingping Zeng	qpzeng@gzucm.edu.cn

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?N

2. Does your protocol include software usage? Y

If yes, we will need you to record usingscreen recording softwareto capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

2.1, 2.2,2.3, 3.1, 3.2, 3.3

4.What is the single most difficult aspect of this procedure and what do you do to ensure success?Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

4.1, 4.2

5.Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for theJoVE Dedicated Author Webpage.Here is one example if you wish to take a look.

- REQUIREDInterview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Fang Liu: Primaquine is a well-known anti-malarial drug. The determination of PMQ in biological fluids is often required to assess the pharmacokinetics. Currently, the major techniques for primaquine determination are based on HPLC. The procedures of HPLC can be quite complicated and time consuming. This method offers a simple way for rapid detection of primaquine.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Fang Liu: This Griess method is potentially the most simple and cost-effective way for primaquinequantification. Moreover, this method can offer possibilities for naked-eye primaquine detection without the requirement of any equipment.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Fang Liu:Besides serum and urine samples, this method could also be used to quantitatively determine primaquine in pharmaceutical formulations, for example the determination of primaquine in tablets for manufacturing quality control.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Introduction of Demonstrator: (Said by you on camera)

  - Fang Liu: Demonstrating the procedure will be Miss.Yalan Wu AND Mr. Shengjun Wu, two grad students from my laboratory.

    - INTERVIEW: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Section - Protocol

- Synthesis of Colored Azos and UV-Vis Measurements

  - Start by dissolving 0.1 millimoles of aniline and primaquine biphosphate into 10 milliliters of 5% phosphoric acid solution in a 25-milliliter round bottom flask [1]. Put the flask on an ice bath and add a stir bar [2], then put the ice bath on a stir plate [3]. Videographer: This step is important!

    - WIDE: Establishing shot of talent mixing reagents at the lab bench.

    - Talent putting the flask in an ice bath and adding a stir bar.

    - Talent putting the flask on a stir plate.

  - Dissolve 6.9 milligrams of sodium nitrate in 1 milliliter of cooled water [1] and add it to the flask dropwise [2]. Remove the ice bath [3] and keep the reaction mixture stirring at room temperature [4]. Videographer: This step is important!

    - Talent dissolving sodium nitrate in water.

    - Talent adding the sodium nitrate to the flask dropwise.

    - Talent removing the ice bath.

    - Flask stirring at room temperature.

  - Monitor the reaction with a silica gel coated thin-layer chromatography, or TLC, plate, using a dichloromethane-methanol mixture as the eluent [1]. The azo product exhibits colored spots on the TLC plate. Stop the reaction when the PMQ spots disappear [2]. Videographer: This step is important!

    - TLC plate setup.

    - Colored spots from the azo product.

    - TLC plate with the missing spot for PMQ.

  - Adjust the pH of the reaction mixture to greater than 10 by adding sodium hydroxide solution on an ice bath [1]. Then, use a 50-milliliter separation funnel to extract the mixture 3 times with 20 milliliters of ethyl acetate per extraction [2]. When finished, combine and concentrate the organic phase under vacuum using a rotary evaporator [3].

    - Talent adding sodium hydroxide to the reaction mixture.

    - Talent extracting the mixture with the separation funnel.

    - Talent using the rotary evaporator.

  - Purify the residues using flash chromatography with reverse-phase silica gel under normal pressure [1-TXT]. Then, dry the solution by lyophilization to obtain the desired azo product [2].

    - Talent performing flash chromatography.

    - Talent drying the product solution.

  - To measure the UV-Vis absorption spectra, dissolve the pure azo in distilled water or 5% phosphoric acid and use a spectrophotometer to record the absorption spectra at room temperature [1].

    - Talent using the spectrophotometer.

- PMQ Determination and Calibration Curves

  - To measure PMQ absorption, start by dissolving 4-methoxyanaline in 0.2 molar hydrogen chloride for a 200 millimolar aniline solution [1]. Then, dissolve sodium nitrite in distilled water to obtain a 5 millimolar solution [2]. Keep the solutions at 4 °C [3]. Videographer: This step is important!

    - Talent dissolving 4-methoxyanaline in hydrogen chloride.

    - Talent dissolving sodium nitrite in distilled water.

    - Talent putting both solutions in the fridge.

  - Add 100 microliters of the aniline solution into a 96-well plate [1], then add 50 microliters of the PMQ-containing sample and mix it with the aniline [2]. Add 50 microliters of the sodium nitrite solution to the plate and mix the contents by pipetting [3]. Videographer: This step is important!

    - Talent adding the aniline solution to the plate.

    - Talent adding the sample to the plate.

    - Talent adding the sodium nitrite solution to the plate and pipetting up and down. Videographer: Obtain multiple reusable takes of this shot because it will be reused.

  - Keep the plate at room temperature for 15 minutes [1], then measure the absorbance of the solution at 504 nanometers. Export the data as a spreadsheet file for further analysis [2-TXT].

    - Plate at room temperature.

    - Talent putting the plate in the spectrophotometer and measuring absorbance. TEXT: Measure 3 X Videographer: Obtain multiple reusable takes of this shot because it will be reused.

    - Talent exporting data.

  - To construct a calibration curve for PMQ measurements in urine samples, prepare PMQ solutions in synthetic urine at concentrations of 0, 1, 2, 5, 10, 20, 50, 100, and 200 micromolar [1].

    - Talent diluting PMQ in synthetic urine, with the concentrations labeled on the tubes. Author NOTE: (PMQ concentration labels have been filmed in the section 3.2.1.), it could be reused here.

  - Prepare the PMQ detection reaction and measure absorbance as previously described [1], then generate a calibration curve based on the 504-nanometer absorbance and the PMQ concentrations [2].

    - Use 3.3.2.

    - SCREEN: JoVE-SCREEN-3.5.2. Absorbance data being opened on a spreadsheet.

  - Subtract the absorbance values of the samples without PMQ from the test measurements [1] and perform a linear fit to generate a linear equation Y equals a X plus b, where Y is the absorbance intensity and X is the concentration of PMQ [2-TXT].

    - SCREEN: JoVE-SCREEN-3.6.1. Talent subtracting blank measurements from the other measurements.

    - SCREEN: JoVE-SCREEN-3.6.2. Talent fitting a line to the data.TEXT: Y = aX + b

  - To construct a calibration curve for PMQ measurement in human serum samples, prepare PMQ solutions in human serum with PMQ concentrations of 0, 1, 2, 5, 10, 20, 50, 100, and 200 micromolar [1]. Prepare the PMQ reaction [2], measure absorbance, and construct a calibration curve as previously described [3].

    - Use 3.4.1.

    - Use 3.2.3.

    - Use 3.6.1.

- PMQ Extraction from Serum

  - Add 6 milliliters of 7 to 1 ethyl acetate-hexane into 2 milliliters of PMQ-containing serum in a 15-milliliter centrifuge tube [1]. Add 100 microliters of 2-molar sodium hydroxide solution to the extraction system [2] and vortex the tube for 30 seconds [3]. Videographer: This step is difficult!

    - Talent adding the ethyl acetate-hexane to the centrifuge tube.

    - Talent adding sodium hydroxide to the tube.

    - Talent vortexing the tube.

  - Then, collect the organic layer [1] and concentrate it with a rotary evaporator under vacuum [2]. Dissolve the residue in 200 microliters of distilled water [3] and filter through a disk shaped, 220 nanometer pore size membrane to remove insoluble lipid components [4]. Videographer: This step is difficult!

    - Talent collecting the organic layer.

    - Talent using the rotary evaporator.

    - Talent dissolving the residue.

    - Talent filtering the solution.

  - Construct a calibration curve for PMQ in distilled water [1]. Then prepare a detection reaction with the extracted solution in a 96-well plate as previously described and measure absorbance [2]. Then, determine the concentration of PMQ according to the linear equation from the calibration curve [3].

    - Use 3.6.1.

    - Use 3.3.2.

    - SCREEN: JoVE-SCREEN-4.3.3. Talent entering absorbance into the equation and solving for concentration.

# Section – Results

- Results: Optimization and Calibration of the PMQ Detection Reaction

  - Reaction conditions were optimized by using various anilines to couple with PMQ through the Griess reaction [1]. Theoretical calculations were carried out and the results were in good agreement with optical measurements [2-TXT].

    - Figure 2.

    - Figure 2. Video Editor: Emphasize 2A.TEXT: Average error 3.1%

  - It was determined that 4-methoxyaniline was optimal for the PMQ detection reaction due to its good performance in reaction rate, product solubility, and stability[1]. Moreover, the azo product from 4-methoxyaniline is red in color, which is easy to distinguish with naked eyes[2].

    - Figure 3.

    - Figure 3. Video Editor: Emphasize 3B.

  - The effects ofpHon the UV-vis absorption of the azo productand the PMQ solutions were tested [1]. While increasing pH from 1.0 to 7.0 does not change absorbance [2], basic pH has a significant effect [3].

    - Figure 4. Video Editor: Emphasize A when VO says ‘azo product’ and B when VO says ‘PMQ solution’.

    - Figure 4. Video Editor: Emphasize the pH 1 – 7 curves in A and pH 4 – 7 bars in B.

    - Figure 4. Video Editor: Emphasize the pH 8 – 9 curves in A and pH 8 – 9 bars in B.

  - Calibration curves were constructed for the detection of PMQ in urine and serum samples [1]. A linear relationship was found when PMQ ranges from 0 to 200 micromolar in urine and from 10 to 200 micromolar in serum [2].

    - Figure 6.

    - Figure 6. Video Editor: Emphasize the equations and the R2 values on both plots.

  - To simulate a real PMQ-containing serum, PMQ was added into human serum at 0, 0.2, 0.5, 1.0, 2.0 micromolar concentrations [1]. Using this protocol, the concentrations recovered were found to be 0.02, 0.14, 0.44, 0.90 and 1.78 micromolar, resulting in 90% recovery for concentrations over 0.5 micromolar [2].

    - Figure 7 C. Video Editor: Emphasize the purple bars. If possible, hide the pink bars.

    - Figure 7 C. Video Editor: Emphasize the pink bars. If possible, have the pink bars appear as VO speaks.

# Section - Conclusion

- Conclusion Interview Statements:(Said by youon camera) - All interview statements may be edited for length and clarity.

  - Yalan Wu: It should be noted that the time for the reaction to reach its saturated intensity is temperature dependent. Normally, 12-20 minutes is enough for temperature between 20-30゜C.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.Suggested B-roll: 3.3.1.

  - Yanlan Wu: Our protocol shows an example of the old Griesschemistry for primaquine detection. Similar design is alsosuitable for other bio-relevant molecules that have similar chemical reactivity as primaquine.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.