# Submission ID #: 60138

# Scriptwriter Name: Anthony Iannazzi

# Project Page Link: http://www.jove.com/files_upload.php?src=18342138

# Title: Immunohistochemistry Test for the Lyssavirus Antigen Detection from Formalin-Fixed Tissues

# Authors and Affiliations:

# Michael Niezgoda1, Panayampalli Subbian Satheshkumar1

# 1Poxvirus and Rabies Branch, Division of High-Consequence Pathogens and Pathology, National Center for Emerging and Zoonotic Infectious Diseases, Centers for Disease Control and Prevention, Atlanta, GA

# Corresponding Author:

# Michael Niezgoda 				man6@cdc.gov

# Email Addresses for Co-author:

# Panayampalli Subbian Satheshkumar 	xdv3@cdc.gov

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  - N

2. Does your protocol include software usage? (Y/N) - N

If yes, we will need you to record using screen recording software to capture the steps. If you

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

3.1.3, 3.2.1 (both steps just show how the tissue will be before and after embedding), 4.1.1, 4.2.1, 4.3.1, 5.1.1, 5.1.2, 5.1.3, 5.1.4, 5.2.1, 5.2.2, 5.2.3, 5.2.4, 7.2.1, 7.2.2, 7.3.2, 7.4.1, 7.5.2, 7.6.3, 7.6.4

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

5.1.1, 5.1.2, 5.1.3

5. Will the filming need to take place in multiple locations? (Y/N) - N

If yes, how far apart are the locations?

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Mike Niezgoda: Tissues used for immunohistochemistry and for diagnostic histopathology are routinely fixed in 10% phosphate-buffered formalin. The detection of rabies virus antigen in brain tissue that has been fixed in formalin presents a unique challenge and the IHC test has been found to be a sensitive and specific method for rabies virus antigen detection [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - P.S. Satheshkumar: The primary advantage of IHC over other detection methods is that antigens can be detected in relation to tissue and cellular morphology. With IHC, localization of rabies antigen in brain and non-brain tissues provide additional information that could not be obtained through routine hematoxylin and eosin stained sections [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera

OPTIONAL Interview Statements:

  - Mike Niezgoda: Rabies diagnostic testing is important for the initiation of post-exposure prophylaxis in humans exposed to rabies virus [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera

  - P.S. Satheshkumar: IHC is one of the most commonly performed assay on formalin fixed tissues. With specific antibodies, it can used for the detection of respective pathogens [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera

# Section - Protocol

- Formalin Fixation of Tissues

  - To begin this procedure, place 3 – 5 millimeter pieces of brain tissues [1] – collected after necropsy – into a 10 percent buffered formalin solution for 24 – 72 hours [2].

    - Establishing shot of the talent approaching the work area where the brain tissue is located.

    - Talent places the pieces of brain tissue into a vessel containing buffered formalin solution.

  - Record the approximate tissue weight, the tissue type, and the volume of formalin [1-TXT]. Place the tissues in 70 percent ethanol for longer tissue storage after formalin fixation and prior to processing [2].

    - Talent records the tissue weigh/type and the volume of formalin in a lab notebook. TEXT: Document and maintain records on fixation times.

    - Talent places the tissues into a vessel of ethanol.

- Tissue Processing

  - Following the specimen fixation, dissect the tissue to include the important brain areas [1] – such as cross sections of the brainstem, the cerebellum, or the hippocampus– each cut to a thickness between 3 and 5 millimeters [2]. Place the tissues into processing cassettes [3].

    - Talent dissects the brain tissue.

    - Close up pan over the brain tissues, showing the mentioned sections.

    - Talent places the tissues into processing cassettes.

  - Process the tissue cassettes for paraffin wax infiltration [1], embed them into paraffin blocks [2], and section them on a microtome [3].

    - Talent processes the tissue cassettes for paraffin wax infiltration. This shot is representative of the whole process, so any action in this process can be filmed.

    - Talent embeds the cassettes in paraffin blocks. This shot is representative of the whole process, so any action in this process can be filmed.

    - Talent sections the paraffin blocks on a microtome. This shot is representative of the whole process, so any action in this process can be filmed.

- Preparation of Materials/Staining Dishes

  - First, set up the staining dish as outlined in Figure 1 of the text protocol [1] [2]. Fill each dish with 250 milliliters of the prepared solution [3].

    - Talent sets up the staining dish.

    - LAB MEDIA: Figure 1.

    - Talent fills a dish with solution.

  - To prepare the AEC substrate stock solution, use a glass pipette to dissolve one 20 milligram tablet of AEC in 5 milliliters with N,N-dimethylformamide [1].

    - Talent adds N,N-dimethylformamide to a tablet of AEC to dissolve it.

  - To prepare the protease stock solution, dissolve 7 milligrams of the protease in 200 milliliters of PBS [1]. To prepare the rinse buffer, add 100 milliliters of Tween-80 to 990 milliliters of PBS [2] and mix well to form a homogenous solution of PBT-T [3].

    - Talent dissolves protease in PBS.

    - Talent adds Tween-80 to PBS.

    - Talent mixes the Tween-80 solution.

- Deparaffinization and Tissue Rehydration

  - Using a microtome, make a 5 micrometer paraffin section [1]. Float the section on a water bath at 38 degrees Celsius [2] and collect it onto glass slides [3]. Label the slides with a reagent resistant pen [4].

    - Talent, at the microtome, takes a paraffin section.

    - That floats the section on a water bath.

    - Talent collects the section on a glass slide.

    - Talent labels the slide with a reagent resistant pen.

  - Place the slides onto a tray [1] and melt in an over at 55 – 60 degrees Celsius for 1 hour [2-TXT]. Then, remove the slides from the oven [3] and immediately deparaffinize them using 3 consecutive xylene rinses of 5 minutes each [4].

    - Talent places the slides onto a tray.

    - Talent places the slide (on the tray) into an oven. TEXT: Do not raise temperature > 60 ˚C.

    - Talent retrieves the slides/tray from the oven.

    - Talent rinses the slides in xylene.

  - After this, rehydrate the sections on the slide by sequential immersions in decreasing dilutions of ethanol to deionized water as outlined in the text protocol [1].

    - Talent immerses the slides in ethanol. Make sure all of the vessels of ethanol/water are visible in the shot. This shot is representative of the entire rehydration process, so any action in this process can be filmed for this shot as long as it communicates that other rinses will occur.

- Proteolytic Antigen Retrieval

  - Treat the slides with the protease for 30 minutes for proteolytic antigen retrieval [1]. Then, rinse the slides in PBS-T for 10 minutes [2] and treat them with 3 percent hydrogen peroxide for 10 minutes [3].

    - Talent treats the slides with the protease.

    - Talent rinses the slides in PBS-T.

    - Talent treats the slides with hydrogen peroxide.

  - After this, wash the slides again with PBS-T for 10 minutes [1].

    - Talent washes the slides with PBS-T.

- Staining Procedure

  - To begin, remove one slide from the buffer – making sure to only handle one slide at a time while the others remain submerged [1] – and use a paper tower to blot off excess buffer from around the tissue section [2-TXT].

    - Talent removes one slides from the buffer.

    - Talent uses a paper towel to blot off excess buffer from around the tissue section on the slide. TEXT: Do not disturb the tissue section.

  - Place the slides into a humidity chamber, and incubate with normal goat serum at room temperature for 15 minutes [1-TXT]. Next, incubate the slides in the humidity chamber with the optimal pre-determined dilution primary anti-rabies antibody and negative control antibodies at room temperature for 60 minutes, with no washes in between [2].

    - Talent places the slides into a humidity chamber with normal goat serum. TEXT: See text for details on preparing humidity chamber.

    - Talent places the slides into a humidity chamber with primary anti-rabies antibody and negative control antibodies.

  - After this, wash the slides with PBS-T for 10 minutes [1] and incubate in a humidity chamber with the biotinylated antibody at room temperature for 15 minutes [2]. Wash the slides again with PBS-T for 10 minutes [3].

    - Talent washes the slides with PBS-T.

    - Talent places the slides into a humidity chamber with the biotinylated antibody.

    - Talent washes the slides with PBS-T.

  - Incubate the slides in a humidity chamber with Streptavidin-HRP complex at room temperature for 15 minutes [1] and wash with PBS-T for 10 minutes [2]. Then, incubate with AEC in a humidity chamber at room temperature for 10 minutes [3-TXT].

    - Talent places the slides into a humidity chamber with Streptavidin-HRP complex.

    - Talent washes the slides with PBS-T

    - Talent places the slides into a humidity chamber with AEC. TEXT: Prepare AEC just prior to use; See text for details on preparing AEC.

  - Wash the slides in deionized water for 10 minutes [1] and counterstain with Gill’s Hematoxylin diluted 1-to-2 with deionized water for 2 minutes [2]. After this, rinse off the excess Hematoxylin by dip rinsing the slides in deionized water [3].

    - Talent washes the slides with deionized water.

    - Talent counterstains the slides with Gill’s Hematoxylin. This shot is representative of the entire counterstaining process, so any action taken in this process can be filmed for this shot.

    - Talent dips the slides in deionized water.

  - Rinse the slides in Scott’s Tap water for 30 seconds [1] and wash in deionized water for 10 minutes [2]. Remove the slides – on at a time – and mount them with water soluble mounting medium [3]. Then, use a light microscope to read the slides [4].

    - Talent rinses the slides in Scott’s Tap water.

    - Talent washes the slides in deionized water.

    - Talent removes a slide from the water and mounts it with water soluble mounting medium.

    - Talent, at a light microscope, reads a slide.

# Section – Results

- Results: Analysis of the Immunohistochemistry Test

  - In this study, an immunohistochemistry test is demonstrated for the detection of rabies virus antigen as an alternative diagnostic test for formalin-fixed tissues [1]. A representative immunohistochemistry staining result of positive and negative control samples in different brain tissues is shown here [2] including the brainstem [3], the cerebellum and Purkinje cells [4], and the hippocampus [5].

    - LAB MEDIA: Figure 2. Video Editor: Show text saying “Control” over Figures 2C, 2F, and 2I.

    - LAB MEDIA: Figure 2.

    - LAB MEDIA: Figure 2. Video Editor: Emphasize Figures 2A – 2C.

    - LAB MEDIA: Figure 2. Video Editor: Emphasize Figures 2D – 2F.

    - LAB MEDIA: Figure 2. Video Editor: Emphasize Figures 2G – 2I.

  - The magenta red staining – which indicates the color development by using AEC substrate against the blue counterstained background – is due to the reactivity of antibodies against the rabies antigen [1].

    - LAB MEDIA: Figure 2. Video Editor: Emphasize/enhance the red staining (in the figures where it appears – 2A, 2B, 2D, 2E, 2G, and 2H).

  - A positive result in immunohistochemistry corresponds to the magenta red staining in the tissue sections [1]. The staining of cytoplasmic inclusions and granular inclusions of varying size are indicative of samples positive for RABV infections [2]. Samples are deemed negative if no specific red staining or only the blue background due to hematoxylin was observed [3].

    - LAB MEDIA: Figure 2. Video Editor: Hold the emphasis from 8.2.1.

    - LAB MEDIA: Figure 2. Video Editor: Hold the emphasis from 8.2.1

    - LAB MEDIA: Figure 2. Video Editor: Emphasize Figures 2C, 2F, and 2I.

  - In addition to the positive staining, the distribution of inclusions could provide indirect quantification of levels of rabies antigen in the sample, which might correspond to the viral load of the tissue samples [1]. Irrespective of the levels of distribution, any specific staining will classify the sample as positive for RABV antigen detection [2].

    - LAB MEDIA: Figure 2.

    - LAB MEDIA: Figure 2.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Mike Niezgoda: Tissues should be fixed adequately in formalin and avoid freezing the tissues during this process [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera

  - P.S. Satheshkumar: If rabies antigen is detected by IHC, then molecular techniques can be performed on paraffin sections to determine the lyssavirus variant based on RNA sequence information [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera

  - Mike Niezgoda: Reagents like xylene, formalin, ethanol should be handled in fume hoods. Care should be taken while handling AEC, as it is a carcinogen [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera