## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
Agarose Standard | Euromedex | Unkown | Standard PCR
AmpliTaq Gold 360 Master Mix | Applied Biosystems | 4398876 | Standard PCR
CellTram 4r Oil | Eppendorf | 5196000030 | Control the cells during the microaspiration process
Corning cell culture flasks 150 cm2 | Sigma-aldrich | CLS430825 | Culture
Corning cell culture flasks 25 cm2 | Sigma-aldrich | CLS430639 | Culture
Corning cell culture flasks 75 cm2 | Sigma-aldrich | CLS430641 | Culture
DFC 425C camera | LEICA | Unkown | Observation/Monitoring
Eclipse TE2000-S Inverted Microscope | Nikon | Unkown | Observation/Monitoring
EZ1 advanced XL | Quiagen | 9001874 | DNA extraction
Glasstic Slide 10 With Counting Grids | Kova International | 87144E | Cell count
Mastercycler nexus | Eppendorf | 6331000017 | Standard PCR
Microcapillary 20 µm | Eppendorf | 5175 107.004 | Microaspiration and release of cells
Micromanipulator InjectMan NI2 | Eppendorf | 631-0210 | Microcapillary positioning
Nuclease-Free Water | ThermoFischer | AM9920 | Standard PCR
Optima XPN Ultracentrifuge | BECKMAN COULTER | A94469 | Virus purification
Petri dish 35 mm | Ibidi | 81158 | Culture/observation
Sterile syringe filters 5 µm | Sigma-aldrich | SLSV025LS | Filtration
SYBR green Type I | Invitrogen | unknown | Fluorescent molecular probes/ flow cytometry
SYBR Safe | Invitrogen | S33102 | Standard PCR; DNA gel stain
Tecnai G20 | FEI | Unkown | Electron microscopy
Type 70 Ti Fixed-Angle Titanium Rotor | BECKMAN COULTER | 337922 | Virus purification
Ultra-Clear Tube, 25 x 89 mm | BECKMAN COULTER | 344058 | Virus purification