# Submission ID #: 60149

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18345493

Title: Isolation of Leukocytes from Human Breast Milk for Use in an Antibody-Dependent Cellular Phagocytosis Assay of HIV Targets

Authors and Affiliations:  Rebecca L. R. Powell and Alisa Fox

Icahn School of Medicine at Mount Sinai, Division of Infectious Diseases

# Corresponding Author:

# Rebecca L. R. Powell, PhD

# Rebecca.Powell@mssm.edu

Email addresses for Co-authors:

Alisa.Fox@mssm.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

n/a

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

n/a

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Rebecca Powell: We developed this rigorous method for isolating cells from human milk to study antibody-dependent cellular phagocytosis, or ADCP, by breast milk phagocytes against HIV targets [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Rebecca Powell: This technique facilitates the relatively quick and simple isolation of breast milk cells to evaluate the capacity of leukocyte populations to perform ADCP [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Rebecca Powell: Demonstrating the procedure will be Alisa Fox, a technician from my laboratory.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by the Institutional Review Board (IRB) under the guidance and authorization of Mount Sinai’s Program for the Protection of Human Subjects (PPHS) using an IRB-approved protocol for obtaining breast milk samples.

# Section - Protocol

- Target Microsphere Preparation

  - After selecting a relevant target antigen, use a commercial kit to biotinylate the protein of interest according to the manufacturer’s protocol [1] and deposit the biotinylated sample into the upper chamber of a spin column [2].

    - WIDE: Talent opening kit, with antigen container visible in frame

    - Talent adding sample to column

  - Add PBS up to 400 microliters [1] and cap the chamber before inserting the column into a collection tube for centrifugation [2-TXT].

    - Talent adding PBS to column, with PBS container visible in frame

    - Talent adding column to collection tube TEXT: 6 min, 9,000 x g, RT

  - After discarding the flow-through, add PBS to 400 microliters for a second centrifugation [1].

    - PBS being added to column, with PBS container visible in frame

  - Discard the flow-through [1], add PBS to 400 microliters [2], and measure the protein concentration by a spectrophotometer [3].

    - Talent discarding flow-through

    - Talent adding PBS, with PBS container visible in frame

    - Talent loading sample onto spectrophotometer

  - To conjugate the biotinylated protein to 1-micrometer microspheres, incubate 6 micrograms of protein [1] with 12 microliters of stock beads in 200 microliters of PBS per plate of conjugated beads [2-TXT] at room temperature for 2 hours with gentle vortexing every 20 minutes [3].

    - Protein being added to tube, with protein tube visible in frame

    - Beads being added to tube with bead container visible in frame

    - Tube being vortexed

  - At the end of the incubation, pellet the protein-conjugated beads by centrifugation [1-TXT] and discard the supernatant [2].

    - Talent placing tube into centrifuge TEXT: 5 min, 21,000 x g, RT

    - Supernatant being discarded

  - After gentle vortexing, resuspend the protein in 1200 microliters of 0.1% BSA in PBS [1-TXT] and wash the tube by centrifugation two more times as just demonstrated [2].

    - Pellet being resuspended, with PBS + BSA container visible in frame TEXT: BSA: bovine serum albumin

    - Talent placing tube into centrifuge

  - After the last wash, resuspend the pellet in 1200 microliters of PBS plus BSA [1].

    - Talent adding PBS + BSA to container, with PBS + BSA container visible in frame

- Antibody-Dependent Cellular Phagocytosis (ADCP) Assay Plate Preparation

  - To set up ADCP assay plates, first prepare 12-microliter dilutions of antibody or the immune serum of interest in 2% BSA in PBS in a round-bottom, 96-well plate [2].

  - Add 10 microliters of protein –conjugated beads per well to the plate for a 2-hour incubation at 37 degrees Celsius [1]

    - Talent adding Ab or serum to wells, with Ab or serum container visible in frame

    - WIDE Talent adding beads to well(s)

  - At the end of the incubation, add 200 microliters of PBS plus BSA [2].

    - Talent adding PBS + BSA to plate, with PBS + BSA container visible in frame

    - Talent placing plate into centrifuge

- Breast Milk Cell Isolation

  - After obtaining human breast milk from healthy lactating women expressed using a pump [1-TXT], within 4 hours of expression, separate the milk contents by centrifugation [2-TXT] and carefully pour off the skim milk and fat, leaving the cell pellet undisturbed [3].

    - WIDE: Talent entering lab with milk or placing milk on bench or similar TEXT: Keep milk at RT before processing

    - Talent adding tube(s) to centrifuge TEXT: 10 min, 800 x g RT

    - Shot of layers and pellet if visible, then supernatant being discarded

  - Wipe the inside of the tube with a lint-free wipe to remove all of the fat from the tube wall [1] and add 10 milliliters of PBS plus HSA [2].

    - Tube being wiped

    - Talent adding HSA to tube, with PBS + HSA container visible in frame

  - Resuspend the pellet with gentle pipetting to avoid cell activation and apoptosis [1] and transfer the cell suspension to a 15-milliliter tube for centrifugation [2-TXT].

    - Pellet being resuspended, with PBS + HSA container visible in frame

    - Talent placing tube(s) into centrifuge TEXT: 5 min, 450 x g, RT

  - After a second wash in PBS plus HSA as just demonstrated [1], gently resuspend the cells in 1-2 milliliters of fresh PBS plus HSA for counting [2].

    - Tubes being placed into centrifuge bucket

    - Pellet being resuspended, with PBS + HSA container visible in frame

- ADCP Assay

  - For form an ADCP assay, quickly invert the prepared ADCP plate to decant the supernatant after the final centrifugation [1] and add 5 x 104 freshly-isolated breastmilk cells in 200 microliters of PBS plus BSA for a 2-hour incubation at 37 degrees Celsius [2].

    - WIDE: Talent inverting plate

    - Talent adding cells to plate, with cell and PBS + BSA containers visible in frame TEXT: Optional: Pre-incubate control cells w/ cytochalasin-D and/or FcBlock

  - At the end of the incubation, centrifuge the cells [1-TXT] and wash the pellets two times in 200 microliters of fresh PBS as demonstrated [2].

    - Talent placing plate into incubator TEXT: 10 min, 930 x g, RT

    - Talent adding PBS to well(s), with PBS container visible in frame

  - After the last wash, stain the cells with 0.5 micrograms/milliliter of fixable viability stain 450 per well in 50 microliters of PBS for 30 minutes at room temperature protected from light [1].

    - Talent adding stain to well(s), with stain container visible in frame

  - At the end of the incubation, pellet the cells for two washes in fresh PBS as demonstrated [1] and stain the cells for the leukocyte markers of interest for 30 minutes at room temperature protected from light [2].

    - Talent placing plate into incubator

    - CD45 antibody being added to plate in 1% BSA + PBS, with CD45 antibody container label visible in frame

  - At the end of the incubation, collect the cells by centrifugation [1] and wash the cells two times in 200 microliters of 1% BSA plus PBS per wash [2].

    - Talent adding plate to centrifuge

    - BSA + HBSS being added to plate, with BSA + HBSS container visible in frame

  - After the last wash, fix the pellets in 200 microliters of 0.5% formaldehyde per well for 30 minutes at room temperature protected from light [1].

    - Formaldehyde being added to well(s), with formaldehyde container visible in frame

- Flow Cytometric Analysis

  - For flow cytometric analysis of the cell samples, set a flow cytometer equipped with a high-throughput plate reader to withdraw 175 microliters of sample and to collect 5000 cells per well [1].

    - WIDE: Talent setting device parameters, with monitor visible in frame

  - Perform the initial gating to eliminate doublets and debris on a forward scatter vs. side scatter plot [1].

    - LAB MEDIA: Figure 1A: JoVE Video Editor please emphasize gate

  - Use a side scatter vs. viability stain plot to eliminate the dead cells [1] and use a side scatter vs. CD45 plot to differentiate the major leukocyte classes [2].

    - LAB MEDIA: Figure 1B: JoVE Video Editor please emphasize red rectangle gate

    - LAB MEDIA: Figure 1C: JoVE Video Editor please emphasize gate

  - For all CD45-positive cells, or for each leukocyte subset of interest, measure the antibody-dependent cellular phagocytosis activity by gating with a marker on the bead-positive cells in a histogram of the appropriate fluorophore channel for the conjugated beads [1].

    - LAB MEDIA: Figure 2A

  - Then calculate the antibody-dependent cellular phagocytosis scores as the median of the fluorescence intensity of the bead-positive cells by the percentage of the total CD45 plus the cells in the positive population [1].

    - LAB MEDIA: Figure 2B

# Section – Results

- Results: Representative Flow Cytometric and ADCP Analyses of HIV Targets

  - Here the gating strategy for eliminating doublets, debris [1], and dead cells is shown [2].

    - LAB MEDIA: Figures 1A and 1B: JoVE Video Editor please emphasize cells in gate in Figure 1A

    - LAB MEDIA: Figures 1A and 1B: JoVE Video Editor please emphasize cells in gate in Figure 1B

  - Between 1-12% of total live cells are typically CD45-positive leukocytes [1], with most of the purported side scatter low-to-intermediate, CD45-low monocytes appearing to be precursors or immature cells based on the side scatter vs. CD45 gating [2].

    - LAB MEDIA: Table 1: JoVE Video Editor please emphasize %CD45+ column

    - LAB MEDIA: Figure 1D: JoVE Video Editor please emphasize M gate/cells w/in M gate

  - The purported granulocytes are defined as side scatter-high, CD45-intermediate cells [1].

    - LAB MEDIA: Figure 1D: JoVE Video Editor please emphasize G gate/cells w/in G gate

  - Measurement of the ADCP activity of freshly-isolated breastmilk cells using an HIV-specific human monoclonal antibody at 1 month post-partum [1] reveals that treatment with actin inhibitor cytochalasin-D and/or Fc receptor-blocking antibodies prior to incubation with antibody-bound-antigen-coupled beads [2] results in ADCP activity at or below that observed in the presence of control antibody [3].

    - LAB MEDIA: Figure 2A: JoVE Video Editor please emphasize 830A histogram

    - LAB MEDIA: Figure 2A: JoVE Video Editor please emphasize FCblock, CytoD, and FcBlock/CytoD histograms

    - LAB MEDIA: Figure 2A: JoVE Video Editor please emphasize 3865 histogram

  - The ADCP score determined for total CD45-positive cells is commonly between 25-35-fold above the background levels [1] defined using a negative control, anti-anthrax monoclonal antibody [2].

    - LAB MEDIA: Figure 2B: JoVE Video Editor please emphasize blue 830A data bars

    - LAB MEDIA: Figure 2B: JoVE Video Editor please emphasize red 3865 data bars

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Rebecca Powell: Every breast milk sample is unique, and some pellets may be hard to see. In addition, the leukocyte populations and therefore ADCP scores may vary immensely from sample to sample [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera