## Tabelle1
Table 4: Description of variables in Equation 1 – 3.
Variable | Unit | Description
tY | [d] | Timepoint of measurement
tX | [d] | Timepoint of preceding measurement
pM | [mbar] | Measured overpressure at tY
pA | [mbar] | Ambient pressure at tY
pAX | [mbar] | Ambient pressure at tX
pS | [mbar] | Standard pressure, 1013,25 mbar acc. DIN 1343
TI | [K] | Incubation temperature
TS | [K] | Standard temperature, 273,15 K (corresponds to 0° C) acc. DIN 1343
VH | [ml] | Headspace volume at tY
VHX | [ml] | Headspace volume at tX
CH4% | [vol%] | Methane concentration according to GC-measurement at tY
CH4%X | [vol%] | Methane concentration according to GC-measurement at tX
VCH4T | [Nml] | Total methane amount in the serum bottle at tY
VCH4R | [Nml] | Residual methane amount in the headspace at tX
VCH4N | [Nml] | Newly produced methane from tX to tY