# Submission ID #: 60164

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18350068

Title: How to Obtain Reliable Visual Event-Related Potentials in Newborns

Authors and Affiliations: Lourdes Cubero-Rego1, Josefina Ricardo-Garcell1, Thalía Harmony1, and María Corsi-Cabrera1,2

1Research Unit in Neurodevelopment, Institute of Neurobiology, National Autonomous University of Mexico

2Sleep Laboratory, Faculty of Psychology, National Autonomous University of Mexico

# Corresponding Author:

# Josefina Ricardo-Garcell

# oojrg@yahoo.com

Email addresses for Co-authors:

lourdes.cubero@gmail.com

thaliah@unam.mx; thaliah@servidor.unam.mx

corsi@unam.mx

# PLEASE READ THE INSTRUCTIONS IN THE GRAY BOXES CAREFULLY AND USE TRACK CHANGES WHILE MAKING ANY EDITS TO THE DOCUMENT.

# This document has several sections on separate pages, so take care to view each page.

Author Questionnaire:

Authors, please fill out the unanswered questions below.

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

Step 2.5, specifically shot 2.5.2

Step 4.3, shot 4.3.1

Step 4.4, shot 4.4.3

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Step 4.4, shot 4.4.3

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

5. Will the filming need to take place in multiple locations (greater than walking distance)? (Y/N)

If yes, how far apart are the locations? Y, 10 km between locations.

Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

- The total introduction length (i.e., Required and Optional Interview Statements) cannot exceed 150 words.

- Restrict the length of each statement to no more than 30 words.

- Please answer the questions below in full sentences to highlight the significance of your protocol. You will be expected to memorize and deliver these sentences as spoken interview statements during filming.

- Indicate the full name of each author who will give each statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Why is your protocol significant? OR What key questions can this method help answer?

  - Lourdes Cubero Rego:  Obtaining high-quality, reliable Visual event-related potentials is crucial for the early detection of abnormal development of the central nervous system. It’s very important for implementing successful early interventions in at-risk newborns.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# What is the main advantage of this technique?

  - Lourdes Cubero Rego:  VEPs are objective, sensitive to structural and functional brain damage, and non-invasive. The recording during polysomnography-identified sleep stages reduce variability, and reliable VEPs can be obtained

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- The following OPTIONAL questions may be answered to provide additional introductory information about your protocol.

- The length of each OPTIONAL statement is restricted to no more than 30 words and contributes to the total introduction length, which cannot exceed 150 words.

- Indicate the full name of each author who will give each OPTIONAL statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Lourdes Cubero Rego:  This technique is useful for early diagnosis of visual repercussion of pre, peri or postnatal risk factors, such as the retinopathy of prematurity, retro-geniculated cortical lesions and periventricular leukomalacia.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are there any specific areas of research that this method could provide insight into?

# Can this method be applied to any other systems?

  - Author name: _____________ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

# INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# How would you expect an individual who has never performed this technique to struggle?

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Lourdes Cubero Rego:   It could be difficult to identify the sleep-stages and achieve reproducible visual responses.  Be patient and ensure adequate newborn preparation. The Active sleep and the VEPs waveforms are easily identifiable.

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

# Why is visual demonstration of this method critical?

  - Lourdes Cubero Rego:  The visual demonstration of this method is critical for the adequate identification of active sleep and the observation of VEP waveform on the screen until achieving two reproducible averages.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):  Not necessary

- Please use this statement ONLY if any of the individuals who will be demonstrating the procedure on camera have not given a required or optional Introduction interview statement already.

- Include the full name(s) of the person(s) demonstrating the experiment followed by their title (e.g., technician, post doc, grad student, clinician, etc.)

- Also indicate the full name of the author who will introduce the demonstrator(s).

  - Name Author: Demonstrating the procedure will be Lourdes Cubero Rego_________ (name of the person or persons), a _________ (technician, post doc, grad student) from my laboratory. (Add additional mention of demonstrators as necessary).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects follows the principles of the World Medical Association’s Helsinki Declaration (2013) and have been approved by the Institutional Review Board (IRB) or by the Ethics Committee at the Children’s and Women´ s Specialty Hospital, Querétaro, Mexico

.

Section - Protocol

- Read through the entire protocol carefully to understand what you will need on the filming day and prepare accordingly.

- The two-digit numbers (e.g. 2.1., 2.2.) represent the “steps” of you protocol and will be read by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the “shots” that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in a single work day, the protocol is restricted to 30 steps and/or 60 shots.

- It is critical for a smooth and organized shoot that all materials and work spaces are prepared and labeled (if applicable) in advance.

- Any specimens/samples that require long or overnight incubation steps should be prepared in advance. (i.e. day 0 sample preparation will be filmed on the day of the shoot; day 1 samples should be prepared the day before the shoot so their processing can be filmed on the day of the shoot/after their overnight culture/treatment/etc.)

- Each section must contain a minimum of 3 steps (~6 shots), so short sections may be combined.

- Newborn Preparation

  - The day before the study, make sure that the baby’s head is washed with neutral soap so that the hair is clean and dry [1-TXT].

    - Talent checks the baby's hair and fontanelle Videographer: Minimal neonate head in shot TEXT: Ensure 2.5 h fasting/wakefulness before study in neonates >40 weeks postconceptional age.

  - Thirty minutes before beginning the study, allow the Parent to starting feeding the Newborn [1] before burping the Baby and wrapping the Baby in a sheet so the Baby sleeps easily and spontaneously [2].

    - Parent feeding baby Videographer: Minimal neonate face in shot

    - Baby being wrapped Videographer: Minimal neonate face in shot

  - Before handling the neonate, wash hands carefully [1] and put on a sanitary mask [2].

    - Talent washing hands

    - Talent putting on mask

  - Gently wipe the scalp of the Newborn with alcohol to remove any residual dirt and superficial grease before the Neonate falls asleep [1] and measure the distance between the nasion and inion [2] and between both pre-auricular pits [3].

    - Scalp being wiped Videographer: Minimal neonate face in shot

    - Distance between nasion and inion being measured Videographer: Minimal neonate face in shot

    - Distance between pits being measured Videographer: Minimal neonate face in shot

  - Calculate 10% and 20% to ensure proper placement of the cranial electrodes according to the international 10-20 system of electrode placement [1] and cover the Newborn’s entire head with a tubular elastic mesh for the correct attachment of the EEG (E-E-G) and VEP (V-E-P) electrodes, leaving the face fully free and exposed [2].

    - Talent calculating 10 and 20%

    - Head being covered with mesh Videographer: Minimal neonate face in shot TEXT: EEG: electroencephalography; VEP: visual event-related potentials

  - Mark the location of the surface electrodes on the mesh [1] and use a swab to perfectly separate the Newborn’s hair at the sites at which each electrode will be placed [2].

    - Location being marked

    - Hair being separated

  - Then lightly rub the skin with abrasive gel for neurophysiological studies [1].

    - Skin being rubbed Videographer: Minimal neonate face in shot TEXT: Reschedule if neonate takes >2 h to fall asleep

- EEG and VEP Sleep Recording Electrode Placement

  - For electrode placement, place an elastic band sensor on the Baby’s chest to record the thoracic respiratory expansion [1] and locate individual surface disc electrodes for the EEG at leads F3, F4, C3, C4, O1, and O2 [2-TXT].

    - WIDE: Talent placing sensor onto baby’s chest Videographer: Minimal neonate face in shot.  The shot must be at the thoracic region.

    - Talent gathering leads OR Shot of listed leads TEXT: Attach C3 and C4 at minimum and linked earlobes leads

  - To record ocular movements, place one linked earlobe electrode through the mesh 1 centimeter above the external canthus of the left eye [1] and place another linked earlobe electrode through the mesh 1 centimeter below the external canthus of the right eye [2].

    - Electrode being placed above left eye Videographer: Minimal neonate face in shot

    - Electrode being placed below right eye Videographer: Minimal neonate face in shot

  - Fix the electrodes to the skin with medical adhesive tape [1] and attach the electrodes for surface electromyogram recording on both sides of the chin, referenced against each other [2].

    - Electrode being fixed Videographer: Minimal neonate face in shot

    - Second chin electrode being placed, with first chin electrode visible in frame Videographer: Minimal neonate face in shot

  - Place the ground electrode on the right mastoid [1] and set the one channel of the VEP equipment with the Oz vs. Cz leads [2]

    - Ground electrode being placed

    - Oz- vs Cz+ leads being placed

  - Then set the analysis time for the VEP registration at 600 milliseconds [1] and wait to begin the VEP recording until the impedance values are below 5 kiloohms [2].

    - Talent setting analysis time.

    - Shot of impedance values below 5 kiloohms

- Sleep and VEP Recording

  - With the Newborn sleeping in a hospital crib, prolong the EEG recording for 60-90 minutes until active sleep is identified [1].

    - WIDE: Talent checking for active sleep Videographer: Minimal neonate face in shot Screen of EEG equipment.

  - Begin the EEG recording while carefully observing the characteristics of neonatal sleep [1] to identify the active sleep stage during which the VEPs will be recorded according to the criteria summarized in the Table [2].

    - Talent beginning recording.

    - LAB MEDIA: Table 2: JoVE Video Editor please emphasize Active sleep data row

  - When the Neonate beings well-defined active sleep, allow 1 minute of EEG recording [1] before positioning handheld goggles with an LED matrix 2 centimeters directly above each eye to apply monocular light stimulation [2].

    - Talent watching EEG reading, with monitor visible in frame

    - Goggles being head over eyes/LED light being applied Videographer: Minimal neonate face in shot

  - Observe whether the Infant’s eyes are closed during the VEP registration in active sleep [1-TXT] and begin presenting 20-40 luminous stimuli [2-TXT]

    - Shot of closed eyes OR Talent checking for closed eyes Videographer: Minimal neonate face in shot TEXT: Note if eye closure does not occur

    - Luminous stimuli being presented TEXT: Average VEPs to obtain average evoked response curve.

    - Averaging VEP, screen of evoked potentials equipment in shot

  - During the recording, check the reproducibility of the recorded averages and identify the P-two component as the maximal positive peak between 120 and 300 milliseconds preceded by a negative N-two wave and followed by a maximal N-three negativity between 200 and 400 milliseconds [1-TXT].

    - SCREEN: To be provided by Authors: VEP being recorded TEXT: ≥2 reproducible evoked potentials recommended Video Editor: please emphasize inverted PII peak, NII peak, and NIII peak when mentioned.

  - Stop the averaging if the Newborn moves excessively, wakes up, or changes to another sleep stage distinct from active sleep [1-TXT].

    - Talent stopping averaging, with moving neonate in crib visible in frame TEXT: Renew recording when AS stage reestablishes.

  - Finish the registration after 2 averages with reproducible VEP are attained [1] or when 6 averages occur without a recognizable VEP [2-TXT].

    - LAB MEDIA: Figure 2 Muestra la reproducibilidad

    - LAB MEDIA: Figure 3 right graph TEXT: Consider 6 averages w/o recognizable VEP absence of replicable response

- VEP Review and Analysis

  - At the end of the analysis, evaluate the reproducibility of the VEPs by similar appearance and measurements between the two averaged curves [1] and use the device cursors to measure the absolute latencies of the N-two, P-two, and N-three waves [2].

    - WIDE: Talent at system, evaluating reproducibility, with monitor visible in frame

    - SCREEN: To be provided by Authors: One latency being measured TEXT: Absolute latency: Time (ms) elapsed from stimulation onset to maximal or minimal peak of each component.

  - Calculate the interpeak latencies in milliseconds, including the differences between the absolute P-two-N-two, N-two-N-three, and P-two-N-three latencies [1].

    - SCREEN: To be provided by Authors: Interpeak latency being calculated

  - Then measure the peak-to-peak amplitudes in microvolts for the N-two-P-two and P-two-N-three components and compare the latency and amplitude values obtained to the normal, or expected, values estimated for a population of healthy, similar-age newborns [1].

  - SCREEN: To be provided by Authors: Peak-to-peak amplitudes being measured, then latency and amplitude values being compared Shot 29

OPTIONAL – Critical Step Statement:

- An OPTIONAL brief statement may be submitted for further elaboration of the best way to perform the required technique for the single most critical step of this procedure.

- If there is no single critical step, then there is no need to fill out this statement.

- This will be an interview style shot interjected after the relevant step within the Protocol section of the video.

- This statement is limited to 30 words or less.

- Please indicate the full name of the Author who will give this statement and the step of the protocol to which the statement pertains using the step numbers from the Protocol section (above).

# Fill in the details below based on the instructions above for the “Critical Step Statement”

# Author name, Step            :           (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)  Not necessary

Section – Results

# The Results section is restricted to 200 words of narrative. Please read through the results as presented to make sure that it accurately represents your findings. If you would like to highlight other data, please revise this section accordingly, keeping in mind the word count restriction. Please note that we cannot include narrative without an accompanying visual.

- Results: Representative Neonatal EEG Tracings and Resulting VEP

  - In a healthy full-term newborn, a clear positivity around 200 milliseconds, compatible with the P-two component, can be observed [1].

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize inverted PII peaks at 200 ms

  - N-two, which corresponds to a preceding, negative small potential, is evident at about 130 milliseconds [1]. The N-three component follows P-two as a negativity of approximately 300 milliseconds [2].

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize NII peak, no plateau

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize NIII peak

  - Here three epochs of sleep EEGs [1], with the typical aspects of active sleep [2], quiet sleep [3], and tracé alternant are shown [3].

    - LAB MEDIA: Figure 3A

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasize Active sleep graph

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasize Quiet sleep graph

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasize Trace alternant graph

  - In a full-term newborn, typical VEP waveforms demonstrate a clear P-two [1], an immature response observed in preterm newborns that is normal at this age [2].

    - LAB MEDIA: Figure 3B left and middle graphs: JoVE Video Editor please emphasize inverted PII peak in the middle graph.

  - In this tracing from a 36 weeks-preterm newborn with periventricular leukomalacia, a non-replicable waveform [1] with waves that do not exactly reproduce the shape of the previous average can be observed [2], making it impossible to reliably measure the true latency or amplitude of the components [3].

    - LAB MEDIA: Figure 3B right graph

    - LAB MEDIA: Figure 3B right graph: JoVE Video Editor please emphasize grey tracings above and below black data lines

    - LAB MEDIA: Figure 3B right graph.

Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- Below are questions for statements that can be used to further emphasize the significance of your protocol. At least one statement is required.

- Each statement is limited to 30 words.

- Answer the questions in full sentences, as you will be expected to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each Conclusion Interview statement.

- Each author may give two Conclusion statements maximum.

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Lourdes Cubero Rego:  (Steps: 4.3, 4.5, 4.7) Attempting this procedure, the sleep-stage must be carefully observed. The VEP recording during stage changes must be avoided. It’s very important to achieve the reproducibility of at least two waveforms.

# INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Lourdes Cubero Rego: This method provides a sensitive and non-invasive mean of evaluating pathological conditions in other sensory pathways, using the appropriate sensorial stimulation to obtain somatosensory and auditory middle-long latency evoked-responses.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Lourdes Cubero Rego: The recording of VEP during both sleep stages allows to evaluate the integrity and cerebral maturation, obtain the normal values expected for each age, and detect alterations in the development.

# INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take. If no materials are hazardous, leave this statement blank. (This technique is non-invasive and innocuous)

# Lourdes Cubero Rego: Although the study is non-invasive, it should be perform when the neonates are clinically stable. Hand washing and the mask use will guarantee no-risks to an organism by nature immunologically vulnerable.

# INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.