We thank the reviewers for a thorough evaluation of the manuscript.  Corrections and additions to the text and figures were made in response and are detailed below.  The responses refer to lines in the text in the revised manuscript.

Protocol Comments

2.5-2.6: A line has been added to 2.6 to clarify.

“It is not necessary to filter and centrifuge the eluate from the SPE column (Section 5.8) when preparing the CoA-bimane standard.”

The Protocol has been revised to reflect the imperative case consistently.

Larger steps in the Protocol with ≥ 4 sentences are divided into 2 steps.

Figures and Tables Question

Figure 6 Legend states: “The data in panels (B) and (C) are adapted from Sharma et al.12 “

This article is an open access article distributed under the terms of the Creative Commons CC BY license, which permits unrestricted use, distribution, and reproduction in any medium, provided the original work is properly cited.

A screen shot of the journal policy is provided in a separate file.

The items have been added to the Table of Materials and Reagents: Parafilm, Trizma-HCl

Reviewer #1 – Minor concerns

Line 111.

The phrase “4-fold molar excess” is substituted.

Line 232 moved to Line 118

Description of the quantification of the CoA and CoA-bimane standard is moved to Step 2. “Preparation of CoA-bimane Standard” in the Protocol section.

Figure 5 (and all of the figures) was reviewed and the software used to transfer the figure is changed.  Hopefully the figures are improved.

Reviewer #2 - Major concerns

1.  Accounting for/preventing the formation of CoA disulfide ….

This is a good point raised by the reviewer.  The addition of KOH to cells and tissues raises the pH to 12 which can potentially promote oxidative CoA-disulfide formation.  It is stated in the reference provided by the reviewer that “Loss of thiol due to oxidation …. is minimized by using heavy metal chelators and limiting the exposure of the thiol to oxygen while at high pH.”  We do not shake or stir the samples during the 2-hour incubation in KOH and this is now pointed out specifically in the protocol (Lines 129, 175, 222).  Handling of samples in the presence of KOH is done at ≤ 4 ºC prior to the addition of mBBr which minimizes oxidative reactions.  Nevertheless, we decided to test directly whether addition of a reducing agent and metal chelator would change the CoA quantification results.  We performed an experiment in which 100 μM β-mercaptoethanol and 25 μM EDTA were added to the 2-hour KOH incubation of cell samples.  The CoA quantification under those conditions was compared, side-by-side, with CoA quantification obtained using the original conditions in the Protocol.  The amount of mBBr added to the cell lysates samples containing mercaptoethanol was doubled to maintain this reagent in excess.  The data below show that there is no difference in the amount of CoA-bimane that is detected at the end of the protocol, plus or minus the [100 μM β-mercaptoethanol and 25 μM EDTA].

Step 3.3. and Step 4.5 in the Protocol outline are modified to include a phrase “…incubated at 55 º C …without shaking in a water bath.”

2.  Drawbacks of using mBBr as label

A.  Background fluorescence of mBBr

The mBBr compound itself is only weakly fluorescent and thus the background fluorescence of unreacted mBBr is minimal.  When the mBBr is converted to bimane, fluorescence intensity increases substantially.  It is stated in Line 138: “Clean-up the supernatant using an SPE-column to remove the unreacted mBBr (described below).”  And in Line 465: “The SPE column cleans up the samples to eliminate excess unreacted mBBr and some unrelated biological substances.” Any remaining background fluorescence of non-CoA-bimane components in biological samples is separated from the CoA-bimane during the HPLC step.

B.  Non-specific binding to amines, carboxylates and phosphates

Excess mBBr (20-fold molar excess based on liver CoA measurements) is added to samples to take into account not only the reactivity with thiols other than CoA, but also the possibility that amines, carboxylates and phosphates may react slowly with the mBBr reagent.  The labeling of cellular components other than CoA is expected.  The SPE column and HPLC separation of CoA-bimane from non-CoA-bimane components results in a clean determination of CoA-bimane.  The “CoA-bimane” peak has been checked several times by mass spectrometry in our lab to confirm this statement.

Line 446 addresses this issue: “The pH is reduced prior to incubation with mBBr because bromobimanes in general are less reactive towards other nucleophiles like amines and carboxylates in more neutral aqueous solutions.”   In addition, it is pointed out in Line 450: “One needs to use nonnucleophilic buffers to reduce and maintain the pH because the presence of buffer anions at high concentrations can interfere with the mBBr derivatization of CoA.”

C.  Photodegradation

Line 116:  It is stated “Incubate at room temperature for 4 hours in the dark….”

Line 256. Step 6 has been modified to read “Seal and completely cover the tube and store.”

3.  Preparation of standard

A.  Purity of the CoA-bimane standard

High quality CoA to be used as the standard is purchased from Avanti Polar Lipids, purity >99%. Section 2.1. has been added to indicate this important point.

We failed to state that after the CoA-bimane standard is cleaned up on the SPE column to remove unreacted mBBr, the standard is checked by HPLC with absorbance detection at both λ260 and λ393 to assess purity by coincidence of both peaks in the chromatogram, as well as confirm the retention time and the amount of CoA-bimane standard in the high concentration stock.  (In our experience, there is only 1 peak as shown in Figure 3.)  The purity of the CoA-bimane standard can also be checked by mass spectrometry, depending on availability of the instrumentation.  This information has been added to the Protocol, section 2.7.

B.  Using weight to prepare stock standard solutions

The reviewer is correct and the information above is added to the protocol.

C.  Using absorbance in the absence of a purity check

The information regarding a purity check is added to the protocol.

D.  Assessment of stability of the CoA-bimane

The stability of the CoA-bimane is addressed in the new section 2.8. in the Protocol.  We compared the standard curves using aliquots of CoA-bimane made in 2017 with those made last week.  The data are shown below.

4.  Analytical parameters of standard curve (Line 258)

A.  Limit of detection (LOD)

The limit of detection is indeed 0.01 and it is linear to 12,000 pmol when one measures the CoA-bimane standard using detection by fluorescence and absorbance.

B.  Limit of quantification (LOQ)

The limit of quantification is defined as 5-fold above baseline noise.  A sentence has been added to Results: “The CoA-bimane standard can be detected from 0.01 to 12,000 pmol and covers a 106-fold range when detection using both absorbance and fluorescence is combined.  While the lower limit of detection of the standard is 0.01 pmol, the lower limit of CoA-bimane quantitation in experimental samples is 0.2 pmol which is about 5-fold greater than the baseline or background fluorescent noise in the chromatogram.”

5.  Enzyme quenching …

Addition of KOH to cells and tissues raises the pH to 12 and denatures/inactivates the enzymes that may alter the amounts of CoA and CoA thioesters.  This is the quenching step that stops metabolic re-alignment during sample preparation in addition to hydrolyzing CoA thioesters.  Reducing the sample temperature with ice-cold buffer/water in the case of cultured cells, or with flash freezing of small pieces in the case of animal tissues, is the best one can practically do prior to denaturation and quenching with KOH.  Complete thawing of tissue pieces is avoided and this point is now included in section 4.3.

Reviewer #2 - Minor concerns:

1.  The term “mBBr-CoA” has been replaced with “CoA-bimane” throughout the text and the figures.

2.  Line 115. Item has been changed to “… 95% ethanol (HPLC Grade) containing 50 mM ammonium formate.”

3.  Line 200.

Weighing fresh or frozen samples is a common way of normalizing data from animal tissues.  The amount of liquid (not water) per mg in each tissue type is consistent for each particular tissue type.   During preparation of tissue prior to freezing, each piece (0.5 cm approx. diameter) is blotted gently 1-2 seconds to remove excess blood if present.  Most often, animals are exsanguinated prior to tissue harvest.  The key to consistent CoA measurements is flash-freezing almost immediately after dissection.  Sample drying is lengthly and requires too much time that might lead to loss of reduced CoA, and lyophilization requires specialized instrumentation to maintain a cold temperature during the lengthy drying process.  In our experience, drying promotes CoA-disulfide and CoA-GSH formation.

4.  Line 472.

The “occasional error from improper sample injection” is indeed an instrument error.  This phrase was written to warn the investigator to check the vials in the autosampler when an unexpectedly low value is obtained upon evaluation of the endpoint data, although we agree that not all vial configurations would make this possible.  When one is running hundreds of samples, as we do in our lab, even the best instrumentation can be imperfect on rare occasions.  We have added a phrase …… The amounts of non-CoA components of the HPLC profile are another indicator of possible instrument malfunction.  The phrase has been added “… or inspection of the non-CoA related peaks in the output chromatogram.” Line 475

5.  A review of recent methods for measuring CoA or CoA thioesters was pointed out with a citation in Line 72.  We think that these lines and this citation in INTRODUCTION are sufficient.  This article is not a critical review of the field.

Reviewer #3

Line 33.

We understand that pantothenate is the salt of pantothenic acid, but the terms are often used interchangeably in colloquial discussion.  The qualifying phrase “…(the salt of pantothenic acid)…” was inserted.

Line 39.

References inserted.

- Abiko Y. Metabolism of coenzyme A, p. 1-25. In D. M. Greenberg (ed.), Metabolic Pathways, vol. 7, 3rd ed. Academic Press, Inc., New York. 1975.

In addition, another source has been inserted “(www.biochemical-pathways.roche.com)”.  The numerous metabolic pathways that utilize CoA thioesters are described in multiple sections in multiple monographs.   This web site illustrates the multiple pathways in a single figure and is widely available.

Line 40.

A review was inserted to support the statement that “It is now appreciated …”

- Leonardi R, Zhang Y-M, Rock CO, Jackowski S. Coenzyme A: Back in action. Prog Lipid Res. 2005;44:125-153.

Two primary references were inserted to support the statement that “…CoA supply is regulated…”

- Jackowski S,Rock CO. Regulation of coenzyme A biosynthesis. J Bacteriol. 1981;148:926-932.

- Robishaw JD, Berkich DA, Neely JR. Rate-limiting step and control of coenzyme A synthesis in cardiac muscle. J Biol Chem. 1982;257:10967-10972.

Citation of a discussion of the inherited genetic disorders that impact CoA biosynthesis is inserted at the end of the statement.

- Di Meo I, Carecchio M, Tiranti V. Inborn errors of coenzyme A metabolism and neurodegeneration. J Inherit Metab Dis. 2019;42:49-56.

Line 74.

The statement has been modified to read:

“Radioactive tracers can be used to measure rates of CoA synthesis in cells.”

Line 169 (unrevised version).

Extra “this” removed.

Line 391 (unrevised), now Line 406 (revised version).

The general statement regarding the recovery of CoA derivatives following SPE column clean-up is removed.  The specific recovery data for two CoA thioesters are now included in the text.

Line 408 (unrevised version).

Grammar corrected “…be…” removed.