Editorial Comments:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

• Introduction: Please expand your Introduction to include the following: The advantages over alternative techniques with applicable references to previous studies; Description of the context of the technique in the wider body of literature; Information that can help readers to determine if the method is appropriate for their application.
Response: We have added descriptions and comparisons of related technologies at line 60 of the revised manuscript.

• Protocol Language: Please ensure that ALL text in the protocol section is written in the imperative voice/tense as if you are telling someone how to do the technique (i.e. “Do this”, “Measure that” etc.) Any text that cannot be written in the imperative tense may be added as a “Note”, however, notes should be used sparingly and actions should be described in the imperative tense wherever possible.
1) Examples NOT in imperative voice: line 77, 79, 81-82 etc.
Response: We have re-modified all the protocol section to allow viewers to understand the steps and add notes to important places. For examples, we have changed the sentence of “The 4-inch silicon wafer was dehydrated within a typical oven at 120 °C for 15 min.” at line 77 of the original manuscript to “Dehydrate 4-inch silicon wafer within an oven at 120 °C for 15 min.” at line 89 of the revised manuscript.

• Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.
Response: The protocol already contains various detail and numerical values. However, button clicks and software actions will be different due to different instrument versions. The viewer should refer to the instrument manual and refer to the parameters given by us for the setting.

• Protocol Numbering: Please adjust the numbering of your protocol section to follow JoVE’s instructions for authors, 1. should be followed by 1.1. and then 1.1.1. if necessary and all steps should be lined up at the left margin with no indentations. There must also be a one-line space between each protocol step.
Response: We have re-modified the numbering of our protocol. For examples, we have changed the sentence of “4.2 The cell suspension was loaded into the channel by a syringe pump at a flow rate of 0.3 μl/min.” at line 183 of the original manuscript to “4.1.1 Load the cell suspension into the device by a syringe pump at a flow rate of 0.3 μl/min (Figure 2A). (Flow direction was flowing from the inlet to the outlet)” at line 230 of the revised manuscript.

• Protocol Highlight: Please highlight ~2.5 pages or less of text (which includes headings and spaces) in yellow, to identify which steps should be visualized to tell the most cohesive story of your protocol steps. Please see JoVE’s instructions for authors for more clarification. Remember that the non-highlighted protocol steps will remain in the manuscript and therefore will still be available to the reader.
Response: The experimental steps that will be shown in the video, we have highlight in yellow of the revised manuscript.

1) The highlighting must include all relevant details that are required to perform the step. For example, if step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be included in the highlighting.
2) The highlighted steps should form a cohesive narrative, that is, there must be a logical flow from one highlighted step to the next.
3) Please highlight complete sentences (not parts of sentences). Include sub-headings and spaces when calculating the final highlighted length.
4) Notes cannot be filmed and should be excluded from highlighting.

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

Response: We have re-modified the discussion and added future applications at line 342 of the revised manuscript.

• Figures: Define all error bars.
Response: We have defined the error bars value in the text. Please see the line 279-281 of the revised manuscript.

• Figure/Table Legends: Please add legends for all the videos and ensure that they have been referenced in the text.
Response: We have added legends at line 320-324 of the revised manuscript.

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

Comments from Peer-Reviewers: 


Reviewer #1:
Manuscript Summary:
In the current manuscript, "A Microfluidic Platform for Multiple Single-cell Interaction Analysis, the authors Hsu et al. have demonstrated the protocol to co-culture multiple single cells on a microfluidic chip to study cellular interactions at single-cell level. To demonstrate the efficacy of their microfluidic chip, they co-cultured oral squamous cell carcinoma and lymphatic endothelial cells and studied the interaction between these two cells. The authors have developed an interesting platform that finds its application for understanding the communication and interaction between different cell types at single-cell level.

Concerns:
In the manuscript the authors have described the protocol with clarity, however, in certain sections, the description can be clearer. This will help the readers to use the demonstrated protocol for their research in much more effective way. The title and abstract are suitable for the approach that has been demonstrated. The representative results are sufficient and have been discussed well in this manuscript. The authors have also discussed the advantage that this microfluidic platform has over the previously published devices, the drawbacks of the device, and also the potential application. The materials list is also complete. With that I would like to suggest a couple of changes in the manuscript that will make the paper more robust and credible and also help the readers of the journal in continuation of their research work.

1. At certain parts in the manuscript, the authors have talked about Poisson distribution and how this limits the efficiency of co-culturing or pairing multiple cells. However, they do not mention which kind of microfluidic platform takes Poisson distribution into consideration. Is this distribution also valid when other kinds of microfluidic platforms are used for co-culture experiments? The authors can also describe the importance of using microfluidic devices in their introduction section as a number of research groups still prefer to use conventional bulk method based-studies for their research.

Response: We have mentioned the Poisson distribution type of microfluidic devices in the introduction, please refer to reference 1, 7, 8. The importance of microfluidic devices has been mentioned in the introduction, please refer to line 52-55 of the revised manuscript.

2. References: While the authors have made the necessary and appropriate citations, for some examples/lines references can be added. These lines have been listed below:
a. Lines 46
b. Line 52: cell-culture experiment
c. Line 54
d. Line 262
e. Line 264
f. Line 275

Response: Thank you for your suggestion. The necessary references have been mentioned and cited in the article, and the well-known routine method we do not add the reference additionally.

3. In the introduction, the authors have suggested that they have previously developed a HSC chip. In my understanding, the authors are currently, in this manuscript, describing the HSC chip. The authors are required to make changes in the last section of the introduction to make the clarification whether the protocol they are currently demonstrating is a part of the research previously published or this is a new chip design.

Response: The abbreviation of the HSC part has been removed at line 72 of the revised manuscript. We have changed the sentence of “The HSC comprises an arrayed sets of units each contains a serpentine by-pass channel, a capture-site, and a culture chamber.” at line 62 of original manuscript to “The hydrodynamic shuttling chip comprises an arrayed sets of units each contains a serpentine by-pass channel, a capture-site, and a culture chamber.” at line 75 of the revised manuscript. We added the sentence of "In this article, we focus on the production of this device and detailed protocol steps" at line 82 of the revised manuscript.

4. In the protocol section, the authors have with clarity described the steps used for fabrication of the devices. However, to make the protocol section more comprehensible to the readers, the authors should rephrase the steps in the 'Preparation of Single-Cell Suspension' and 'Multiple Single-cell Capture and Triple Single-cell Culture' section. The authors need to explain the steps described in these two sections in more detail or with more clarity.

Response: We have re-modified the 'Preparation of Single-Cell Suspension' and 'Multiple Single-cell Capture and Triple Single-cell Culture' section at line 189, 224 of the revised manuscript to allow viewers to understand the steps and we also added notes to important places.

5. The authors need to add an additional figure that demonstrates the design of the chip made in AutoCAD. With an AutoCAD drawing (2D and 3D), it will become much easier to visualise the design to the readers.
Response: The design the can be found in our previously published article of this chip, so we do not include it here.  .

Reviewer #2:
Manuscript Summary:
This manuscript introduces a microfluidic device that enables co-culture of up to three types of single cells. One cell that reaches in front of a narrow capture channel make the next cells bypass it and go toward the next capture channel. Giving the opposite flow ejects the captured cells from the capture region into larger culture area. Repeating these steps enable loading multiple single cells in culture areas. The protocol in the manuscript covers chip fabrication, cell culture, and handling of the chips.

Major Concerns:
1) The reviewer recommends adding a protocol of visualizing cells in the channels, and the method of validation of the result of cell seeding.

Response: We added Note in step 4.4 at line 244 of the revised manuscript and explained how to shoot and calculate the single cell of the culture chamber.

2) The mask pattern data could be provided as supplementary info to help readers to reproduce the chips and co-culture.

Response: To reproduce the chip the viewers can refer to our previously published article which contains the detailed geometry of the microchannels.

Minor Concerns:
L59
In the context of research that uses cells, some readers could take HSC as a kind of cells. The reviewer thinks HSC is primarily for hematopoietic stem cells. The reviewer suggest not using the acronym for the authors' chip.
Response: We have removed the abbreviation at line 72 and 75 of the revised manuscript.

L72
This note might not be needed as a note to the whole protocol. Instead, it should be moved to material list.
Response: We have removed this note at line 86 of the revised manuscript.

L77
The reviewer thinks a "typical" oven is not a scientific but household one.
Response: Thank you for pointing this out. We have changed the sentence of "The 4-inch silicon wafer was dehydrated within a typical oven at 120 °C for 15 min." at line 77 of the original manuscript to "Dehydrate 4-inch silicon wafer within an oven at 120 °C for 15 min." at line 89 of the revised manuscript.

L78
Does this sentence mean preheating two hotplates to 65C and 95C? Rephrasing recommended.
Response: We consider this step does not need to be specifically stated, so we have removed this step.

L80
The reader may not be familiar with the naming or intent of the layers like "a capture site" at this moment. Therefore, the reviewer recommends that the terms like "a capture site layer" should be summarized beforehand, or just be replaced to names of which the reader does not have to figure out the meaning ("XX um layer" or "Layer #1" etc.).
Response: We have modified the naming to "layer #number" and explained its meaning in the steps. For example, We have changed the sentence of “Place the cooled SU-8 2 coated wafer onto the holder of the semi-automatic mask aligner and align it with the capture-site layer chrome-plated photomask.” at line 83 of original manuscript to “Cool layer #1 to room temperature, place the layer #1 onto the holder of the semi-automatic mask aligner and align with the Layer #1 chrome-plated photomask (capture-site layer).” at line 97 of the revised manuscript.

L82
In this step, May there be another case in which the thickness is not 5um?
Response: We have re-modified the protocol and described the layer thickness in each coating step. For example, We have changed the sentence of “4 g of negative photoresist was coated on a 4-inch silicon wafer by a spin coater; rotated at 1,000 rpm (SU-8 2) for 30 sec to create a capture site layer.” at line 79 of original manuscript to “Spin coat 4g SU-8 2 negative photoresist onto a 4-inch silicon wafer with 30 sec at 1,000 rpm to create a 5 μm thick layer #1.” at line 97 of the revised manuscript.

L84
What part or feature in "it" is aligned with the photomask?
Response: We have re-modified the protocol and described the aligned object in each expose step. For example, We have changed the sentence of “Place the cooled SU-8 2 coated wafer onto the holder of the semi-automatic mask aligner and align it with the capture-site layer chrome-plated photomask.” at line 83 of original manuscript to “Cool layer #1 to room temperature, place the layer #1 onto the holder of the semi-automatic mask aligner and align with the Layer #1 chrome-plated photomask (capture-site layer).” at line 97 of the revised manuscript.

L89
Cooling temperature should be specified.
Response: We have changed the sentence of “After cooling, a 4-inch silicon wafer was immersed in a propylene glycol monomethyl ether acetate (PGMEA) solution, the uncrosslinked photoresist was washed away for 2 min, and then gently dried with nitrogen gas to reveal an alignment mark.” at line 89 of original manuscript to “Cool layer #1 to room temperature, then immersed in a propylene glycol monomethyl ether acetate solution, washed away the uncrosslinked photoresist for 2 min, gently dry with nitrogen gas to reveal a layer #1 alignment mark.” at line 106 of the revised manuscript.

L90
The reviewer thinks the developer of SU-8 photoresist is just PGMEA, not a solution containing PGMEA.
Response: To avoid confusion we have removed the PGMEA abbreviation at line 106 of the revised manuscript.

L114
Step 21 seems to be an operation of the surface profilometer shown in Step 20. The reviewer is not sure if the description in Step 21 is useful. At least Step 21 should be a substep of Step 20.
Response: We considered that this part is not the focus of this publication, so this step has been removed.

L124
Step 2~4 seems to be substeps of Step 1.
Response: We have changed the description of step 1 to note at line 147 of the revised manuscript.

L126,133,147
A desiccator is used in each step. Please clarify all these steps share one desiccator or different desiccators are used for different steps.
Response: We have added instructions in the steps at line 148, 153 of the revised manuscript.

L156
This sentence seems to be somewhat confusing. Please rephrase the sentence so that it clearly shows which cell type is expressing what.
Response: We have re-modified the sentence and add a reference at line 191 of the revised manuscript, the viewers can get more detailed information.

L187,189
The flow direction of the syringe pump flow should be specified.
Response: We have added a description of the flow direction at line 231, 238, 241 of the revised manuscript.

Reviewer #3:
Summary
The protocol "A Microfluidic Platform for Multiple Single-cell Interaction Analysis" by Hsu et al. describes a method for using a microfluidic Lab-on-a-Chip device for parallel and deterministic co-cultivation of mammalian cells and tracking the interactions of individual cells.
The protocol includes a description for preparing the wafer mold, the PDMS device, the cell suspension and the cell capturing and release process. The authors exemplarily demonstrate their methodology by establishing single cell-based co-cultures of LECs, pLKO-GFP and WNT5B sh4 cells.
Key conclusion
The presented methodology allows studying cellular interactions at the single-cell level based on hydrodynamic principles in order to bring two or more types of different cells together in a confined, microstructured cultivation space. In contrast to other established methods for preparing single cell-based co-cultures, the presented method is deterministic and allows establishing parallel single-cell co-cultures with high efficiency.
Language
The manuscript suffers partially from imprecision in the language. Interestingly, some paragraphs appear well written and comprehensive, while others are difficult to read. I recommend careful copy-editing before publishing.

Response: We have re-edited and corrected the imprecision statement.

Questions
How does the presented methodology compare to other co-cultivation technology, such as deterministic droplet-based co-cultures, in terms of efficiency? Are the cells still alive inside the culture chamber? Is there any harm or alteration to cell physiology expected due to mechanical stress? Is it possible to perfuse the captured cells with different types of media and thereby change the chemical cultivation conditions?

Response: At present, there is no related microfluidic device demonstrate of capturing exceed three types of single cells for co-culture, and the droplet-based co-culture device is not suitable for the experiment of attaching cells (the cells we studied are attached cells). Figure 4 demonstrates that cells are still alive in the culture chamber within 24 hours. The mechanical stress did not show significant cell damage or death under 24-hour culture observation. Our device is capable of replacing different culture fluids to observe cell proliferation and development.

Quality guidelines
Are the title and abstract appropriate for this method article?
*I recommend modifying the title and highlight the possibility to establish single-cell based co-cultures on-chip in a deterministic manner (similar to the title of the original manuscript by He et al. that has been published in Lab-on-a-Chip).

Response: We think this suggestion is a great idea. We have changed the title to "Establishing single-cell based co-cultures in a deterministic manner with a microfluidic chip".

Are there any other potential applications for the method/protocol the authors could discuss?
*Is the presented method also adaptable to establish and track microbial co-cultures (bacteria, yeasts)? Please shortly discuss this aspect.

Response: Thanks for the suggestions. In theory, the capture-site of our device can be modified to fit the size of the microorganism. However, when the size the structures gets smaller, the fabrication becomes more difficult. We have added this to the discussion of the manuscript.

Are all the materials and equipment needed listed in the table? (Please note that any basic lab materials or equipment do not need to be listed, e.g. pipettes.)
*No, please add specifications of chemicals and machines.

Response: We have modified the material list.

Do you think the steps listed in the procedure would lead to the described outcome?
*Yes, but only with some try and error. I see room for improvement (see below).

Response: We have re-modified the protocol sections.

Are the steps listed in the procedure clearly explained?
*No, I recommend to add sub-structures to the individual protocol sections and add a schematic graphical representation of the individual preparation steps

Response: We have re-modified the protocol sections. For example, We have changed the sentence of “The cell suspension was loaded into the channel by a syringe pump at a flow rate of 0.3 μl/min.” at line 183 of original manuscript to “Load the cell suspension into the device by a syringe pump at a flow rate of 0.3 μl/min (Figure 2A). (Flow direction was flowing from the inlet to the outlet)” at line 230 of the revised manuscript.

Are any important steps missing from the procedure?
*No

Are appropriate controls suggested?
*No, please add some quality control heuristics to the protocol, especially for the mold preparation.

Response: We have re-modified the protocol sections.

Are all the critical steps highlighted?
*No, the protocol would benefit a lot from clearly highlighting important or critical steps during the mold and device preparation. Also, the cell loading protocol should be explained in detail and on the basis of a figure.

Response: We have re-modified and highlighting important or critical steps of the protocol sections. The cell loading protocol has been clearly illustrated in Figure 2.

Is there any additional information that would be useful to include?
*Yes, please specify the machines and devices that have been used in detail.

Response: We have modified the material list.

Are the anticipated results reasonable, and if so, are they useful to readers?
*Yes and No. The demonstrated time-lapse imaging of a co-cultivation (Figure 4) does not show any usable result. For what can the method be specifically used? Are the cells growing or interacting? Is it possible to demonstrate the successive filling of the capture sides with a video?

Response: Figure 4 shows that in the presence of LECs cells, the morphology of WNT5B sh4 cells and pLKO-GFP cells tends to be lamellipodia and exhibits better cell growth. This indicates that cell-cell interactions between the three cell types differ from cell-cell interactions between the two cell types. This helps us to clarify the role of different types of cells in co-culture.

Yes, it is possible to demonstrate the successive filling of the capture sites with a videos.

Are any important references missing and are the included references useful?
*No

Conclusion:
At its current state, I cannot recommend accepting the manuscript for publication in JoVE. However, the manuscript should be considered for publication after a major and careful revision. Results that are more meaningful should be added to the manuscript (for example measuring cell interactions, quantifying growth rates of the cells in co-culture and as single cells, etc.). Consulting a professional language service could be of help for improving readability and precision of the protocol.