# Submission ID #:  60224

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18368368

# Title: Piezo-ICSI for Human Oocytes

# Authors and Affiliations:

Kenichiro Hiraoka1,2,3*, Manami Isuge1, Yuko Kamada1, Tetsuya Kaji1, Takako Suhara1, Akira Kuga2, Kumi Ohuchi1, Masaru Hayashi1, Kiyotaka Kawai1,2,3

1Kameda Medical Center

2Kameda IVF Clinic Makuhari

# 3Tokyo Medical and Dental University

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Kenichiro Hiraoka		ken.msn.hiraoka@gmail.com

# Email Addresses for All Authors:

# ken.msn.hiraoka@gmail.com

isuge.manami@kameda.jp

kamada.yuko@kameda.jp

kaji.tetsuya@kameda.jp

suhara.takako@kameda.jp

kuga.akira@kameda.jp

ohuchi.kumi@kameda.jp

hayashi.masaru@kameda.jp

kawai.kiyotaka@kameda.jp

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  15

Number of Shots:  42

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving human subjects have been approved by the human research ethics committee at the Kameda Medical Center.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Equipment Set-up and Micropipette Preparation

  - To begin, set up the piezo-ICSI (pronounce ‘ek-see’) system composed of a drive unit, an operation box, a footswitch, and a controller [1]. Use the inverted microscope or three-axis micromanipulator [2]. Authors: During shoot are you planning to use the inverted microscope or three-axis micromanipulator?

Authors: Is the pronunciation of ICSI correct?

    - WIDE: Talent at the system, showing the parts of the system.

    - Talent showing microscope or three-axis micromanipulator.

  - Attach the piezo drive unit to the micropipette holder [1] and place the footswitch on the floor [2]. Set the INTENSITY level to 2 and the SPEED level to 1 on the operation box [3].

    - Talent attaching the piezo drive unit to the micropipette holder.

    - Talent placing the footswitch on the floor.

    - Talent setting intensity and speed on the operation box.

  - Fill the piezo-ICSI micropipette with operation liquid to a length of 20 millimeters, taking care to avoid air bubbles getting mixed in with the operation liquid [1-TXT]. Use the liquid filling device to aspirate any air bubbles or excess operation liquid towards the back of the pipette [2].

    - Talent filling the operation fluid in micropipette. TEXT: Fluorocarbon-based fluid

    - Talent aspirating bubbles or excess liquid.

  - To install the micropipette into the injection micropipette holder, insert the head of the pipette about 5 millimeters into the silicon tube of the micropipette holder [1], tighten the holder cap [2] and firmly fix the micropipette [3]. Fix the drive unit firmly with the manipulator to avoid any rotation caused by its weight [4]. Authors: will you be using the injection micropipette holder with or without the silicon tube during shoot?

    - Talent inserting head of micropipette in silicon tube.

    - Talent tightening the holder cap.

    - Talent fixing the micropipette.

    - Talent fixing the drive unit firmly with the manipulator.

  - Position the micropipette in the microscope field [1]. Operate the injector and push the operation liquid [2] to the head of the micropipette so that any air inside the head of the pipette is pressed out [3]. Ensure that there is no air left inside the head of the pipette [4].

    - Talent placing micropipette in the microscope field.

    - Talent pushing the injector.

    - Shot of air coming out.

    - Shot of head of pipette without bubble.

  - Use a glass-bottom dish and 7% polyvinylpyrrolidone solution to make a 10-microliter droplet for sperm selection and one 5-microliter droplet for preparation of the micropipette [1]. Make one more droplet in the center of the dish for oocyte and sperm injection [2].

    - Talent making large and small microdroplets.

    - Talent making droplet in the center of the plate.

  - Insert the head of the micropipette into a 7% polyvinylpyrrolidone droplet and coat the inner wall of the micropipette [1]. Operate the injector vigorously [2], moving it along the interfacial boundary between the operation liquid and the polyvinylpyrrolidone droplet [3].

    - SCREEN: Head of micropipette being inserted in the droplet.

Authors: Will you be visualizing the injector operations on a screen or through a microscope eyepiece? If this is visualized on a computer screen, please create screen capture videos for the shots labeled SCREEN and upload them to your project page: https://www.jove.com/account/file-uploader?src=18368368

    - Talent pulling and pushing the injector.

    - SCREEN: Movement of liquid in the pipette.

  - Rinse the inside of the micropipette with polyvinylpyrrolidone solution about 800 micrometers from the head of the pipette and repeat until the interfacial boundary slides smoothly [1].

    - SCREEN: Liquid entering and exiting from micropipette.

- Sperm Immobilization

  - Set the INTENSITY level to 2 and the SPEED level to 1 on the operation box [1]. Apply the piezo pulse from the drive unit attached to the micropipette holder [2]. When the footswitch is turned on, the “Piezo pulse” icon appears on the upper right corner of the screen [3].

    - Talent setting the intensity and speed on the operation box.

    - Talent applying the pulse.

    - SCREEN: Pulsation at the tip of micropipette and the icon appearing on the screen.

  - After collecting the motile sperm by density gradient centrifugation, keep the sperm in the buffered medium [1]. Use the pipette to aspirate 2 to 3 microliters of the sperm containing buffered medium [2]. Then inject the aspirated medium into the lower side of the 7% polyvinylpyrrolidone microdroplet [3].

    - Talent adding motile sperm solution in buffered medium.

    - Talent aspirating the medium containing sperm.

    - SCREEN: the aspirated medium being injected into the lower side of the PVP droplet.

  - Select the sperm under 400 X magnification [1]. Attach the micropipette tip to the tail of the selected sperm [2] and drive the piezo drive unit 3 times for immobilizing one sperm [3]. Then, aspirate the sperm tail into the micropipette [4].

    - SCREEN: Sperm being located.

    - SCREEN: Micropipette tip being attached to sperm tail.

    - SCREEN: Indicator of piezo drive appear on the screen.

    - SCREEN: The tail of sperm entering in the pipette.

- Piezo-ICSI Operation

  - If working with an oocyte with a high-stretching ability membrane, keep the head of sperm at the position of about one full length sperm back from the head of the micropipette [1]. While driving the piezo drive unit [2], advance the micropipette tip to puncture the oocyte without deformation of the zona pellucida [3].

    - SCREEN: Position of sperm in the micropipette.

    - Talent pressing the piezo drive unit.

    - SCREEN: Indicator of piezo drive on the screen and micropipette tip entering the oocyte.

  - A successful puncture can be confirmed if the hollowed-out piece of the zona pellucida is aspirated in the micropipette [1]. Remove the hollowed-out piece of the zona pellucida from the micropipette [2] and at the same time move the sperm to the head of the micropipette [3].

    - SCREEN: The hollowed-out piece of the zona pellucida in the micropipette.

    - SCREEN: The hollowed-out piece of the zona pellucida coming out.

    - SCREEN: Sperm reaching the head of pipette.

  - Push the micropipette in and stretch the cytoplasmic membrane to about 90% of the oocyte diameter [1]. When it is sufficiently stretched, start up the piezo drive one time to rupture the membrane [2]. Then, inject the sperm’s head into the cytoplasm and avoid adding unnecessary liquid once the sperm is inside the oocyte [3].

    - SCREEN: The micropipette entering in cytoplasmic membrane and membrane bring stretched.

    - SCREEN:  Indicator of piezo drive on the screen and membrane being ruptured.

    - SCREEN: Sperm being injected in the cytoplasm.

  - For oocytes with a low-stretching ability membrane, puncture the zona pellucida and stretch the cytoplasmic membrane as previously demonstrated [1].

    - SCREEN: The micropipette entering in cytoplasmic membrane and membrane bring stretched.

  - If the membrane gets ruptured during the action, inject the sperm immediately without pushing the micropipette further forward to avoid the degeneration of the oocytes and adding unnecessary liquid once the sperm is inside the oocyte [1].

    - SCREEN: Membrane being ruptured and sperm being injected.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 079. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Piezo-ICSI vs. Conventional-ICSI

  - The observed fertilization rates [1] were significantly higher in the piezo-ICSI [2] compared to the conventional-ICSI [3].

    - LAB MEDIA: Table 1

    - LAB MEDIA: Table 1 Video editor: Please emphasize the piezo-ICSI column.

    - LAB MEDIA: Table 1 Video editor: Please emphasize the conventional-ICSI column.

  - The average age of the women was higher for the piezo-ICSI than for the conventional-ICSI [1]. In addition to that, the number of cycles, oocytes, the % of fertilization, and the % of the survival were higher in the piezo-ICSI [2].

    - LAB MEDIA: Table 2 Video editor: Please emphasize “average age of women” row.

    - LAB MEDIA: Table 2 Video editor: Please emphasize “No. of cycles, No. of oocytes, No. of fertilization, No. of survival” rows.

  - The blastocytes and the average number of cryopreserved blastocysts per cycle were higher in the piezo-ICSI [1]. Furthermore, % degeneration was reduced in piezo-ICSI compared to the conventional-ICSI [2].

    - LAB MEDIA: Table 2 Video editor: Please emphasize the last two rows.

    - LAB MEDIA: Table 2 Video editor: Please emphasize “No. of degeneration” row.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.